## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101790 | 2021-04-23 12:00 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7589 | μmol/L | 29.6976 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.9 | 83663.3642 | 296176.2511 | 28.7 | 67.6
101800 | 2021-04-23 12:00 | 0.34089 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1207 | μmol/L | 29.7891 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.906 | 83605.3705 | 296174.6935 | 28.7 | 67.6
101810 | 2021-04-23 12:00 | 0.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1414 | μmol/L | 29.7647 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.913 | 83517.9341 | 296154.5429 | 28.7 | 67.6
101820 | 2021-04-23 12:01 | 1.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6371 | μmol/L | 29.6976 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.907 | 83341.1368 | 296148.2347 | 28.7 | 67.6
101830 | 2021-04-23 12:01 | 1.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5675 | μmol/L | 29.6976 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.911 | 83247.7257 | 296102.8405 | 28.7 | 67.6
101840 | 2021-04-23 12:01 | 1.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4971 | μmol/L | 29.7037 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.913 | 83202.177 | 296087.3412 | 28.7 | 67.6
101850 | 2021-04-23 12:02 | 2.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1008 | μmol/L | 29.8074 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.901 | 83155.128 | 296060.8957 | 28.7 | 67.6
101860 | 2021-04-23 12:02 | 2.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1364 | μmol/L | 29.8013 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.901 | 83118.9717 | 296038.6848 | 28.7 | 67.6
101870 | 2021-04-23 12:02 | 2.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5792 | μmol/L | 29.7403 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.896 | 83147.1942 | 296005.4793 | 28.7 | 67.6
101880 | 2021-04-23 12:03 | 3.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4235 | μmol/L | 29.7342 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.907 | 83114.8668 | 295982.2083 | 28.7 | 67.6
101890 | 2021-04-23 12:03 | 3.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7597 | μmol/L | 29.6915 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.902 | 83048.8258 | 295943.9418 | 28.7 | 67.6
101900 | 2021-04-23 12:03 | 3.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5792 | μmol/L | 29.7403 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.896 | 82987.1475 | 295920.9908 | 28.7 | 67.6
101910 | 2021-04-23 12:04 | 4.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6637 | μmol/L | 29.7586 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.885 | 82932.8976 | 295904.9384 | 28.7 | 67.6
101920 | 2021-04-23 12:04 | 4.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.479 | μmol/L | 29.7769 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.889 | 83008.9058 | 295891.3336 | 28.7 | 67.6
101930 | 2021-04-23 12:04 | 4.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5916 | μmol/L | 29.7769 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.883 | 83007.127 | 295844.7413 | 28.7 | 67.6
101940 | 2021-04-23 12:05 | 5.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5027 | μmol/L | 29.6122 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.886 | 82994.2244 | 295829.268 | 28.7 | 67.6
101950 | 2021-04-23 12:05 | 5.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4715 | μmol/L | 29.7647 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.894 | 83027.4854 | 295799.2918 | 28.7 | 67.6
101960 | 2021-04-23 12:05 | 5.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8626 | μmol/L | 29.7037 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.892 | 82996.9034 | 295781.1391 | 28.7 | 67.6
101970 | 2021-04-23 12:06 | 6.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4707 | μmol/L | 29.7708 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.892 | 82825.9389 | 295740.7239 | 28.7 | 67.6
101980 | 2021-04-23 12:06 | 6.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3438 | μmol/L | 29.6244 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.891 | 82818.6596 | 295730.6815 | 28.7 | 67.6
101990 | 2021-04-23 12:06 | 6.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5186 | μmol/L | 29.6244 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.881 | 82800.2462 | 295717.832 | 28.7 | 67.6
102000 | 2021-04-23 12:07 | 7.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.852 | μmol/L | 29.722 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.886 | 82767.2248 | 295681.6488 | 28.7 | 67.6
102010 | 2021-04-23 12:07 | 7.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8246 | μmol/L | 29.7281 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.886 | 82749.8533 | 295668.3943 | 28.7 | 67.6
102020 | 2021-04-23 12:07 | 7.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.876 | μmol/L | 29.7342 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.881 | 82721.2323 | 295631.1249 | 28.7 | 67.6
102030 | 2021-04-23 12:08 | 8.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6348 | μmol/L | 29.783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.878 | 82714.1738 | 295605.9406 | 28.7 | 67.6
102040 | 2021-04-23 12:08 | 8.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7152 | μmol/L | 29.7647 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.88 | 82687.667 | 295584.6001 | 28.7 | 67.6
102050 | 2021-04-23 12:08 | 8.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5527 | μmol/L | 29.8074 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.875 | 82666.325 | 295555.0151 | 28.7 | 67.6
102060 | 2021-04-23 12:09 | 9.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5013 | μmol/L | 29.8013 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.88 | 82633.081 | 295531.783 | 28.7 | 67.6
102070 | 2021-04-23 12:09 | 9.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0648 | μmol/L | 29.8807 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.878 | 82585.3324 | 295504.6342 | 28.7 | 67.6
102080 | 2021-04-23 12:09 | 9.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0483 | μmol/L | 29.8746 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.881 | 82562.8701 | 295467.6238 | 28.7 | 67.6
102090 | 2021-04-23 12:10 | 10.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.834 | μmol/L | 29.9173 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.879 | 82548.1133 | 295478.9221 | 28.7 | 67.6
102100 | 2021-04-23 12:10 | 10.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.761 | μmol/L | 29.9417 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.875 | 82523.5071 | 295436.0483 | 28.7 | 67.6
102110 | 2021-04-23 12:10 | 10.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2494 | μmol/L | 29.8624 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.874 | 82613.5107 | 295419.0042 | 28.7 | 67.6
102120 | 2021-04-23 12:11 | 11.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7628 | μmol/L | 29.9295 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.879 | 82504.2318 | 295385.4888 | 28.7 | 67.6
102130 | 2021-04-23 12:11 | 11.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3828 | μmol/L | 29.8441 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.872 | 82419.1385 | 295370.6749 | 28.7 | 67.6
102140 | 2021-04-23 12:11 | 11.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.0156 | μmol/L | 29.7342 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.873 | 82506.1924 | 295355.6191 | 28.7 | 67.6
102150 | 2021-04-23 12:12 | 12.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8304 | μmol/L | 29.9417 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.871 | 82498.426 | 295335.3044 | 28.7 | 67.6
102160 | 2021-04-23 12:12 | 12.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8122 | μmol/L | 29.9478 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.87 | 82463.4525 | 295310.7991 | 28.7 | 67.6
102170 | 2021-04-23 12:12 | 12.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0422 | μmol/L | 29.9173 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.867 | 82441.4305 | 295288.7983 | 28.7 | 67.6
102180 | 2021-04-23 12:13 | 13.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4757 | μmol/L | 29.9966 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.873 | 82440.4824 | 295264.3662 | 28.7 | 67.6
102190 | 2021-04-23 12:13 | 13.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7984 | μmol/L | 29.9234 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.879 | 82407.252 | 295255.4714 | 28.7 | 67.6
102200 | 2021-04-23 12:13 | 13.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6024 | μmol/L | 29.96 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.878 | 82412.226 | 295229.8351 | 28.7 | 67.6
102210 | 2021-04-23 12:14 | 14.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6899 | μmol/L | 29.9539 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.875 | 82384.1879 | 295205.528 | 28.7 | 67.6
102220 | 2021-04-23 12:14 | 14.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8148 | μmol/L | 29.9295 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.876 | 82335.9263 | 295177.0116 | 28.7 | 67.6
102230 | 2021-04-23 12:14 | 14.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6197 | μmol/L | 29.96 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.877 | 82345.1803 | 295170.9782 | 28.7 | 67.6
102240 | 2021-04-23 12:15 | 15.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.5513 | μmol/L | 29.9539 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.883 | 82347.6857 | 295141.4086 | 28.7 | 67.6
102250 | 2021-04-23 12:15 | 15.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8357 | μmol/L | 29.9051 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.883 | 82371.0107 | 295113.4265 | 28.7 | 67.6
102260 | 2021-04-23 12:15 | 15.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8175 | μmol/L | 29.9112 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.882 | 82378.5725 | 295102.9274 | 28.7 | 67.6
102270 | 2021-04-23 12:16 | 16.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7135 | μmol/L | 29.9112 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.888 | 82348.1572 | 295073.2506 | 28.7 | 67.6
102280 | 2021-04-23 12:16 | 16.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5121 | μmol/L | 29.7891 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.883 | 82399.7802 | 295056.2401 | 28.7 | 67.6
102290 | 2021-04-23 12:16 | 16.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4226 | μmol/L | 29.8074 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.882 | 82300.8262 | 295045.7687 | 28.7 | 67.6
102300 | 2021-04-23 12:17 | 17.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6927 | μmol/L | 29.7403 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.889 | 82282.9951 | 295028.577 | 28.7 | 67.6
102310 | 2021-04-23 12:17 | 17.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8375 | μmol/L | 29.8929 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.887 | 82255.4439 | 294997.5636 | 28.7 | 67.6
102320 | 2021-04-23 12:17 | 17.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6442 | μmol/L | 29.9112 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.892 | 82261.4543 | 294987.154 | 28.7 | 67.6
102330 | 2021-04-23 12:18 | 18.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.479 | μmol/L | 29.7769 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.889 | 82240.3602 | 294987.3729 | 28.7 | 67.6
102340 | 2021-04-23 12:18 | 18.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2479 | μmol/L | 29.8136 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.89 | 82232.9087 | 294976.8555 | 28.7 | 67.6
102350 | 2021-04-23 12:18 | 18.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8566 | μmol/L | 29.8807 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.89 | 82233.5926 | 294950.0303 | 28.7 | 67.6
102360 | 2021-04-23 12:19 | 19.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8593 | μmol/L | 29.8624 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.896 | 82376.7882 | 294927.6779 | 28.7 | 67.6
102370 | 2021-04-23 12:19 | 19.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.5732 | μmol/L | 29.9234 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.892 | 82183.3708 | 294909.8151 | 28.7 | 67.6
102380 | 2021-04-23 12:19 | 19.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2314 | μmol/L | 29.8074 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.893 | 82184.352 | 294901.1576 | 28.7 | 67.6
102390 | 2021-04-23 12:20 | 20.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4459 | μmol/L | 29.7647 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.895 | 82186.9612 | 294876.8011 | 28.7 | 67.6
102400 | 2021-04-23 12:20 | 20.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4475 | μmol/L | 29.7525 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.899 | 82169.2095 | 294858.4878 | 28.7 | 67.6
102410 | 2021-04-23 12:20 | 20.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8263 | μmol/L | 29.8502 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.902 | 82176.2106 | 294839.3459 | 28.7 | 67.6
102420 | 2021-04-23 12:21 | 21.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4127 | μmol/L | 29.7525 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.901 | 82162.3401 | 294826.6627 | 28.7 | 67.6
102430 | 2021-04-23 12:21 | 21.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9676 | μmol/L | 29.8319 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.9 | 82168.452 | 294800.0255 | 28.7 | 67.6
102440 | 2021-04-23 12:21 | 21.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1628 | μmol/L | 29.8013 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.899 | 82164.1484 | 294797.1202 | 28.7 | 67.6
102450 | 2021-04-23 12:22 | 22.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5369 | μmol/L | 29.7342 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.9 | 82147.828 | 294777.2849 | 28.7 | 67.6
102460 | 2021-04-23 12:22 | 22.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1662 | μmol/L | 29.7769 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.907 | 82144.5991 | 294768.1338 | 28.7 | 67.6
102470 | 2021-04-23 12:22 | 22.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1124 | μmol/L | 29.7891 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.906 | 82149.783 | 294757.6576 | 28.7 | 67.6
102480 | 2021-04-23 12:23 | 23.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1861 | μmol/L | 29.7586 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.912 | 82153.3406 | 294735.8602 | 28.7 | 67.6
102490 | 2021-04-23 12:23 | 23.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.972 | μmol/L | 29.8013 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.91 | 82145.5156 | 294714.1948 | 28.7 | 67.6
102500 | 2021-04-23 12:23 | 23.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1861 | μmol/L | 29.7586 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.912 | 82150.7325 | 294696.9963 | 28.7 | 67.6
102510 | 2021-04-23 12:24 | 24.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3656 | μmol/L | 29.7159 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.916 | 82151.2659 | 294694.7398 | 28.7 | 67.6
102520 | 2021-04-23 12:24 | 24.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0845 | μmol/L | 29.7403 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.924 | 82153.1875 | 294662.5674 | 28.7 | 67.6
102530 | 2021-04-23 12:24 | 24.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2465 | μmol/L | 29.6976 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.929 | 82147.2345 | 294652.3371 | 28.7 | 67.6
102540 | 2021-04-23 12:25 | 25.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2424 | μmol/L | 29.7281 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.919 | 82115.4004 | 294631.9692 | 28.7 | 67.6
102550 | 2021-04-23 12:25 | 25.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4074 | μmol/L | 29.8746 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.918 | 82143.108 | 294625.0683 | 28.7 | 67.6
102560 | 2021-04-23 12:25 | 25.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0464 | μmol/L | 29.7647 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.918 | 82128.0513 | 294602.9679 | 28.7 | 67.6
102570 | 2021-04-23 12:26 | 26.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.5901 | μmol/L | 29.8074 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.93 | 82136.7877 | 294607.0161 | 28.7 | 67.6
102580 | 2021-04-23 12:26 | 26.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7519 | μmol/L | 29.7647 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.935 | 82135.5501 | 294581.224 | 28.7 | 67.6
102590 | 2021-04-23 12:26 | 26.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9987 | μmol/L | 29.7342 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.931 | 82129.4353 | 294566.1821 | 28.7 | 67.6
102600 | 2021-04-23 12:27 | 27.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.5892 | μmol/L | 29.8136 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.928 | 82119.0009 | 294559.531 | 28.7 | 67.6
102610 | 2021-04-23 12:27 | 27.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3237 | μmol/L | 29.8563 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.929 | 82127.9996 | 294545.8849 | 28.7 | 67.6
102620 | 2021-04-23 12:27 | 27.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.732 | μmol/L | 29.783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.93 | 82125.9663 | 294522.9601 | 28.7 | 67.6
102630 | 2021-04-23 12:28 | 28.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.4163 | μmol/L | 29.8136 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.938 | 82123.6526 | 294516.7688 | 28.7 | 67.6
102640 | 2021-04-23 12:28 | 28.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8748 | μmol/L | 29.7525 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.932 | 82118.6903 | 294503.611 | 28.7 | 67.6
102650 | 2021-04-23 12:28 | 28.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.54 | μmol/L | 29.7952 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.937 | 82127.5328 | 294486.943 | 28.7 | 67.6
102660 | 2021-04-23 12:29 | 29.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.221 | μmol/L | 29.8502 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.937 | 82111.4256 | 294476.4308 | 28.7 | 67.6
102670 | 2021-04-23 12:29 | 29.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8315 | μmol/L | 29.9173 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.937 | 82124.8616 | 294469.773 | 28.7 | 67.6
102680 | 2021-04-23 12:29 | 29.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8706 | μmol/L | 29.8868 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.945 | 82238.0879 | 294450.9846 | 28.7 | 67.6