## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101792 | 2021-04-23 12:00 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4253 | μmol/L | 29.8898 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.8 | 98717.3212 | 299222.9948 | 30.45 | 114.2
101802 | 2021-04-23 12:00 | 0.33986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3145 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.796 | 98724.17 | 299207.6565 | 30.45 | 114.2
101812 | 2021-04-23 12:00 | 0.67322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7883 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.822 | 98815.2141 | 299181.6554 | 30.45 | 114.2
101822 | 2021-04-23 12:01 | 1.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5505 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.846 | 98970.6534 | 299152.7319 | 30.45 | 114.2
101832 | 2021-04-23 12:01 | 1.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2796 | μmol/L | 29.8652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.874 | 99104.0839 | 299119.2557 | 30.45 | 114.2
101842 | 2021-04-23 12:01 | 1.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.689 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.906 | 99227.7429 | 299079.2177 | 30.45 | 114.2
101852 | 2021-04-23 12:02 | 2.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1339 | μmol/L | 29.8837 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.934 | 99358.4332 | 299054.2229 | 30.45 | 114.2
101862 | 2021-04-23 12:02 | 2.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6627 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.951 | 99435.447 | 299033.46 | 30.45 | 114.2
101872 | 2021-04-23 12:02 | 2.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0492 | μmol/L | 29.7912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.97 | 99502.2748 | 299007.8603 | 30.45 | 114.2
101882 | 2021-04-23 12:03 | 3.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0622 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.986 | 99551.8552 | 298972.1337 | 30.45 | 114.2
101892 | 2021-04-23 12:03 | 3.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0135 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.993 | 99595.1029 | 298956.7558 | 30.45 | 114.2
101902 | 2021-04-23 12:03 | 3.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2927 | μmol/L | 29.6926 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.989 | 99589.77 | 298922.8722 | 30.45 | 114.2
101912 | 2021-04-23 12:04 | 4.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9621 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.996 | 99601.2057 | 298880.8754 | 30.45 | 114.2
101922 | 2021-04-23 12:04 | 4.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6925 | μmol/L | 29.8837 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.018 | 99649.3718 | 298852.0521 | 30.45 | 114.2
101932 | 2021-04-23 12:04 | 4.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7241 | μmol/L | 29.896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.012 | 99644.3886 | 298832.4058 | 30.45 | 114.2
101942 | 2021-04-23 12:05 | 5.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8239 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.029 | 99689.5138 | 298796.5963 | 30.45 | 114.2
101952 | 2021-04-23 12:05 | 5.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4469 | μmol/L | 29.7111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.032 | 99703.2042 | 298775.7528 | 30.45 | 114.2
101962 | 2021-04-23 12:05 | 5.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3955 | μmol/L | 29.7111 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.035 | 99722.9215 | 298741.3047 | 30.45 | 114.2
101972 | 2021-04-23 12:06 | 6.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0316 | μmol/L | 29.8159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.021 | 99649.7987 | 298731.4998 | 30.45 | 114.2
101982 | 2021-04-23 12:06 | 6.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7333 | μmol/L | 29.8528 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.026 | 99655.5163 | 298700.0928 | 30.45 | 114.2
101992 | 2021-04-23 12:06 | 6.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1432 | μmol/L | 29.7727 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.029 | 99641.9669 | 298666.736 | 30.45 | 114.2
102002 | 2021-04-23 12:07 | 7.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7385 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.034 | 99654.5326 | 298631.1169 | 30.45 | 114.2
102012 | 2021-04-23 12:07 | 7.3405 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4222 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.038 | 99652.8802 | 298617.4507 | 30.45 | 114.2
102022 | 2021-04-23 12:07 | 7.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8526 | μmol/L | 29.7727 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.046 | 99670.0309 | 298595.8116 | 30.45 | 114.2
102032 | 2021-04-23 12:08 | 8.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7069 | μmol/L | 29.8159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.04 | 99642.7543 | 298569.1691 | 30.45 | 114.2
102042 | 2021-04-23 12:08 | 8.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.619 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.041 | 99626.3627 | 298546.3831 | 30.45 | 114.2
102052 | 2021-04-23 12:08 | 8.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4248 | μmol/L | 29.859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.042 | 99622.2054 | 298530.9711 | 30.45 | 114.2
102062 | 2021-04-23 12:09 | 9.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0409 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.05 | 99636.3025 | 298492.1003 | 30.45 | 114.2
102072 | 2021-04-23 12:09 | 9.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2204 | μmol/L | 29.859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.054 | 99639.3681 | 298484.2661 | 30.45 | 114.2
102082 | 2021-04-23 12:09 | 9.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.8607 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.071 | 99725.1939 | 298447.0061 | 30.45 | 114.2
102092 | 2021-04-23 12:10 | 10.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0569 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.074 | 99724.943 | 298411.9364 | 30.45 | 114.2
102102 | 2021-04-23 12:10 | 10.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2951 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.06 | 99667.1336 | 298395.2499 | 30.45 | 114.2
102112 | 2021-04-23 12:10 | 10.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.8043 | μmol/L | 29.896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.066 | 99673.7426 | 298368.0926 | 30.45 | 114.2
102122 | 2021-04-23 12:11 | 11.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5389 | μmol/L | 29.9453 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.065 | 99665.9174 | 298341.9517 | 30.45 | 114.2
102132 | 2021-04-23 12:11 | 11.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.896 | μmol/L | 29.8652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.071 | 99681.351 | 298315.7886 | 30.45 | 114.2
102142 | 2021-04-23 12:11 | 11.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4807 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.083 | 99720.0105 | 298288.8944 | 30.45 | 114.2
102152 | 2021-04-23 12:12 | 12.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1747 | μmol/L | 29.7542 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.092 | 99752.1882 | 298262.3603 | 30.45 | 114.2
102162 | 2021-04-23 12:12 | 12.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.1329 | μmol/L | 29.7912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.082 | 99706.175 | 298252.3804 | 30.45 | 114.2
102172 | 2021-04-23 12:12 | 12.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.272 | μmol/L | 29.9268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.087 | 99705.39 | 298208.1029 | 30.45 | 114.2
102182 | 2021-04-23 12:13 | 13.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.224 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.094 | 99743.0472 | 298192.5334 | 30.45 | 114.2
102192 | 2021-04-23 12:13 | 13.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9859 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.106 | 99774.1994 | 298175.1673 | 30.45 | 114.2
102202 | 2021-04-23 12:13 | 13.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1549 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.096 | 99736.4096 | 298148.7845 | 30.45 | 114.2
102212 | 2021-04-23 12:14 | 14.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.508 | μmol/L | 29.9453 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.126 | 99839.8163 | 298116.3317 | 30.45 | 114.2
102222 | 2021-04-23 12:14 | 14.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2878 | μmol/L | 29.7789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.136 | 99904.5194 | 298103.1788 | 30.45 | 114.2
102232 | 2021-04-23 12:14 | 14.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8633 | μmol/L | 29.8652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.132 | 99875.4393 | 298081.888 | 30.45 | 114.2
102242 | 2021-04-23 12:15 | 15.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3579 | μmol/L | 29.9391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.137 | 99885.5738 | 298051.0311 | 30.45 | 114.2
102252 | 2021-04-23 12:15 | 15.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8099 | μmol/L | 29.8775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.131 | 99846.7248 | 298029.9964 | 30.45 | 114.2
102262 | 2021-04-23 12:15 | 15.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2766 | μmol/L | 29.9268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.146 | 99910.457 | 298003.6563 | 30.45 | 114.2
102272 | 2021-04-23 12:16 | 16.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.065 | μmol/L | 29.97 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.144 | 99888.3639 | 297994.4829 | 30.45 | 114.2
102282 | 2021-04-23 12:16 | 16.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2191 | μmol/L | 29.9576 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.139 | 99862.1702 | 297988.2396 | 30.45 | 114.2
102292 | 2021-04-23 12:16 | 16.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4014 | μmol/L | 29.896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.149 | 99889.8139 | 297962.7009 | 30.45 | 114.2
102302 | 2021-04-23 12:17 | 17.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0764 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.16 | 99945.6515 | 297937.9987 | 30.45 | 114.2
102312 | 2021-04-23 12:17 | 17.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2612 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.149 | 99861.2122 | 297929.2211 | 30.45 | 114.2
102322 | 2021-04-23 12:17 | 17.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4351 | μmol/L | 29.896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.147 | 99839.8935 | 297892.2983 | 30.45 | 114.2
102332 | 2021-04-23 12:18 | 18.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9925 | μmol/L | 29.9206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 99918.6193 | 297865.5528 | 30.45 | 114.2
102342 | 2021-04-23 12:18 | 18.3404 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9996 | μmol/L | 29.8898 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.175 | 99964.167 | 297856.5613 | 30.45 | 114.2
102352 | 2021-04-23 12:18 | 18.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6084 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.19 | 100044.6453 | 297823.2662 | 30.45 | 114.2
102362 | 2021-04-23 12:19 | 19.0072 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4382 | μmol/L | 29.9268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.196 | 100078.6642 | 297797.6658 | 30.45 | 114.2
102372 | 2021-04-23 12:19 | 19.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3408 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.206 | 100077.4568 | 297793.3359 | 30.45 | 114.2
102382 | 2021-04-23 12:19 | 19.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7677 | μmol/L | 29.8775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.193 | 100000.9774 | 297777.3804 | 30.45 | 114.2
102392 | 2021-04-23 12:20 | 20.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4077 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.202 | 100051.2952 | 297750.1242 | 30.45 | 114.2
102402 | 2021-04-23 12:20 | 20.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6505 | μmol/L | 29.8775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.2 | 100050.8451 | 297742.3294 | 30.45 | 114.2
102412 | 2021-04-23 12:20 | 20.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4541 | μmol/L | 29.859 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.218 | 100109.6147 | 297719.2216 | 30.45 | 114.2
102422 | 2021-04-23 12:21 | 21.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4054 | μmol/L | 29.8528 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.223 | 100122.9412 | 297701.7633 | 30.45 | 114.2
102432 | 2021-04-23 12:21 | 21.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2994 | μmol/L | 29.8775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.221 | 100126.1114 | 297687.9998 | 30.45 | 114.2
102442 | 2021-04-23 12:21 | 21.6738 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0614 | μmol/L | 29.896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.229 | 100144.3006 | 297662.5866 | 30.45 | 114.2
102452 | 2021-04-23 12:22 | 22.007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3763 | μmol/L | 29.8344 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.231 | 100153.1742 | 297656.6758 | 30.45 | 114.2
102462 | 2021-04-23 12:22 | 22.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1169 | μmol/L | 29.6679 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.243 | 100217.511 | 297625.4548 | 30.45 | 114.2
102472 | 2021-04-23 12:22 | 22.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2971 | μmol/L | 29.8159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.242 | 100200.1654 | 297616.419 | 30.45 | 114.2
102482 | 2021-04-23 12:23 | 23.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1564 | μmol/L | 29.8467 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.24 | 100170.1811 | 297580.7662 | 30.45 | 114.2
102492 | 2021-04-23 12:23 | 23.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3529 | μmol/L | 29.7912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.247 | 100212.1903 | 297577.6296 | 30.45 | 114.2
102502 | 2021-04-23 12:23 | 23.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9607 | μmol/L | 29.8282 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.258 | 100263.2174 | 297551.3544 | 30.45 | 114.2
102512 | 2021-04-23 12:24 | 24.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7385 | μmol/L | 29.8528 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 100285.1669 | 297531.735 | 30.45 | 114.2
102522 | 2021-04-23 12:24 | 24.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3852 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.278 | 100355.7289 | 297523.795 | 30.45 | 114.2
102532 | 2021-04-23 12:24 | 24.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5571 | μmol/L | 29.8467 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.276 | 100333.9412 | 297501.6584 | 30.45 | 114.2
102542 | 2021-04-23 12:25 | 25.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4697 | μmol/L | 29.8652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.275 | 100317.2296 | 297487.5821 | 30.45 | 114.2
102552 | 2021-04-23 12:25 | 25.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4018 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.277 | 100327.0573 | 297462.9446 | 30.45 | 114.2
102562 | 2021-04-23 12:25 | 25.6739 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1892 | μmol/L | 29.7049 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.286 | 100335.6626 | 297448.6114 | 30.45 | 114.2
102572 | 2021-04-23 12:26 | 26.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0867 | μmol/L | 29.8713 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.296 | 100391.4089 | 297429.1796 | 30.45 | 114.2
102582 | 2021-04-23 12:26 | 26.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.085 | μmol/L | 29.8097 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.317 | 100483.7953 | 297414.5689 | 30.45 | 114.2
102592 | 2021-04-23 12:26 | 26.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7932 | μmol/L | 29.785 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.343 | 100571.0234 | 297393.0388 | 30.45 | 114.2
102602 | 2021-04-23 12:27 | 27.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7813 | μmol/L | 29.8344 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.327 | 100522.7421 | 297374.1557 | 30.45 | 114.2
102612 | 2021-04-23 12:27 | 27.3403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2039 | μmol/L | 29.7974 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.314 | 100475.6408 | 297360.764 | 30.45 | 114.2
102622 | 2021-04-23 12:27 | 27.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1556 | μmol/L | 29.7912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.319 | 100493.887 | 297347.8167 | 30.45 | 114.2
102632 | 2021-04-23 12:28 | 28.0071 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1781 | μmol/L | 29.7666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.326 | 100504.4521 | 297341.3434 | 30.45 | 114.2
102642 | 2021-04-23 12:28 | 28.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6807 | μmol/L | 29.8405 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.331 | 100545.1107 | 297310.4577 | 30.45 | 114.2
102652 | 2021-04-23 12:28 | 28.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3986 | μmol/L | 29.8467 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.346 | 100576.6976 | 297301.8222 | 30.45 | 114.2
102662 | 2021-04-23 12:29 | 29.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6311 | μmol/L | 29.8405 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.334 | 100512.4753 | 297281.938 | 30.45 | 114.2
102672 | 2021-04-23 12:29 | 29.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5531 | μmol/L | 29.822 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.345 | 100579.0066 | 297262.3127 | 30.45 | 114.2
102682 | 2021-04-23 12:29 | 29.6737 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7256 | μmol/L | 29.7912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.345 | 100566.6367 | 297247.765 | 30.45 | 114.2