## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101793 | 2021-04-23 12:00 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.4868 | μmol/L | 29.653 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.414 | 122724.0336 | 295185.2715 | 59.9307 | 49.4
101803 | 2021-04-23 12:00 | 0.33053 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.4335 | μmol/L | 29.7954 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.424 | 121162.9748 | 295162.524 | 59.9307 | 49.4
101813 | 2021-04-23 12:00 | 0.66381 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.1083 | μmol/L | 29.7644 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.452 | 120704.969 | 295139.541 | 59.9307 | 49.4
101823 | 2021-04-23 12:01 | 0.99732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.5414 | μmol/L | 29.7644 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.483 | 121477.2278 | 295102.2496 | 59.9307 | 49.4
101833 | 2021-04-23 12:01 | 1.3304 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2485 | μmol/L | 29.7706 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.497 | 121673.686 | 295052.0149 | 59.9307 | 49.4
101843 | 2021-04-23 12:01 | 1.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.3074 | μmol/L | 29.7459 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.502 | 122033.605 | 295036.8821 | 59.9307 | 49.4
101853 | 2021-04-23 12:02 | 1.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.8652 | μmol/L | 29.7768 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.516 | 122018.7231 | 295013.1098 | 59.9307 | 49.4
101863 | 2021-04-23 12:02 | 2.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4849 | μmol/L | 29.7706 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.539 | 122077.9665 | 294959.5995 | 59.9307 | 49.4
101873 | 2021-04-23 12:02 | 2.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4157 | μmol/L | 29.7521 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.549 | 122463.3023 | 294963.5521 | 59.9307 | 49.4
101883 | 2021-04-23 12:03 | 2.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.0535 | μmol/L | 29.7521 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.569 | 122623.7326 | 294931.6857 | 59.9307 | 49.4
101893 | 2021-04-23 12:03 | 3.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1009 | μmol/L | 29.8325 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.595 | 122746.7483 | 294913.9331 | 59.9307 | 49.4
101903 | 2021-04-23 12:03 | 3.6638 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8383 | μmol/L | 29.7954 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.622 | 122902.6559 | 294875.203 | 59.9307 | 49.4
101913 | 2021-04-23 12:04 | 3.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4356 | μmol/L | 29.8387 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.63 | 122965.4184 | 294863.2105 | 59.9307 | 49.4
101923 | 2021-04-23 12:04 | 4.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1086 | μmol/L | 29.8635 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.64 | 122951.4812 | 294850.2799 | 59.9307 | 49.4
101933 | 2021-04-23 12:04 | 4.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3758 | μmol/L | 29.7768 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.654 | 123076.547 | 294816.0074 | 59.9307 | 49.4
101943 | 2021-04-23 12:05 | 4.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6124 | μmol/L | 29.8449 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.674 | 123179.8557 | 294801.8369 | 59.9307 | 49.4
101953 | 2021-04-23 12:05 | 5.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4828 | μmol/L | 29.8697 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.673 | 123146.5298 | 294779.9131 | 59.9307 | 49.4
101963 | 2021-04-23 12:05 | 5.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6671 | μmol/L | 29.8387 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.673 | 123133.6254 | 294767.9939 | 59.9307 | 49.4
101973 | 2021-04-23 12:06 | 5.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8443 | μmol/L | 29.8449 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.661 | 123200.8222 | 294738.7832 | 59.9307 | 49.4
101983 | 2021-04-23 12:06 | 6.331 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5663 | μmol/L | 29.8078 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.689 | 123207.6874 | 294715.1366 | 59.9307 | 49.4
101993 | 2021-04-23 12:06 | 6.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5105 | μmol/L | 29.8202 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.688 | 123175.7179 | 294678.5076 | 59.9307 | 49.4
102003 | 2021-04-23 12:07 | 6.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.438 | μmol/L | 29.8264 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.69 | 123179.1828 | 294665.5221 | 59.9307 | 49.4
102013 | 2021-04-23 12:07 | 7.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5485 | μmol/L | 29.8078 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.69 | 123173.8208 | 294628.5384 | 59.9307 | 49.4
102023 | 2021-04-23 12:07 | 7.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5841 | μmol/L | 29.8078 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.688 | 123138.0502 | 294612.8227 | 59.9307 | 49.4
102033 | 2021-04-23 12:08 | 7.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5793 | μmol/L | 29.8325 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.68 | 123107.9465 | 294594.2998 | 59.9307 | 49.4
102043 | 2021-04-23 12:08 | 8.3304 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4356 | μmol/L | 29.8387 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.686 | 123132.9588 | 294574.0616 | 59.9307 | 49.4
102053 | 2021-04-23 12:08 | 8.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5497 | μmol/L | 29.8016 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.692 | 123125.0117 | 294563.2655 | 59.9307 | 49.4
102063 | 2021-04-23 12:09 | 8.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6757 | μmol/L | 29.7954 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.687 | 123154.12 | 294530.6697 | 59.9307 | 49.4
102073 | 2021-04-23 12:09 | 9.3304 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2932 | μmol/L | 29.8387 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.694 | 123226.8128 | 294523.1923 | 59.9307 | 49.4
102083 | 2021-04-23 12:09 | 9.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9742 | μmol/L | 29.7273 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.693 | 123326.2549 | 294509.6349 | 59.9307 | 49.4
102093 | 2021-04-23 12:10 | 9.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5854 | μmol/L | 29.8016 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.69 | 123316.6373 | 294499.4401 | 59.9307 | 49.4
102103 | 2021-04-23 12:10 | 10.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1217 | μmol/L | 29.7025 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.693 | 123408.4352 | 294471.551 | 59.9307 | 49.4
102113 | 2021-04-23 12:10 | 10.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9552 | μmol/L | 29.7335 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.692 | 123497.6537 | 294451.7932 | 59.9307 | 49.4
102123 | 2021-04-23 12:11 | 10.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3135 | μmol/L | 29.8264 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.697 | 123674.7767 | 294422.7254 | 59.9307 | 49.4
102133 | 2021-04-23 12:11 | 11.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8279 | μmol/L | 29.7459 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.695 | 123669.1671 | 294405.9443 | 59.9307 | 49.4
102143 | 2021-04-23 12:11 | 11.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9016 | μmol/L | 29.7335 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.695 | 123733.7894 | 294398.2787 | 59.9307 | 49.4
102153 | 2021-04-23 12:12 | 11.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5497 | μmol/L | 29.8016 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.692 | 123768.1228 | 294378.0882 | 59.9307 | 49.4
102163 | 2021-04-23 12:12 | 12.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5806 | μmol/L | 29.783 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.696 | 123774.1091 | 294362.022 | 59.9307 | 49.4
102173 | 2021-04-23 12:12 | 12.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0525 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.705 | 123826.3968 | 294330.5568 | 59.9307 | 49.4
102183 | 2021-04-23 12:13 | 12.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2093 | μmol/L | 29.814 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.707 | 123720.698 | 294312.2813 | 59.9307 | 49.4
102193 | 2021-04-23 12:13 | 13.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.543 | μmol/L | 29.8635 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.728 | 123730.8145 | 294295.7825 | 59.9307 | 49.4
102203 | 2021-04-23 12:13 | 13.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3406 | μmol/L | 29.9007 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.727 | 123758.992 | 294281.0495 | 59.9307 | 49.4
102213 | 2021-04-23 12:14 | 13.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0067 | μmol/L | 29.8078 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.72 | 123806.1803 | 294250.2302 | 59.9307 | 49.4
102223 | 2021-04-23 12:14 | 14.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5201 | μmol/L | 29.8883 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.721 | 123854.9995 | 294251.3478 | 59.9307 | 49.4
102233 | 2021-04-23 12:14 | 14.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5268 | μmol/L | 29.9007 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.716 | 123798.4895 | 294218.0902 | 59.9307 | 49.4
102243 | 2021-04-23 12:15 | 14.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.7716 | μmol/L | 29.9626 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.738 | 123904.615 | 294218.49 | 59.9307 | 49.4
102253 | 2021-04-23 12:15 | 15.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3358 | μmol/L | 29.8387 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.748 | 123834.2532 | 294190.8031 | 59.9307 | 49.4
102263 | 2021-04-23 12:15 | 15.6638 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.124 | μmol/L | 29.8821 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.745 | 123872.2169 | 294195.5868 | 59.9307 | 49.4
102273 | 2021-04-23 12:16 | 15.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0913 | μmol/L | 29.7397 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.738 | 123806.1798 | 294143.3485 | 59.9307 | 49.4
102283 | 2021-04-23 12:16 | 16.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3281 | μmol/L | 29.8759 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.736 | 123855.8576 | 294145.6371 | 59.9307 | 49.4
102293 | 2021-04-23 12:16 | 16.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3601 | μmol/L | 29.8511 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.742 | 123865.5222 | 294145.4986 | 59.9307 | 49.4
102303 | 2021-04-23 12:17 | 16.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0069 | μmol/L | 29.8511 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.762 | 124039.7513 | 294119.1145 | 59.9307 | 49.4
102313 | 2021-04-23 12:17 | 17.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.9977 | μmol/L | 29.8511 | °C | 1015 | hPa | Humid | 28 | 1 | 0 | 20.763 | 123996.0452 | 294095.6265 | 59.9307 | 49.4
102323 | 2021-04-23 12:17 | 17.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2997 | μmol/L | 29.8016 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.762 | 124027.4392 | 294085.2909 | 59.9307 | 49.4
102333 | 2021-04-23 12:18 | 17.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4975 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.793 | 123623.8817 | 294068.6287 | 59.9307 | 49.4
102343 | 2021-04-23 12:18 | 18.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.798 | μmol/L | 29.8387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.778 | 123568.7095 | 294057.7697 | 59.9307 | 49.4
102353 | 2021-04-23 12:18 | 18.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0134 | μmol/L | 29.8202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.772 | 123745.8458 | 294035.5062 | 59.9307 | 49.4
102363 | 2021-04-23 12:19 | 18.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0512 | μmol/L | 29.8078 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.774 | 123949.3901 | 294030.3624 | 59.9307 | 49.4
102373 | 2021-04-23 12:19 | 19.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8156 | μmol/L | 29.8387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.777 | 124073.6427 | 294024.5234 | 59.9307 | 49.4
102383 | 2021-04-23 12:19 | 19.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8384 | μmol/L | 29.814 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.784 | 124104.1227 | 294011.6057 | 59.9307 | 49.4
102393 | 2021-04-23 12:20 | 19.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0009 | μmol/L | 29.7954 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.781 | 124065.6554 | 293992.1419 | 59.9307 | 49.4
102403 | 2021-04-23 12:20 | 20.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3569 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.801 | 124105.4578 | 293983.5708 | 59.9307 | 49.4
102413 | 2021-04-23 12:20 | 20.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1949 | μmol/L | 29.8635 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.804 | 124213.6746 | 293964.0424 | 59.9307 | 49.4
102423 | 2021-04-23 12:21 | 20.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1826 | μmol/L | 29.8387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.813 | 124249.5083 | 293952.5004 | 59.9307 | 49.4
102433 | 2021-04-23 12:21 | 21.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1366 | μmol/L | 29.8078 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.826 | 124289.4915 | 293933.0041 | 59.9307 | 49.4
102443 | 2021-04-23 12:21 | 21.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0963 | μmol/L | 29.8325 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.82 | 124232.5953 | 293915.2617 | 59.9307 | 49.4
102453 | 2021-04-23 12:22 | 21.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.2217 | μmol/L | 29.8202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.817 | 124274.0707 | 293910.4591 | 59.9307 | 49.4
102463 | 2021-04-23 12:22 | 22.3305 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.8456 | μmol/L | 29.8573 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.826 | 124312.1147 | 293882.0925 | 59.9307 | 49.4
102473 | 2021-04-23 12:22 | 22.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0139 | μmol/L | 29.8078 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.833 | 124351.134 | 293876.1161 | 59.9307 | 49.4
102483 | 2021-04-23 12:23 | 22.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0206 | μmol/L | 29.7768 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.843 | 124302.7985 | 293848.519 | 59.9307 | 49.4
102493 | 2021-04-23 12:23 | 23.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1148 | μmol/L | 29.7459 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.848 | 124104.9028 | 293849.4454 | 59.9307 | 49.4
102503 | 2021-04-23 12:23 | 23.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.8993 | μmol/L | 29.7706 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.852 | 124402.4358 | 293824.2252 | 59.9307 | 49.4
102513 | 2021-04-23 12:24 | 23.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.696 | μmol/L | 29.7397 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.874 | 124552.5471 | 293818.7897 | 59.9307 | 49.4
102523 | 2021-04-23 12:24 | 24.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4462 | μmol/L | 29.7644 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.88 | 124123.9743 | 293788.1244 | 59.9307 | 49.4
102533 | 2021-04-23 12:24 | 24.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.0681 | μmol/L | 29.7397 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.91 | 124147.5026 | 293781.0076 | 59.9307 | 49.4
102543 | 2021-04-23 12:25 | 24.9972 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1751 | μmol/L | 29.8078 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.881 | 123996.1769 | 293755.8487 | 59.9307 | 49.4
102553 | 2021-04-23 12:25 | 25.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5058 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.907 | 124168.1216 | 293765.8598 | 59.9307 | 49.4
102563 | 2021-04-23 12:25 | 25.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.6038 | μmol/L | 29.7954 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.918 | 124233.4397 | 293765.1294 | 59.9307 | 49.4
102573 | 2021-04-23 12:26 | 25.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.9276 | μmol/L | 29.7459 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.916 | 124201.8516 | 293730.6931 | 59.9307 | 49.4
102583 | 2021-04-23 12:26 | 26.3305 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5753 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.903 | 124522.6588 | 293732.6581 | 59.9307 | 49.4
102593 | 2021-04-23 12:26 | 26.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5033 | μmol/L | 29.9873 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.917 | 124635.3805 | 293708.9817 | 59.9307 | 49.4
102603 | 2021-04-23 12:27 | 26.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5926 | μmol/L | 29.9749 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.916 | 124762.1294 | 293725.0962 | 59.9307 | 49.4
102613 | 2021-04-23 12:27 | 27.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.633 | μmol/L | 29.8202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.908 | 124692.3297 | 293709.7176 | 59.9307 | 49.4
102623 | 2021-04-23 12:27 | 27.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7198 | μmol/L | 29.8202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.903 | 124566.8547 | 293687.568 | 59.9307 | 49.4
102633 | 2021-04-23 12:28 | 27.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4843 | μmol/L | 29.8635 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.902 | 124251.8641 | 293661.8546 | 59.9307 | 49.4
102643 | 2021-04-23 12:28 | 28.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.0265 | μmol/L | 29.7706 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.902 | 124628.7601 | 293659.7751 | 59.9307 | 49.4
102653 | 2021-04-23 12:28 | 28.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5246 | μmol/L | 29.8387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.908 | 124623.2782 | 293648.9052 | 59.9307 | 49.4
102663 | 2021-04-23 12:29 | 28.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.6274 | μmol/L | 29.8449 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.9 | 124502.0645 | 293648.4616 | 59.9307 | 49.4
102673 | 2021-04-23 12:29 | 29.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.9125 | μmol/L | 29.814 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.894 | 124396.6606 | 293636.6117 | 59.9307 | 49.4
102683 | 2021-04-23 12:29 | 29.6643 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3876 | μmol/L | 29.9068 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.893 | 123722.2305 | 293619.7706 | 59.9307 | 49.4