## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101794 | 2021-04-23 12:00 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9795 | μmol/L | 30.1104 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.696 | 142052.4649 | 307858.6681 | 33.25 | 68.6
101804 | 2021-04-23 12:00 | 0.32853 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1128 | μmol/L | 30.0371 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.714 | 142135.4026 | 307845.5734 | 33.25 | 68.6
101814 | 2021-04-23 12:00 | 0.66123 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6772 | μmol/L | 30.086 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.723 | 142129.4725 | 307818.7654 | 33.25 | 68.6
101824 | 2021-04-23 12:01 | 0.99522 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9231 | μmol/L | 30.0188 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.732 | 142164.3833 | 307759.8367 | 33.25 | 68.6
101834 | 2021-04-23 12:01 | 1.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2406 | μmol/L | 29.9395 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.741 | 142173.3602 | 307747.4188 | 33.25 | 68.6
101844 | 2021-04-23 12:01 | 1.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4716 | μmol/L | 30.0677 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.742 | 142129.1266 | 307703.3134 | 33.25 | 68.6
101854 | 2021-04-23 12:02 | 1.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9896 | μmol/L | 29.9822 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.741 | 142111.3696 | 307677.9421 | 33.25 | 68.6
101864 | 2021-04-23 12:02 | 2.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7223 | μmol/L | 30.0249 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.742 | 142080.0671 | 307635.4232 | 33.25 | 68.6
101874 | 2021-04-23 12:02 | 2.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4802 | μmol/L | 30.0494 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.748 | 142040.2863 | 307611.6257 | 33.25 | 68.6
101884 | 2021-04-23 12:03 | 2.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2433 | μmol/L | 30.0982 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.745 | 142024.0899 | 307574.3746 | 33.25 | 68.6
101894 | 2021-04-23 12:03 | 3.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2047 | μmol/L | 30.1104 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.743 | 141989.6175 | 307552.0385 | 33.25 | 68.6
101904 | 2021-04-23 12:03 | 3.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8723 | μmol/L | 30.1531 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.748 | 141957.8769 | 307520.9923 | 33.25 | 68.6
101914 | 2021-04-23 12:04 | 3.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6742 | μmol/L | 29.8601 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.743 | 141922.674 | 307495.5541 | 33.25 | 68.6
101924 | 2021-04-23 12:04 | 4.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1387 | μmol/L | 29.9456 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.745 | 141906.1133 | 307461.2527 | 33.25 | 68.6
101934 | 2021-04-23 12:04 | 4.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4086 | μmol/L | 30.0616 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.748 | 141898.8833 | 307424.0696 | 33.25 | 68.6
101944 | 2021-04-23 12:05 | 4.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1632 | μmol/L | 30.1287 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.739 | 141842.143 | 307395.9631 | 33.25 | 68.6
101954 | 2021-04-23 12:05 | 5.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1138 | μmol/L | 30.1287 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.742 | 141837.2628 | 307364.5299 | 33.25 | 68.6
101964 | 2021-04-23 12:05 | 5.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2132 | μmol/L | 29.9272 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.747 | 141854.8696 | 307332.5147 | 33.25 | 68.6
101974 | 2021-04-23 12:06 | 5.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9896 | μmol/L | 29.9822 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.741 | 141790.7445 | 307297.6588 | 33.25 | 68.6
101984 | 2021-04-23 12:06 | 6.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5362 | μmol/L | 29.8723 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.747 | 141777.6439 | 307262.0252 | 33.25 | 68.6
101994 | 2021-04-23 12:06 | 6.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9759 | μmol/L | 29.9761 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.744 | 141757.2555 | 307237.3157 | 33.25 | 68.6
102004 | 2021-04-23 12:07 | 6.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0255 | μmol/L | 29.9761 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.741 | 141748.0754 | 307216.5054 | 33.25 | 68.6
102014 | 2021-04-23 12:07 | 7.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6742 | μmol/L | 29.8601 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.743 | 141736.5083 | 307184.4218 | 33.25 | 68.6
102024 | 2021-04-23 12:07 | 7.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6714 | μmol/L | 29.8662 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.741 | 141703.8902 | 307148.9202 | 33.25 | 68.6
102034 | 2021-04-23 12:08 | 7.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.583 | μmol/L | 29.8784 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.742 | 141679.6178 | 307132.5901 | 33.25 | 68.6
102044 | 2021-04-23 12:08 | 8.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2987 | μmol/L | 29.9211 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.744 | 141681.8778 | 307101.4539 | 33.25 | 68.6
102054 | 2021-04-23 12:08 | 8.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0557 | μmol/L | 29.9822 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.737 | 141622.7193 | 307071.8465 | 33.25 | 68.6
102064 | 2021-04-23 12:09 | 8.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4035 | μmol/L | 29.9089 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.742 | 141625.4557 | 307055.6436 | 33.25 | 68.6
102074 | 2021-04-23 12:09 | 9.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8986 | μmol/L | 30.0005 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.74 | 141609.4214 | 307017.3341 | 33.25 | 68.6
102084 | 2021-04-23 12:09 | 9.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2325 | μmol/L | 29.9211 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.748 | 141629.7206 | 306997.649 | 33.25 | 68.6
102094 | 2021-04-23 12:10 | 9.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5084 | μmol/L | 29.8967 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.74 | 141582.2179 | 306968.9881 | 33.25 | 68.6
102104 | 2021-04-23 12:10 | 10.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3346 | μmol/L | 29.915 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.744 | 141604.6977 | 306952.4676 | 33.25 | 68.6
102114 | 2021-04-23 12:10 | 10.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9429 | μmol/L | 29.9761 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.746 | 141584.8192 | 306921.1655 | 33.25 | 68.6
102124 | 2021-04-23 12:11 | 10.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2354 | μmol/L | 29.915 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.75 | 141577.0258 | 306878.7353 | 33.25 | 68.6
102134 | 2021-04-23 12:11 | 11.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3346 | μmol/L | 29.915 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.744 | 141545.1275 | 306872.4887 | 33.25 | 68.6
102144 | 2021-04-23 12:11 | 11.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8326 | μmol/L | 30.0005 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.744 | 141531.1707 | 306830.1942 | 33.25 | 68.6
102154 | 2021-04-23 12:12 | 11.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2821 | μmol/L | 29.9211 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.745 | 141515.7647 | 306806.7571 | 33.25 | 68.6
102164 | 2021-04-23 12:12 | 12.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1745 | μmol/L | 29.9395 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.745 | 141507.3163 | 306780.0119 | 33.25 | 68.6
102174 | 2021-04-23 12:12 | 12.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1443 | μmol/L | 29.9334 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.749 | 141503.0584 | 306774.0826 | 33.25 | 68.6
102184 | 2021-04-23 12:13 | 12.995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0259 | μmol/L | 29.9395 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.754 | 141491.3859 | 306743.3281 | 33.25 | 68.6
102194 | 2021-04-23 12:13 | 13.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9047 | μmol/L | 29.9517 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.757 | 141482.6988 | 306722.4187 | 33.25 | 68.6
102204 | 2021-04-23 12:13 | 13.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9457 | μmol/L | 29.97 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.748 | 141444.2036 | 306692.9724 | 33.25 | 68.6
102214 | 2021-04-23 12:14 | 13.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3071 | μmol/L | 29.9028 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.75 | 141439.9384 | 306661.4537 | 33.25 | 68.6
102224 | 2021-04-23 12:14 | 14.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0424 | μmol/L | 29.9395 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.753 | 141460.6872 | 306639.5727 | 33.25 | 68.6
102234 | 2021-04-23 12:14 | 14.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6677 | μmol/L | 30.0005 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.754 | 141432.8867 | 306621.4107 | 33.25 | 68.6
102244 | 2021-04-23 12:15 | 14.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0617 | μmol/L | 29.9334 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.754 | 141407.7428 | 306569.716 | 33.25 | 68.6
102254 | 2021-04-23 12:15 | 15.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.745 | μmol/L | 29.9761 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.758 | 141424.1628 | 306565.431 | 33.25 | 68.6
102264 | 2021-04-23 12:15 | 15.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5768 | μmol/L | 30.0188 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.753 | 141388.5087 | 306538.3065 | 33.25 | 68.6
102274 | 2021-04-23 12:16 | 15.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1233 | μmol/L | 30.0738 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.761 | 141407.6233 | 306532.4738 | 33.25 | 68.6
102284 | 2021-04-23 12:16 | 16.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2306 | μmol/L | 30.0555 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.761 | 141406.7269 | 306515.8514 | 33.25 | 68.6
102294 | 2021-04-23 12:16 | 16.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2091 | μmol/L | 30.031 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.771 | 141424.4988 | 306494.373 | 33.25 | 68.6
102304 | 2021-04-23 12:17 | 16.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7478 | μmol/L | 29.97 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.76 | 141374.9411 | 306466.3398 | 33.25 | 68.6
102314 | 2021-04-23 12:17 | 17.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4065 | μmol/L | 30.031 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.759 | 141339.4745 | 306447.4156 | 33.25 | 68.6
102324 | 2021-04-23 12:17 | 17.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1595 | μmol/L | 30.0494 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.767 | 141366.1533 | 306424.3546 | 33.25 | 68.6
102334 | 2021-04-23 12:18 | 17.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7643 | μmol/L | 30.1043 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.772 | 141379.98 | 306408.079 | 33.25 | 68.6
102344 | 2021-04-23 12:18 | 18.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8549 | μmol/L | 30.086 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.773 | 141366.4197 | 306395.0225 | 33.25 | 68.6
102354 | 2021-04-23 12:18 | 18.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8 | μmol/L | 30.0982 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.772 | 141355.7726 | 306371.567 | 33.25 | 68.6
102364 | 2021-04-23 12:19 | 18.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7647 | μmol/L | 30.086 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.778 | 141381.527 | 306349.6891 | 33.25 | 68.6
102374 | 2021-04-23 12:19 | 19.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.017 | μmol/L | 30.0555 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.774 | 141365.0549 | 306339.1318 | 33.25 | 68.6
102384 | 2021-04-23 12:19 | 19.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7182 | μmol/L | 29.9272 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.777 | 141363.9787 | 306308.6391 | 33.25 | 68.6
102394 | 2021-04-23 12:20 | 19.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.521 | μmol/L | 29.9089 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.795 | 141437.5684 | 306298.2221 | 33.25 | 68.6
102404 | 2021-04-23 12:20 | 20.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.559 | μmol/L | 29.9334 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.784 | 141364.2801 | 306265.1078 | 33.25 | 68.6
102414 | 2021-04-23 12:20 | 20.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4656 | μmol/L | 29.9395 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.788 | 141373.1599 | 306253.6481 | 33.25 | 68.6
102424 | 2021-04-23 12:21 | 20.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7185 | μmol/L | 30.0799 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.783 | 141378.92 | 306234.855 | 33.25 | 68.6
102434 | 2021-04-23 12:21 | 21.3284 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6722 | μmol/L | 30.0738 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.788 | 141366.1868 | 306212.1076 | 33.25 | 68.6
102444 | 2021-04-23 12:21 | 21.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3982 | μmol/L | 30.1165 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 21.79 | 141371.5941 | 306197.8529 | 33.25 | 68.6
102454 | 2021-04-23 12:22 | 21.9951 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2803 | μmol/L | 30.1409 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.788 | 141359.0284 | 306176.6464 | 33.25 | 68.6
102464 | 2021-04-23 12:22 | 22.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6703 | μmol/L | 30.0432 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.799 | 141386.2701 | 306166.2881 | 33.25 | 68.6
102474 | 2021-04-23 12:22 | 22.6619 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2814 | μmol/L | 30.1043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.801 | 141400.9177 | 306142.8581 | 33.25 | 68.6
102484 | 2021-04-23 12:23 | 22.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3555 | μmol/L | 30.086 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.803 | 141382.6846 | 306126.1643 | 33.25 | 68.6
102494 | 2021-04-23 12:23 | 23.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3998 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.809 | 141387.7374 | 306102.0798 | 33.25 | 68.6
102504 | 2021-04-23 12:23 | 23.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6683 | μmol/L | 30.0127 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.81 | 141397.4286 | 306088.7363 | 33.25 | 68.6
102514 | 2021-04-23 12:24 | 23.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.548 | μmol/L | 30.0249 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.813 | 141380.7138 | 306070.3433 | 33.25 | 68.6
102524 | 2021-04-23 12:24 | 24.3282 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1017 | μmol/L | 30.1043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.812 | 141377.508 | 306045.3697 | 33.25 | 68.6
102534 | 2021-04-23 12:24 | 24.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0394 | μmol/L | 30.0982 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.818 | 141410.2595 | 306022.9102 | 33.25 | 68.6
102544 | 2021-04-23 12:25 | 24.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0068 | μmol/L | 30.0982 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.82 | 141401.3595 | 306006.023 | 33.25 | 68.6
102554 | 2021-04-23 12:25 | 25.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9445 | μmol/L | 30.0921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.826 | 141409.673 | 305988.2496 | 33.25 | 68.6
102564 | 2021-04-23 12:25 | 25.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1384 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.825 | 141414.2234 | 305978.1038 | 33.25 | 68.6
102574 | 2021-04-23 12:26 | 25.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7949 | μmol/L | 30.0982 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.833 | 141443.7114 | 305959.5733 | 33.25 | 68.6
102584 | 2021-04-23 12:26 | 26.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5331 | μmol/L | 30.1348 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.836 | 141449.9817 | 305950.619 | 33.25 | 68.6
102594 | 2021-04-23 12:26 | 26.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7489 | μmol/L | 30.0921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.838 | 141458.3088 | 305930.8608 | 33.25 | 68.6
102604 | 2021-04-23 12:27 | 26.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8613 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.842 | 141467.3994 | 305906.1219 | 33.25 | 68.6
102614 | 2021-04-23 12:27 | 27.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0196 | μmol/L | 30.0371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.841 | 141457.9298 | 305896.8812 | 33.25 | 68.6
102624 | 2021-04-23 12:27 | 27.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7769 | μmol/L | 30.0677 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.845 | 141470.1306 | 305883.3972 | 33.25 | 68.6
102634 | 2021-04-23 12:28 | 27.9952 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4991 | μmol/L | 30.1043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.849 | 141482.9895 | 305868.7725 | 33.25 | 68.6
102644 | 2021-04-23 12:28 | 28.3285 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6897 | μmol/L | 30.0799 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.846 | 141464.8452 | 305846.1782 | 33.25 | 68.6
102654 | 2021-04-23 12:28 | 28.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5758 | μmol/L | 30.0799 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.853 | 141463.0787 | 305823.0499 | 33.25 | 68.6
102664 | 2021-04-23 12:29 | 28.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5537 | μmol/L | 30.0921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.85 | 141452.8542 | 305802.8518 | 33.25 | 68.6
102674 | 2021-04-23 12:29 | 29.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9794 | μmol/L | 30.0188 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.85 | 141482.2402 | 305791.8432 | 33.25 | 68.6
102684 | 2021-04-23 12:29 | 29.6618 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5049 | μmol/L | 30.0921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.853 | 141459.5115 | 305772.2062 | 33.25 | 68.6