## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101795 | 2021-04-23 12:00 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.7552 | μmol/L | 30.0675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.516 | 125556.9605 | 271126.3053 | 26.25 | 74
101805 | 2021-04-23 12:00 | 0.34087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0533 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.569 | 125896.0926 | 271108.3123 | 26.25 | 74
101815 | 2021-04-23 12:01 | 0.67434 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.5803 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.589 | 126057.0236 | 271080.9375 | 26.25 | 74
101825 | 2021-04-23 12:01 | 1.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.7069 | μmol/L | 30.098 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.619 | 126198.8766 | 271066.0978 | 26.25 | 74
101835 | 2021-04-23 12:01 | 1.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5682 | μmol/L | 30.0675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.637 | 126339.4495 | 271033.0878 | 26.25 | 74
101845 | 2021-04-23 12:02 | 1.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.0924 | μmol/L | 30.0186 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.68 | 126588.6577 | 271005.5595 | 26.25 | 74
101855 | 2021-04-23 12:02 | 2.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4981 | μmol/L | 30.0491 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.703 | 126732.1296 | 270969.8907 | 26.25 | 74
101865 | 2021-04-23 12:02 | 2.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5546 | μmol/L | 30.1592 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.719 | 126813.0132 | 270945.6686 | 26.25 | 74
101875 | 2021-04-23 12:03 | 2.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9634 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.731 | 126901.8988 | 270919.7022 | 26.25 | 74
101885 | 2021-04-23 12:03 | 3.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4132 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.716 | 126799.9241 | 270877.031 | 26.25 | 74
101895 | 2021-04-23 12:03 | 3.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1087 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.729 | 126860.9596 | 270856.9696 | 26.25 | 74
101905 | 2021-04-23 12:04 | 3.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5213 | μmol/L | 30.1469 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.725 | 126835.1785 | 270821.0789 | 26.25 | 74
101915 | 2021-04-23 12:04 | 4.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2886 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.723 | 126825.8656 | 270803.7166 | 26.25 | 74
101925 | 2021-04-23 12:04 | 4.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4591 | μmol/L | 29.9635 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.734 | 126861.0833 | 270779.2445 | 26.25 | 74
101935 | 2021-04-23 12:05 | 4.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4647 | μmol/L | 30.0675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.755 | 126982.7494 | 270743.8797 | 26.25 | 74
101945 | 2021-04-23 12:05 | 5.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4304 | μmol/L | 30.0613 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.759 | 126986.3904 | 270720.1411 | 26.25 | 74
101955 | 2021-04-23 12:05 | 5.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6704 | μmol/L | 30.0063 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.764 | 127028.2265 | 270697.008 | 26.25 | 74
101965 | 2021-04-23 12:06 | 5.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8423 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.744 | 126918.7682 | 270675.4617 | 26.25 | 74
101975 | 2021-04-23 12:06 | 6.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3542 | μmol/L | 30.0919 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.753 | 126927.6993 | 270646.4483 | 26.25 | 74
101985 | 2021-04-23 12:06 | 6.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3741 | μmol/L | 30.0797 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.756 | 126940.2538 | 270634.4828 | 26.25 | 74
101995 | 2021-04-23 12:07 | 6.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0847 | μmol/L | 29.9697 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.753 | 126887.3764 | 270599.0611 | 26.25 | 74
102005 | 2021-04-23 12:07 | 7.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5181 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.757 | 126889.3171 | 270587.6654 | 26.25 | 74
102015 | 2021-04-23 12:07 | 7.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6639 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.752 | 126878.2311 | 270542.5852 | 26.25 | 74
102025 | 2021-04-23 12:08 | 7.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8132 | μmol/L | 30.0002 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.758 | 126880.527 | 270527.3802 | 26.25 | 74
102035 | 2021-04-23 12:08 | 8.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4636 | μmol/L | 30.0736 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.753 | 126867.0432 | 270506.5206 | 26.25 | 74
102045 | 2021-04-23 12:08 | 8.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.373 | μmol/L | 30.0858 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.754 | 126833.9231 | 270482.5708 | 26.25 | 74
102055 | 2021-04-23 12:09 | 8.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.8305 | μmol/L | 30.153 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.762 | 126856.0397 | 270449.21 | 26.25 | 74
102065 | 2021-04-23 12:09 | 9.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3431 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.766 | 126853.8994 | 270429.2479 | 26.25 | 74
102075 | 2021-04-23 12:09 | 9.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4852 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.763 | 126818.7175 | 270402.8596 | 26.25 | 74
102085 | 2021-04-23 12:10 | 9.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2341 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.769 | 126888.345 | 270375.5134 | 26.25 | 74
102095 | 2021-04-23 12:10 | 10.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2889 | μmol/L | 30.0613 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.767 | 126864.9041 | 270355.7326 | 26.25 | 74
102105 | 2021-04-23 12:10 | 10.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5814 | μmol/L | 30.1653 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.772 | 126887.7519 | 270342.8573 | 26.25 | 74
102115 | 2021-04-23 12:11 | 10.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9962 | μmol/L | 30.1164 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.765 | 126832.0074 | 270325.4141 | 26.25 | 74
102125 | 2021-04-23 12:11 | 11.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9841 | μmol/L | 30.0858 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.776 | 126882.5415 | 270301.0103 | 26.25 | 74
102135 | 2021-04-23 12:11 | 11.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1806 | μmol/L | 30.0736 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.769 | 126840.5738 | 270277.401 | 26.25 | 74
102145 | 2021-04-23 12:12 | 11.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2579 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.777 | 126845.0587 | 270248.6889 | 26.25 | 74
102155 | 2021-04-23 12:12 | 12.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0294 | μmol/L | 30.0308 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.792 | 126976.4836 | 270244.1444 | 26.25 | 74
102165 | 2021-04-23 12:12 | 12.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5718 | μmol/L | 30.1225 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.787 | 126943.6424 | 270215.1555 | 26.25 | 74
102175 | 2021-04-23 12:13 | 12.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7361 | μmol/L | 30.0919 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.788 | 126912.8329 | 270202.0294 | 26.25 | 74
102185 | 2021-04-23 12:13 | 13.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6042 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.812 | 127040.6437 | 270166.5413 | 26.25 | 74
102195 | 2021-04-23 12:13 | 13.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0748 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.838 | 127159.1748 | 270139.9883 | 26.25 | 74
102205 | 2021-04-23 12:14 | 13.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0607 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.845 | 127199.1346 | 270130.4637 | 26.25 | 74
102215 | 2021-04-23 12:14 | 14.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4034 | μmol/L | 29.988 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.842 | 127179.0208 | 270109.2735 | 26.25 | 74
102225 | 2021-04-23 12:14 | 14.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5112 | μmol/L | 30.2753 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.853 | 127212.5799 | 270084.4329 | 26.25 | 74
102235 | 2021-04-23 12:15 | 14.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3092 | μmol/L | 30.1225 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.859 | 127232.6348 | 270074.2567 | 26.25 | 74
102245 | 2021-04-23 12:15 | 15.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.069 | μmol/L | 30.0858 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.828 | 127037.4512 | 270056.0406 | 26.25 | 74
102255 | 2021-04-23 12:15 | 15.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8738 | μmol/L | 30.098 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.835 | 127075.5818 | 270041.0692 | 26.25 | 74
102265 | 2021-04-23 12:16 | 15.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8895 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.852 | 127169.8828 | 270019.7308 | 26.25 | 74
102275 | 2021-04-23 12:16 | 16.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4339 | μmol/L | 30.1103 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.856 | 127164.0947 | 270007.2057 | 26.25 | 74
102285 | 2021-04-23 12:16 | 16.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3453 | μmol/L | 30.1164 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.859 | 127175.5475 | 269990.7326 | 26.25 | 74
102295 | 2021-04-23 12:17 | 16.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5809 | μmol/L | 30.0736 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.86 | 127189.8785 | 269967.5042 | 26.25 | 74
102305 | 2021-04-23 12:17 | 17.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.917 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.847 | 127103.9463 | 269964.6523 | 26.25 | 74
102315 | 2021-04-23 12:17 | 17.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4152 | μmol/L | 30.1164 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.855 | 127125.2315 | 269943.0762 | 26.25 | 74
102325 | 2021-04-23 12:18 | 17.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0256 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.847 | 127064.7486 | 269907.6358 | 26.25 | 74
102335 | 2021-04-23 12:18 | 18.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3616 | μmol/L | 30.1225 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.856 | 127106.1654 | 269901.6927 | 26.25 | 74
102345 | 2021-04-23 12:18 | 18.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.101 | μmol/L | 30.1164 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.873 | 127205.403 | 269889.5432 | 26.25 | 74
102355 | 2021-04-23 12:19 | 18.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9218 | μmol/L | 30.1408 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.875 | 127209.9239 | 269870.0621 | 26.25 | 74
102365 | 2021-04-23 12:19 | 19.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3826 | μmol/L | 30.1041 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.861 | 127117.0804 | 269850.4294 | 26.25 | 74
102375 | 2021-04-23 12:19 | 19.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3326 | μmol/L | 30.0919 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.868 | 127169.6736 | 269835.9765 | 26.25 | 74
102385 | 2021-04-23 12:20 | 19.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5367 | μmol/L | 30.0308 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.877 | 127221.0132 | 269823.5455 | 26.25 | 74
102395 | 2021-04-23 12:20 | 20.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3283 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.891 | 127293.9512 | 269794.3588 | 26.25 | 74
102405 | 2021-04-23 12:20 | 20.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6928 | μmol/L | 30.0675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.913 | 127422.9693 | 269767.0401 | 26.25 | 74
102415 | 2021-04-23 12:21 | 20.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5612 | μmol/L | 30.0308 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.933 | 127507.5149 | 269760.6642 | 26.25 | 74
102425 | 2021-04-23 12:21 | 21.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.348 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.937 | 127538.484 | 269751.1333 | 26.25 | 74
102435 | 2021-04-23 12:21 | 21.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6108 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.926 | 127471.3707 | 269735.1728 | 26.25 | 74
102445 | 2021-04-23 12:22 | 21.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6169 | μmol/L | 30.0124 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.936 | 127507.6684 | 269715.7199 | 26.25 | 74
102455 | 2021-04-23 12:22 | 22.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2724 | μmol/L | 30.0858 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.931 | 127481.2888 | 269701.658 | 26.25 | 74
102465 | 2021-04-23 12:22 | 22.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8303 | μmol/L | 29.988 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.932 | 127435.4779 | 269687.4924 | 26.25 | 74
102475 | 2021-04-23 12:23 | 22.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4409 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.942 | 127494.4211 | 269683.0268 | 26.25 | 74
102485 | 2021-04-23 12:23 | 23.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4768 | μmol/L | 30.0186 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.942 | 127508.5085 | 269650.5525 | 26.25 | 74
102495 | 2021-04-23 12:23 | 23.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2997 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.946 | 127500.8406 | 269634.7493 | 26.25 | 74
102505 | 2021-04-23 12:24 | 23.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3009 | μmol/L | 30.0308 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.948 | 127515.1858 | 269625.3348 | 26.25 | 74
102515 | 2021-04-23 12:24 | 24.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2304 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.95 | 127498.9264 | 269611.724 | 26.25 | 74
102525 | 2021-04-23 12:24 | 24.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5724 | μmol/L | 30.0613 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.922 | 127334.1614 | 269594.8358 | 26.25 | 74
102535 | 2021-04-23 12:25 | 24.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.694 | μmol/L | 30.0613 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.915 | 127298.1499 | 269585.4149 | 26.25 | 74
102545 | 2021-04-23 12:25 | 25.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5935 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.927 | 127341.9664 | 269553.762 | 26.25 | 74
102555 | 2021-04-23 12:25 | 25.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.602 | μmol/L | 30.0002 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.941 | 127430.6075 | 269531.8965 | 26.25 | 74
102565 | 2021-04-23 12:26 | 25.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2155 | μmol/L | 30.0247 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.955 | 127510.7582 | 269538.3847 | 26.25 | 74
102575 | 2021-04-23 12:26 | 26.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0832 | μmol/L | 29.9941 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.973 | 127574.6509 | 269525.6999 | 26.25 | 74
102585 | 2021-04-23 12:26 | 26.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7569 | μmol/L | 30.0675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.967 | 127542.3399 | 269496.8586 | 26.25 | 74
102595 | 2021-04-23 12:27 | 26.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5874 | μmol/L | 30.1347 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.954 | 127484.8043 | 269494.3948 | 26.25 | 74
102605 | 2021-04-23 12:27 | 27.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6751 | μmol/L | 29.9819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.943 | 127399.1058 | 269488.1123 | 26.25 | 74
102615 | 2021-04-23 12:27 | 27.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3319 | μmol/L | 30.0491 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.94 | 127400.5733 | 269478.021 | 26.25 | 74
102625 | 2021-04-23 12:28 | 27.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2898 | μmol/L | 30.0002 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.959 | 127494.2744 | 269461.5963 | 26.25 | 74
102635 | 2021-04-23 12:28 | 28.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7077 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.974 | 127563.0234 | 269422.3228 | 26.25 | 74
102645 | 2021-04-23 12:28 | 28.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4135 | μmol/L | 30.1408 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.962 | 127502.1052 | 269411.6932 | 26.25 | 74
102655 | 2021-04-23 12:29 | 28.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3418 | μmol/L | 30.0002 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.956 | 127458.1568 | 269405.3845 | 26.25 | 74
102665 | 2021-04-23 12:29 | 29.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2353 | μmol/L | 30.0124 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.958 | 127475.1605 | 269400.712 | 26.25 | 74
102675 | 2021-04-23 12:29 | 29.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9496 | μmol/L | 30.0552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.96 | 127520.1385 | 269383.4577 | 26.25 | 74
102685 | 2021-04-23 12:30 | 29.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1153 | μmol/L | 30.1653 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.971 | 127549.7039 | 269369.9743 | 26.25 | 74