## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101796 | 2021-04-23 12:00 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1592 | μmol/L | 30.4469 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.326 | 127202.468 | 272324.0117 | 32.55 | 27.7
101806 | 2021-04-23 12:00 | 0.32746 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.4725 | μmol/L | 30.4715 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.356 | 127426.4705 | 272266.6493 | 32.55 | 27.7
101816 | 2021-04-23 12:01 | 0.66002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2084 | μmol/L | 30.4776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.368 | 127487.2058 | 272225.829 | 32.55 | 27.7
101826 | 2021-04-23 12:01 | 0.99386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.1277 | μmol/L | 30.4715 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.375 | 127489.9249 | 272192.693 | 32.55 | 27.7
101836 | 2021-04-23 12:01 | 1.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9225 | μmol/L | 30.453 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.392 | 127568.2982 | 272162.8165 | 32.55 | 27.7
101846 | 2021-04-23 12:02 | 1.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6884 | μmol/L | 30.4469 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.407 | 127683.1975 | 272127.1153 | 32.55 | 27.7
101856 | 2021-04-23 12:02 | 1.9933 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2002 | μmol/L | 30.453 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.432 | 127841.3057 | 272096.8436 | 32.55 | 27.7
101866 | 2021-04-23 12:02 | 2.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5679 | μmol/L | 30.3549 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.445 | 127900.1991 | 272076.8564 | 32.55 | 27.7
101876 | 2021-04-23 12:03 | 2.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2867 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.456 | 127959.0679 | 272045.5325 | 32.55 | 27.7
101886 | 2021-04-23 12:03 | 2.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0578 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.479 | 128054.1232 | 272026.4931 | 32.55 | 27.7
101896 | 2021-04-23 12:03 | 3.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.837 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.481 | 128108.6212 | 271991.0456 | 32.55 | 27.7
101906 | 2021-04-23 12:04 | 3.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2054 | μmol/L | 30.3917 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.508 | 128268.2558 | 271978.1241 | 32.55 | 27.7
101916 | 2021-04-23 12:04 | 3.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1761 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.522 | 128320.3441 | 271935.8679 | 32.55 | 27.7
101926 | 2021-04-23 12:04 | 4.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1214 | μmol/L | 30.361 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.523 | 128320.7174 | 271920.7316 | 32.55 | 27.7
101936 | 2021-04-23 12:05 | 4.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3814 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.527 | 128356.9088 | 271898.4302 | 32.55 | 27.7
101946 | 2021-04-23 12:05 | 4.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0586 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.543 | 128417.1788 | 271888.6366 | 32.55 | 27.7
101956 | 2021-04-23 12:05 | 5.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9504 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.547 | 128445.2621 | 271844.7799 | 32.55 | 27.7
101966 | 2021-04-23 12:06 | 5.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8801 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.553 | 128461.9309 | 271819.1258 | 32.55 | 27.7
101976 | 2021-04-23 12:06 | 5.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3548 | μmol/L | 30.361 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.566 | 128526.632 | 271809.1426 | 32.55 | 27.7
101986 | 2021-04-23 12:06 | 6.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4281 | μmol/L | 30.3487 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.566 | 128549.156 | 271782.0376 | 32.55 | 27.7
101996 | 2021-04-23 12:07 | 6.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1249 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.581 | 128609.6227 | 271759.1992 | 32.55 | 27.7
102006 | 2021-04-23 12:07 | 6.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1815 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.584 | 128625.9147 | 271750.7687 | 32.55 | 27.7
102016 | 2021-04-23 12:07 | 7.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2237 | μmol/L | 30.2996 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.594 | 128659.287 | 271740.1362 | 32.55 | 27.7
102026 | 2021-04-23 12:08 | 7.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0972 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.597 | 128671.682 | 271705.9592 | 32.55 | 27.7
102036 | 2021-04-23 12:08 | 7.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8999 | μmol/L | 30.3242 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.604 | 128732.5773 | 271699.7154 | 32.55 | 27.7
102046 | 2021-04-23 12:08 | 8.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5246 | μmol/L | 30.3426 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.619 | 128788.0468 | 271659.0704 | 32.55 | 27.7
102056 | 2021-04-23 12:09 | 8.6605 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3986 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.622 | 128822.334 | 271633.7686 | 32.55 | 27.7
102066 | 2021-04-23 12:09 | 8.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3102 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.627 | 128834.8998 | 271618.7416 | 32.55 | 27.7
102076 | 2021-04-23 12:09 | 9.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.402 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.628 | 128854.384 | 271605.8652 | 32.55 | 27.7
102086 | 2021-04-23 12:10 | 9.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3702 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.636 | 128889.5222 | 271594.334 | 32.55 | 27.7
102096 | 2021-04-23 12:10 | 9.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3207 | μmol/L | 30.2996 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.645 | 128921.767 | 271572.1015 | 32.55 | 27.7
102106 | 2021-04-23 12:10 | 10.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.1783 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.651 | 128956.023 | 271563.8324 | 32.55 | 27.7
102116 | 2021-04-23 12:11 | 10.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.196 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.65 | 128963.5581 | 271544.8793 | 32.55 | 27.7
102126 | 2021-04-23 12:11 | 10.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.8741 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.66 | 128996.099 | 271529.9406 | 32.55 | 27.7
102136 | 2021-04-23 12:11 | 11.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6969 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.668 | 129019.4463 | 271504.5349 | 32.55 | 27.7
102146 | 2021-04-23 12:12 | 11.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7696 | μmol/L | 30.3242 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.668 | 129043.0922 | 271493.5251 | 32.55 | 27.7
102156 | 2021-04-23 12:12 | 11.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.377 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.68 | 129089.2722 | 271480.9742 | 32.55 | 27.7
102166 | 2021-04-23 12:12 | 12.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4684 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.681 | 129116.5576 | 271450.307 | 32.55 | 27.7
102176 | 2021-04-23 12:13 | 12.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2754 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.692 | 129146.9361 | 271443.7899 | 32.55 | 27.7
102186 | 2021-04-23 12:13 | 12.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9551 | μmol/L | 30.361 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.702 | 129193.3024 | 271431.3485 | 32.55 | 27.7
102196 | 2021-04-23 12:13 | 13.3273 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.0801 | μmol/L | 30.3487 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.699 | 129187.4387 | 271407.1113 | 32.55 | 27.7
102206 | 2021-04-23 12:14 | 13.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8363 | μmol/L | 30.3426 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.715 | 129255.8772 | 271400.6973 | 32.55 | 27.7
102216 | 2021-04-23 12:14 | 13.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.82 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.718 | 129272.9548 | 271377.9027 | 32.55 | 27.7
102226 | 2021-04-23 12:14 | 14.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8213 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.72 | 129296.209 | 271370.9782 | 32.55 | 27.7
102236 | 2021-04-23 12:15 | 14.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6627 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.727 | 129304.7215 | 271348.4523 | 32.55 | 27.7
102246 | 2021-04-23 12:15 | 14.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5929 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.731 | 129319.3188 | 271354.9011 | 32.55 | 27.7
102256 | 2021-04-23 12:15 | 15.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5592 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.735 | 129341.0988 | 271323.979 | 32.55 | 27.7
102266 | 2021-04-23 12:16 | 15.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5093 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.742 | 129360.4028 | 271314.2211 | 32.55 | 27.7
102276 | 2021-04-23 12:16 | 15.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5093 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.742 | 129397.4483 | 271297.5157 | 32.55 | 27.7
102286 | 2021-04-23 12:16 | 16.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4259 | μmol/L | 30.2996 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.753 | 129419.344 | 271290.4548 | 32.55 | 27.7
102296 | 2021-04-23 12:17 | 16.6604 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3375 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.756 | 129427.8028 | 271279.1479 | 32.55 | 27.7
102306 | 2021-04-23 12:17 | 16.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4657 | μmol/L | 30.2751 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.759 | 129439.6943 | 271255.3074 | 32.55 | 27.7
102316 | 2021-04-23 12:17 | 17.3274 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2728 | μmol/L | 30.2812 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.768 | 129484.3198 | 271250.1876 | 32.55 | 27.7
102326 | 2021-04-23 12:18 | 17.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2405 | μmol/L | 30.2689 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.774 | 129514.9802 | 271239.8213 | 32.55 | 27.7
102336 | 2021-04-23 12:18 | 17.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1895 | μmol/L | 30.2628 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.779 | 129566.8344 | 271226.0631 | 32.55 | 27.7
102346 | 2021-04-23 12:18 | 18.3275 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9597 | μmol/L | 30.2812 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.786 | 129601.6845 | 271225.4632 | 32.55 | 27.7
102356 | 2021-04-23 12:19 | 18.6601 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6607 | μmol/L | 30.2996 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.797 | 129636.8295 | 271208.401 | 32.55 | 27.7
102366 | 2021-04-23 12:19 | 18.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1299 | μmol/L | 30.2137 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.799 | 129681.4186 | 271198.5297 | 32.55 | 27.7
102376 | 2021-04-23 12:19 | 19.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2801 | μmol/L | 30.1585 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.809 | 129722.2493 | 271164.2519 | 32.55 | 27.7
102386 | 2021-04-23 12:20 | 19.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6548 | μmol/L | 30.2444 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.816 | 129754.6721 | 271169.0794 | 32.55 | 27.7
102396 | 2021-04-23 12:20 | 19.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3219 | μmol/L | 30.2628 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.829 | 129782.3794 | 271144.0093 | 32.55 | 27.7
102406 | 2021-04-23 12:20 | 20.327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7368 | μmol/L | 30.183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.832 | 129798.8481 | 271140.2396 | 32.55 | 27.7
102416 | 2021-04-23 12:21 | 20.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.254 | μmol/L | 30.2567 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.835 | 129849.6837 | 271130.8822 | 32.55 | 27.7
102426 | 2021-04-23 12:21 | 20.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2233 | μmol/L | 30.2383 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.843 | 129874.5431 | 271106.0615 | 32.55 | 27.7
102436 | 2021-04-23 12:21 | 21.3269 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5673 | μmol/L | 30.1646 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.848 | 129901.6808 | 271097.6552 | 32.55 | 27.7
102446 | 2021-04-23 12:22 | 21.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3028 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.855 | 129928.0909 | 271087.8751 | 32.55 | 27.7
102456 | 2021-04-23 12:22 | 21.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.6964 | μmol/L | 30.2812 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.859 | 129954.2475 | 271082.4986 | 32.55 | 27.7
102466 | 2021-04-23 12:22 | 22.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.6646 | μmol/L | 30.2689 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.865 | 130001.6951 | 271068.2107 | 32.55 | 27.7
102476 | 2021-04-23 12:23 | 22.6607 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4236 | μmol/L | 30.2689 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.879 | 130058.1454 | 271061.7464 | 32.55 | 27.7
102486 | 2021-04-23 12:23 | 22.9939 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5771 | μmol/L | 30.1953 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.895 | 130151.6276 | 271050.3979 | 32.55 | 27.7
102496 | 2021-04-23 12:23 | 23.3271 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5876 | μmol/L | 30.1462 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.911 | 130266.5422 | 271032.2253 | 32.55 | 27.7
102506 | 2021-04-23 12:24 | 23.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.6998 | μmol/L | 30.1033 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.919 | 130318.075 | 271022.9599 | 32.55 | 27.7
102516 | 2021-04-23 12:24 | 23.9937 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2598 | μmol/L | 30.1524 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.928 | 130349.8297 | 271014.6748 | 32.55 | 27.7
102526 | 2021-04-23 12:24 | 24.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6598 | μmol/L | 30.2321 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.936 | 130396.5111 | 270989.5866 | 32.55 | 27.7
102536 | 2021-04-23 12:25 | 24.6603 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.1292 | μmol/L | 30.1217 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.946 | 130424.5429 | 270992.012 | 32.55 | 27.7
102546 | 2021-04-23 12:25 | 24.9935 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.1279 | μmol/L | 30.1278 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.944 | 130423.9598 | 270981.0457 | 32.55 | 27.7
102556 | 2021-04-23 12:25 | 25.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.0172 | μmol/L | 30.0849 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.965 | 130509.5488 | 270968.3282 | 32.55 | 27.7
102566 | 2021-04-23 12:26 | 25.6602 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4778 | μmol/L | 30.1278 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.982 | 130641.254 | 270974.0532 | 32.55 | 27.7
102576 | 2021-04-23 12:26 | 25.9936 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.9883 | μmol/L | 30.183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.992 | 130683.708 | 270948.5588 | 32.55 | 27.7
102586 | 2021-04-23 12:26 | 26.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3993 | μmol/L | 30.0971 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.997 | 130711.3398 | 270943.3792 | 32.55 | 27.7
102596 | 2021-04-23 12:27 | 26.6608 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5883 | μmol/L | 30.091 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.988 | 130698.5539 | 270933.9985 | 32.55 | 27.7
102606 | 2021-04-23 12:27 | 26.994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3687 | μmol/L | 30.1585 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.978 | 130626.83 | 270910.8304 | 32.55 | 27.7
102616 | 2021-04-23 12:27 | 27.3272 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1239 | μmol/L | 30.1094 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.009 | 130788.9126 | 270901.3576 | 32.55 | 27.7
102626 | 2021-04-23 12:28 | 27.66 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0374 | μmol/L | 30.1155 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.012 | 130804.8119 | 270900.9545 | 32.55 | 27.7
102636 | 2021-04-23 12:28 | 27.9941 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4612 | μmol/L | 30.048 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.01 | 130769.49 | 270887.1572 | 32.55 | 27.7
102646 | 2021-04-23 12:28 | 28.3268 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2956 | μmol/L | 30.1033 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.001 | 130757.7447 | 270878.803 | 32.55 | 27.7
102656 | 2021-04-23 12:29 | 28.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8742 | μmol/L | 30.0849 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.032 | 130936.1131 | 270866.6189 | 32.55 | 27.7
102666 | 2021-04-23 12:29 | 28.9938 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7526 | μmol/L | 30.0971 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.035 | 130919.0848 | 270851.643 | 32.55 | 27.7
102676 | 2021-04-23 12:29 | 29.3267 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4516 | μmol/L | 30.1524 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.034 | 130898.4061 | 270841.8522 | 32.55 | 27.7
102686 | 2021-04-23 12:30 | 29.6606 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6791 | μmol/L | 30.1217 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.031 | 130887.8264 | 270834.1409 | 32.55 | 27.7