## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102687 | 2021-04-23 12:40 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4893 | μmol/L | 30.4044 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.936 | 127321.3886 | 273340.7139 | 33.25 | 75.7
102697 | 2021-04-23 12:40 | 0.32823 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6569 | μmol/L | 30.4106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.978 | 127613.1577 | 273334.0145 | 33.25 | 75.7
102707 | 2021-04-23 12:40 | 0.66201 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6051 | μmol/L | 30.4044 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.036 | 128080.6408 | 273323.4491 | 33.25 | 75.7
102717 | 2021-04-23 12:41 | 0.99503 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7459 | μmol/L | 30.4044 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.082 | 128427.6745 | 273311.6145 | 33.25 | 75.7
102727 | 2021-04-23 12:41 | 1.3288 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1933 | μmol/L | 30.3613 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.126 | 128718.4956 | 273295.7441 | 33.25 | 75.7
102737 | 2021-04-23 12:41 | 1.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5984 | μmol/L | 30.3798 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.152 | 128916.106 | 273280.6818 | 33.25 | 75.7
102747 | 2021-04-23 12:42 | 1.9946 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.124 | μmol/L | 30.3367 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.192 | 129190.5748 | 273272.4266 | 33.25 | 75.7
102757 | 2021-04-23 12:42 | 2.3285 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2031 | μmol/L | 30.3552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.236 | 129467.8762 | 273266.2569 | 33.25 | 75.7
102767 | 2021-04-23 12:42 | 2.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8572 | μmol/L | 30.3429 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.259 | 129625.7474 | 273264.1072 | 33.25 | 75.7
102777 | 2021-04-23 12:43 | 2.9947 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9154 | μmol/L | 30.3183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.264 | 129701.0941 | 273236.7547 | 33.25 | 75.7
102787 | 2021-04-23 12:43 | 3.3284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8308 | μmol/L | 30.269 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.285 | 129816.7842 | 273223.8674 | 33.25 | 75.7
102797 | 2021-04-23 12:43 | 3.6614 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.3014 | μmol/L | 30.2752 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.312 | 129990.9736 | 273209.828 | 33.25 | 75.7
102807 | 2021-04-23 12:44 | 3.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.3586 | μmol/L | 30.2567 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.315 | 130031.3545 | 273203.6494 | 33.25 | 75.7
102817 | 2021-04-23 12:44 | 4.3283 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9034 | μmol/L | 30.2629 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.338 | 130166.4995 | 273184.9208 | 33.25 | 75.7
102827 | 2021-04-23 12:44 | 4.6619 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7247 | μmol/L | 30.2444 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.354 | 130245.5053 | 273180.6882 | 33.25 | 75.7
102837 | 2021-04-23 12:45 | 4.9948 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5472 | μmol/L | 30.2198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.372 | 130380.9717 | 273162.6928 | 33.25 | 75.7
102847 | 2021-04-23 12:45 | 5.3286 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.35 | μmol/L | 30.2075 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.387 | 130472.452 | 273168.0392 | 33.25 | 75.7
102857 | 2021-04-23 12:45 | 5.6615 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5948 | μmol/L | 30.1398 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.396 | 130548.1972 | 273158.519 | 33.25 | 75.7
102867 | 2021-04-23 12:46 | 5.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6181 | μmol/L | 30.1029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.407 | 130641.6935 | 273139.5819 | 33.25 | 75.7
102877 | 2021-04-23 12:46 | 6.3284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7622 | μmol/L | 30.1583 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.436 | 130830.8515 | 273140.1028 | 33.25 | 75.7
102887 | 2021-04-23 12:46 | 6.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.927 | μmol/L | 30.1398 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.433 | 130807.5432 | 273127.1976 | 33.25 | 75.7
102897 | 2021-04-23 12:47 | 6.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8199 | μmol/L | 30.1337 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.441 | 130854.5287 | 273123.4256 | 33.25 | 75.7
102907 | 2021-04-23 12:47 | 7.3282 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.657 | μmol/L | 30.1398 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.448 | 130889.294 | 273117.9191 | 33.25 | 75.7
102917 | 2021-04-23 12:47 | 7.6613 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4594 | μmol/L | 30.1398 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.459 | 130958.5478 | 273114.2594 | 33.25 | 75.7
102927 | 2021-04-23 12:48 | 7.9952 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1281 | μmol/L | 30.0783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.498 | 131223.7354 | 273094.67 | 33.25 | 75.7
102937 | 2021-04-23 12:48 | 8.3282 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9322 | μmol/L | 30.0721 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.511 | 131273.226 | 273073.532 | 33.25 | 75.7
102947 | 2021-04-23 12:48 | 8.662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3882 | μmol/L | 30.0167 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.504 | 131269.6702 | 273075.3468 | 33.25 | 75.7
102957 | 2021-04-23 12:49 | 8.9949 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7742 | μmol/L | 30.0537 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.526 | 131381.3754 | 273076.9492 | 33.25 | 75.7
102967 | 2021-04-23 12:49 | 9.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0951 | μmol/L | 30.0598 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.506 | 131263.1442 | 273054.7571 | 33.25 | 75.7
102977 | 2021-04-23 12:49 | 9.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0028 | μmol/L | 30.0783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.505 | 131234.7953 | 273048.7411 | 33.25 | 75.7
102987 | 2021-04-23 12:50 | 9.9948 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8606 | μmol/L | 30.0721 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.515 | 131290.5256 | 273046.7382 | 33.25 | 75.7
102997 | 2021-04-23 12:50 | 10.3286 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2897 | μmol/L | 30.0721 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.547 | 131504.6655 | 273037.1214 | 33.25 | 75.7
103007 | 2021-04-23 12:50 | 10.6615 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6352 | μmol/L | 30.029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.542 | 131470.8231 | 273023.1482 | 33.25 | 75.7
103017 | 2021-04-23 12:51 | 10.995 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3153 | μmol/L | 30.0229 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.562 | 131569.1075 | 272998.6435 | 33.25 | 75.7
103027 | 2021-04-23 12:51 | 11.3282 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9054 | μmol/L | 30.029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.583 | 131696.5664 | 272998.9432 | 33.25 | 75.7
103037 | 2021-04-23 12:51 | 11.6613 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8531 | μmol/L | 30.0229 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.588 | 131739.0315 | 272999.2383 | 33.25 | 75.7
103047 | 2021-04-23 12:52 | 11.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1008 | μmol/L | 30.029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.572 | 131669.5226 | 272989.7047 | 33.25 | 75.7
103057 | 2021-04-23 12:52 | 12.3285 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.085 | μmol/L | 30.0167 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.577 | 131703.1583 | 272985.7336 | 33.25 | 75.7
103067 | 2021-04-23 12:52 | 12.6615 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3726 | μmol/L | 29.9983 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.567 | 131628.6202 | 272976.9221 | 33.25 | 75.7
103077 | 2021-04-23 12:53 | 12.9947 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1571 | μmol/L | 30.0106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.575 | 131675.8554 | 272964.0384 | 33.25 | 75.7
103087 | 2021-04-23 12:53 | 13.3284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1245 | μmol/L | 29.9921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.583 | 131739.7447 | 272952.155 | 33.25 | 75.7
103097 | 2021-04-23 12:53 | 13.6613 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2321 | μmol/L | 29.986 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.579 | 131688.3502 | 272947.8425 | 33.25 | 75.7
103107 | 2021-04-23 12:54 | 13.9946 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2725 | μmol/L | 29.9552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.587 | 131748.9627 | 272931.3312 | 33.25 | 75.7
103117 | 2021-04-23 12:54 | 14.3283 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1481 | μmol/L | 29.9552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.594 | 131780.5261 | 272929.8295 | 33.25 | 75.7
103127 | 2021-04-23 12:54 | 14.6614 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8581 | μmol/L | 29.9921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.598 | 131785.6967 | 272919.2607 | 33.25 | 75.7
103137 | 2021-04-23 12:55 | 14.9946 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8246 | μmol/L | 29.9798 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.604 | 131830.9015 | 272912.0386 | 33.25 | 75.7
103147 | 2021-04-23 12:55 | 15.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3464 | μmol/L | 29.9798 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.631 | 131977.4484 | 272904.4203 | 33.25 | 75.7
103157 | 2021-04-23 12:55 | 15.6616 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4057 | μmol/L | 30.0167 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.672 | 132221.6355 | 272894.8292 | 33.25 | 75.7
103167 | 2021-04-23 12:56 | 15.9947 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2696 | μmol/L | 30.0167 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.623 | 131949.3825 | 272890.2052 | 33.25 | 75.7
103177 | 2021-04-23 12:56 | 16.3286 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.097 | μmol/L | 29.9921 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.641 | 132054.7058 | 272860.3553 | 33.25 | 75.7
103187 | 2021-04-23 12:56 | 16.6615 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3671 | μmol/L | 29.9614 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.636 | 132045.1421 | 272863.745 | 33.25 | 75.7
103197 | 2021-04-23 12:57 | 16.995 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2444 | μmol/L | 29.9552 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.645 | 132091.5406 | 272856.8956 | 33.25 | 75.7
103207 | 2021-04-23 12:57 | 17.3281 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5372 | μmol/L | 29.9675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.681 | 132312.6335 | 272846.357 | 33.25 | 75.7
103217 | 2021-04-23 12:57 | 17.662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3769 | μmol/L | 29.9798 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.686 | 132372.4977 | 272831.0652 | 33.25 | 75.7
103227 | 2021-04-23 12:58 | 17.9951 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.618 | μmol/L | 29.906 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.697 | 132411.5135 | 272822.9151 | 33.25 | 75.7
103237 | 2021-04-23 12:58 | 18.3281 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9229 | μmol/L | 29.9675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.716 | 132508.3367 | 272816.7815 | 33.25 | 75.7
103247 | 2021-04-23 12:58 | 18.662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0838 | μmol/L | 29.9491 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.713 | 132507.688 | 272803.9446 | 33.25 | 75.7
103257 | 2021-04-23 12:59 | 18.995 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0892 | μmol/L | 29.9183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.723 | 132564.227 | 272801.2444 | 33.25 | 75.7
103267 | 2021-04-23 12:59 | 19.3288 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6462 | μmol/L | 29.9491 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.738 | 132638.3062 | 272783.7086 | 33.25 | 75.7
103277 | 2021-04-23 12:59 | 19.6617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1625 | μmol/L | 29.8998 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.725 | 132592.8759 | 272774.1845 | 33.25 | 75.7
103287 | 2021-04-23 13:00 | 19.9946 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2316 | μmol/L | 29.906 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.719 | 132529.2411 | 272766.2066 | 33.25 | 75.7
103297 | 2021-04-23 13:00 | 20.3284 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.053 | μmol/L | 29.9244 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.723 | 132580.418 | 272762.3737 | 33.25 | 75.7
103307 | 2021-04-23 13:00 | 20.6613 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4194 | μmol/L | 29.9368 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.698 | 132441.5062 | 272756.8151 | 33.25 | 75.7
103317 | 2021-04-23 13:01 | 20.9951 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2863 | μmol/L | 29.8937 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.72 | 132568.0988 | 272739.5373 | 33.25 | 75.7
103327 | 2021-04-23 13:01 | 21.3282 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1407 | μmol/L | 29.9244 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.718 | 132538.9793 | 272732.8365 | 33.25 | 75.7
103337 | 2021-04-23 13:01 | 21.6619 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8768 | μmol/L | 29.9306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.731 | 132614.5021 | 272722.4316 | 33.25 | 75.7
103347 | 2021-04-23 13:02 | 21.9949 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0695 | μmol/L | 29.9306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.72 | 132576.5712 | 272711.1569 | 33.25 | 75.7
103357 | 2021-04-23 13:02 | 22.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8721 | μmol/L | 29.8568 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.756 | 132759.2588 | 272711.8533 | 33.25 | 75.7
103367 | 2021-04-23 13:02 | 22.6618 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.7947 | μmol/L | 29.8998 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.746 | 132719.3747 | 272697.3378 | 33.25 | 75.7
103377 | 2021-04-23 13:03 | 22.9948 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.442 | μmol/L | 29.9183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.76 | 132797.9344 | 272681.7078 | 33.25 | 75.7
103387 | 2021-04-23 13:03 | 23.3285 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4137 | μmol/L | 29.8814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.774 | 132881.4266 | 272687.5128 | 33.25 | 75.7
103397 | 2021-04-23 13:03 | 23.6616 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8515 | μmol/L | 29.8752 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.751 | 132744.0512 | 272674.6848 | 33.25 | 75.7
103407 | 2021-04-23 13:04 | 23.9949 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3689 | μmol/L | 29.9368 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.758 | 132802.705 | 272667.6067 | 33.25 | 75.7
103417 | 2021-04-23 13:04 | 24.328 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3439 | μmol/L | 29.8814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.778 | 132906.8668 | 272668.8775 | 33.25 | 75.7
103427 | 2021-04-23 13:04 | 24.6619 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.171 | μmol/L | 29.9306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.829 | 133195.1801 | 272644.0262 | 33.25 | 75.7