## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102688 | 2021-04-23 12:40 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7703 | μmol/L | 30.0779 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.734 | 123505.6719 | 297170.4349 | 59.9307 | 38.1
102698 | 2021-04-23 12:40 | 0.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2753 | μmol/L | 30.1698 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.731 | 123529.9926 | 297152.3874 | 59.9307 | 38.1
102708 | 2021-04-23 12:40 | 0.67254 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6432 | μmol/L | 30.2494 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.741 | 123580.3852 | 297134.5199 | 59.9307 | 38.1
102718 | 2021-04-23 12:41 | 1.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3869 | μmol/L | 30.2249 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.764 | 123693.6996 | 297122.5903 | 59.9307 | 38.1
102728 | 2021-04-23 12:41 | 1.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2913 | μmol/L | 30.1759 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.786 | 123803.0789 | 297111.9985 | 59.9307 | 38.1
102738 | 2021-04-23 12:41 | 1.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6413 | μmol/L | 30.2311 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.805 | 123935.6313 | 297102.8104 | 59.9307 | 38.1
102748 | 2021-04-23 12:42 | 2.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3329 | μmol/L | 30.2188 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.827 | 124059.0808 | 297085.0702 | 59.9307 | 38.1
102758 | 2021-04-23 12:42 | 2.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5627 | μmol/L | 30.0901 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.857 | 124227.4576 | 297092.576 | 59.9307 | 38.1
102768 | 2021-04-23 12:42 | 2.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2948 | μmol/L | 30.0963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.87 | 124306.1752 | 297077.5245 | 59.9307 | 38.1
102778 | 2021-04-23 12:43 | 3.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7658 | μmol/L | 30.1698 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.876 | 124344.9277 | 297065.8892 | 59.9307 | 38.1
102788 | 2021-04-23 12:43 | 3.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6342 | μmol/L | 30.1391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.894 | 124451.5697 | 297046.2146 | 59.9307 | 38.1
102798 | 2021-04-23 12:43 | 3.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6464 | μmol/L | 30.0717 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.916 | 124578.0656 | 297052.6136 | 59.9307 | 38.1
102808 | 2021-04-23 12:44 | 4.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1826 | μmol/L | 30.1269 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.925 | 124635.7609 | 297028.7094 | 59.9307 | 38.1
102818 | 2021-04-23 12:44 | 4.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9594 | μmol/L | 30.133 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.936 | 124708.8071 | 297013.8013 | 59.9307 | 38.1
102828 | 2021-04-23 12:44 | 4.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4739 | μmol/L | 30.133 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.964 | 124841.5188 | 296995.5644 | 59.9307 | 38.1
102838 | 2021-04-23 12:45 | 5.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3255 | μmol/L | 30.1085 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.981 | 124934.1384 | 297006.7759 | 59.9307 | 38.1
102848 | 2021-04-23 12:45 | 5.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.574 | μmol/L | 30.0534 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.985 | 124981.7257 | 296988.3237 | 59.9307 | 38.1
102858 | 2021-04-23 12:45 | 5.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2838 | μmol/L | 30.0595 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21 | 125039.6206 | 296990.9149 | 59.9307 | 38.1
102868 | 2021-04-23 12:46 | 6.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9772 | μmol/L | 30.0656 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.016 | 125101.2704 | 296961.6023 | 59.9307 | 38.1
102878 | 2021-04-23 12:46 | 6.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7535 | μmol/L | 30.084 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.023 | 125171.1966 | 296965.7823 | 59.9307 | 38.1
102888 | 2021-04-23 12:46 | 6.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9469 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.024 | 125209.9599 | 296952.6494 | 59.9307 | 38.1
102898 | 2021-04-23 12:47 | 7.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5757 | μmol/L | 30.0411 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.048 | 125308.2185 | 296949.7472 | 59.9307 | 38.1
102908 | 2021-04-23 12:47 | 7.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9642 | μmol/L | 29.9553 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.054 | 125345.9948 | 296935.1352 | 59.9307 | 38.1
102918 | 2021-04-23 12:47 | 7.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5828 | μmol/L | 30.0043 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.06 | 125370.3706 | 296942.667 | 59.9307 | 38.1
102928 | 2021-04-23 12:48 | 8.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2742 | μmol/L | 30.0289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.07 | 125427.2272 | 296915.7493 | 59.9307 | 38.1
102938 | 2021-04-23 12:48 | 8.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.108 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.084 | 125491.7171 | 296911.6807 | 59.9307 | 38.1
102948 | 2021-04-23 12:48 | 8.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0069 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.09 | 125550.1043 | 296891.556 | 59.9307 | 38.1
102958 | 2021-04-23 12:49 | 9.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2088 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.107 | 125623.9899 | 296876.861 | 59.9307 | 38.1
102968 | 2021-04-23 12:49 | 9.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7546 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.105 | 125622.7258 | 296872.2523 | 59.9307 | 38.1
102978 | 2021-04-23 12:49 | 9.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7799 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.118 | 125708.2279 | 296860.542 | 59.9307 | 38.1
102988 | 2021-04-23 12:50 | 10.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0921 | μmol/L | 29.9247 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.116 | 125684.6528 | 296852.9246 | 59.9307 | 38.1
102998 | 2021-04-23 12:50 | 10.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7534 | μmol/L | 29.937 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.132 | 125769.1513 | 296845.7595 | 59.9307 | 38.1
103008 | 2021-04-23 12:50 | 10.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7066 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.141 | 125802.6317 | 296839.7798 | 59.9307 | 38.1
103018 | 2021-04-23 12:51 | 11.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.8805 | μmol/L | 29.8879 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.141 | 125819.7225 | 296840.702 | 59.9307 | 38.1
103028 | 2021-04-23 12:51 | 11.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.8852 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.149 | 125873.2072 | 296822.3738 | 59.9307 | 38.1
103038 | 2021-04-23 12:51 | 11.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.818 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.153 | 125875.9547 | 296811.8242 | 59.9307 | 38.1
103048 | 2021-04-23 12:52 | 12.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.0937 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.161 | 125917.4497 | 296803.8696 | 59.9307 | 38.1
103058 | 2021-04-23 12:52 | 12.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.0843 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.174 | 126001.7352 | 296798.7835 | 59.9307 | 38.1
103068 | 2021-04-23 12:52 | 12.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2947 | μmol/L | 29.8818 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.178 | 126023.1277 | 296784.7945 | 59.9307 | 38.1
103078 | 2021-04-23 12:53 | 13.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9338 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.183 | 126062.0702 | 296779.1054 | 59.9307 | 38.1
103088 | 2021-04-23 12:53 | 13.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6334 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.164 | 125965.3899 | 296777.5064 | 59.9307 | 38.1
103098 | 2021-04-23 12:53 | 13.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.0533 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.18 | 126043.1379 | 296772.4859 | 59.9307 | 38.1
103108 | 2021-04-23 12:54 | 14.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6347 | μmol/L | 29.9247 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.203 | 126180.9502 | 296774.6961 | 59.9307 | 38.1
103118 | 2021-04-23 12:54 | 14.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7291 | μmol/L | 29.8696 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.216 | 126232.3175 | 296763.7243 | 59.9307 | 38.1
103128 | 2021-04-23 12:54 | 14.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5051 | μmol/L | 29.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.217 | 126233.8808 | 296735.5622 | 59.9307 | 38.1
103138 | 2021-04-23 12:55 | 15.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2959 | μmol/L | 29.8757 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.18 | 126040.7963 | 296748.5164 | 59.9307 | 38.1
103148 | 2021-04-23 12:55 | 15.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5939 | μmol/L | 29.8941 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.156 | 125978.5679 | 296727.7271 | 59.9307 | 38.1
103158 | 2021-04-23 12:55 | 15.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2719 | μmol/L | 29.9124 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.169 | 126026.7516 | 296728.7755 | 59.9307 | 38.1
103168 | 2021-04-23 12:56 | 16.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1824 | μmol/L | 29.8573 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.193 | 126137.2924 | 296713.2496 | 59.9307 | 38.1
103178 | 2021-04-23 12:56 | 16.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2746 | μmol/L | 29.8941 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.235 | 126360.5595 | 296695.187 | 59.9307 | 38.1
103188 | 2021-04-23 12:56 | 16.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6569 | μmol/L | 29.9124 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.266 | 126539.5617 | 296691.8163 | 59.9307 | 38.1
103198 | 2021-04-23 12:57 | 17.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.7919 | μmol/L | 29.9002 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.262 | 126515.0894 | 296674.2034 | 59.9307 | 38.1
103208 | 2021-04-23 12:57 | 17.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6556 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.264 | 126502.6343 | 296680.7954 | 59.9307 | 38.1
103218 | 2021-04-23 12:57 | 17.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.7409 | μmol/L | 29.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.263 | 126518.1587 | 296672.2647 | 59.9307 | 38.1
103228 | 2021-04-23 12:58 | 18.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0984 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.279 | 126574.2614 | 296649.5591 | 59.9307 | 38.1
103238 | 2021-04-23 12:58 | 18.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0845 | μmol/L | 29.9615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.284 | 126617.3299 | 296646.3912 | 59.9307 | 38.1
103248 | 2021-04-23 12:58 | 18.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.4604 | μmol/L | 30.0289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.299 | 126688.7273 | 296640.3628 | 59.9307 | 38.1
103258 | 2021-04-23 12:59 | 19.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.1825 | μmol/L | 29.8879 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.303 | 126733.065 | 296619.0767 | 59.9307 | 38.1
103268 | 2021-04-23 12:59 | 19.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8081 | μmol/L | 29.9431 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.307 | 126753.1778 | 296611.66 | 59.9307 | 38.1
103278 | 2021-04-23 12:59 | 19.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.452 | μmol/L | 29.9921 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.312 | 126781.2343 | 296608.9892 | 59.9307 | 38.1
103288 | 2021-04-23 13:00 | 20.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3476 | μmol/L | 29.8083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.32 | 126805.1814 | 296600.7438 | 59.9307 | 38.1
103298 | 2021-04-23 13:00 | 20.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.7113 | μmol/L | 29.8083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.298 | 126692.173 | 296589.7974 | 59.9307 | 38.1
103308 | 2021-04-23 13:00 | 20.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0721 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.318 | 126775.2691 | 296580.8305 | 59.9307 | 38.1
103318 | 2021-04-23 13:01 | 21.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8298 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.314 | 126774.637 | 296573.4876 | 59.9307 | 38.1
103328 | 2021-04-23 13:01 | 21.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0389 | μmol/L | 30.0043 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.333 | 126861.5937 | 296557.9628 | 59.9307 | 38.1
103338 | 2021-04-23 13:01 | 21.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7846 | μmol/L | 29.8205 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.35 | 126985.8257 | 296561.8641 | 59.9307 | 38.1
103348 | 2021-04-23 13:02 | 22.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.1241 | μmol/L | 29.7715 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.346 | 126947.8561 | 296532.1308 | 59.9307 | 38.1
103358 | 2021-04-23 13:02 | 22.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.5783 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.348 | 126981.1165 | 296538.7483 | 59.9307 | 38.1
103368 | 2021-04-23 13:02 | 22.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.5354 | μmol/L | 29.8328 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.361 | 127011.7667 | 296518.837 | 59.9307 | 38.1
103378 | 2021-04-23 13:03 | 23.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9935 | μmol/L | 29.9124 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.367 | 127053.2909 | 296517.7538 | 59.9307 | 38.1
103388 | 2021-04-23 13:03 | 23.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.318 | μmol/L | 30.0105 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.375 | 127105.5194 | 296521.2263 | 59.9307 | 38.1
103398 | 2021-04-23 13:03 | 23.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.3967 | μmol/L | 29.7899 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.384 | 127154.0433 | 296501.6735 | 59.9307 | 38.1
103408 | 2021-04-23 13:04 | 24.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2991 | μmol/L | 29.9492 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.397 | 127242.7613 | 296511.9257 | 59.9307 | 38.1
103418 | 2021-04-23 13:04 | 24.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2814 | μmol/L | 29.9553 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.396 | 127229.1649 | 296497.8432 | 59.9307 | 38.1
103428 | 2021-04-23 13:04 | 24.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2556 | μmol/L | 29.9247 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.408 | 127327.0344 | 296472.4908 | 59.9307 | 38.1