## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102689 | 2021-04-23 12:40 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3009 | μmol/L | 30.1964 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.493 | 99479.3833 | 214254.4901 | 27.3 | 43.4
102699 | 2021-04-23 12:40 | 0.33271 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.6463 | μmol/L | 30.1351 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.545 | 99805.5676 | 214261.1797 | 27.3 | 43.4
102709 | 2021-04-23 12:40 | 0.66558 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0701 | μmol/L | 30.178 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.607 | 100073.1263 | 214247.9365 | 27.3 | 43.4
102719 | 2021-04-23 12:41 | 0.99936 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.8391 | μmol/L | 30.1903 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.663 | 100362.8921 | 214245.5421 | 27.3 | 43.4
102729 | 2021-04-23 12:41 | 1.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4167 | μmol/L | 30.1903 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.733 | 100702.0295 | 214234.9642 | 27.3 | 43.4
102739 | 2021-04-23 12:41 | 1.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1238 | μmol/L | 30.1413 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.764 | 100867.1618 | 214215.0524 | 27.3 | 43.4
102749 | 2021-04-23 12:42 | 1.9991 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1226 | μmol/L | 30.2087 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.791 | 101016.5166 | 214219.5348 | 27.3 | 43.4
102759 | 2021-04-23 12:42 | 2.3327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9901 | μmol/L | 30.08 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.841 | 101299.2481 | 214217.3273 | 27.3 | 43.4
102769 | 2021-04-23 12:42 | 2.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4084 | μmol/L | 30.1903 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.883 | 101539.27 | 214208.5045 | 27.3 | 43.4
102779 | 2021-04-23 12:43 | 2.9986 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3004 | μmol/L | 30.1842 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.941 | 101810.3233 | 214209.5698 | 27.3 | 43.4
102789 | 2021-04-23 12:43 | 3.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8923 | μmol/L | 30.1597 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.97 | 102071.8993 | 214197.1524 | 27.3 | 43.4
102799 | 2021-04-23 12:43 | 3.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3387 | μmol/L | 30.1719 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 19.994 | 102186.3336 | 214197.2524 | 27.3 | 43.4
102809 | 2021-04-23 12:44 | 3.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4208 | μmol/L | 30.2393 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.018 | 102299.5145 | 214183.5368 | 27.3 | 43.4
102819 | 2021-04-23 12:44 | 4.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6915 | μmol/L | 30.27 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.045 | 102418.0767 | 214174.3946 | 27.3 | 43.4
102829 | 2021-04-23 12:44 | 4.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6218 | μmol/L | 30.2393 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.059 | 102502.6657 | 214177.1193 | 27.3 | 43.4
102839 | 2021-04-23 12:45 | 4.999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3693 | μmol/L | 30.2393 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.072 | 102542.7232 | 214169.2828 | 27.3 | 43.4
102849 | 2021-04-23 12:45 | 5.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7166 | μmol/L | 30.2884 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.089 | 102657.1712 | 214153.8523 | 27.3 | 43.4
102859 | 2021-04-23 12:45 | 5.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.4114 | μmol/L | 30.2271 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.074 | 102637.063 | 214148.6685 | 27.3 | 43.4
102869 | 2021-04-23 12:46 | 5.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9809 | μmol/L | 30.0554 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.103 | 102785.4043 | 214161.4856 | 27.3 | 43.4
102879 | 2021-04-23 12:46 | 6.3326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.752 | μmol/L | 30.0861 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.156 | 103041.7174 | 214143.7305 | 27.3 | 43.4
102889 | 2021-04-23 12:46 | 6.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.5092 | μmol/L | 30.1964 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.183 | 103152.6092 | 214133.5504 | 27.3 | 43.4
102899 | 2021-04-23 12:47 | 6.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2431 | μmol/L | 30.0432 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.197 | 103226.1 | 214132.5718 | 27.3 | 43.4
102909 | 2021-04-23 12:47 | 7.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1519 | μmol/L | 30.0248 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.208 | 103252.6531 | 214125.224 | 27.3 | 43.4
102919 | 2021-04-23 12:47 | 7.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6499 | μmol/L | 30.1045 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.207 | 103265.3901 | 214117.9987 | 27.3 | 43.4
102929 | 2021-04-23 12:48 | 7.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2547 | μmol/L | 30.1474 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.213 | 103274.6477 | 214117.4789 | 27.3 | 43.4
102939 | 2021-04-23 12:48 | 8.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.359 | μmol/L | 30.1167 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.218 | 103292.7309 | 214104.5149 | 27.3 | 43.4
102949 | 2021-04-23 12:48 | 8.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4267 | μmol/L | 30.08 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.227 | 103333.2919 | 214105.6789 | 27.3 | 43.4
102959 | 2021-04-23 12:49 | 8.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.4058 | μmol/L | 30.0861 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.226 | 103311.3894 | 214101.5756 | 27.3 | 43.4
102969 | 2021-04-23 12:49 | 9.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9086 | μmol/L | 30.0861 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.252 | 103403.5906 | 214095.446 | 27.3 | 43.4
102979 | 2021-04-23 12:49 | 9.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3237 | μmol/L | 30.0371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.247 | 103390.7905 | 214081.7874 | 27.3 | 43.4
102989 | 2021-04-23 12:50 | 9.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.1847 | μmol/L | 30.0554 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.248 | 103397.5853 | 214089.6335 | 27.3 | 43.4
102999 | 2021-04-23 12:50 | 10.3326 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0475 | μmol/L | 30.0677 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.251 | 103411.8005 | 214080.5207 | 27.3 | 43.4
103009 | 2021-04-23 12:50 | 10.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.056 | μmol/L | 30.0371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.261 | 103470.9675 | 214078.1221 | 27.3 | 43.4
103019 | 2021-04-23 12:51 | 10.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8825 | μmol/L | 30.0432 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.268 | 103484.9224 | 214067.9253 | 27.3 | 43.4
103029 | 2021-04-23 12:51 | 11.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8668 | μmol/L | 30.0309 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.273 | 103517.4274 | 214060.4426 | 27.3 | 43.4
103039 | 2021-04-23 12:51 | 11.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6935 | μmol/L | 30.0371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.28 | 103543.6462 | 214060.1891 | 27.3 | 43.4
103049 | 2021-04-23 12:52 | 11.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6935 | μmol/L | 30.0371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.28 | 103565.4416 | 214054.3874 | 27.3 | 43.4
103059 | 2021-04-23 12:52 | 12.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.3818 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.288 | 103587.7907 | 214053.2536 | 27.3 | 43.4
103069 | 2021-04-23 12:52 | 12.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8945 | μmol/L | 30.0003 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.282 | 103567.2207 | 214047.3827 | 27.3 | 43.4
103079 | 2021-04-23 12:53 | 12.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5289 | μmol/L | 30.0125 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.297 | 103602.7809 | 214045.1774 | 27.3 | 43.4
103089 | 2021-04-23 12:53 | 13.3323 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.995 | μmol/L | 30.0187 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.323 | 103712.2803 | 214042.7093 | 27.3 | 43.4
103099 | 2021-04-23 12:53 | 13.6653 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2659 | μmol/L | 30.0677 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.292 | 103609.4706 | 214039.2029 | 27.3 | 43.4
103109 | 2021-04-23 12:54 | 13.9993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.1202 | μmol/L | 30.0125 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.266 | 103488.5232 | 214024.9475 | 27.3 | 43.4
103119 | 2021-04-23 12:54 | 14.3324 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2 | μmol/L | 30.0003 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.266 | 103486.2394 | 214025.8985 | 27.3 | 43.4
103129 | 2021-04-23 12:54 | 14.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.1079 | μmol/L | 29.988 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.275 | 103527.6285 | 214021.7874 | 27.3 | 43.4
103139 | 2021-04-23 12:55 | 14.9991 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8945 | μmol/L | 30.0003 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.282 | 103566.9179 | 214009.5914 | 27.3 | 43.4
103149 | 2021-04-23 12:55 | 15.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9674 | μmol/L | 30.0125 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.274 | 103523.4994 | 214001.1657 | 27.3 | 43.4
103159 | 2021-04-23 12:55 | 15.6659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.858 | μmol/L | 29.9941 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.286 | 103575.1775 | 213987.5965 | 27.3 | 43.4
103169 | 2021-04-23 12:56 | 15.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9793 | μmol/L | 29.9696 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.288 | 103563.0011 | 213988.9677 | 27.3 | 43.4
103179 | 2021-04-23 12:56 | 16.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0782 | μmol/L | 29.9574 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.287 | 103573.5465 | 213990.8985 | 27.3 | 43.4
103189 | 2021-04-23 12:56 | 16.6657 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0192 | μmol/L | 29.9635 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.288 | 103584.7735 | 213986.688 | 27.3 | 43.4
103199 | 2021-04-23 12:57 | 16.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6345 | μmol/L | 29.9758 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.304 | 103624.9396 | 213986.0582 | 27.3 | 43.4
103209 | 2021-04-23 12:57 | 17.3325 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4995 | μmol/L | 29.9819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.309 | 103654.4712 | 213989.4706 | 27.3 | 43.4
103219 | 2021-04-23 12:57 | 17.6655 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4234 | μmol/L | 29.9819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.313 | 103666.6753 | 213976.6071 | 27.3 | 43.4
103229 | 2021-04-23 12:58 | 17.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2609 | μmol/L | 30.0187 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.309 | 103654.6504 | 213958.0724 | 27.3 | 43.4
103239 | 2021-04-23 12:58 | 18.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5359 | μmol/L | 29.988 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.305 | 103645.4078 | 213969.129 | 27.3 | 43.4
103249 | 2021-04-23 12:58 | 18.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2644 | μmol/L | 30.0064 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.313 | 103677.5218 | 213959.637 | 27.3 | 43.4
103259 | 2021-04-23 12:59 | 18.9989 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2333 | μmol/L | 29.9819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.323 | 103712.7489 | 213954.4321 | 27.3 | 43.4
103269 | 2021-04-23 12:59 | 19.3327 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.0487 | μmol/L | 29.9635 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.339 | 103778.107 | 213945.917 | 27.3 | 43.4
103279 | 2021-04-23 12:59 | 19.6658 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.1988 | μmol/L | 29.9696 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.329 | 103746.9185 | 213939.1975 | 27.3 | 43.4
103289 | 2021-04-23 13:00 | 19.9987 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.0849 | μmol/L | 29.9696 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.335 | 103764.2903 | 213935.3702 | 27.3 | 43.4
103299 | 2021-04-23 13:00 | 20.3325 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8573 | μmol/L | 29.9696 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.347 | 103831.7816 | 213917.415 | 27.3 | 43.4
103309 | 2021-04-23 13:00 | 20.6654 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4698 | μmol/L | 30.0003 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.357 | 103861.6266 | 213920.764 | 27.3 | 43.4
103319 | 2021-04-23 13:01 | 20.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.458 | μmol/L | 29.9758 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.366 | 103907.526 | 213907.6271 | 27.3 | 43.4
103329 | 2021-04-23 13:01 | 21.3322 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4238 | μmol/L | 29.9635 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.372 | 103909.1856 | 213911.5934 | 27.3 | 43.4
103339 | 2021-04-23 13:01 | 21.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1351 | μmol/L | 29.9819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.381 | 103932.2492 | 213893.9781 | 27.3 | 43.4
103349 | 2021-04-23 13:02 | 21.9991 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1612 | μmol/L | 29.9574 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.388 | 103997.8035 | 213896.1909 | 27.3 | 43.4
103359 | 2021-04-23 13:02 | 22.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0103 | μmol/L | 29.9574 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.396 | 104023.4029 | 213896.9895 | 27.3 | 43.4
103369 | 2021-04-23 13:02 | 22.666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.091 | μmol/L | 29.939 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.398 | 104033.4523 | 213878.3875 | 27.3 | 43.4
103379 | 2021-04-23 13:03 | 22.999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.9008 | μmol/L | 29.9451 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.406 | 104067.5712 | 213885.6833 | 27.3 | 43.4
103389 | 2021-04-23 13:03 | 23.3319 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.7708 | μmol/L | 29.939 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.415 | 104105.9189 | 213860.9424 | 27.3 | 43.4
103399 | 2021-04-23 13:03 | 23.6659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3893 | μmol/L | 29.9574 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.429 | 104181.3774 | 213882.5767 | 27.3 | 43.4
103409 | 2021-04-23 13:04 | 23.9992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.2955 | μmol/L | 29.9574 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.434 | 104189.6622 | 213863.1482 | 27.3 | 43.4
103419 | 2021-04-23 13:04 | 24.332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.4717 | μmol/L | 29.9328 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.433 | 104200.9267 | 213852.4719 | 27.3 | 43.4
103429 | 2021-04-23 13:04 | 24.6656 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3815 | μmol/L | 29.9206 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.442 | 104258.9555 | 213850.0416 | 27.3 | 43.4