## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102692 | 2021-04-23 12:40 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3576 | μmol/L | 30.6974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.704 | 96784.8685 | 296844.1976 | 30.45 | 114.2
102702 | 2021-04-23 12:40 | 0.33927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8967 | μmol/L | 30.6789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.737 | 96971.771 | 296850.1442 | 30.45 | 114.2
102712 | 2021-04-23 12:41 | 0.67216 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2612 | μmol/L | 30.6789 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.774 | 97113.8485 | 296831.3714 | 30.45 | 114.2
102722 | 2021-04-23 12:41 | 1.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.149 | μmol/L | 30.648 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.791 | 97198.5699 | 296808.0366 | 30.45 | 114.2
102732 | 2021-04-23 12:41 | 1.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.706 | μmol/L | 30.6419 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.819 | 97328.495 | 296793.5289 | 30.45 | 114.2
102742 | 2021-04-23 12:42 | 1.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4579 | μmol/L | 30.6111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.844 | 97436.4298 | 296785.5667 | 30.45 | 114.2
102752 | 2021-04-23 12:42 | 2.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1361 | μmol/L | 30.6049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.865 | 97542.7961 | 296769.6437 | 30.45 | 114.2
102762 | 2021-04-23 12:42 | 2.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9338 | μmol/L | 30.5987 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.879 | 97609.8671 | 296762.9117 | 30.45 | 114.2
102772 | 2021-04-23 12:43 | 2.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6994 | μmol/L | 30.5864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.897 | 97693.8172 | 296768.3207 | 30.45 | 114.2
102782 | 2021-04-23 12:43 | 3.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6363 | μmol/L | 30.5679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.907 | 97735.5596 | 296748.5676 | 30.45 | 114.2
102792 | 2021-04-23 12:43 | 3.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5056 | μmol/L | 30.5494 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.921 | 97770.0677 | 296731.4463 | 30.45 | 114.2
102802 | 2021-04-23 12:44 | 3.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.478 | μmol/L | 30.5247 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.931 | 97842.9941 | 296694.2303 | 30.45 | 114.2
102812 | 2021-04-23 12:44 | 4.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3443 | μmol/L | 30.5186 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.941 | 97878.2455 | 296695.3666 | 30.45 | 114.2
102822 | 2021-04-23 12:44 | 4.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2461 | μmol/L | 30.5062 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.951 | 97926.5809 | 296681.9062 | 30.45 | 114.2
102832 | 2021-04-23 12:45 | 4.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1464 | μmol/L | 30.5001 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.959 | 97965.1631 | 296663.151 | 30.45 | 114.2
102842 | 2021-04-23 12:45 | 5.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1573 | μmol/L | 30.4569 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.973 | 98037.161 | 296649.5269 | 30.45 | 114.2
102852 | 2021-04-23 12:45 | 5.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1604 | μmol/L | 30.4446 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.977 | 98066.0672 | 296649.1905 | 30.45 | 114.2
102862 | 2021-04-23 12:46 | 5.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0424 | μmol/L | 30.4446 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.984 | 98101.3331 | 296636.4089 | 30.45 | 114.2
102872 | 2021-04-23 12:46 | 6.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0655 | μmol/L | 30.4199 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.991 | 98147.2315 | 296619.3153 | 30.45 | 114.2
102882 | 2021-04-23 12:46 | 6.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6751 | μmol/L | 30.4323 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.01 | 98216.1485 | 296628.2055 | 30.45 | 114.2
102892 | 2021-04-23 12:47 | 6.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9169 | μmol/L | 30.4076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.004 | 98220.3631 | 296598.4803 | 30.45 | 114.2
102902 | 2021-04-23 12:47 | 7.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7381 | μmol/L | 30.383 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.023 | 98322.2857 | 296576.3956 | 30.45 | 114.2
102912 | 2021-04-23 12:47 | 7.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7243 | μmol/L | 30.3706 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.028 | 98343.1068 | 296571.9554 | 30.45 | 114.2
102922 | 2021-04-23 12:48 | 7.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6419 | μmol/L | 30.3645 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.035 | 98391.3195 | 296560.2589 | 30.45 | 114.2
102932 | 2021-04-23 12:48 | 8.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4372 | μmol/L | 30.3768 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.043 | 98396.8224 | 296552.9206 | 30.45 | 114.2
102942 | 2021-04-23 12:48 | 8.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6176 | μmol/L | 30.3275 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.049 | 98444.1991 | 296557.6937 | 30.45 | 114.2
102952 | 2021-04-23 12:49 | 8.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4115 | μmol/L | 30.346 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.055 | 98487.5147 | 296533.1398 | 30.45 | 114.2
102962 | 2021-04-23 12:49 | 9.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6451 | μmol/L | 30.2843 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.062 | 98517.7316 | 296511.8935 | 30.45 | 114.2
102972 | 2021-04-23 12:49 | 9.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3538 | μmol/L | 30.309 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.071 | 98526.8259 | 296496.8893 | 30.45 | 114.2
102982 | 2021-04-23 12:50 | 9.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3354 | μmol/L | 30.3151 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.07 | 98547.5162 | 296501.2285 | 30.45 | 114.2
102992 | 2021-04-23 12:50 | 10.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3249 | μmol/L | 30.2905 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.079 | 98579.7348 | 296482.4193 | 30.45 | 114.2
103002 | 2021-04-23 12:50 | 10.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2793 | μmol/L | 30.272 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.088 | 98607.6841 | 296470.5926 | 30.45 | 114.2
103012 | 2021-04-23 12:51 | 10.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.5292 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.094 | 98652.2747 | 296464.8064 | 30.45 | 114.2
103022 | 2021-04-23 12:51 | 11.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2504 | μmol/L | 30.2535 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.096 | 98674.525 | 296447.5142 | 30.45 | 114.2
103032 | 2021-04-23 12:51 | 11.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2444 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.111 | 98738.2419 | 296442.7826 | 30.45 | 114.2
103042 | 2021-04-23 12:52 | 11.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.858 | μmol/L | 30.2843 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.109 | 98711.8213 | 296431.9415 | 30.45 | 114.2
103052 | 2021-04-23 12:52 | 12.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7625 | μmol/L | 30.2658 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.121 | 98760.5561 | 296422.168 | 30.45 | 114.2
103062 | 2021-04-23 12:52 | 12.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2581 | μmol/L | 30.1549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.129 | 98807.9551 | 296405.3272 | 30.45 | 114.2
103072 | 2021-04-23 12:53 | 12.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8083 | μmol/L | 30.2165 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.135 | 98826.9598 | 296384.2894 | 30.45 | 114.2
103082 | 2021-04-23 12:53 | 13.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5779 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.153 | 98904.4641 | 296386.0009 | 30.45 | 114.2
103092 | 2021-04-23 12:53 | 13.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5342 | μmol/L | 30.1795 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.164 | 98935.1741 | 296373.2878 | 30.45 | 114.2
103102 | 2021-04-23 12:54 | 13.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5659 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.16 | 98922.5183 | 296374.7486 | 30.45 | 114.2
103112 | 2021-04-23 12:54 | 14.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3963 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.166 | 98960.9328 | 296351.797 | 30.45 | 114.2
103122 | 2021-04-23 12:54 | 14.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2451 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.173 | 98958.6251 | 296348.7444 | 30.45 | 114.2
103132 | 2021-04-23 12:55 | 14.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0908 | μmol/L | 30.2227 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.176 | 98987.8662 | 296323.9667 | 30.45 | 114.2
103142 | 2021-04-23 12:55 | 15.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0228 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.178 | 99004.5197 | 296315.8528 | 30.45 | 114.2
103152 | 2021-04-23 12:55 | 15.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.905 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.183 | 99019.3822 | 296301.8297 | 30.45 | 114.2
103162 | 2021-04-23 12:56 | 15.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0322 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.19 | 99045.5577 | 296292.2551 | 30.45 | 114.2
103172 | 2021-04-23 12:56 | 16.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0986 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.186 | 99046.9757 | 296286.1177 | 30.45 | 114.2
103182 | 2021-04-23 12:56 | 16.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5693 | μmol/L | 30.1056 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.187 | 99051.5435 | 296278.9846 | 30.45 | 114.2
103192 | 2021-04-23 12:57 | 16.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2092 | μmol/L | 30.1487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.194 | 99088.8611 | 296258.1496 | 30.45 | 114.2
103202 | 2021-04-23 12:57 | 17.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0883 | μmol/L | 30.1672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.195 | 99090.5773 | 296257.8359 | 30.45 | 114.2
103212 | 2021-04-23 12:57 | 17.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0432 | μmol/L | 30.1487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.204 | 99117.2944 | 296233.4499 | 30.45 | 114.2
103222 | 2021-04-23 12:58 | 17.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1625 | μmol/L | 30.1364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.201 | 99114.0303 | 296226.2272 | 30.45 | 114.2
103232 | 2021-04-23 12:58 | 18.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7116 | μmol/L | 30.1487 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.224 | 99187.2665 | 296216.0028 | 30.45 | 114.2
103242 | 2021-04-23 12:58 | 18.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3595 | μmol/L | 30.1672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.239 | 99217.6613 | 296194.7231 | 30.45 | 114.2
103252 | 2021-04-23 12:59 | 18.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1518 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.239 | 99209.1479 | 296201.4898 | 30.45 | 114.2
103262 | 2021-04-23 12:59 | 19.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0592 | μmol/L | 30.1795 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.253 | 99246.9294 | 296168.2164 | 30.45 | 114.2
103272 | 2021-04-23 12:59 | 19.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8715 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.256 | 99258.6179 | 296175.7656 | 30.45 | 114.2
103282 | 2021-04-23 13:00 | 19.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3878 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.231 | 99185.5154 | 296151.1729 | 30.45 | 114.2
103292 | 2021-04-23 13:00 | 20.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0725 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.248 | 99190.7979 | 296149.2118 | 30.45 | 114.2
103302 | 2021-04-23 13:00 | 20.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1252 | μmol/L | 30.1795 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.249 | 99201.3675 | 296134.0485 | 30.45 | 114.2
103312 | 2021-04-23 13:01 | 20.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0278 | μmol/L | 30.1734 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.257 | 99241.6077 | 296130.1401 | 30.45 | 114.2
103322 | 2021-04-23 13:01 | 21.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9997 | μmol/L | 30.1549 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.265 | 99283.2233 | 296124.2191 | 30.45 | 114.2
103332 | 2021-04-23 13:01 | 21.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1449 | μmol/L | 30.1672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.252 | 99250.7655 | 296105.391 | 30.45 | 114.2
103342 | 2021-04-23 13:02 | 21.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1896 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.243 | 99214.0619 | 296091.5908 | 30.45 | 114.2
103352 | 2021-04-23 13:02 | 22.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0029 | μmol/L | 30.1425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.269 | 99294.3354 | 296091.005 | 30.45 | 114.2
103362 | 2021-04-23 13:02 | 22.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7862 | μmol/L | 30.0501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.253 | 99288.1464 | 296078.4508 | 30.45 | 114.2
103372 | 2021-04-23 13:03 | 22.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2347 | μmol/L | 30.0747 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.278 | 99351.0726 | 296061.1433 | 30.45 | 114.2
103382 | 2021-04-23 13:03 | 23.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0156 | μmol/L | 30.0932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.285 | 99367.785 | 296044.0678 | 30.45 | 114.2
103392 | 2021-04-23 13:03 | 23.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9598 | μmol/L | 30.1179 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.28 | 99342.4274 | 296037.6801 | 30.45 | 114.2
103402 | 2021-04-23 13:04 | 23.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8462 | μmol/L | 30.1117 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.289 | 99390.5853 | 296034.0453 | 30.45 | 114.2
103412 | 2021-04-23 13:04 | 24.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5306 | μmol/L | 30.1241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.304 | 99432.5954 | 296010.3354 | 30.45 | 114.2
103422 | 2021-04-23 13:04 | 24.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6684 | μmol/L | 30.0994 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.304 | 99426.4088 | 296002.2814 | 30.45 | 114.2
103432 | 2021-04-23 13:05 | 24.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9082 | μmol/L | 30.0624 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.302 | 99427.0729 | 295996.7073 | 30.45 | 114.2