## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102693 | 2021-04-23 12:40 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8391 | μmol/L | 30.7118 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.315 | 124410.7233 | 293367.8962 | 59.9307 | 49.4
102703 | 2021-04-23 12:40 | 0.32636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3945 | μmol/L | 30.6808 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.35 | 124593.3934 | 293353.328 | 59.9307 | 49.4
102713 | 2021-04-23 12:41 | 0.65934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7466 | μmol/L | 30.6808 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.386 | 124778.8189 | 293335.3017 | 59.9307 | 49.4
102723 | 2021-04-23 12:41 | 0.99322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1401 | μmol/L | 30.6685 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.424 | 125516.5652 | 293331.7282 | 59.9307 | 49.4
102733 | 2021-04-23 12:41 | 1.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1275 | μmol/L | 30.5694 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.458 | 125718.5018 | 293306.8905 | 59.9307 | 49.4
102743 | 2021-04-23 12:42 | 1.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5002 | μmol/L | 30.5818 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.489 | 126062.5468 | 293289.7691 | 59.9307 | 49.4
102753 | 2021-04-23 12:42 | 1.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0972 | μmol/L | 30.557 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.52 | 126352.2197 | 293310.3208 | 59.9307 | 49.4
102763 | 2021-04-23 12:42 | 2.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2227 | μmol/L | 30.4765 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.54 | 126299.2846 | 293286.2043 | 59.9307 | 49.4
102773 | 2021-04-23 12:43 | 2.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1469 | μmol/L | 30.6065 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.557 | 126450.9194 | 293282.962 | 59.9307 | 49.4
102783 | 2021-04-23 12:43 | 2.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4362 | μmol/L | 30.6313 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.589 | 126808.288 | 293266.6023 | 59.9307 | 49.4
102793 | 2021-04-23 12:43 | 3.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1647 | μmol/L | 30.5942 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.617 | 126811.0545 | 293268.8452 | 59.9307 | 49.4
102803 | 2021-04-23 12:44 | 3.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2344 | μmol/L | 30.526 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.636 | 126888.7843 | 293263.7661 | 59.9307 | 49.4
102813 | 2021-04-23 12:44 | 3.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.9571 | μmol/L | 30.5136 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.656 | 126706.933 | 293239.9924 | 59.9307 | 49.4
102823 | 2021-04-23 12:44 | 4.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.8233 | μmol/L | 30.4889 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.672 | 126751.4215 | 293220.8286 | 59.9307 | 49.4
102833 | 2021-04-23 12:45 | 4.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7072 | μmol/L | 30.4641 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.687 | 126897.3711 | 293214.1099 | 59.9307 | 49.4
102843 | 2021-04-23 12:45 | 4.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.6656 | μmol/L | 30.4208 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.704 | 126345.2203 | 293213.7149 | 59.9307 | 49.4
102853 | 2021-04-23 12:45 | 5.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3517 | μmol/L | 30.4208 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.722 | 125518.1071 | 293200.5984 | 59.9307 | 49.4
102863 | 2021-04-23 12:46 | 5.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.342 | μmol/L | 30.3898 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.733 | 126027.1825 | 293193.7414 | 59.9307 | 49.4
102873 | 2021-04-23 12:46 | 5.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7453 | μmol/L | 30.3093 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.737 | 126550.1478 | 293170.6728 | 59.9307 | 49.4
102883 | 2021-04-23 12:46 | 6.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1882 | μmol/L | 30.2102 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.745 | 126631.8908 | 293154.6604 | 59.9307 | 49.4
102893 | 2021-04-23 12:47 | 6.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3762 | μmol/L | 30.3217 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.754 | 126116.2004 | 293162.5162 | 59.9307 | 49.4
102903 | 2021-04-23 12:47 | 6.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4186 | μmol/L | 30.2907 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.762 | 126227.2319 | 293143.6117 | 59.9307 | 49.4
102913 | 2021-04-23 12:47 | 7.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8139 | μmol/L | 30.3465 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.778 | 125344.1891 | 293141.4428 | 59.9307 | 49.4
102923 | 2021-04-23 12:48 | 7.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7209 | μmol/L | 30.3712 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.775 | 126644.9313 | 293137.8058 | 59.9307 | 49.4
102933 | 2021-04-23 12:48 | 7.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6516 | μmol/L | 30.3712 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.779 | 125607.0272 | 293135.6315 | 59.9307 | 49.4
102943 | 2021-04-23 12:48 | 8.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6894 | μmol/L | 30.3588 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.781 | 125654.7582 | 293131.27 | 59.9307 | 49.4
102953 | 2021-04-23 12:49 | 8.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6609 | μmol/L | 30.3341 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.791 | 126210.3617 | 293129.5173 | 59.9307 | 49.4
102963 | 2021-04-23 12:49 | 8.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4311 | μmol/L | 30.3526 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.798 | 125800.3572 | 293101.9372 | 59.9307 | 49.4
102973 | 2021-04-23 12:49 | 9.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6937 | μmol/L | 30.2722 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.81 | 126170.7615 | 293093.0719 | 59.9307 | 49.4
102983 | 2021-04-23 12:50 | 9.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5647 | μmol/L | 30.3031 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.807 | 127084.7294 | 293057.4197 | 59.9307 | 49.4
102993 | 2021-04-23 12:50 | 9.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7079 | μmol/L | 30.2845 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.805 | 126374.8417 | 293073.3856 | 59.9307 | 49.4
103003 | 2021-04-23 12:50 | 10.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7849 | μmol/L | 30.2536 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.811 | 125163.1494 | 293059.0259 | 59.9307 | 49.4
103013 | 2021-04-23 12:51 | 10.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0414 | μmol/L | 30.1978 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.815 | 125439.375 | 293029.8539 | 59.9307 | 49.4
103023 | 2021-04-23 12:51 | 10.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7752 | μmol/L | 30.2226 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.822 | 126121.5494 | 293030.1969 | 59.9307 | 49.4
103033 | 2021-04-23 12:51 | 11.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4009 | μmol/L | 30.266 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.829 | 125341.6978 | 293030.8782 | 59.9307 | 49.4
103043 | 2021-04-23 12:52 | 11.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4574 | μmol/L | 30.2474 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.832 | 125950.5698 | 293018.2216 | 59.9307 | 49.4
103053 | 2021-04-23 12:52 | 11.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6977 | μmol/L | 30.1855 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.839 | 125353.8013 | 293007.6799 | 59.9307 | 49.4
103063 | 2021-04-23 12:52 | 12.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5908 | μmol/L | 30.1978 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.841 | 125391.9453 | 292999.7188 | 59.9307 | 49.4
103073 | 2021-04-23 12:53 | 12.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.7749 | μmol/L | 30.2164 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.882 | 124525.5737 | 293004.7727 | 59.9307 | 49.4
103083 | 2021-04-23 12:53 | 12.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7676 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.86 | 124834.4187 | 292989.0069 | 59.9307 | 49.4
103093 | 2021-04-23 12:53 | 13.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3863 | μmol/L | 30.1855 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.857 | 125259.8342 | 292986.3756 | 59.9307 | 49.4
103103 | 2021-04-23 12:54 | 13.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.0599 | μmol/L | 30.1793 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.878 | 125189.5715 | 292988.7711 | 59.9307 | 49.4
103113 | 2021-04-23 12:54 | 13.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4482 | μmol/L | 30.2164 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.901 | 124816.4967 | 292993.5048 | 59.9307 | 49.4
103123 | 2021-04-23 12:54 | 14.3261 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.0568 | μmol/L | 30.1917 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.874 | 125849.0791 | 292984.9213 | 59.9307 | 49.4
103133 | 2021-04-23 12:55 | 14.6601 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.827 | μmol/L | 30.0802 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.867 | 126273.8261 | 292974.5304 | 59.9307 | 49.4
103143 | 2021-04-23 12:55 | 14.9932 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3497 | μmol/L | 30.1235 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.88 | 125881.3445 | 292953.6881 | 59.9307 | 49.4
103153 | 2021-04-23 12:55 | 15.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.37 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.883 | 126218.4139 | 292943.4454 | 59.9307 | 49.4
103163 | 2021-04-23 12:56 | 15.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.1629 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.895 | 125962.3242 | 292944.9137 | 59.9307 | 49.4
103173 | 2021-04-23 12:56 | 15.9933 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4966 | μmol/L | 30.2288 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.894 | 125762.7667 | 292937.0903 | 59.9307 | 49.4
103183 | 2021-04-23 12:56 | 16.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3343 | μmol/L | 30.1917 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.916 | 125212.2424 | 292925.2394 | 59.9307 | 49.4
103193 | 2021-04-23 12:57 | 16.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3327 | μmol/L | 30.1297 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.937 | 124808.901 | 292930.1875 | 59.9307 | 49.4
103203 | 2021-04-23 12:57 | 16.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2968 | μmol/L | 30.1359 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.937 | 124990.3472 | 292903.4923 | 59.9307 | 49.4
103213 | 2021-04-23 12:57 | 17.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.183 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.952 | 125073.3336 | 292902.2347 | 59.9307 | 49.4
103223 | 2021-04-23 12:58 | 17.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.183 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.952 | 125063.6079 | 292879.7414 | 59.9307 | 49.4
103233 | 2021-04-23 12:58 | 17.9928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3668 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.958 | 125204.6409 | 292893.1547 | 59.9307 | 49.4
103243 | 2021-04-23 12:58 | 18.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2407 | μmol/L | 30.0864 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.957 | 125632.1027 | 292874.8295 | 59.9307 | 49.4
103253 | 2021-04-23 12:59 | 18.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2204 | μmol/L | 30.0988 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.954 | 126419.643 | 292866.8374 | 59.9307 | 49.4
103263 | 2021-04-23 12:59 | 18.9934 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.7721 | μmol/L | 30.1793 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.953 | 125968.4049 | 292859.0302 | 59.9307 | 49.4
103273 | 2021-04-23 12:59 | 19.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2734 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.953 | 125863.8647 | 292843.5319 | 59.9307 | 49.4
103283 | 2021-04-23 13:00 | 19.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.494 | μmol/L | 30.1978 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.963 | 125797.524 | 292852.3336 | 59.9307 | 49.4
103293 | 2021-04-23 13:00 | 19.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1612 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.97 | 125760.9061 | 292838.815 | 59.9307 | 49.4
103303 | 2021-04-23 13:00 | 20.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5329 | μmol/L | 30.1793 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.967 | 126448.8019 | 292818.6911 | 59.9307 | 49.4
103313 | 2021-04-23 13:01 | 20.6599 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3468 | μmol/L | 30.1731 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.98 | 125588.5367 | 292806.7991 | 59.9307 | 49.4
103323 | 2021-04-23 13:01 | 20.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8823 | μmol/L | 30.1917 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.001 | 125235.496 | 292827.1028 | 59.9307 | 49.4
103333 | 2021-04-23 13:01 | 21.3266 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0605 | μmol/L | 30.1607 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.001 | 125153.535 | 292789.0313 | 59.9307 | 49.4
103343 | 2021-04-23 13:02 | 21.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0451 | μmol/L | 30.1545 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.004 | 125157.0971 | 292775.5121 | 59.9307 | 49.4
103353 | 2021-04-23 13:02 | 21.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7852 | μmol/L | 30.1731 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.013 | 125228.7105 | 292798.8013 | 59.9307 | 49.4
103363 | 2021-04-23 13:02 | 22.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3473 | μmol/L | 30.105 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.003 | 125283.2474 | 292769.2073 | 59.9307 | 49.4
103373 | 2021-04-23 13:03 | 22.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.2946 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.004 | 125768.2384 | 292763.5827 | 59.9307 | 49.4
103383 | 2021-04-23 13:03 | 22.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2174 | μmol/L | 30.204 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.036 | 125287.3911 | 292766.6081 | 59.9307 | 49.4
103393 | 2021-04-23 13:03 | 23.3267 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.6624 | μmol/L | 30.1235 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.037 | 125299.3936 | 292746.2574 | 59.9307 | 49.4
103403 | 2021-04-23 13:04 | 23.66 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1799 | μmol/L | 30.1545 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.055 | 125411.0658 | 292752.3917 | 59.9307 | 49.4
103413 | 2021-04-23 13:04 | 23.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8386 | μmol/L | 30.1669 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.071 | 125481.98 | 292749.3147 | 59.9307 | 49.4
103423 | 2021-04-23 13:04 | 24.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8316 | μmol/L | 30.1297 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.084 | 126038.2545 | 292736.4469 | 59.9307 | 49.4
103433 | 2021-04-23 13:05 | 24.6598 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.4793 | μmol/L | 30.1235 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.107 | 126071.8168 | 292700.3022 | 59.9307 | 49.4