## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102694 | 2021-04-23 12:40 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6806 | μmol/L | 30.8981 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.615 | 140015.2669 | 305400.7833 | 33.25 | 68.6
102704 | 2021-04-23 12:40 | 0.33132 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5668 | μmol/L | 30.8981 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.622 | 140069.3836 | 305408.0476 | 33.25 | 68.6
102714 | 2021-04-23 12:41 | 0.66435 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5893 | μmol/L | 30.8859 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.625 | 140079.5893 | 305394.6685 | 33.25 | 68.6
102724 | 2021-04-23 12:41 | 0.99806 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5631 | μmol/L | 30.8737 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.631 | 140097.904 | 305384.9493 | 33.25 | 68.6
102734 | 2021-04-23 12:41 | 1.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5275 | μmol/L | 30.8798 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.631 | 140098.4629 | 305395.2249 | 33.25 | 68.6
102744 | 2021-04-23 12:42 | 1.6649 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7253 | μmol/L | 30.8431 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.632 | 140086.0551 | 305358.1754 | 33.25 | 68.6
102754 | 2021-04-23 12:42 | 1.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.91 | μmol/L | 30.8004 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.636 | 140087.0227 | 305342.3501 | 33.25 | 68.6
102764 | 2021-04-23 12:42 | 2.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0008 | μmol/L | 30.7821 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.637 | 140085.5748 | 305315.733 | 33.25 | 68.6
102774 | 2021-04-23 12:43 | 2.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9457 | μmol/L | 30.7943 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.636 | 140098.3932 | 305327.6032 | 33.25 | 68.6
102784 | 2021-04-23 12:43 | 2.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9388 | μmol/L | 30.7759 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.643 | 140096.9209 | 305319.5751 | 33.25 | 68.6
102794 | 2021-04-23 12:43 | 3.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0521 | μmol/L | 30.7454 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.647 | 140102.9707 | 305291.4653 | 33.25 | 68.6
102804 | 2021-04-23 12:44 | 3.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8799 | μmol/L | 30.7637 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.651 | 140099.2063 | 305268.5663 | 33.25 | 68.6
102814 | 2021-04-23 12:44 | 3.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9349 | μmol/L | 30.7515 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.652 | 140107.1062 | 305261.0699 | 33.25 | 68.6
102824 | 2021-04-23 12:44 | 4.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7431 | μmol/L | 30.605 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.655 | 140115.6276 | 305249.1614 | 33.25 | 68.6
102834 | 2021-04-23 12:45 | 4.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4603 | μmol/L | 30.6477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.657 | 140121.678 | 305238.1535 | 33.25 | 68.6
102844 | 2021-04-23 12:45 | 4.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1715 | μmol/L | 30.7027 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.655 | 140120.5826 | 305225.8866 | 33.25 | 68.6
102854 | 2021-04-23 12:45 | 5.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6644 | μmol/L | 30.5989 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.662 | 140124.3217 | 305201.1963 | 33.25 | 68.6
102864 | 2021-04-23 12:46 | 5.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4082 | μmol/L | 30.6538 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.658 | 140128.4412 | 305184.7334 | 33.25 | 68.6
102874 | 2021-04-23 12:46 | 5.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4725 | μmol/L | 30.6233 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.665 | 140143.1046 | 305184.1806 | 33.25 | 68.6
102884 | 2021-04-23 12:46 | 6.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4623 | μmol/L | 30.6111 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.67 | 140160.1358 | 305172.853 | 33.25 | 68.6
102894 | 2021-04-23 12:47 | 6.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5561 | μmol/L | 30.5867 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.673 | 140163.8854 | 305156.0569 | 33.25 | 68.6
102904 | 2021-04-23 12:47 | 6.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5011 | μmol/L | 30.5989 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.672 | 140148.7458 | 305153.1979 | 33.25 | 68.6
102914 | 2021-04-23 12:47 | 7.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8867 | μmol/L | 30.5134 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.679 | 140167.2879 | 305120.1487 | 33.25 | 68.6
102924 | 2021-04-23 12:48 | 7.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1458 | μmol/L | 30.4523 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.685 | 140170.065 | 305119.4527 | 33.25 | 68.6
102934 | 2021-04-23 12:48 | 7.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.338 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.682 | 140178.3138 | 305117.4626 | 33.25 | 68.6
102944 | 2021-04-23 12:48 | 8.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7662 | μmol/L | 30.5256 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.682 | 140176.7326 | 305097.4117 | 33.25 | 68.6
102954 | 2021-04-23 12:49 | 8.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7783 | μmol/L | 30.5012 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.69 | 140195.7708 | 305087.5131 | 33.25 | 68.6
102964 | 2021-04-23 12:49 | 8.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5896 | μmol/L | 30.5195 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.695 | 140204.0517 | 305065.0204 | 33.25 | 68.6
102974 | 2021-04-23 12:49 | 9.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.076 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.698 | 140203.6773 | 305064.0019 | 33.25 | 68.6
102984 | 2021-04-23 12:50 | 9.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0432 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.7 | 140207.454 | 305047.2011 | 33.25 | 68.6
102994 | 2021-04-23 12:50 | 9.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.722 | μmol/L | 30.4828 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.7 | 140222.3472 | 305034.6365 | 33.25 | 68.6
103004 | 2021-04-23 12:50 | 10.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3067 | μmol/L | 30.3913 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.697 | 140220.8499 | 305028.345 | 33.25 | 68.6
103014 | 2021-04-23 12:51 | 10.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8647 | μmol/L | 30.4584 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.7 | 140205.3337 | 305001.5915 | 33.25 | 68.6
103024 | 2021-04-23 12:51 | 10.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7697 | μmol/L | 30.4523 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.708 | 140238.0316 | 304999.825 | 33.25 | 68.6
103034 | 2021-04-23 12:51 | 11.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6077 | μmol/L | 30.4828 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.707 | 140241.8075 | 304987.295 | 33.25 | 68.6
103044 | 2021-04-23 12:52 | 11.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6687 | μmol/L | 30.4584 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.712 | 140247.229 | 304986.0628 | 33.25 | 68.6
103054 | 2021-04-23 12:52 | 11.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7817 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.716 | 140261.9969 | 304972.4273 | 33.25 | 68.6
103064 | 2021-04-23 12:52 | 12.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7951 | μmol/L | 30.434 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.713 | 140257.433 | 304973.1506 | 33.25 | 68.6
103074 | 2021-04-23 12:53 | 12.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6481 | μmol/L | 30.434 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.722 | 140269.6203 | 304934.5279 | 33.25 | 68.6
103084 | 2021-04-23 12:53 | 12.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6511 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.724 | 140289.0274 | 304939.1649 | 33.25 | 68.6
103094 | 2021-04-23 12:53 | 13.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7151 | μmol/L | 30.3974 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.731 | 140323.7068 | 304919.7394 | 33.25 | 68.6
103104 | 2021-04-23 12:54 | 13.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.822 | μmol/L | 30.379 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.731 | 140323.1262 | 304915.4571 | 33.25 | 68.6
103114 | 2021-04-23 12:54 | 13.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7464 | μmol/L | 30.3668 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.74 | 140388.812 | 304912.0719 | 33.25 | 68.6
103124 | 2021-04-23 12:54 | 14.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6694 | μmol/L | 30.3241 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.76 | 140499.8048 | 304897.812 | 33.25 | 68.6
103134 | 2021-04-23 12:55 | 14.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1359 | μmol/L | 30.4157 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.76 | 140542.2758 | 304888.8768 | 33.25 | 68.6
103144 | 2021-04-23 12:55 | 14.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0547 | μmol/L | 30.4157 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.765 | 140536.7724 | 304873.8464 | 33.25 | 68.6
103154 | 2021-04-23 12:55 | 15.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0649 | μmol/L | 30.4279 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.76 | 140508.4193 | 304863.3786 | 33.25 | 68.6
103164 | 2021-04-23 12:56 | 15.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.148 | μmol/L | 30.3913 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.768 | 140536.9483 | 304863.0616 | 33.25 | 68.6
103174 | 2021-04-23 12:56 | 15.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.08 | μmol/L | 30.3974 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.77 | 140572.4368 | 304850.2256 | 33.25 | 68.6
103184 | 2021-04-23 12:56 | 16.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8364 | μmol/L | 30.3974 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.785 | 140666.3508 | 304834.3437 | 33.25 | 68.6
103194 | 2021-04-23 12:57 | 16.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7756 | μmol/L | 30.4218 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.78 | 140647.9872 | 304821.7606 | 33.25 | 68.6
103204 | 2021-04-23 12:57 | 16.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8405 | μmol/L | 30.4218 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.776 | 140617.593 | 304821.668 | 33.25 | 68.6
103214 | 2021-04-23 12:57 | 17.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4587 | μmol/L | 30.4401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.793 | 140701.6227 | 304814.5339 | 33.25 | 68.6
103224 | 2021-04-23 12:58 | 17.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6773 | μmol/L | 30.3913 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.797 | 140714.9623 | 304801.2462 | 33.25 | 68.6
103234 | 2021-04-23 12:58 | 17.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6611 | μmol/L | 30.3913 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.798 | 140707.098 | 304782.907 | 33.25 | 68.6
103244 | 2021-04-23 12:58 | 18.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.732 | μmol/L | 30.379 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.798 | 140711.76 | 304764.66 | 33.25 | 68.6
103254 | 2021-04-23 12:59 | 18.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4476 | μmol/L | 30.3974 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.809 | 140783.0532 | 304750.9371 | 33.25 | 68.6
103264 | 2021-04-23 12:59 | 18.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4182 | μmol/L | 30.3913 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.813 | 140801.2873 | 304736.5179 | 33.25 | 68.6
103274 | 2021-04-23 12:59 | 19.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5669 | μmol/L | 30.3852 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.806 | 140780.8593 | 304721.3177 | 33.25 | 68.6
103284 | 2021-04-23 13:00 | 19.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3758 | μmol/L | 30.379 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.82 | 140838.1333 | 304717.08 | 33.25 | 68.6
103294 | 2021-04-23 13:00 | 19.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1051 | μmol/L | 30.4035 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.828 | 140867.2183 | 304712.8766 | 33.25 | 68.6
103304 | 2021-04-23 13:00 | 20.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0567 | μmol/L | 30.4035 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.831 | 140878.1243 | 304703.1786 | 33.25 | 68.6
103314 | 2021-04-23 13:01 | 20.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0759 | μmol/L | 30.3974 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.832 | 140887.6485 | 304694.2424 | 33.25 | 68.6
103324 | 2021-04-23 13:01 | 20.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3424 | μmol/L | 30.3485 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.833 | 140900.4701 | 304686.5618 | 33.25 | 68.6
103334 | 2021-04-23 13:01 | 21.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0557 | μmol/L | 30.3729 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.842 | 140971.6556 | 304672.8834 | 33.25 | 68.6
103344 | 2021-04-23 13:02 | 21.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7464 | μmol/L | 30.379 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.859 | 141041.4479 | 304666.4006 | 33.25 | 68.6
103354 | 2021-04-23 13:02 | 21.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7203 | μmol/L | 30.3668 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.865 | 141088.6284 | 304655.5147 | 33.25 | 68.6
103364 | 2021-04-23 13:02 | 22.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6751 | μmol/L | 30.3607 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.87 | 141116.2591 | 304642.0119 | 33.25 | 68.6
103374 | 2021-04-23 13:03 | 22.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6268 | μmol/L | 30.3607 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.873 | 141127.2205 | 304635.7548 | 33.25 | 68.6
103384 | 2021-04-23 13:03 | 22.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6712 | μmol/L | 30.3363 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.879 | 141156.8055 | 304616.9311 | 33.25 | 68.6
103394 | 2021-04-23 13:03 | 23.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7547 | μmol/L | 30.3302 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.876 | 141134.301 | 304597.7909 | 33.25 | 68.6
103404 | 2021-04-23 13:04 | 23.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7216 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.889 | 141205.166 | 304601.2173 | 33.25 | 68.6
103414 | 2021-04-23 13:04 | 23.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.619 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.891 | 141211.4211 | 304591.4064 | 33.25 | 68.6
103424 | 2021-04-23 13:04 | 24.3313 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5899 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.895 | 141213.4163 | 304576.3904 | 33.25 | 68.6
103434 | 2021-04-23 13:05 | 24.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6985 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.897 | 141212.8604 | 304562.3711 | 33.25 | 68.6