## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102695 | 2021-04-23 12:40 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.008 | μmol/L | 30.8622 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.456 | 124243.5187 | 269058.8268 | 26.25 | 74
102705 | 2021-04-23 12:40 | 0.33635 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9846 | μmol/L | 30.8928 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.503 | 124574.8618 | 269054.6553 | 26.25 | 74
102715 | 2021-04-23 12:41 | 0.67024 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.007 | μmol/L | 30.905 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.554 | 124895.9862 | 269038.9445 | 26.25 | 74
102725 | 2021-04-23 12:41 | 1.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.795 | μmol/L | 30.8255 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.593 | 125193.7073 | 269037.2417 | 26.25 | 74
102735 | 2021-04-23 12:41 | 1.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.7959 | μmol/L | 30.7399 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.622 | 125399.963 | 269013.1297 | 26.25 | 74
102745 | 2021-04-23 12:42 | 1.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0536 | μmol/L | 30.7583 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.658 | 125618.561 | 269016.4621 | 26.25 | 74
102755 | 2021-04-23 12:42 | 2.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4907 | μmol/L | 30.7705 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.686 | 125799.5654 | 268999.3315 | 26.25 | 74
102765 | 2021-04-23 12:42 | 2.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.256 | μmol/L | 30.7277 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.714 | 126007.1472 | 268987.0551 | 26.25 | 74
102775 | 2021-04-23 12:43 | 2.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6033 | μmol/L | 30.691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.764 | 126336.3891 | 268983.2066 | 26.25 | 74
102785 | 2021-04-23 12:43 | 3.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.958 | μmol/L | 30.636 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.82 | 126737.8579 | 268964.2797 | 26.25 | 74
102795 | 2021-04-23 12:43 | 3.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5713 | μmol/L | 30.5932 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.857 | 126969.3045 | 268949.3798 | 26.25 | 74
102805 | 2021-04-23 12:44 | 3.6696 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4305 | μmol/L | 30.6971 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.888 | 127161.8309 | 268949.1786 | 26.25 | 74
102815 | 2021-04-23 12:44 | 4.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0226 | μmol/L | 30.5504 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.962 | 127690.8637 | 268933.9016 | 26.25 | 74
102825 | 2021-04-23 12:44 | 4.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9043 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.994 | 127899.0423 | 268914.4925 | 26.25 | 74
102835 | 2021-04-23 12:45 | 4.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4629 | μmol/L | 30.5443 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.997 | 127919.6967 | 268908.5417 | 26.25 | 74
102845 | 2021-04-23 12:45 | 5.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6995 | μmol/L | 30.5504 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.04 | 128200.7457 | 268898.5251 | 26.25 | 74
102855 | 2021-04-23 12:45 | 5.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.7911 | μmol/L | 30.6115 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.073 | 128393.497 | 268876.5554 | 26.25 | 74
102865 | 2021-04-23 12:46 | 5.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.2902 | μmol/L | 30.6666 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.084 | 128486.3442 | 268885.495 | 26.25 | 74
102875 | 2021-04-23 12:46 | 6.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0503 | μmol/L | 30.5198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.089 | 128499.1117 | 268867.8124 | 26.25 | 74
102885 | 2021-04-23 12:46 | 6.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.139 | μmol/L | 30.5015 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.09 | 128510.982 | 268854.4959 | 26.25 | 74
102895 | 2021-04-23 12:47 | 6.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8487 | μmol/L | 30.6299 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.123 | 128730.2335 | 268853.5819 | 26.25 | 74
102905 | 2021-04-23 12:47 | 7.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0813 | μmol/L | 30.636 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.167 | 129063.9441 | 268840.5258 | 26.25 | 74
102915 | 2021-04-23 12:47 | 7.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0234 | μmol/L | 30.6054 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.181 | 129126.6012 | 268821.4918 | 26.25 | 74
102925 | 2021-04-23 12:48 | 7.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6031 | μmol/L | 30.367 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.168 | 129009.6042 | 268813.42 | 26.25 | 74
102935 | 2021-04-23 12:48 | 8.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4607 | μmol/L | 30.4648 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.143 | 128831.6583 | 268809.3401 | 26.25 | 74
102945 | 2021-04-23 12:48 | 8.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0386 | μmol/L | 30.4342 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.119 | 128671.8648 | 268800.403 | 26.25 | 74
102955 | 2021-04-23 12:49 | 8.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.9054 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.106 | 128570.3347 | 268781.5797 | 26.25 | 74
102965 | 2021-04-23 12:49 | 9.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2141 | μmol/L | 30.4709 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.096 | 128493.5115 | 268781.743 | 26.25 | 74
102975 | 2021-04-23 12:49 | 9.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6582 | μmol/L | 30.3792 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.101 | 128521.3271 | 268766.0709 | 26.25 | 74
102985 | 2021-04-23 12:50 | 9.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6964 | μmol/L | 30.3609 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.105 | 128544.0306 | 268774.2639 | 26.25 | 74
102995 | 2021-04-23 12:50 | 10.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4468 | μmol/L | 30.4159 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.101 | 128500.7617 | 268756.629 | 26.25 | 74
103005 | 2021-04-23 12:50 | 10.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2524 | μmol/L | 30.4526 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.1 | 128488.9686 | 268754.5971 | 26.25 | 74
103015 | 2021-04-23 12:51 | 10.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8835 | μmol/L | 30.3548 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.096 | 128429.8037 | 268734.4826 | 26.25 | 74
103025 | 2021-04-23 12:51 | 11.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.3474 | μmol/L | 30.3242 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.079 | 128324.2518 | 268726.26 | 26.25 | 74
103035 | 2021-04-23 12:51 | 11.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.442 | μmol/L | 30.5015 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.072 | 128260.2266 | 268714.0995 | 26.25 | 74
103045 | 2021-04-23 12:52 | 11.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6828 | μmol/L | 30.4831 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.064 | 128203.2878 | 268703.0015 | 26.25 | 74
103055 | 2021-04-23 12:52 | 12.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0881 | μmol/L | 30.4159 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.063 | 128204.1683 | 268687.6237 | 26.25 | 74
103065 | 2021-04-23 12:52 | 12.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8885 | μmol/L | 30.4709 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.056 | 128148.3716 | 268685.1292 | 26.25 | 74
103075 | 2021-04-23 12:53 | 12.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9023 | μmol/L | 30.4831 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.051 | 128092.7392 | 268667.2247 | 26.25 | 74
103085 | 2021-04-23 12:53 | 13.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.887 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.054 | 128124.5516 | 268668.3011 | 26.25 | 74
103095 | 2021-04-23 12:53 | 13.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8056 | μmol/L | 30.4648 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.063 | 128171.8822 | 268660.9553 | 26.25 | 74
103105 | 2021-04-23 12:54 | 13.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7656 | μmol/L | 30.4893 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.057 | 128124.7648 | 268659.232 | 26.25 | 74
103115 | 2021-04-23 12:54 | 14.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7472 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.056 | 128137.738 | 268647.0585 | 26.25 | 74
103125 | 2021-04-23 12:54 | 14.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.531 | μmol/L | 30.4831 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.073 | 128217.6281 | 268638.4563 | 26.25 | 74
103135 | 2021-04-23 12:55 | 14.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.511 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.07 | 128202.4666 | 268629.8679 | 26.25 | 74
103145 | 2021-04-23 12:55 | 15.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6674 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.067 | 128169.4301 | 268608.1664 | 26.25 | 74
103155 | 2021-04-23 12:55 | 15.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5157 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.076 | 128230.0587 | 268613.8407 | 26.25 | 74
103165 | 2021-04-23 12:56 | 15.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2263 | μmol/L | 30.4893 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.089 | 128299.4783 | 268594.6216 | 26.25 | 74
103175 | 2021-04-23 12:56 | 16.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.3671 | μmol/L | 30.4648 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.089 | 128301.1894 | 268588.6235 | 26.25 | 74
103185 | 2021-04-23 12:56 | 16.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1085 | μmol/L | 30.4893 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.096 | 128345.1719 | 268596.4976 | 26.25 | 74
103195 | 2021-04-23 12:57 | 16.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1254 | μmol/L | 30.4893 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.095 | 128341.3231 | 268588.6544 | 26.25 | 74
103205 | 2021-04-23 12:57 | 17.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8215 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.111 | 128413.8372 | 268566.5859 | 26.25 | 74
103215 | 2021-04-23 12:57 | 17.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.9452 | μmol/L | 30.4709 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.112 | 128459.5875 | 268554.3738 | 26.25 | 74
103225 | 2021-04-23 12:58 | 17.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6889 | μmol/L | 30.4893 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.121 | 128523.3261 | 268544.0517 | 26.25 | 74
103235 | 2021-04-23 12:58 | 18.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4058 | μmol/L | 30.4831 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.14 | 128619.5959 | 268525.1532 | 26.25 | 74
103245 | 2021-04-23 12:58 | 18.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.5324 | μmol/L | 30.4465 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.145 | 128666.3796 | 268543.7155 | 26.25 | 74
103255 | 2021-04-23 12:59 | 18.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0683 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.156 | 128729.7806 | 268518.5134 | 26.25 | 74
103265 | 2021-04-23 12:59 | 19.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0414 | μmol/L | 30.4709 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.166 | 128763.7203 | 268506.4042 | 26.25 | 74
103275 | 2021-04-23 12:59 | 19.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8181 | μmol/L | 30.4954 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.171 | 128808.9141 | 268473.3188 | 26.25 | 74
103285 | 2021-04-23 13:00 | 19.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8563 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.175 | 128836.6495 | 268476.6803 | 26.25 | 74
103295 | 2021-04-23 13:00 | 20.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7913 | μmol/L | 30.4709 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.181 | 128868.3166 | 268482.318 | 26.25 | 74
103305 | 2021-04-23 13:00 | 20.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8375 | μmol/L | 30.422 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.195 | 128936.8945 | 268462.6203 | 26.25 | 74
103315 | 2021-04-23 13:01 | 20.6696 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6163 | μmol/L | 30.4404 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.202 | 129003.5133 | 268453.9507 | 26.25 | 74
103325 | 2021-04-23 13:01 | 21.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3986 | μmol/L | 30.4465 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.213 | 129056.225 | 268436.0203 | 26.25 | 74
103335 | 2021-04-23 13:01 | 21.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9082 | μmol/L | 30.3425 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.218 | 129102.2024 | 268428.8044 | 26.25 | 74
103345 | 2021-04-23 13:02 | 21.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5161 | μmol/L | 30.3792 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.229 | 129154.2859 | 268415.2544 | 26.25 | 74
103355 | 2021-04-23 13:02 | 22.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0303 | μmol/L | 30.4587 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.231 | 129151.9757 | 268413.0038 | 26.25 | 74
103365 | 2021-04-23 13:02 | 22.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7108 | μmol/L | 30.477 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.244 | 129208.7687 | 268408.5266 | 26.25 | 74
103375 | 2021-04-23 13:03 | 22.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7522 | μmol/L | 30.4465 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.252 | 129265.7626 | 268397.2267 | 26.25 | 74
103385 | 2021-04-23 13:03 | 23.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4828 | μmol/L | 30.4648 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.262 | 129306.7632 | 268384.7296 | 26.25 | 74
103395 | 2021-04-23 13:03 | 23.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6431 | μmol/L | 30.422 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.267 | 129336.7827 | 268367.7147 | 26.25 | 74
103405 | 2021-04-23 13:04 | 23.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7803 | μmol/L | 30.4037 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.265 | 129361.1017 | 268360.56 | 26.25 | 74
103415 | 2021-04-23 13:04 | 24.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6349 | μmol/L | 30.3914 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.278 | 129431.361 | 268354.38 | 26.25 | 74
103425 | 2021-04-23 13:04 | 24.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.455 | μmol/L | 30.3853 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.291 | 129500.1625 | 268351.3158 | 26.25 | 74
103435 | 2021-04-23 13:05 | 24.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.5391 | μmol/L | 30.3792 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.288 | 129497.4478 | 268337.3533 | 26.25 | 74