## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:08

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
102696 | 2021-04-23 12:40 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2689 | μmol/L | 30.5512 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.34 | 125241.3128 | 270718.0482 | 32.55 | 27.7
102706 | 2021-04-23 12:40 | 0.33985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5874 | μmol/L | 30.6617 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.396 | 125560.7398 | 270707.7697 | 32.55 | 27.7
102716 | 2021-04-23 12:41 | 0.67278 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4403 | μmol/L | 30.5819 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.431 | 125775.5288 | 270708.2284 | 32.55 | 27.7
102726 | 2021-04-23 12:41 | 1.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3583 | μmol/L | 30.539 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.45 | 125890.9615 | 270672.8512 | 32.55 | 27.7
102736 | 2021-04-23 12:41 | 1.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6231 | μmol/L | 30.6433 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.456 | 125967.0881 | 270667.6665 | 32.55 | 27.7
102746 | 2021-04-23 12:42 | 1.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8735 | μmol/L | 30.6494 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.496 | 126207.7231 | 270634.021 | 32.55 | 27.7
102756 | 2021-04-23 12:42 | 2.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9115 | μmol/L | 30.674 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.542 | 126533.5044 | 270628.1905 | 32.55 | 27.7
102766 | 2021-04-23 12:42 | 2.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2944 | μmol/L | 30.674 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.577 | 126764.0923 | 270606.9829 | 32.55 | 27.7
102776 | 2021-04-23 12:43 | 2.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7311 | μmol/L | 30.6801 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.607 | 126944.616 | 270589.665 | 32.55 | 27.7
102786 | 2021-04-23 12:43 | 3.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5826 | μmol/L | 30.6371 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.63 | 127117.1561 | 270588.4508 | 32.55 | 27.7
102796 | 2021-04-23 12:43 | 3.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1241 | μmol/L | 30.6556 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.65 | 127188.3277 | 270565.6639 | 32.55 | 27.7
102806 | 2021-04-23 12:44 | 3.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7084 | μmol/L | 30.6433 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.678 | 127372.0947 | 270547.5626 | 32.55 | 27.7
102816 | 2021-04-23 12:44 | 4.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3433 | μmol/L | 30.6433 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.699 | 127500.0033 | 270538.8129 | 32.55 | 27.7
102826 | 2021-04-23 12:44 | 4.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1392 | μmol/L | 30.6249 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.717 | 127600.818 | 270539.3392 | 32.55 | 27.7
102836 | 2021-04-23 12:45 | 4.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8088 | μmol/L | 30.631 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.734 | 127701.7328 | 270510.673 | 32.55 | 27.7
102846 | 2021-04-23 12:45 | 5.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8358 | μmol/L | 30.5881 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.747 | 127795.0215 | 270508.9892 | 32.55 | 27.7
102856 | 2021-04-23 12:45 | 5.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.7535 | μmol/L | 30.5696 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.758 | 127885.0509 | 270492.481 | 32.55 | 27.7
102866 | 2021-04-23 12:46 | 5.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5966 | μmol/L | 30.5758 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.765 | 127921.9648 | 270481.5862 | 32.55 | 27.7
102876 | 2021-04-23 12:46 | 6.0063 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4614 | μmol/L | 30.5635 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.777 | 128004.8262 | 270467.14 | 32.55 | 27.7
102886 | 2021-04-23 12:46 | 6.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2057 | μmol/L | 30.5512 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.796 | 128088.0697 | 270464.4788 | 32.55 | 27.7
102896 | 2021-04-23 12:47 | 6.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4166 | μmol/L | 30.5328 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.79 | 128092.4785 | 270461.7612 | 32.55 | 27.7
102906 | 2021-04-23 12:47 | 7.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.8445 | μmol/L | 30.5512 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.817 | 128211.1716 | 270457.2499 | 32.55 | 27.7
102916 | 2021-04-23 12:47 | 7.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.0091 | μmol/L | 30.5083 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.822 | 128224.4303 | 270449.593 | 32.55 | 27.7
102926 | 2021-04-23 12:48 | 7.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.1653 | μmol/L | 30.5021 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.815 | 128179.9146 | 270441.0051 | 32.55 | 27.7
102936 | 2021-04-23 12:48 | 8.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.841 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.834 | 128304.8763 | 270430.01 | 32.55 | 27.7
102946 | 2021-04-23 12:48 | 8.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9217 | μmol/L | 30.5144 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.825 | 128234.8597 | 270425.954 | 32.55 | 27.7
102956 | 2021-04-23 12:49 | 8.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6199 | μmol/L | 30.4837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.853 | 128411.6213 | 270412.874 | 32.55 | 27.7
102966 | 2021-04-23 12:49 | 9.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6913 | μmol/L | 30.4715 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.853 | 128370.7536 | 270394.6041 | 32.55 | 27.7
102976 | 2021-04-23 12:49 | 9.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6399 | μmol/L | 30.4715 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.856 | 128388.7557 | 270385.4572 | 32.55 | 27.7
102986 | 2021-04-23 12:50 | 9.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6813 | μmol/L | 30.4408 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.864 | 128447.4859 | 270379.9785 | 32.55 | 27.7
102996 | 2021-04-23 12:50 | 10.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.48 | μmol/L | 30.4224 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.882 | 128543.483 | 270366.4382 | 32.55 | 27.7
103006 | 2021-04-23 12:50 | 10.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7193 | μmol/L | 30.3487 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.893 | 128639.741 | 270362.6759 | 32.55 | 27.7
103016 | 2021-04-23 12:51 | 10.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5324 | μmol/L | 30.3426 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.906 | 128671.1414 | 270363.0716 | 32.55 | 27.7
103026 | 2021-04-23 12:51 | 11.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7447 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.904 | 128643.5847 | 270356.4752 | 32.55 | 27.7
103036 | 2021-04-23 12:51 | 11.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.42 | μmol/L | 30.3855 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.898 | 128600.7111 | 270331.9152 | 32.55 | 27.7
103046 | 2021-04-23 12:52 | 11.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7176 | μmol/L | 30.3978 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.935 | 128847.2392 | 270336.4748 | 32.55 | 27.7
103056 | 2021-04-23 12:52 | 12.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4541 | μmol/L | 30.361 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.963 | 128992.8203 | 270336.004 | 32.55 | 27.7
103066 | 2021-04-23 12:52 | 12.3396 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1995 | μmol/L | 30.361 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.978 | 129098.385 | 270332.4251 | 32.55 | 27.7
103076 | 2021-04-23 12:53 | 12.6727 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.2999 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.97 | 129088.6886 | 270307.0542 | 32.55 | 27.7
103086 | 2021-04-23 12:53 | 13.0065 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.2562 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.983 | 129170.7078 | 270318.3541 | 32.55 | 27.7
103096 | 2021-04-23 12:53 | 13.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.4508 | μmol/L | 30.3794 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.016 | 129296.6343 | 270311.7286 | 32.55 | 27.7
103106 | 2021-04-23 12:54 | 13.6732 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.6504 | μmol/L | 30.3917 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21 | 129261.0874 | 270283.5581 | 32.55 | 27.7
103116 | 2021-04-23 12:54 | 14.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.7364 | μmol/L | 30.3855 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.997 | 129264.6406 | 270283.4126 | 32.55 | 27.7
103126 | 2021-04-23 12:54 | 14.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.4478 | μmol/L | 30.3917 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.012 | 129343.2666 | 270267.5147 | 32.55 | 27.7
103136 | 2021-04-23 12:55 | 14.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3173 | μmol/L | 30.3733 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.026 | 129399.2547 | 270259.2616 | 32.55 | 27.7
103146 | 2021-04-23 12:55 | 15.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0418 | μmol/L | 30.3978 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.034 | 129444.3191 | 270258.9294 | 32.55 | 27.7
103156 | 2021-04-23 12:55 | 15.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.1335 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.039 | 129474.0593 | 270250.7472 | 32.55 | 27.7
103166 | 2021-04-23 12:56 | 15.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3555 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.03 | 129447.4986 | 270226.3243 | 32.55 | 27.7
103176 | 2021-04-23 12:56 | 16.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9102 | μmol/L | 30.3855 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.046 | 129512.5131 | 270234.0122 | 32.55 | 27.7
103186 | 2021-04-23 12:56 | 16.3395 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8445 | μmol/L | 30.3794 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.052 | 129552.9123 | 270230.1699 | 32.55 | 27.7
103196 | 2021-04-23 12:57 | 16.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.0169 | μmol/L | 30.2935 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.071 | 129669.3607 | 270222.5381 | 32.55 | 27.7
103206 | 2021-04-23 12:57 | 17.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.759 | μmol/L | 30.3855 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.055 | 129606.9606 | 270211.6334 | 32.55 | 27.7
103216 | 2021-04-23 12:57 | 17.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8338 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.061 | 129689.0352 | 270214.196 | 32.55 | 27.7
103226 | 2021-04-23 12:58 | 17.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.6277 | μmol/L | 30.3733 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.067 | 129668.7859 | 270193.8757 | 32.55 | 27.7
103236 | 2021-04-23 12:58 | 18.0064 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.3808 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.088 | 129770.2023 | 270186.3884 | 32.55 | 27.7
103246 | 2021-04-23 12:58 | 18.3393 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.2531 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.104 | 129839.0701 | 270181.8865 | 32.55 | 27.7
103256 | 2021-04-23 12:59 | 18.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8604 | μmol/L | 30.4285 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.094 | 129815.3085 | 270171.9834 | 32.55 | 27.7
103266 | 2021-04-23 12:59 | 19.0062 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.1936 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.095 | 129800.2048 | 270171.4179 | 32.55 | 27.7
103276 | 2021-04-23 12:59 | 19.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4677 | μmol/L | 30.3426 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.087 | 129765.245 | 270153.5556 | 32.55 | 27.7
103286 | 2021-04-23 13:00 | 19.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.7904 | μmol/L | 30.4408 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.094 | 129778.5883 | 270140.803 | 32.55 | 27.7
103296 | 2021-04-23 13:00 | 20.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.8135 | μmol/L | 30.2321 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.104 | 129826.967 | 270145.0878 | 32.55 | 27.7
103306 | 2021-04-23 13:00 | 20.3398 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.655 | μmol/L | 30.2628 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.103 | 129820.437 | 270127.0807 | 32.55 | 27.7
103316 | 2021-04-23 13:01 | 20.6728 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9856 | μmol/L | 30.3303 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.12 | 129946.6671 | 270142.3013 | 32.55 | 27.7
103326 | 2021-04-23 13:01 | 21.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.7806 | μmol/L | 30.3487 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.126 | 129952.4486 | 270116.004 | 32.55 | 27.7
103336 | 2021-04-23 13:01 | 21.3399 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.7504 | μmol/L | 30.3364 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.132 | 129998.0558 | 270105.4256 | 32.55 | 27.7
103346 | 2021-04-23 13:02 | 21.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.2328 | μmol/L | 30.3426 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.161 | 130165.5217 | 270105.1886 | 32.55 | 27.7
103356 | 2021-04-23 13:02 | 22.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1133 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.164 | 130197.6878 | 270094.7232 | 32.55 | 27.7
103366 | 2021-04-23 13:02 | 22.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.0747 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.181 | 130266.5696 | 270092.8305 | 32.55 | 27.7
103376 | 2021-04-23 13:03 | 22.6729 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9901 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.184 | 130300.2217 | 270085.2737 | 32.55 | 27.7
103386 | 2021-04-23 13:03 | 23.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9917 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.186 | 130300.443 | 270089.4512 | 32.55 | 27.7
103396 | 2021-04-23 13:03 | 23.3397 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6588 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.204 | 130432.636 | 270075.9717 | 32.55 | 27.7
103406 | 2021-04-23 13:04 | 23.6731 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9696 | μmol/L | 30.2689 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.202 | 130408.7562 | 270062.6102 | 32.55 | 27.7
103416 | 2021-04-23 13:04 | 24.0061 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6241 | μmol/L | 30.3242 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.204 | 130445.7683 | 270048.9395 | 32.55 | 27.7
103426 | 2021-04-23 13:04 | 24.3394 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2822 | μmol/L | 30.3671 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.21 | 130446.0299 | 270052.146 | 32.55 | 27.7
103436 | 2021-04-23 13:05 | 24.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.3845 | μmol/L | 30.3549 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.208 | 130442.0599 | 270041.7101 | 32.55 | 27.7