## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103437 | 2021-04-23 13:14 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2239 | μmol/L | 30.1952 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.019 | 131694.7504 | 272434.2096 | 33.25 | 75.7
103447 | 2021-04-23 13:14 | 0.33984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.2068 | μmol/L | 30.2013 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.071 | 132141.4847 | 272432.176 | 33.25 | 75.7
103457 | 2021-04-23 13:15 | 0.67348 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.366 | μmol/L | 30.189 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.12 | 132516.8977 | 272428.8668 | 33.25 | 75.7
103467 | 2021-04-23 13:15 | 1.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3449 | μmol/L | 30.1706 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.181 | 132930.0856 | 272411.0332 | 33.25 | 75.7
103477 | 2021-04-23 13:15 | 1.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8474 | μmol/L | 30.1521 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.214 | 133295.9727 | 272397.0691 | 33.25 | 75.7
103487 | 2021-04-23 13:16 | 1.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1881 | μmol/L | 30.1152 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.262 | 133619.6356 | 272380.903 | 33.25 | 75.7
103497 | 2021-04-23 13:16 | 2.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3421 | μmol/L | 30.1337 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.302 | 133923.5854 | 272372.6112 | 33.25 | 75.7
103507 | 2021-04-23 13:16 | 2.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.829 | μmol/L | 30.146 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.326 | 134113.2891 | 272354.7978 | 33.25 | 75.7
103517 | 2021-04-23 13:17 | 2.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5516 | μmol/L | 30.1767 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.331 | 134167.8418 | 272352.1434 | 33.25 | 75.7
103527 | 2021-04-23 13:17 | 3.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.147 | μmol/L | 30.146 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.363 | 134394.2562 | 272344.8628 | 33.25 | 75.7
103537 | 2021-04-23 13:17 | 3.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7396 | μmol/L | 30.1398 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.388 | 134556.7089 | 272344.8668 | 33.25 | 75.7
103547 | 2021-04-23 13:18 | 3.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7413 | μmol/L | 30.1275 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.392 | 134614.669 | 272324.0718 | 33.25 | 75.7
103557 | 2021-04-23 13:18 | 4.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3652 | μmol/L | 30.1029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.421 | 134791.5894 | 272325.3448 | 33.25 | 75.7
103567 | 2021-04-23 13:18 | 4.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0651 | μmol/L | 30.1214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.431 | 134880.3949 | 272312.5761 | 33.25 | 75.7
103577 | 2021-04-23 13:19 | 4.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8595 | μmol/L | 30.109 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.447 | 134983.3282 | 272304.3822 | 33.25 | 75.7
103587 | 2021-04-23 13:19 | 5.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6322 | μmol/L | 30.1275 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.453 | 135039.0516 | 272293.2657 | 33.25 | 75.7
103597 | 2021-04-23 13:19 | 5.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3706 | μmol/L | 30.1337 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.466 | 135125.1718 | 272287.6714 | 33.25 | 75.7
103607 | 2021-04-23 13:20 | 5.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3458 | μmol/L | 30.1214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.471 | 135176.0316 | 272284.6047 | 33.25 | 75.7
103617 | 2021-04-23 13:20 | 6.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4223 | μmol/L | 30.0906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.477 | 135212.5221 | 272264.3322 | 33.25 | 75.7
103627 | 2021-04-23 13:20 | 6.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1147 | μmol/L | 30.109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.488 | 135287.9969 | 272265.4021 | 33.25 | 75.7
103637 | 2021-04-23 13:21 | 6.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.209 | μmol/L | 30.0783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.493 | 135322.5918 | 272252.4698 | 33.25 | 75.7
103647 | 2021-04-23 13:21 | 7.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.362 | μmol/L | 30.1767 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.508 | 135411.0619 | 272249.318 | 33.25 | 75.7
103657 | 2021-04-23 13:21 | 7.3394 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5473 | μmol/L | 30.1337 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.512 | 135447.591 | 272240.7568 | 33.25 | 75.7
103667 | 2021-04-23 13:22 | 7.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6028 | μmol/L | 30.1214 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.513 | 135455.1478 | 272241.3925 | 33.25 | 75.7
103677 | 2021-04-23 13:22 | 8.0063 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4891 | μmol/L | 30.109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.523 | 135509.5228 | 272225.9873 | 33.25 | 75.7
103687 | 2021-04-23 13:22 | 8.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4254 | μmol/L | 30.1152 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.525 | 135539.8748 | 272215.9344 | 33.25 | 75.7
103697 | 2021-04-23 13:23 | 8.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4207 | μmol/L | 30.0906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.533 | 135617.9167 | 272210.2809 | 33.25 | 75.7
103707 | 2021-04-23 13:23 | 9.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6708 | μmol/L | 30.029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.54 | 135650.4761 | 272212.8546 | 33.25 | 75.7
103717 | 2021-04-23 13:23 | 9.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2748 | μmol/L | 30.0537 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.554 | 135743.8767 | 272192.4638 | 33.25 | 75.7
103727 | 2021-04-23 13:24 | 9.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.928 | μmol/L | 30.109 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.555 | 135757.6796 | 272223.1775 | 33.25 | 75.7
103737 | 2021-04-23 13:24 | 10.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.092 | μmol/L | 30.0844 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.554 | 135744.1677 | 272199.807 | 33.25 | 75.7
103747 | 2021-04-23 13:24 | 10.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1997 | μmol/L | 30.0783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.55 | 135736.2901 | 272192.7183 | 33.25 | 75.7
103757 | 2021-04-23 13:25 | 10.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1641 | μmol/L | 30.0783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.552 | 135744.895 | 272180.0995 | 33.25 | 75.7
103767 | 2021-04-23 13:25 | 11.0061 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8503 | μmol/L | 30.0967 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.563 | 135790.3458 | 272163.6896 | 33.25 | 75.7
103777 | 2021-04-23 13:25 | 11.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8691 | μmol/L | 30.0906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.564 | 135839.1182 | 272166.749 | 33.25 | 75.7
103787 | 2021-04-23 13:26 | 11.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7721 | μmol/L | 30.0844 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.572 | 135880.4239 | 272167.1676 | 33.25 | 75.7
103797 | 2021-04-23 13:26 | 12.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5572 | μmol/L | 30.0967 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.58 | 135925.8391 | 272164.382 | 33.25 | 75.7
103807 | 2021-04-23 13:26 | 12.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3801 | μmol/L | 30.0967 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.59 | 135962.0536 | 272153.2191 | 33.25 | 75.7
103817 | 2021-04-23 13:27 | 12.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.576 | μmol/L | 30.0906 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.581 | 135923.9738 | 272148.9278 | 33.25 | 75.7
103827 | 2021-04-23 13:27 | 13.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4176 | μmol/L | 30.0844 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.592 | 135997.0587 | 272154.7563 | 33.25 | 75.7
103837 | 2021-04-23 13:27 | 13.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5452 | μmol/L | 30.0106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.609 | 136091.5426 | 272141.6373 | 33.25 | 75.7
103847 | 2021-04-23 13:28 | 13.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0168 | μmol/L | 30.1029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.608 | 136112.8032 | 272126.7671 | 33.25 | 75.7
103857 | 2021-04-23 13:28 | 14.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0552 | μmol/L | 30.0844 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.612 | 136157.535 | 272141.5402 | 33.25 | 75.7
103867 | 2021-04-23 13:28 | 14.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6858 | μmol/L | 30.0783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.635 | 136293.1946 | 272134.4487 | 33.25 | 75.7
103877 | 2021-04-23 13:29 | 14.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6505 | μmol/L | 30.0783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.637 | 136311.9836 | 272135.5141 | 33.25 | 75.7
103887 | 2021-04-23 13:29 | 15.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7418 | μmol/L | 30.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.638 | 136330.1166 | 272111.7993 | 33.25 | 75.7
103897 | 2021-04-23 13:29 | 15.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2261 | μmol/L | 30.0906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.657 | 136443.3856 | 272125.2273 | 33.25 | 75.7
103907 | 2021-04-23 13:30 | 15.6729 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5453 | μmol/L | 30.0229 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.662 | 136484.1794 | 272125.5882 | 33.25 | 75.7
103917 | 2021-04-23 13:30 | 16.006 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5896 | μmol/L | 30.0229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.659 | 136457.0528 | 272118.0853 | 33.25 | 75.7
103927 | 2021-04-23 13:30 | 16.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2018 | μmol/L | 30.029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.679 | 136610.0366 | 272115.1362 | 33.25 | 75.7
103937 | 2021-04-23 13:31 | 16.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0986 | μmol/L | 30.0167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.689 | 136700.6034 | 272104.6671 | 33.25 | 75.7
103947 | 2021-04-23 13:31 | 17.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.0874 | μmol/L | 30.029 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.686 | 136694.7845 | 272105.2277 | 33.25 | 75.7
103957 | 2021-04-23 13:31 | 17.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8234 | μmol/L | 30.0352 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.699 | 136764.6245 | 272101.865 | 33.25 | 75.7
103967 | 2021-04-23 13:32 | 17.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1423 | μmol/L | 29.9675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.703 | 136795.8614 | 272106.3334 | 33.25 | 75.7
103977 | 2021-04-23 13:32 | 18.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.7897 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.719 | 136902.7597 | 272091.2949 | 33.25 | 75.7
103987 | 2021-04-23 13:32 | 18.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.7755 | μmol/L | 29.9614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.726 | 136969.4322 | 272093.1651 | 33.25 | 75.7
103997 | 2021-04-23 13:33 | 18.6731 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4007 | μmol/L | 30.0044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.733 | 137019.0292 | 272091.0476 | 33.25 | 75.7
104007 | 2021-04-23 13:33 | 19.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1115 | μmol/L | 30.0106 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.748 | 137140.5605 | 272095.7451 | 33.25 | 75.7
104017 | 2021-04-23 13:33 | 19.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.2296 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.749 | 137141.1935 | 272092.778 | 33.25 | 75.7
104027 | 2021-04-23 13:34 | 19.673 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.558 | μmol/L | 29.906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.757 | 137191.3531 | 272093.9103 | 33.25 | 75.7
104037 | 2021-04-23 13:34 | 20.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3769 | μmol/L | 29.9429 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.755 | 137177.4196 | 272087.4988 | 33.25 | 75.7
104047 | 2021-04-23 13:34 | 20.3398 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7723 | μmol/L | 30.0106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.767 | 137251.2373 | 272079.3352 | 33.25 | 75.7
104057 | 2021-04-23 13:35 | 20.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8986 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.768 | 137264.1067 | 272086.9692 | 33.25 | 75.7
104067 | 2021-04-23 13:35 | 21.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8812 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.769 | 137283.3486 | 272081.2029 | 33.25 | 75.7
104077 | 2021-04-23 13:35 | 21.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.778 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.777 | 137351.8017 | 272066.4733 | 33.25 | 75.7
104087 | 2021-04-23 13:36 | 21.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5706 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.791 | 137424.0542 | 272070.8641 | 33.25 | 75.7
104097 | 2021-04-23 13:36 | 22.0062 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.433 | μmol/L | 29.9675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.801 | 137499.4278 | 272067.7595 | 33.25 | 75.7
104107 | 2021-04-23 13:36 | 22.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3104 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.806 | 137523.2716 | 272069.8731 | 33.25 | 75.7
104117 | 2021-04-23 13:37 | 22.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3312 | μmol/L | 29.9552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 137588.8765 | 272060.0876 | 33.25 | 75.7
104127 | 2021-04-23 13:37 | 23.0065 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3855 | μmol/L | 29.9429 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.812 | 137590.4124 | 272051.3127 | 33.25 | 75.7
104137 | 2021-04-23 13:37 | 23.3396 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1961 | μmol/L | 29.9368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.825 | 137679.733 | 272046.1561 | 33.25 | 75.7
104147 | 2021-04-23 13:38 | 23.6727 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.9689 | μmol/L | 29.9491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.834 | 137742.2627 | 272038.8949 | 33.25 | 75.7
104157 | 2021-04-23 13:38 | 24.0064 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8456 | μmol/L | 29.9614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.837 | 137765.2292 | 272046.697 | 33.25 | 75.7
104167 | 2021-04-23 13:38 | 24.3395 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.932 | μmol/L | 29.9614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.832 | 137737.5609 | 272030.9274 | 33.25 | 75.7
104177 | 2021-04-23 13:39 | 24.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.082 | μmol/L | 29.8998 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.844 | 137816.1643 | 272020.2305 | 33.25 | 75.7
104187 | 2021-04-23 13:39 | 25.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0175 | μmol/L | 29.8752 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.856 | 137885.1615 | 272024.1616 | 33.25 | 75.7
104197 | 2021-04-23 13:39 | 25.3397 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.7444 | μmol/L | 29.9491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.847 | 137849.4 | 272013.7383 | 33.25 | 75.7
104207 | 2021-04-23 13:40 | 25.6728 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0313 | μmol/L | 29.8937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.849 | 137874.3632 | 272007.4981 | 33.25 | 75.7
104217 | 2021-04-23 13:40 | 26.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4696 | μmol/L | 29.9429 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.865 | 137950.2579 | 272012.2264 | 33.25 | 75.7
104227 | 2021-04-23 13:40 | 26.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2618 | μmol/L | 29.9491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.875 | 138078.9002 | 272010.0792 | 33.25 | 75.7