## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103438 | 2021-04-23 13:14 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7888 | μmol/L | 29.6735 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.754 | 122785.6271 | 296279.2801 | 59.9307 | 38.1
103448 | 2021-04-23 13:14 | 0.32801 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6385 | μmol/L | 30.084 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.739 | 122752.8519 | 296264.6135 | 59.9307 | 38.1
103458 | 2021-04-23 13:15 | 0.66186 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0434 | μmol/L | 30.0963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.769 | 122966.723 | 296266.8028 | 59.9307 | 38.1
103468 | 2021-04-23 13:15 | 0.99486 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7518 | μmol/L | 30.0717 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.794 | 123152.2327 | 296256.3161 | 59.9307 | 38.1
103478 | 2021-04-23 13:15 | 1.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4261 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.821 | 123328.2298 | 296251.8014 | 59.9307 | 38.1
103488 | 2021-04-23 13:16 | 1.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.675 | μmol/L | 30.0901 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.85 | 123503.8683 | 296233.8822 | 59.9307 | 38.1
103498 | 2021-04-23 13:16 | 1.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1495 | μmol/L | 30.1391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.864 | 123607.5381 | 296227.4511 | 59.9307 | 38.1
103508 | 2021-04-23 13:16 | 2.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6243 | μmol/L | 30.084 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.855 | 123590.1482 | 296202.3187 | 59.9307 | 38.1
103518 | 2021-04-23 13:17 | 2.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9929 | μmol/L | 30.0534 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.902 | 123863.7717 | 296204.0208 | 59.9307 | 38.1
103528 | 2021-04-23 13:17 | 2.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3791 | μmol/L | 30.035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.944 | 124089.7883 | 296207.0398 | 59.9307 | 38.1
103538 | 2021-04-23 13:17 | 3.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8612 | μmol/L | 30.0656 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.964 | 124209.0327 | 296195.4694 | 59.9307 | 38.1
103548 | 2021-04-23 13:18 | 3.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7737 | μmol/L | 30.0779 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.965 | 124247.8664 | 296177.1668 | 59.9307 | 38.1
103558 | 2021-04-23 13:18 | 3.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7283 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.978 | 124326.0109 | 296185.0619 | 59.9307 | 38.1
103568 | 2021-04-23 13:18 | 4.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4878 | μmol/L | 30.0595 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.988 | 124389.5614 | 296177.2314 | 59.9307 | 38.1
103578 | 2021-04-23 13:19 | 4.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4108 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.007 | 124491.1068 | 296155.7128 | 59.9307 | 38.1
103588 | 2021-04-23 13:19 | 4.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7909 | μmol/L | 30.0656 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.027 | 124605.3069 | 296148.9845 | 59.9307 | 38.1
103598 | 2021-04-23 13:19 | 5.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9696 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.033 | 124660.9156 | 296150.0657 | 59.9307 | 38.1
103608 | 2021-04-23 13:20 | 5.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5734 | μmol/L | 30.0534 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.044 | 124699.7625 | 296141.4338 | 59.9307 | 38.1
103618 | 2021-04-23 13:20 | 5.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4213 | μmol/L | 30.0534 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.053 | 124773.3814 | 296154.8482 | 59.9307 | 38.1
103628 | 2021-04-23 13:20 | 6.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5783 | μmol/L | 30.1146 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.023 | 124649.2312 | 296132.0614 | 59.9307 | 38.1
103638 | 2021-04-23 13:21 | 6.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4998 | μmol/L | 30.084 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.038 | 124736.3707 | 296128.1666 | 59.9307 | 38.1
103648 | 2021-04-23 13:21 | 6.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7 | μmol/L | 30.0105 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.051 | 124790.1039 | 296112.2943 | 59.9307 | 38.1
103658 | 2021-04-23 13:21 | 7.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4524 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.076 | 124926.0705 | 296115.1943 | 59.9307 | 38.1
103668 | 2021-04-23 13:22 | 7.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0466 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.098 | 125025.2142 | 296101.1534 | 59.9307 | 38.1
103678 | 2021-04-23 13:22 | 7.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0658 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.101 | 125061.6839 | 296092.3175 | 59.9307 | 38.1
103688 | 2021-04-23 13:22 | 8.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6706 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.11 | 125099.1272 | 296077.9612 | 59.9307 | 38.1
103698 | 2021-04-23 13:23 | 8.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5207 | μmol/L | 30.0105 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.121 | 125167.1658 | 296092.7836 | 59.9307 | 38.1
103708 | 2021-04-23 13:23 | 8.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4932 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.133 | 125200.2522 | 296077.6834 | 59.9307 | 38.1
103718 | 2021-04-23 13:23 | 9.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3436 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.144 | 125252.2795 | 296075.4891 | 59.9307 | 38.1
103728 | 2021-04-23 13:24 | 9.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.8949 | μmol/L | 30.0411 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.148 | 125301.4232 | 296069.0286 | 59.9307 | 38.1
103738 | 2021-04-23 13:24 | 9.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9692 | μmol/L | 30.0043 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.156 | 125342.3876 | 296047.1374 | 59.9307 | 38.1
103748 | 2021-04-23 13:24 | 10.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6123 | μmol/L | 30.035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.167 | 125391.4636 | 296061.5243 | 59.9307 | 38.1
103758 | 2021-04-23 13:25 | 10.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4097 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.175 | 125427.023 | 296040.037 | 59.9307 | 38.1
103768 | 2021-04-23 13:25 | 10.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.516 | μmol/L | 30.0166 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.179 | 125471.8995 | 296032.2465 | 59.9307 | 38.1
103778 | 2021-04-23 13:25 | 11.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9065 | μmol/L | 29.9002 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.195 | 125557.5207 | 296033.6059 | 59.9307 | 38.1
103788 | 2021-04-23 13:26 | 11.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.526 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.195 | 125571.6927 | 296015.7786 | 59.9307 | 38.1
103798 | 2021-04-23 13:26 | 11.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.1049 | μmol/L | 29.9921 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.212 | 125668.3957 | 296016.3779 | 59.9307 | 38.1
103808 | 2021-04-23 13:26 | 12.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.1752 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.214 | 125705.1527 | 296016.8516 | 59.9307 | 38.1
103818 | 2021-04-23 13:27 | 12.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4002 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.215 | 125719.5273 | 296023.1071 | 59.9307 | 38.1
103828 | 2021-04-23 13:27 | 12.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.843 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.234 | 125768.1417 | 296007.2048 | 59.9307 | 38.1
103838 | 2021-04-23 13:27 | 13.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.1391 | μmol/L | 29.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.239 | 125817.7423 | 296003.3567 | 59.9307 | 38.1
103848 | 2021-04-23 13:28 | 13.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6964 | μmol/L | 29.9615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.247 | 125857.497 | 295984.3443 | 59.9307 | 38.1
103858 | 2021-04-23 13:28 | 13.9946 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.546 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.254 | 125899.3911 | 295987.6434 | 59.9307 | 38.1
103868 | 2021-04-23 13:28 | 14.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6327 | μmol/L | 29.9492 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.255 | 125932.9038 | 295988.3825 | 59.9307 | 38.1
103878 | 2021-04-23 13:29 | 14.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3183 | μmol/L | 29.9492 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.274 | 126015.5281 | 295982.14 | 59.9307 | 38.1
103888 | 2021-04-23 13:29 | 14.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3221 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.28 | 126078.114 | 295970.9174 | 59.9307 | 38.1
103898 | 2021-04-23 13:29 | 15.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.4125 | μmol/L | 29.8941 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.287 | 126113.2673 | 295979.8417 | 59.9307 | 38.1
103908 | 2021-04-23 13:30 | 15.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0796 | μmol/L | 29.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.303 | 126170.7728 | 295982.6745 | 59.9307 | 38.1
103918 | 2021-04-23 13:30 | 15.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0059 | μmol/L | 29.9431 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.295 | 126172.8279 | 295973.1502 | 59.9307 | 38.1
103928 | 2021-04-23 13:30 | 16.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.1698 | μmol/L | 29.8696 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.31 | 126243.1605 | 295979.9281 | 59.9307 | 38.1
103938 | 2021-04-23 13:31 | 16.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.024 | μmol/L | 29.8573 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.323 | 126295.8154 | 295974.7826 | 59.9307 | 38.1
103948 | 2021-04-23 13:31 | 16.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.5284 | μmol/L | 29.9431 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.324 | 126332.025 | 295983.405 | 59.9307 | 38.1
103958 | 2021-04-23 13:31 | 17.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.554 | μmol/L | 29.9002 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.337 | 126401.0623 | 295977.7697 | 59.9307 | 38.1
103968 | 2021-04-23 13:32 | 17.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8808 | μmol/L | 29.8328 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.34 | 126414.4743 | 295969.1091 | 59.9307 | 38.1
103978 | 2021-04-23 13:32 | 17.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.815 | μmol/L | 29.8328 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.344 | 126449.8605 | 295960.4661 | 59.9307 | 38.1
103988 | 2021-04-23 13:32 | 18.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7366 | μmol/L | 29.8144 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.355 | 126511.4156 | 295972.8784 | 59.9307 | 38.1
103998 | 2021-04-23 13:33 | 18.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.81 | μmol/L | 29.7777 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.363 | 126575.7589 | 295957.0039 | 59.9307 | 38.1
104008 | 2021-04-23 13:33 | 18.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2007 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.371 | 126614.7764 | 295958.7044 | 59.9307 | 38.1
104018 | 2021-04-23 13:33 | 19.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9594 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.367 | 126616.6285 | 295957.0977 | 59.9307 | 38.1
104028 | 2021-04-23 13:34 | 19.6612 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2604 | μmol/L | 29.8144 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.384 | 126713.4218 | 295954.5761 | 59.9307 | 38.1
104038 | 2021-04-23 13:34 | 19.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.993 | μmol/L | 29.8389 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.392 | 126773.7278 | 295951.3393 | 59.9307 | 38.1
104048 | 2021-04-23 13:34 | 20.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0664 | μmol/L | 29.8022 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.4 | 126796.3978 | 295956.2975 | 59.9307 | 38.1
104058 | 2021-04-23 13:35 | 20.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.8131 | μmol/L | 29.8389 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.403 | 126859.2579 | 295946.6869 | 59.9307 | 38.1
104068 | 2021-04-23 13:35 | 20.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.617 | μmol/L | 29.8389 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.415 | 126898.6254 | 295944.3077 | 59.9307 | 38.1
104078 | 2021-04-23 13:35 | 21.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.4662 | μmol/L | 29.8573 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.418 | 126910.0623 | 295949.0412 | 59.9307 | 38.1
104088 | 2021-04-23 13:36 | 21.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.2882 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.431 | 127002.8549 | 295942.7066 | 59.9307 | 38.1
104098 | 2021-04-23 13:36 | 21.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.4985 | μmol/L | 29.7838 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.441 | 127046.8222 | 295943.9557 | 59.9307 | 38.1
104108 | 2021-04-23 13:36 | 22.3279 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.0901 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.439 | 127052.3058 | 295938.2802 | 59.9307 | 38.1
104118 | 2021-04-23 13:37 | 22.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.4143 | μmol/L | 29.796 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.442 | 127074.9921 | 295944.1108 | 59.9307 | 38.1
104128 | 2021-04-23 13:37 | 22.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6355 | μmol/L | 29.7532 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.443 | 127101.751 | 295945.9852 | 59.9307 | 38.1
104138 | 2021-04-23 13:37 | 23.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.738 | μmol/L | 29.8083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.418 | 126979.3198 | 295937.152 | 59.9307 | 38.1
104148 | 2021-04-23 13:38 | 23.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9544 | μmol/L | 29.7899 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.411 | 126932.8347 | 295945.2123 | 59.9307 | 38.1
104158 | 2021-04-23 13:38 | 23.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7393 | μmol/L | 29.8022 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.42 | 126973.2458 | 295924.0597 | 59.9307 | 38.1
104168 | 2021-04-23 13:38 | 24.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.8053 | μmol/L | 29.7225 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.443 | 127083.6265 | 295922.8934 | 59.9307 | 38.1
104178 | 2021-04-23 13:39 | 24.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.398 | μmol/L | 29.796 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.443 | 127075.3874 | 295908.7154 | 59.9307 | 38.1
104188 | 2021-04-23 13:39 | 24.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.391 | μmol/L | 29.7532 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.458 | 127169.2185 | 295900.0214 | 59.9307 | 38.1
104198 | 2021-04-23 13:39 | 25.3281 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.0724 | μmol/L | 29.796 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.463 | 127207.1249 | 295904.4497 | 59.9307 | 38.1
104208 | 2021-04-23 13:40 | 25.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.941 | μmol/L | 29.8022 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.469 | 127255.0607 | 295888.6784 | 59.9307 | 38.1
104218 | 2021-04-23 13:40 | 25.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8463 | μmol/L | 29.7899 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.479 | 127308.6496 | 295891.6405 | 59.9307 | 38.1
104228 | 2021-04-23 13:40 | 26.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6192 | μmol/L | 29.7532 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.444 | 127174.9112 | 295891.6079 | 59.9307 | 38.1