## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103440 | 2021-04-23 13:14 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.4022 | μmol/L | 30.2774 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.555 | 88840.4655 | 293059.4824 | 28.7 | 67.6
103450 | 2021-04-23 13:14 | 0.34182 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1041 | μmol/L | 30.1126 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.627 | 89246.2116 | 293081.531 | 28.7 | 67.6
103460 | 2021-04-23 13:15 | 0.67473 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4581 | μmol/L | 30.0455 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.686 | 89479.9997 | 293058.1317 | 28.7 | 67.6
103470 | 2021-04-23 13:15 | 1.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2913 | μmol/L | 30.0882 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.738 | 89706.0914 | 293055.7228 | 28.7 | 67.6
103480 | 2021-04-23 13:15 | 1.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1345 | μmol/L | 30.0821 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.749 | 89795.7021 | 293054.5985 | 28.7 | 67.6
103490 | 2021-04-23 13:16 | 1.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1285 | μmol/L | 30.1553 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.782 | 89916.7646 | 293048.2284 | 28.7 | 67.6
103500 | 2021-04-23 13:16 | 2.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5385 | μmol/L | 30.0943 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.779 | 89930.798 | 293034.1239 | 28.7 | 67.6
103510 | 2021-04-23 13:16 | 2.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1726 | μmol/L | 30.0943 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.8 | 90047.191 | 293019.6512 | 28.7 | 67.6
103520 | 2021-04-23 13:17 | 2.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6504 | μmol/L | 30.1004 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.828 | 90145.2188 | 293025.6839 | 28.7 | 67.6
103530 | 2021-04-23 13:17 | 3.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9647 | μmol/L | 30.1675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.845 | 90201.4298 | 293033.0074 | 28.7 | 67.6
103540 | 2021-04-23 13:17 | 3.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8946 | μmol/L | 30.1736 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.847 | 90232.4351 | 292998.9999 | 28.7 | 67.6
103550 | 2021-04-23 13:18 | 3.6751 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1154 | μmol/L | 30.198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.826 | 90164.9946 | 292992.9112 | 28.7 | 67.6
103560 | 2021-04-23 13:18 | 4.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.712 | μmol/L | 30.2347 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.837 | 90212.2697 | 292986.0315 | 28.7 | 67.6
103570 | 2021-04-23 13:18 | 4.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6398 | μmol/L | 30.1492 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.87 | 90307.4763 | 292974.6767 | 28.7 | 67.6
103580 | 2021-04-23 13:19 | 4.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4078 | μmol/L | 30.198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.867 | 90321.3918 | 292965.9735 | 28.7 | 67.6
103590 | 2021-04-23 13:19 | 5.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.3744 | μmol/L | 30.1919 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.871 | 90331.1233 | 292970.8072 | 28.7 | 67.6
103600 | 2021-04-23 13:19 | 5.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7549 | μmol/L | 30.198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.905 | 90519.7478 | 292956.0096 | 28.7 | 67.6
103610 | 2021-04-23 13:20 | 5.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9672 | μmol/L | 30.2041 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.949 | 90722.8553 | 292942.7979 | 28.7 | 67.6
103620 | 2021-04-23 13:20 | 6.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1959 | μmol/L | 30.2347 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.984 | 90916.8876 | 292941.6458 | 28.7 | 67.6
103630 | 2021-04-23 13:20 | 6.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8636 | μmol/L | 30.198 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.016 | 91050.4306 | 292943.5491 | 28.7 | 67.6
103640 | 2021-04-23 13:21 | 6.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.1167 | μmol/L | 30.1736 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.068 | 91288.7262 | 292925.8092 | 28.7 | 67.6
103650 | 2021-04-23 13:21 | 7.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.208 | μmol/L | 30.1797 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.061 | 91283.1779 | 292925.7905 | 28.7 | 67.6
103660 | 2021-04-23 13:21 | 7.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.5294 | μmol/L | 30.2103 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.091 | 91397.2805 | 292903.1631 | 28.7 | 67.6
103670 | 2021-04-23 13:22 | 7.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.5535 | μmol/L | 30.2591 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.073 | 91340.0654 | 292888.2123 | 28.7 | 67.6
103680 | 2021-04-23 13:22 | 8.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8197 | μmol/L | 30.1858 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.082 | 91351.4518 | 292892.1306 | 28.7 | 67.6
103690 | 2021-04-23 13:22 | 8.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2643 | μmol/L | 30.1492 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.068 | 91285.4859 | 292880.8238 | 28.7 | 67.6
103700 | 2021-04-23 13:23 | 8.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8602 | μmol/L | 30.1492 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.092 | 91376.039 | 292883.1562 | 28.7 | 67.6
103710 | 2021-04-23 13:23 | 9.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.7964 | μmol/L | 30.1309 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.102 | 91415.4712 | 292872.1772 | 28.7 | 67.6
103720 | 2021-04-23 13:23 | 9.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0207 | μmol/L | 30.1004 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.099 | 91411.5162 | 292875.5666 | 28.7 | 67.6
103730 | 2021-04-23 13:24 | 9.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0096 | μmol/L | 30.0699 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.11 | 91447.4004 | 292861.7734 | 28.7 | 67.6
103740 | 2021-04-23 13:24 | 10.0086 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.856 | μmol/L | 30.0821 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.115 | 91470.4837 | 292874.702 | 28.7 | 67.6
103750 | 2021-04-23 13:24 | 10.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.9614 | μmol/L | 30.0577 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.117 | 91452.9679 | 292866.9963 | 28.7 | 67.6
103760 | 2021-04-23 13:25 | 10.6753 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8426 | μmol/L | 30.0638 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.122 | 91476.1845 | 292856.562 | 28.7 | 67.6
103770 | 2021-04-23 13:25 | 11.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.4821 | μmol/L | 30.1065 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.129 | 91505.9124 | 292867.2589 | 28.7 | 67.6
103780 | 2021-04-23 13:25 | 11.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8281 | μmol/L | 30.0516 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.127 | 91498.0529 | 292844.2101 | 28.7 | 67.6
103790 | 2021-04-23 13:26 | 11.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.7463 | μmol/L | 30.0394 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.136 | 91515.0823 | 292852.4248 | 28.7 | 67.6
103800 | 2021-04-23 13:26 | 12.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.5359 | μmol/L | 30.0882 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.132 | 91514.2324 | 292844.3174 | 28.7 | 67.6
103810 | 2021-04-23 13:26 | 12.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.2238 | μmol/L | 30.1431 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.132 | 91513.7784 | 292831.0709 | 28.7 | 67.6
103820 | 2021-04-23 13:27 | 12.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.2701 | μmol/L | 30.076 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.152 | 91566.3315 | 292823.1779 | 28.7 | 67.6
103830 | 2021-04-23 13:27 | 13.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0106 | μmol/L | 29.9722 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.143 | 91561.3206 | 292830.1949 | 28.7 | 67.6
103840 | 2021-04-23 13:27 | 13.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.2892 | μmol/L | 30.0638 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.155 | 91600.3926 | 292818.7519 | 28.7 | 67.6
103850 | 2021-04-23 13:28 | 13.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.478 | μmol/L | 30.0394 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.152 | 91581.6165 | 292802.0907 | 28.7 | 67.6
103860 | 2021-04-23 13:28 | 14.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.5507 | μmol/L | 30.0088 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.158 | 91607.4218 | 292804.7637 | 28.7 | 67.6
103870 | 2021-04-23 13:28 | 14.3417 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1812 | μmol/L | 30.0149 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.178 | 91700.2992 | 292802.3619 | 28.7 | 67.6
103880 | 2021-04-23 13:29 | 14.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.0262 | μmol/L | 30.0394 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.179 | 91719.0021 | 292797.4762 | 28.7 | 67.6
103890 | 2021-04-23 13:29 | 15.0084 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.8616 | μmol/L | 30.0272 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.193 | 91764.7964 | 292813.786 | 28.7 | 67.6
103900 | 2021-04-23 13:29 | 15.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.9485 | μmol/L | 30.0088 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.194 | 91767.9806 | 292799.4953 | 28.7 | 67.6
103910 | 2021-04-23 13:30 | 15.6752 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.9139 | μmol/L | 30.0149 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.194 | 91791.2027 | 292804.5275 | 28.7 | 67.6
103920 | 2021-04-23 13:30 | 16.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.8507 | μmol/L | 29.9966 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.204 | 91821.5597 | 292801.1922 | 28.7 | 67.6
103930 | 2021-04-23 13:30 | 16.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.7068 | μmol/L | 30.0088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.208 | 91839.8203 | 292810.4547 | 28.7 | 67.6
103940 | 2021-04-23 13:31 | 16.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.6305 | μmol/L | 30.0149 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.211 | 91869.3113 | 292793.0793 | 28.7 | 67.6
103950 | 2021-04-23 13:31 | 17.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.5708 | μmol/L | 29.9783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.227 | 91902.2456 | 292794.1396 | 28.7 | 67.6
103960 | 2021-04-23 13:31 | 17.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3213 | μmol/L | 29.9783 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.242 | 91974.6262 | 292785.55 | 28.7 | 67.6
103970 | 2021-04-23 13:32 | 17.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3557 | μmol/L | 29.9722 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.242 | 91978.7265 | 292786.9865 | 28.7 | 67.6
103980 | 2021-04-23 13:32 | 18.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3747 | μmol/L | 29.96 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.245 | 92031.7088 | 292780.3127 | 28.7 | 67.6
103990 | 2021-04-23 13:32 | 18.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.9774 | μmol/L | 29.9539 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.271 | 92143.0566 | 292777.7228 | 28.7 | 67.6
104000 | 2021-04-23 13:33 | 18.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6025 | μmol/L | 29.9234 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.304 | 92282.8455 | 292780.353 | 28.7 | 67.6
104010 | 2021-04-23 13:33 | 19.0083 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2344 | μmol/L | 29.9478 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.318 | 92328.9108 | 292779.5091 | 28.7 | 67.6
104020 | 2021-04-23 13:33 | 19.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2674 | μmol/L | 29.9478 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.316 | 92351.2863 | 292781.8221 | 28.7 | 67.6
104030 | 2021-04-23 13:34 | 19.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.2356 | μmol/L | 29.9417 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.32 | 92352.0947 | 292771.3409 | 28.7 | 67.6
104040 | 2021-04-23 13:34 | 20.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1354 | μmol/L | 29.9478 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.324 | 92362.7241 | 292770.5639 | 28.7 | 67.6
104050 | 2021-04-23 13:34 | 20.3416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2062 | μmol/L | 30.0699 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.339 | 92415.1439 | 292765.4063 | 28.7 | 67.6
104060 | 2021-04-23 13:35 | 20.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.0914 | μmol/L | 30.0699 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.346 | 92458.7546 | 292781.2482 | 28.7 | 67.6
104070 | 2021-04-23 13:35 | 21.0085 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.9048 | μmol/L | 29.9478 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.338 | 92450.1752 | 292755.654 | 28.7 | 67.6
104080 | 2021-04-23 13:35 | 21.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.5022 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.362 | 92542.3928 | 292757.8119 | 28.7 | 67.6
104090 | 2021-04-23 13:36 | 21.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2327 | μmol/L | 30.0211 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.354 | 92512.3274 | 292755.1773 | 28.7 | 67.6
104100 | 2021-04-23 13:36 | 22.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2529 | μmol/L | 30.0027 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.359 | 92525.7208 | 292754.8031 | 28.7 | 67.6
104110 | 2021-04-23 13:36 | 22.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2163 | μmol/L | 29.9417 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.382 | 92632.2952 | 292748.9418 | 28.7 | 67.6
104120 | 2021-04-23 13:37 | 22.675 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8747 | μmol/L | 29.9722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.392 | 92739.1744 | 292745.053 | 28.7 | 67.6
104130 | 2021-04-23 13:37 | 23.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1532 | μmol/L | 29.9295 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.39 | 92703.9405 | 292753.0692 | 28.7 | 67.6
104140 | 2021-04-23 13:37 | 23.3418 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3032 | μmol/L | 29.9173 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.385 | 92684.7046 | 292728.978 | 28.7 | 67.6
104150 | 2021-04-23 13:38 | 23.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9023 | μmol/L | 29.9966 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.382 | 92678.0341 | 292735.0036 | 28.7 | 67.6
104160 | 2021-04-23 13:38 | 24.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.3722 | μmol/L | 30.0699 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.39 | 92714.1601 | 292727.2211 | 28.7 | 67.6
104170 | 2021-04-23 13:38 | 24.3419 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.0118 | μmol/L | 29.9417 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.394 | 92736.8943 | 292734.7879 | 28.7 | 67.6
104180 | 2021-04-23 13:39 | 24.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5519 | μmol/L | 29.9539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.418 | 92811.8181 | 292716.3657 | 28.7 | 67.6
104190 | 2021-04-23 13:39 | 25.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.597 | μmol/L | 29.9722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.409 | 92791.7217 | 292708.9849 | 28.7 | 67.6
104200 | 2021-04-23 13:39 | 25.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3267 | μmol/L | 30.1675 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.421 | 92833.6241 | 292720.5645 | 28.7 | 67.6
104210 | 2021-04-23 13:40 | 25.6749 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7551 | μmol/L | 30.0638 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.43 | 92901.3925 | 292706.3015 | 28.7 | 67.6
104220 | 2021-04-23 13:40 | 26.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7389 | μmol/L | 30.0272 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.443 | 92991.0791 | 292693.1552 | 28.7 | 67.6
104230 | 2021-04-23 13:40 | 26.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1245 | μmol/L | 29.9844 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.496 | 93237.8056 | 292688.559 | 28.7 | 67.6