## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103441 | 2021-04-23 13:14 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.6369 | μmol/L | 29.8482 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.322 | 124038.7858 | 269545.3675 | 36.4 | 83.1
103451 | 2021-04-23 13:14 | 0.33158 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5211 | μmol/L | 29.9097 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.359 | 124367.9164 | 269541.7919 | 36.4 | 83.1
103461 | 2021-04-23 13:15 | 0.66459 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8366 | μmol/L | 29.7007 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.414 | 124805.0454 | 269535.4668 | 36.4 | 83.1
103471 | 2021-04-23 13:15 | 0.99766 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9095 | μmol/L | 29.8789 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.454 | 125181.9784 | 269516.9412 | 36.4 | 83.1
103481 | 2021-04-23 13:15 | 1.3314 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.1205 | μmol/L | 30.0817 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.479 | 125399.6114 | 269514.5233 | 36.4 | 83.1
103491 | 2021-04-23 13:16 | 1.6645 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.9815 | μmol/L | 29.9957 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.516 | 125652.1332 | 269513.6222 | 36.4 | 83.1
103501 | 2021-04-23 13:16 | 1.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6149 | μmol/L | 29.9711 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.544 | 125865.6158 | 269498.6677 | 36.4 | 83.1
103511 | 2021-04-23 13:16 | 2.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.9076 | μmol/L | 29.9896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.575 | 126083.3173 | 269481.7621 | 36.4 | 83.1
103521 | 2021-04-23 13:17 | 2.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2605 | μmol/L | 30.0018 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.606 | 126283.5811 | 269471.5523 | 36.4 | 83.1
103531 | 2021-04-23 13:17 | 2.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8646 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.626 | 126429.0818 | 269461.2655 | 36.4 | 83.1
103541 | 2021-04-23 13:17 | 3.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.7084 | μmol/L | 29.9896 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.64 | 126506.8522 | 269463.8017 | 36.4 | 83.1
103551 | 2021-04-23 13:18 | 3.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3878 | μmol/L | 29.8544 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.65 | 126579.5925 | 269445.5641 | 36.4 | 83.1
103561 | 2021-04-23 13:18 | 3.9983 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4674 | μmol/L | 29.9404 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.67 | 126713.4783 | 269433.0808 | 36.4 | 83.1
103571 | 2021-04-23 13:18 | 4.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4394 | μmol/L | 29.8912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.688 | 126800.6841 | 269436.0405 | 36.4 | 83.1
103581 | 2021-04-23 13:19 | 4.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9491 | μmol/L | 30.0879 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.701 | 126867.2773 | 269424.5038 | 36.4 | 83.1
103591 | 2021-04-23 13:19 | 4.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.5803 | μmol/L | 29.9465 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.716 | 126946.0696 | 269416.8963 | 36.4 | 83.1
103601 | 2021-04-23 13:19 | 5.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.0699 | μmol/L | 29.8667 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.717 | 126977.0565 | 269415.8404 | 36.4 | 83.1
103611 | 2021-04-23 13:20 | 5.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3418 | μmol/L | 29.922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.737 | 127102.4363 | 269413.3136 | 36.4 | 83.1
103621 | 2021-04-23 13:20 | 5.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.8721 | μmol/L | 29.9527 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.752 | 127162.6406 | 269397.6607 | 36.4 | 83.1
103631 | 2021-04-23 13:20 | 6.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3071 | μmol/L | 29.8912 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.75 | 127155.8137 | 269400.2953 | 36.4 | 83.1
103641 | 2021-04-23 13:21 | 6.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2844 | μmol/L | 29.8789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.755 | 127217.2742 | 269395.0683 | 36.4 | 83.1
103651 | 2021-04-23 13:21 | 6.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9154 | μmol/L | 29.9097 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.765 | 127257.1273 | 269369.326 | 36.4 | 83.1
103661 | 2021-04-23 13:21 | 7.3312 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.943 | μmol/L | 29.8851 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.772 | 127303.9695 | 269372.6844 | 36.4 | 83.1
103671 | 2021-04-23 13:22 | 7.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.6594 | μmol/L | 29.9097 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.779 | 127339.9141 | 269357.1649 | 36.4 | 83.1
103681 | 2021-04-23 13:22 | 7.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2234 | μmol/L | 29.9527 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.788 | 127405.7534 | 269345.2419 | 36.4 | 83.1
103691 | 2021-04-23 13:22 | 8.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2234 | μmol/L | 29.9527 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.788 | 127379.3555 | 269337.5307 | 36.4 | 83.1
103701 | 2021-04-23 13:23 | 8.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2046 | μmol/L | 30.0018 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.772 | 127290.3073 | 269334.4857 | 36.4 | 83.1
103711 | 2021-04-23 13:23 | 8.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.7213 | μmol/L | 29.9158 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.773 | 127277.5969 | 269340.3103 | 36.4 | 83.1
103721 | 2021-04-23 13:23 | 9.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.5692 | μmol/L | 30.0449 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.792 | 127382.3271 | 269322.5618 | 36.4 | 83.1
103731 | 2021-04-23 13:24 | 9.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2968 | μmol/L | 30.0449 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.807 | 127482.1788 | 269312.3771 | 36.4 | 83.1
103741 | 2021-04-23 13:24 | 9.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2722 | μmol/L | 30.0387 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.81 | 127487.328 | 269306.9895 | 36.4 | 83.1
103751 | 2021-04-23 13:24 | 10.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.4451 | μmol/L | 30.0141 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.809 | 127453.6859 | 269297.2158 | 36.4 | 83.1
103761 | 2021-04-23 13:25 | 10.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.7612 | μmol/L | 29.9711 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.807 | 127471.4859 | 269306.2957 | 36.4 | 83.1
103771 | 2021-04-23 13:25 | 10.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.5296 | μmol/L | 29.9834 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.815 | 127523.4113 | 269298.8451 | 36.4 | 83.1
103781 | 2021-04-23 13:25 | 11.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8598 | μmol/L | 29.9281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.816 | 127527.3382 | 269289.7316 | 36.4 | 83.1
103791 | 2021-04-23 13:26 | 11.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2346 | μmol/L | 29.9957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.827 | 127566.8816 | 269276.8418 | 36.4 | 83.1
103801 | 2021-04-23 13:26 | 11.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2387 | μmol/L | 30.008 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.823 | 127528.6344 | 269280.0761 | 36.4 | 83.1
103811 | 2021-04-23 13:26 | 12.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.1309 | μmol/L | 29.8851 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.816 | 127498.8257 | 269281.1616 | 36.4 | 83.1
103821 | 2021-04-23 13:27 | 12.6641 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2196 | μmol/L | 29.8912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.809 | 127439.3338 | 269270.0488 | 36.4 | 83.1
103831 | 2021-04-23 13:27 | 12.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2715 | μmol/L | 29.922 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.796 | 127353.9827 | 269272.1587 | 36.4 | 83.1
103841 | 2021-04-23 13:27 | 13.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2626 | μmol/L | 29.922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.796 | 127338.788 | 269269.0867 | 36.4 | 83.1
103851 | 2021-04-23 13:28 | 13.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.1739 | μmol/L | 29.8912 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.812 | 127425.0402 | 269274.047 | 36.4 | 83.1
103861 | 2021-04-23 13:28 | 13.9979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.3978 | μmol/L | 29.9957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.818 | 127462.3631 | 269259.1972 | 36.4 | 83.1
103871 | 2021-04-23 13:28 | 14.3316 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5222 | μmol/L | 30.0817 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.837 | 127571.2352 | 269261.6015 | 36.4 | 83.1
103881 | 2021-04-23 13:29 | 14.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6489 | μmol/L | 29.8851 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.843 | 127621.0257 | 269264.6714 | 36.4 | 83.1
103891 | 2021-04-23 13:29 | 14.9977 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6511 | μmol/L | 29.9035 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.836 | 127586.8924 | 269257.3314 | 36.4 | 83.1
103901 | 2021-04-23 13:29 | 15.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2079 | μmol/L | 29.9711 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.837 | 127588.4802 | 269248.9176 | 36.4 | 83.1
103911 | 2021-04-23 13:30 | 15.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4485 | μmol/L | 30.0633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.847 | 127640.7004 | 269255.6316 | 36.4 | 83.1
103921 | 2021-04-23 13:30 | 15.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.175 | μmol/L | 29.9158 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.858 | 127693.8176 | 269242.1809 | 36.4 | 83.1
103931 | 2021-04-23 13:30 | 16.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4921 | μmol/L | 29.9527 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.883 | 127838.3483 | 269244.1625 | 36.4 | 83.1
103941 | 2021-04-23 13:31 | 16.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.1955 | μmol/L | 29.9281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.908 | 128010.4987 | 269231.8065 | 36.4 | 83.1
103951 | 2021-04-23 13:31 | 16.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.4992 | μmol/L | 30.008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.919 | 128114.3047 | 269241.4216 | 36.4 | 83.1
103961 | 2021-04-23 13:31 | 17.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1798 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.924 | 128138.4384 | 269224.6115 | 36.4 | 83.1
103971 | 2021-04-23 13:32 | 17.6649 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1423 | μmol/L | 30.0264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.933 | 128188.655 | 269220.7813 | 36.4 | 83.1
103981 | 2021-04-23 13:32 | 17.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3274 | μmol/L | 29.9896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.935 | 128220.3418 | 269213.4821 | 36.4 | 83.1
103991 | 2021-04-23 13:32 | 18.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.924 | μmol/L | 30.0141 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.949 | 128296.7261 | 269219.5396 | 36.4 | 83.1
104001 | 2021-04-23 13:33 | 18.6642 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1613 | μmol/L | 30.0018 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.94 | 128231.5089 | 269224.5623 | 36.4 | 83.1
104011 | 2021-04-23 13:33 | 18.9981 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1977 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.923 | 128131.0896 | 269209.6177 | 36.4 | 83.1
104021 | 2021-04-23 13:33 | 19.3311 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.4046 | μmol/L | 30.0203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.92 | 128067.5824 | 269202.6512 | 36.4 | 83.1
104031 | 2021-04-23 13:34 | 19.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3947 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.912 | 128012.8408 | 269194.8271 | 36.4 | 83.1
104041 | 2021-04-23 13:34 | 19.9982 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.464 | μmol/L | 30.051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.906 | 127978.3255 | 269189.5553 | 36.4 | 83.1
104051 | 2021-04-23 13:34 | 20.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5709 | μmol/L | 30.008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.915 | 128050.9522 | 269195.7307 | 36.4 | 83.1
104061 | 2021-04-23 13:35 | 20.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5016 | μmol/L | 30.0018 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.921 | 128090.5185 | 269198.8736 | 36.4 | 83.1
104071 | 2021-04-23 13:35 | 20.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.496 | μmol/L | 29.9711 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.932 | 128133.0308 | 269185.4262 | 36.4 | 83.1
104081 | 2021-04-23 13:35 | 21.3313 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.1305 | μmol/L | 29.9896 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.946 | 128226.3045 | 269183.6564 | 36.4 | 83.1
104091 | 2021-04-23 13:36 | 21.6644 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.7807 | μmol/L | 29.9711 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.972 | 128409.5944 | 269185.8216 | 36.4 | 83.1
104101 | 2021-04-23 13:36 | 21.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.3465 | μmol/L | 29.965 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.999 | 128612.3196 | 269181.5538 | 36.4 | 83.1
104111 | 2021-04-23 13:36 | 22.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.1472 | μmol/L | 29.9527 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.014 | 128690.7982 | 269163.6789 | 36.4 | 83.1
104121 | 2021-04-23 13:37 | 22.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.691 | μmol/L | 29.9834 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.029 | 128784.7188 | 269164.6942 | 36.4 | 83.1
104131 | 2021-04-23 13:37 | 22.998 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.347 | μmol/L | 30.0018 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.042 | 128870.7183 | 269147.2815 | 36.4 | 83.1
104141 | 2021-04-23 13:37 | 23.331 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.1323 | μmol/L | 30.008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.052 | 128941.2449 | 269151.1251 | 36.4 | 83.1
104151 | 2021-04-23 13:38 | 23.6648 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.9581 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.049 | 128937.4093 | 269148.7151 | 36.4 | 83.1
104161 | 2021-04-23 13:38 | 23.9978 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.5433 | μmol/L | 30.0879 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.058 | 128984.2042 | 269141.5166 | 36.4 | 83.1
104171 | 2021-04-23 13:38 | 24.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.4563 | μmol/L | 30.1063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.056 | 128971.8281 | 269124.7987 | 36.4 | 83.1
104181 | 2021-04-23 13:39 | 24.6647 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.7361 | μmol/L | 30.0694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.053 | 128949.5479 | 269121.3239 | 36.4 | 83.1
104191 | 2021-04-23 13:39 | 24.9976 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8169 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.057 | 128963.0129 | 269123.5068 | 36.4 | 83.1
104201 | 2021-04-23 13:39 | 25.3315 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.5371 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.06 | 128972.5375 | 269118.9353 | 36.4 | 83.1
104211 | 2021-04-23 13:40 | 25.6646 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.2075 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.068 | 129047.7989 | 269103.6279 | 36.4 | 83.1
104221 | 2021-04-23 13:40 | 25.9975 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.1073 | μmol/L | 30.1002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.078 | 129106.0187 | 269094.0905 | 36.4 | 83.1
104231 | 2021-04-23 13:40 | 26.3308 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.2531 | μmol/L | 30.0879 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.074 | 129084.9931 | 269098.0276 | 36.4 | 83.1