## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103442 | 2021-04-23 13:14 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5236 | μmol/L | 30.272 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.955 | 97860.2155 | 295729.8957 | 30.45 | 114.2
103452 | 2021-04-23 13:14 | 0.33403 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4444 | μmol/L | 30.2473 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.968 | 97950.8086 | 295719.792 | 30.45 | 114.2
103462 | 2021-04-23 13:15 | 0.66693 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5666 | μmol/L | 30.235 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.024 | 98195.3672 | 295712.8056 | 30.45 | 114.2
103472 | 2021-04-23 13:15 | 1 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4529 | μmol/L | 30.2165 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.037 | 98255.4962 | 295706.6542 | 30.45 | 114.2
103482 | 2021-04-23 13:15 | 1.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5571 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.035 | 98305.0607 | 295697.9615 | 30.45 | 114.2
103492 | 2021-04-23 13:16 | 1.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0836 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.061 | 98395.2779 | 295692.3925 | 30.45 | 114.2
103502 | 2021-04-23 13:16 | 2.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.2198 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.055 | 98425.2932 | 295675.1711 | 30.45 | 114.2
103512 | 2021-04-23 13:16 | 2.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9718 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.076 | 98509.2348 | 295656.9383 | 30.45 | 114.2
103522 | 2021-04-23 13:17 | 2.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.8221 | μmol/L | 30.1795 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.087 | 98567.4432 | 295652.9386 | 30.45 | 114.2
103532 | 2021-04-23 13:17 | 3.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4545 | μmol/L | 30.1734 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.111 | 98660.2895 | 295629.8152 | 30.45 | 114.2
103542 | 2021-04-23 13:17 | 3.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9313 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.136 | 98749.4942 | 295629.3927 | 30.45 | 114.2
103552 | 2021-04-23 13:18 | 3.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.0665 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.13 | 98772.9673 | 295619.2805 | 30.45 | 114.2
103562 | 2021-04-23 13:18 | 4.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3037 | μmol/L | 30.1734 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.12 | 98767.4366 | 295606.202 | 30.45 | 114.2
103572 | 2021-04-23 13:18 | 4.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5066 | μmol/L | 30.2227 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.151 | 98902.0164 | 295579.8857 | 30.45 | 114.2
103582 | 2021-04-23 13:19 | 4.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4931 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.156 | 98941.621 | 295592.0087 | 30.45 | 114.2
103592 | 2021-04-23 13:19 | 5.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.413 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.165 | 98968.5519 | 295561.7107 | 30.45 | 114.2
103602 | 2021-04-23 13:19 | 5.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2149 | μmol/L | 30.1919 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.179 | 99106.0327 | 295569.2949 | 30.45 | 114.2
103612 | 2021-04-23 13:20 | 5.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9761 | μmol/L | 30.2165 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.185 | 99148.2527 | 295553.8854 | 30.45 | 114.2
103622 | 2021-04-23 13:20 | 6.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1453 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.179 | 99138.7951 | 295537.4442 | 30.45 | 114.2
103632 | 2021-04-23 13:20 | 6.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0836 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.189 | 99175.2354 | 295538.2022 | 30.45 | 114.2
103642 | 2021-04-23 13:21 | 6.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9461 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.191 | 99193.3211 | 295530.7523 | 30.45 | 114.2
103652 | 2021-04-23 13:21 | 7.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7984 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.202 | 99222.1771 | 295530.1222 | 30.45 | 114.2
103662 | 2021-04-23 13:21 | 7.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9279 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.19 | 99190.3066 | 295503.3695 | 30.45 | 114.2
103672 | 2021-04-23 13:22 | 7.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6194 | μmol/L | 30.1857 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.217 | 99301.1879 | 295506.2209 | 30.45 | 114.2
103682 | 2021-04-23 13:22 | 8.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3169 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.229 | 99347.0037 | 295488.9754 | 30.45 | 114.2
103692 | 2021-04-23 13:22 | 8.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3516 | μmol/L | 30.198 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.229 | 99355.4568 | 295475.1785 | 30.45 | 114.2
103702 | 2021-04-23 13:23 | 8.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2013 | μmol/L | 30.2042 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.236 | 99390.1024 | 295468.7236 | 30.45 | 114.2
103712 | 2021-04-23 13:23 | 9.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.2823 | μmol/L | 30.2104 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.229 | 99374.845 | 295462.792 | 30.45 | 114.2
103722 | 2021-04-23 13:23 | 9.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0628 | μmol/L | 30.2288 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.236 | 99419.7268 | 295465.1055 | 30.45 | 114.2
103732 | 2021-04-23 13:24 | 9.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1747 | μmol/L | 30.1795 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.246 | 99435.5697 | 295452.5553 | 30.45 | 114.2
103742 | 2021-04-23 13:24 | 10.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1614 | μmol/L | 30.1672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.251 | 99471.2903 | 295429.5576 | 30.45 | 114.2
103752 | 2021-04-23 13:24 | 10.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9816 | μmol/L | 30.161 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.264 | 99489.8323 | 295440.1103 | 30.45 | 114.2
103762 | 2021-04-23 13:25 | 10.6672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8317 | μmol/L | 30.1672 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.271 | 99516.5601 | 295421.8118 | 30.45 | 114.2
103772 | 2021-04-23 13:25 | 11.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7511 | μmol/L | 30.161 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.278 | 99547.8457 | 295424.1694 | 30.45 | 114.2
103782 | 2021-04-23 13:25 | 11.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8876 | μmol/L | 30.1425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.276 | 99553.4879 | 295427.5741 | 30.45 | 114.2
103792 | 2021-04-23 13:26 | 11.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8052 | μmol/L | 30.1425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.281 | 99553.264 | 295411.0583 | 30.45 | 114.2
103802 | 2021-04-23 13:26 | 12.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9221 | μmol/L | 30.1364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.276 | 99549.8158 | 295417.4046 | 30.45 | 114.2
103812 | 2021-04-23 13:26 | 12.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7771 | μmol/L | 30.1241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.289 | 99581.8997 | 295407.1279 | 30.45 | 114.2
103822 | 2021-04-23 13:27 | 12.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6769 | μmol/L | 30.1302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.293 | 99613.0679 | 295398.5004 | 30.45 | 114.2
103832 | 2021-04-23 13:27 | 13.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5586 | μmol/L | 30.1425 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.296 | 99654.5348 | 295393.1756 | 30.45 | 114.2
103842 | 2021-04-23 13:27 | 13.3341 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5766 | μmol/L | 30.1364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.297 | 99663.0938 | 295378.601 | 30.45 | 114.2
103852 | 2021-04-23 13:28 | 13.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.432 | μmol/L | 30.1241 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.31 | 99701.4431 | 295387.9353 | 30.45 | 114.2
103862 | 2021-04-23 13:28 | 14 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2647 | μmol/L | 30.1364 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.316 | 99742.5341 | 295365.3289 | 30.45 | 114.2
103872 | 2021-04-23 13:28 | 14.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1189 | μmol/L | 30.1302 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.327 | 99787.0318 | 295385.7576 | 30.45 | 114.2
103882 | 2021-04-23 13:29 | 14.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2417 | μmol/L | 30.0994 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.33 | 99831.1537 | 295368.4814 | 30.45 | 114.2
103892 | 2021-04-23 13:29 | 15.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.145 | μmol/L | 30.0932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.338 | 99878.2247 | 295359.3733 | 30.45 | 114.2
103902 | 2021-04-23 13:29 | 15.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0124 | μmol/L | 30.0994 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.344 | 99909.531 | 295341.7939 | 30.45 | 114.2
103912 | 2021-04-23 13:30 | 15.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0779 | μmol/L | 30.0994 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.34 | 99911.5423 | 295359.5441 | 30.45 | 114.2
103922 | 2021-04-23 13:30 | 16.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8831 | μmol/L | 30.0932 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.354 | 99951.2428 | 295354.3258 | 30.45 | 114.2
103932 | 2021-04-23 13:30 | 16.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.9175 | μmol/L | 30.0871 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.354 | 99958.6677 | 295352.0968 | 30.45 | 114.2
103942 | 2021-04-23 13:31 | 16.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0009 | μmol/L | 30.0809 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.351 | 99987.2431 | 295343.6375 | 30.45 | 114.2
103952 | 2021-04-23 13:31 | 17.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7605 | μmol/L | 30.0624 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.372 | 100065.733 | 295331.9925 | 30.45 | 114.2
103962 | 2021-04-23 13:31 | 17.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8471 | μmol/L | 30.0439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.373 | 100090.5189 | 295319.0848 | 30.45 | 114.2
103972 | 2021-04-23 13:32 | 17.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7475 | μmol/L | 30.0501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.377 | 100101.8384 | 295317.2947 | 30.45 | 114.2
103982 | 2021-04-23 13:32 | 18 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.519 | μmol/L | 30.0501 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.391 | 100133.2613 | 295316.3297 | 30.45 | 114.2
103992 | 2021-04-23 13:32 | 18.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2046 | μmol/L | 30.0686 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.404 | 100188.1138 | 295310.4846 | 30.45 | 114.2
104002 | 2021-04-23 13:33 | 18.6669 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4066 | μmol/L | 30.0439 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.4 | 100201.6372 | 295297.3071 | 30.45 | 114.2
104012 | 2021-04-23 13:33 | 19.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5809 | μmol/L | 30.0008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.404 | 100221.8761 | 295306.5328 | 30.45 | 114.2
104022 | 2021-04-23 13:33 | 19.3335 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3723 | μmol/L | 29.9884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.421 | 100278.0294 | 295288.6297 | 30.45 | 114.2
104032 | 2021-04-23 13:34 | 19.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4602 | μmol/L | 29.9638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.424 | 100317.5198 | 295299.0895 | 30.45 | 114.2
104042 | 2021-04-23 13:34 | 20.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4602 | μmol/L | 29.9638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.424 | 100317.372 | 295300.4681 | 30.45 | 114.2
104052 | 2021-04-23 13:34 | 20.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1982 | μmol/L | 29.97 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.438 | 100351.6642 | 295300.6848 | 30.45 | 114.2
104062 | 2021-04-23 13:35 | 20.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4552 | μmol/L | 29.9206 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.439 | 100376.6071 | 295287.7663 | 30.45 | 114.2
104072 | 2021-04-23 13:35 | 21.0004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3559 | μmol/L | 29.9268 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.443 | 100414.1258 | 295282.0348 | 30.45 | 114.2
104082 | 2021-04-23 13:35 | 21.3334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9562 | μmol/L | 29.9638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.455 | 100444.7668 | 295287.6165 | 30.45 | 114.2
104092 | 2021-04-23 13:36 | 21.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8313 | μmol/L | 29.9453 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.469 | 100509.3056 | 295288.528 | 30.45 | 114.2
104102 | 2021-04-23 13:36 | 22 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.7713 | μmol/L | 29.9268 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.479 | 100591.8255 | 295283.0994 | 30.45 | 114.2
104112 | 2021-04-23 13:36 | 22.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6401 | μmol/L | 29.933 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.485 | 100616.679 | 295277.1434 | 30.45 | 114.2
104122 | 2021-04-23 13:37 | 22.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4377 | μmol/L | 29.9638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.487 | 100641.0052 | 295269.6843 | 30.45 | 114.2
104132 | 2021-04-23 13:37 | 23 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.6499 | μmol/L | 30.0131 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.519 | 100749.5581 | 295264.0532 | 30.45 | 114.2
104142 | 2021-04-23 13:37 | 23.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.732 | μmol/L | 30.0069 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.516 | 100784.869 | 295271.3219 | 30.45 | 114.2
104152 | 2021-04-23 13:38 | 23.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.8465 | μmol/L | 30.0008 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.511 | 100774.8441 | 295258.0574 | 30.45 | 114.2
104162 | 2021-04-23 13:38 | 24.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.026 | μmol/L | 29.933 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.523 | 100816.6184 | 295252.2116 | 30.45 | 114.2
104172 | 2021-04-23 13:38 | 24.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9065 | μmol/L | 29.9576 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.522 | 100827.1151 | 295236.602 | 30.45 | 114.2
104182 | 2021-04-23 13:39 | 24.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.6727 | μmol/L | 29.9884 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.526 | 100877.57 | 295232.7848 | 30.45 | 114.2
104192 | 2021-04-23 13:39 | 25.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.4653 | μmol/L | 29.9823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.541 | 100917.0913 | 295233.9943 | 30.45 | 114.2
104202 | 2021-04-23 13:39 | 25.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5668 | μmol/L | 29.9638 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.541 | 100936.2399 | 295228.5482 | 30.45 | 114.2
104212 | 2021-04-23 13:40 | 25.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.2497 | μmol/L | 30.0069 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.546 | 100940.3717 | 295210.2514 | 30.45 | 114.2
104222 | 2021-04-23 13:40 | 26.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.1197 | μmol/L | 30.0131 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.552 | 100971.2111 | 295207.6095 | 30.45 | 114.2
104232 | 2021-04-23 13:40 | 26.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.2084 | μmol/L | 29.9823 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.557 | 101163.168 | 295205.5778 | 30.45 | 114.2