## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103444 | 2021-04-23 13:14 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3775 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.628 | 135885.7116 | 304328.0792 | 33.25 | 68.6
103454 | 2021-04-23 13:14 | 0.32914 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.085 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.65 | 136084.1445 | 304332.3437 | 33.25 | 68.6
103464 | 2021-04-23 13:15 | 0.66299 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9418 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.663 | 136219.9748 | 304316.3561 | 33.25 | 68.6
103474 | 2021-04-23 13:15 | 0.99583 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.76 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.674 | 136287.3236 | 304310.7493 | 33.25 | 68.6
103484 | 2021-04-23 13:15 | 1.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5454 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.687 | 136383.6103 | 304318.9198 | 33.25 | 68.6
103494 | 2021-04-23 13:16 | 1.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2479 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.692 | 136411.1156 | 304288.6649 | 33.25 | 68.6
103504 | 2021-04-23 13:16 | 1.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2372 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.697 | 136486.4201 | 304281.0971 | 33.25 | 68.6
103514 | 2021-04-23 13:16 | 2.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9788 | μmol/L | 30.2569 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.704 | 136556.8013 | 304273.08 | 33.25 | 68.6
103524 | 2021-04-23 13:17 | 2.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6849 | μmol/L | 30.2875 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.711 | 136565.44 | 304250.532 | 33.25 | 68.6
103534 | 2021-04-23 13:17 | 2.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.743 | μmol/L | 30.2691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.714 | 136611.9348 | 304237.9031 | 33.25 | 68.6
103544 | 2021-04-23 13:17 | 3.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.573 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.72 | 136667.375 | 304239.9401 | 33.25 | 68.6
103554 | 2021-04-23 13:18 | 3.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3512 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.727 | 136709.958 | 304221.4799 | 33.25 | 68.6
103564 | 2021-04-23 13:18 | 3.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4419 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.728 | 136737.3853 | 304198.2308 | 33.25 | 68.6
103574 | 2021-04-23 13:18 | 4.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1355 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.738 | 136785.6009 | 304184.7772 | 33.25 | 68.6
103584 | 2021-04-23 13:19 | 4.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0701 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.742 | 136841.5434 | 304205.7665 | 33.25 | 68.6
103594 | 2021-04-23 13:19 | 4.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1146 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.748 | 136862.7102 | 304178.0249 | 33.25 | 68.6
103604 | 2021-04-23 13:19 | 5.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9676 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.757 | 136906.6954 | 304172.3683 | 33.25 | 68.6
103614 | 2021-04-23 13:20 | 5.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7153 | μmol/L | 30.3302 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.755 | 136922.8878 | 304167.3896 | 33.25 | 68.6
103624 | 2021-04-23 13:20 | 5.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6946 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.765 | 136970.1117 | 304161.0663 | 33.25 | 68.6
103634 | 2021-04-23 13:20 | 6.3301 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9438 | μmol/L | 30.263 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.765 | 137010.9507 | 304141.009 | 33.25 | 68.6
103644 | 2021-04-23 13:21 | 6.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6976 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.767 | 137023.1891 | 304129.2607 | 33.25 | 68.6
103654 | 2021-04-23 13:21 | 6.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6902 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.774 | 137055.8003 | 304119.6449 | 33.25 | 68.6
103664 | 2021-04-23 13:21 | 7.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.625 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.778 | 137091.3891 | 304112.1243 | 33.25 | 68.6
103674 | 2021-04-23 13:22 | 7.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5702 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.777 | 137098.0165 | 304102.0923 | 33.25 | 68.6
103684 | 2021-04-23 13:22 | 7.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3466 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.782 | 137113.3938 | 304099.9034 | 33.25 | 68.6
103694 | 2021-04-23 13:22 | 8.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3436 | μmol/L | 30.3241 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.78 | 137118.314 | 304082.7487 | 33.25 | 68.6
103704 | 2021-04-23 13:23 | 8.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2063 | μmol/L | 30.3058 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.795 | 137193.4098 | 304076.1092 | 33.25 | 68.6
103714 | 2021-04-23 13:23 | 8.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2315 | μmol/L | 30.2875 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.8 | 137227.508 | 304066.1594 | 33.25 | 68.6
103724 | 2021-04-23 13:23 | 9.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2315 | μmol/L | 30.2875 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.8 | 137247.9245 | 304064.9596 | 33.25 | 68.6
103734 | 2021-04-23 13:24 | 9.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2242 | μmol/L | 30.2691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.807 | 137289.1006 | 304075.6484 | 33.25 | 68.6
103744 | 2021-04-23 13:24 | 9.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9657 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.812 | 137337.0324 | 304054.3038 | 33.25 | 68.6
103754 | 2021-04-23 13:24 | 10.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.92 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.817 | 137368.2025 | 304054.3956 | 33.25 | 68.6
103764 | 2021-04-23 13:25 | 10.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7933 | μmol/L | 30.2875 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.827 | 137393.3977 | 304044.3689 | 33.25 | 68.6
103774 | 2021-04-23 13:25 | 10.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9409 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.831 | 137425.5944 | 304040.3102 | 33.25 | 68.6
103784 | 2021-04-23 13:25 | 11.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0886 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.835 | 137462.0267 | 304039.5124 | 33.25 | 68.6
103794 | 2021-04-23 13:26 | 11.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8629 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.838 | 137497.8137 | 304024.4509 | 33.25 | 68.6
103804 | 2021-04-23 13:26 | 11.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5948 | μmol/L | 30.263 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.848 | 137534.461 | 304013.941 | 33.25 | 68.6
103814 | 2021-04-23 13:26 | 12.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4888 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.848 | 137557.6077 | 304012.6473 | 33.25 | 68.6
103824 | 2021-04-23 13:27 | 12.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2595 | μmol/L | 30.2875 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.86 | 137605.4122 | 304026.0719 | 33.25 | 68.6
103834 | 2021-04-23 13:27 | 12.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3655 | μmol/L | 30.2691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.86 | 137618.4391 | 304006.3218 | 33.25 | 68.6
103844 | 2021-04-23 13:27 | 13.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4098 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.866 | 137643.783 | 303993.8963 | 33.25 | 68.6
103854 | 2021-04-23 13:28 | 13.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3452 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.87 | 137681.0632 | 303998.7455 | 33.25 | 68.6
103864 | 2021-04-23 13:28 | 13.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9782 | μmol/L | 30.2691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.884 | 137756.2404 | 303997.1601 | 33.25 | 68.6
103874 | 2021-04-23 13:28 | 14.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1778 | μmol/L | 30.2569 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.876 | 137722.351 | 303990.4683 | 33.25 | 68.6
103884 | 2021-04-23 13:29 | 14.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9974 | μmol/L | 30.263 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.885 | 137768.3883 | 303986.9846 | 33.25 | 68.6
103894 | 2021-04-23 13:29 | 14.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9198 | μmol/L | 30.2569 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.892 | 137813.5787 | 303977.9514 | 33.25 | 68.6
103904 | 2021-04-23 13:29 | 15.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0649 | μmol/L | 30.2569 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.883 | 137782.7159 | 303985.984 | 33.25 | 68.6
103914 | 2021-04-23 13:30 | 15.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9128 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.899 | 137871.0479 | 303972.532 | 33.25 | 68.6
103924 | 2021-04-23 13:30 | 15.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9802 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.897 | 137881.8124 | 303967.2143 | 33.25 | 68.6
103934 | 2021-04-23 13:30 | 16.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1009 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.907 | 137920.1775 | 303961.5089 | 33.25 | 68.6
103944 | 2021-04-23 13:31 | 16.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7066 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.914 | 137946.6208 | 303964.6859 | 33.25 | 68.6
103954 | 2021-04-23 13:31 | 16.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6393 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.916 | 137994.1526 | 303957.9618 | 33.25 | 68.6
103964 | 2021-04-23 13:31 | 17.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6293 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.921 | 138015.2548 | 303964.8414 | 33.25 | 68.6
103974 | 2021-04-23 13:32 | 17.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7187 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.922 | 138033.0625 | 303952.7953 | 33.25 | 68.6
103984 | 2021-04-23 13:32 | 17.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4908 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.934 | 138096.7278 | 303950.8471 | 33.25 | 68.6
103994 | 2021-04-23 13:32 | 18.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6443 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.931 | 138090.7328 | 303934.4707 | 33.25 | 68.6
104004 | 2021-04-23 13:33 | 18.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3563 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.938 | 138118.4615 | 303952.8188 | 33.25 | 68.6
104014 | 2021-04-23 13:33 | 18.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4486 | μmol/L | 30.202 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.941 | 138166.6717 | 303938.1549 | 33.25 | 68.6
104024 | 2021-04-23 13:33 | 19.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4096 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.95 | 138195.8313 | 303942.4764 | 33.25 | 68.6
104034 | 2021-04-23 13:34 | 19.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3615 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.953 | 138218.6176 | 303923.1129 | 33.25 | 68.6
104044 | 2021-04-23 13:34 | 19.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1951 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.959 | 138251.6553 | 303930.0541 | 33.25 | 68.6
104054 | 2021-04-23 13:34 | 20.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1021 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.967 | 138291.3446 | 303912.2222 | 33.25 | 68.6
104064 | 2021-04-23 13:35 | 20.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.1241 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.97 | 138340.3364 | 303926.0269 | 33.25 | 68.6
104074 | 2021-04-23 13:35 | 20.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0091 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.975 | 138366.1398 | 303920.9039 | 33.25 | 68.6
104084 | 2021-04-23 13:35 | 21.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0662 | μmol/L | 30.1654 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.978 | 138399.1464 | 303910.6724 | 33.25 | 68.6
104094 | 2021-04-23 13:36 | 21.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9162 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.983 | 138420.485 | 303918.1461 | 33.25 | 68.6
104104 | 2021-04-23 13:36 | 21.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0052 | μmol/L | 30.1592 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.984 | 138453.3902 | 303913.2755 | 33.25 | 68.6
104114 | 2021-04-23 13:36 | 22.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8553 | μmol/L | 30.1715 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.989 | 138489.1438 | 303913.4276 | 33.25 | 68.6
104124 | 2021-04-23 13:37 | 22.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7465 | μmol/L | 30.1654 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.998 | 138534.8428 | 303913.2507 | 33.25 | 68.6
104134 | 2021-04-23 13:37 | 22.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.514 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.006 | 138582.3583 | 303903.6251 | 33.25 | 68.6
104144 | 2021-04-23 13:37 | 23.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7077 | μmol/L | 30.147 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.007 | 138608.109 | 303885.7274 | 33.25 | 68.6
104154 | 2021-04-23 13:38 | 23.6625 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.536 | μmol/L | 30.1715 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.009 | 138634.6378 | 303892.7437 | 33.25 | 68.6
104164 | 2021-04-23 13:38 | 23.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.577 | μmol/L | 30.1531 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.013 | 138671.7288 | 303886.4441 | 33.25 | 68.6
104174 | 2021-04-23 13:38 | 24.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5611 | μmol/L | 30.1531 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.014 | 138674.1556 | 303878.2517 | 33.25 | 68.6
104184 | 2021-04-23 13:39 | 24.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.3608 | μmol/L | 30.1715 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.02 | 138712.5593 | 303859.4021 | 33.25 | 68.6
104194 | 2021-04-23 13:39 | 24.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.2371 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.019 | 138699.5283 | 303850.282 | 33.25 | 68.6
104204 | 2021-04-23 13:39 | 25.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.1735 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.023 | 138740.6226 | 303855.7296 | 33.25 | 68.6
104214 | 2021-04-23 13:40 | 25.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.0811 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.031 | 138769.3972 | 303832.0142 | 33.25 | 68.6
104224 | 2021-04-23 13:40 | 25.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.91 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.033 | 138791.3733 | 303830.0848 | 33.25 | 68.6
104234 | 2021-04-23 13:40 | 26.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.8337 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.04 | 138917.4596 | 303842.4436 | 33.25 | 68.6