## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103445 | 2021-04-23 13:14 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.208 | μmol/L | 30.0797 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.709 | 124970.1952 | 268150.0104 | 26.25 | 74
103455 | 2021-04-23 13:14 | 0.33157 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5807 | μmol/L | 30.0124 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.767 | 125379.8809 | 268158.7901 | 26.25 | 74
103465 | 2021-04-23 13:15 | 0.66543 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4811 | μmol/L | 30.043 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.819 | 125734.8789 | 268146.331 | 26.25 | 74
103475 | 2021-04-23 13:15 | 0.99832 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1343 | μmol/L | 30.0186 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.847 | 125945.9882 | 268129.2148 | 26.25 | 74
103485 | 2021-04-23 13:15 | 1.3313 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5006 | μmol/L | 30.0369 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.877 | 126122.6602 | 268109.0356 | 26.25 | 74
103495 | 2021-04-23 13:16 | 1.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0236 | μmol/L | 30.1164 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.935 | 126515.7055 | 268117.0875 | 26.25 | 74
103505 | 2021-04-23 13:16 | 1.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9498 | μmol/L | 30.1347 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.991 | 126923.3744 | 268094.3289 | 26.25 | 74
103515 | 2021-04-23 13:16 | 2.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9908 | μmol/L | 30.1041 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.999 | 126991.2685 | 268083.311 | 26.25 | 74
103525 | 2021-04-23 13:17 | 2.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8427 | μmol/L | 30.153 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.991 | 126967.146 | 268069.0668 | 26.25 | 74
103535 | 2021-04-23 13:17 | 2.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5582 | μmol/L | 30.1592 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.005 | 127046.0346 | 268064.0813 | 26.25 | 74
103545 | 2021-04-23 13:17 | 3.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4137 | μmol/L | 30.153 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.016 | 127144.9658 | 268057.1457 | 26.25 | 74
103555 | 2021-04-23 13:18 | 3.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9867 | μmol/L | 30.2019 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.083 | 127558.341 | 268047.9346 | 26.25 | 74
103565 | 2021-04-23 13:18 | 3.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4796 | μmol/L | 30.1958 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.115 | 127793.1521 | 268035.7302 | 26.25 | 74
103575 | 2021-04-23 13:18 | 4.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0304 | μmol/L | 30.2019 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.139 | 127991.5511 | 268027.8775 | 26.25 | 74
103585 | 2021-04-23 13:19 | 4.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0781 | μmol/L | 30.2142 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.132 | 127922.9974 | 268014.5679 | 26.25 | 74
103595 | 2021-04-23 13:19 | 4.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9683 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.139 | 127975.469 | 268015.6443 | 26.25 | 74
103605 | 2021-04-23 13:19 | 5.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8503 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.146 | 127999.6097 | 268019.7098 | 26.25 | 74
103615 | 2021-04-23 13:20 | 5.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0571 | μmol/L | 30.1958 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.14 | 127945.7045 | 267997.7014 | 26.25 | 74
103625 | 2021-04-23 13:20 | 5.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7081 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.144 | 128002.3908 | 268000.1724 | 26.25 | 74
103635 | 2021-04-23 13:20 | 6.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9778 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.128 | 127864.0216 | 268003.0966 | 26.25 | 74
103645 | 2021-04-23 13:21 | 6.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1129 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.12 | 127833.0397 | 267974.2333 | 26.25 | 74
103655 | 2021-04-23 13:21 | 6.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7938 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.141 | 127963.2116 | 267959.7087 | 26.25 | 74
103665 | 2021-04-23 13:21 | 7.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2799 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.182 | 128196.3023 | 267953.6577 | 26.25 | 74
103675 | 2021-04-23 13:22 | 7.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5304 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.165 | 128113.1787 | 267962.0981 | 26.25 | 74
103685 | 2021-04-23 13:22 | 7.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6022 | μmol/L | 30.1958 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.167 | 128105.0424 | 267948.8816 | 26.25 | 74
103695 | 2021-04-23 13:22 | 8.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4938 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.163 | 128074.7272 | 267935.8707 | 26.25 | 74
103705 | 2021-04-23 13:23 | 8.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.3297 | μmol/L | 30.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.166 | 128089.0138 | 267930.2049 | 26.25 | 74
103715 | 2021-04-23 13:23 | 8.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6224 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.147 | 127984.6199 | 267940.2368 | 26.25 | 74
103725 | 2021-04-23 13:23 | 9.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4191 | μmol/L | 30.257 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.157 | 128004.099 | 267919.552 | 26.25 | 74
103735 | 2021-04-23 13:24 | 9.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2465 | μmol/L | 30.2753 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.161 | 128040.8819 | 267909.2205 | 26.25 | 74
103745 | 2021-04-23 13:24 | 9.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3637 | μmol/L | 30.257 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.22 | 128446.7553 | 267902.8227 | 26.25 | 74
103755 | 2021-04-23 13:24 | 10.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0651 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.24 | 128571.3227 | 267903.0233 | 26.25 | 74
103765 | 2021-04-23 13:25 | 10.6646 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4821 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.215 | 128385.6811 | 267895.303 | 26.25 | 74
103775 | 2021-04-23 13:25 | 10.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.7794 | μmol/L | 30.2325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.203 | 128313.599 | 267899.7617 | 26.25 | 74
103785 | 2021-04-23 13:25 | 11.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6554 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.213 | 128382.3438 | 267882.8233 | 26.25 | 74
103795 | 2021-04-23 13:26 | 11.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.5824 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.209 | 128377.4613 | 267886.9854 | 26.25 | 74
103805 | 2021-04-23 13:26 | 11.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3501 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.225 | 128473.0711 | 267886.6976 | 26.25 | 74
103815 | 2021-04-23 13:26 | 12.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9096 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.264 | 128720.0222 | 267880.8263 | 26.25 | 74
103825 | 2021-04-23 13:27 | 12.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7236 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.271 | 128758.9929 | 267871.6592 | 26.25 | 74
103835 | 2021-04-23 13:27 | 12.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3959 | μmol/L | 30.1286 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.262 | 128686.7813 | 267863.5686 | 26.25 | 74
103845 | 2021-04-23 13:27 | 13.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3377 | μmol/L | 30.1286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.265 | 128738.3424 | 267864.7164 | 26.25 | 74
103855 | 2021-04-23 13:28 | 13.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0292 | μmol/L | 30.1958 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.261 | 128694.655 | 267856.3328 | 26.25 | 74
103865 | 2021-04-23 13:28 | 13.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6956 | μmol/L | 30.2325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.268 | 128727.8523 | 267858.4988 | 26.25 | 74
103875 | 2021-04-23 13:28 | 14.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5927 | μmol/L | 30.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.27 | 128730.1426 | 267838.0891 | 26.25 | 74
103885 | 2021-04-23 13:29 | 14.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7283 | μmol/L | 30.2019 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.277 | 128770.4123 | 267847.9755 | 26.25 | 74
103895 | 2021-04-23 13:29 | 14.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.854 | μmol/L | 30.1653 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.282 | 128848.4331 | 267851.9243 | 26.25 | 74
103905 | 2021-04-23 13:29 | 15.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3585 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.293 | 128896.479 | 267850.149 | 26.25 | 74
103915 | 2021-04-23 13:30 | 15.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2178 | μmol/L | 30.2203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.301 | 128955.9026 | 267839.9531 | 26.25 | 74
103925 | 2021-04-23 13:30 | 15.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0555 | μmol/L | 30.2081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.315 | 129043.5881 | 267840.8834 | 26.25 | 74
103935 | 2021-04-23 13:30 | 16.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0886 | μmol/L | 30.2081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.313 | 129025.4664 | 267830.9604 | 26.25 | 74
103945 | 2021-04-23 13:31 | 16.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1162 | μmol/L | 30.1653 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.326 | 129118.8221 | 267823.3404 | 26.25 | 74
103955 | 2021-04-23 13:31 | 16.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0879 | μmol/L | 30.2508 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.359 | 129348.3632 | 267819.2398 | 26.25 | 74
103965 | 2021-04-23 13:31 | 17.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.2145 | μmol/L | 30.2081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.366 | 129406.0169 | 267815.4202 | 26.25 | 74
103975 | 2021-04-23 13:32 | 17.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.1947 | μmol/L | 30.1897 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.374 | 129438.7243 | 267820.2335 | 26.25 | 74
103985 | 2021-04-23 13:32 | 17.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4378 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.386 | 129515.1436 | 267818.0417 | 26.25 | 74
103995 | 2021-04-23 13:32 | 18.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4065 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.39 | 129561.5912 | 267822.3508 | 26.25 | 74
104005 | 2021-04-23 13:33 | 18.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0418 | μmol/L | 30.1469 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.398 | 129617.2457 | 267806.868 | 26.25 | 74
104015 | 2021-04-23 13:33 | 18.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0779 | μmol/L | 30.1347 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.4 | 129604.5067 | 267805.6066 | 26.25 | 74
104025 | 2021-04-23 13:33 | 19.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9401 | μmol/L | 30.1592 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.4 | 129648.2444 | 267812.9029 | 26.25 | 74
104035 | 2021-04-23 13:34 | 19.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0649 | μmol/L | 30.153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.394 | 129574.1403 | 267805.9691 | 26.25 | 74
104045 | 2021-04-23 13:34 | 19.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.1403 | μmol/L | 30.1164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.402 | 129623.92 | 267823.8861 | 26.25 | 74
104055 | 2021-04-23 13:34 | 20.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.7647 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.427 | 129778.2876 | 267827.1088 | 26.25 | 74
104065 | 2021-04-23 13:35 | 20.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8466 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.422 | 129762.7383 | 267807.1323 | 26.25 | 74
104075 | 2021-04-23 13:35 | 20.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6304 | μmol/L | 30.153 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.421 | 129741.534 | 267806.7737 | 26.25 | 74
104085 | 2021-04-23 13:35 | 21.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3523 | μmol/L | 30.1836 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.427 | 129783.6479 | 267813.2629 | 26.25 | 74
104095 | 2021-04-23 13:36 | 21.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4537 | μmol/L | 30.1714 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.425 | 129784.7031 | 267786.6473 | 26.25 | 74
104105 | 2021-04-23 13:36 | 21.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.0731 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.442 | 129881.7352 | 267792.9451 | 26.25 | 74
104115 | 2021-04-23 13:36 | 22.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8921 | μmol/L | 30.1958 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.451 | 129967.9205 | 267790.2598 | 26.25 | 74
104125 | 2021-04-23 13:37 | 22.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8775 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.454 | 129976.9495 | 267787.203 | 26.25 | 74
104135 | 2021-04-23 13:37 | 22.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7164 | μmol/L | 30.1836 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.466 | 130092.7965 | 267784.6147 | 26.25 | 74
104145 | 2021-04-23 13:37 | 23.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.3409 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.487 | 130228.0076 | 267777.9726 | 26.25 | 74
104155 | 2021-04-23 13:38 | 23.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2111 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.495 | 130291.8148 | 267769.4635 | 26.25 | 74
104165 | 2021-04-23 13:38 | 23.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1693 | μmol/L | 30.1653 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.506 | 130362.316 | 267764.5863 | 26.25 | 74
104175 | 2021-04-23 13:38 | 24.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.871 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.516 | 130408.8856 | 267766.9483 | 26.25 | 74
104185 | 2021-04-23 13:39 | 24.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.0895 | μmol/L | 30.2142 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.556 | 130716.6474 | 267759.2346 | 26.25 | 74
104195 | 2021-04-23 13:39 | 24.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7984 | μmol/L | 30.2203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.572 | 130802.304 | 267761.8546 | 26.25 | 74
104205 | 2021-04-23 13:39 | 25.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.0644 | μmol/L | 30.1897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.566 | 130730.1371 | 267748.3001 | 26.25 | 74
104215 | 2021-04-23 13:40 | 25.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2845 | μmol/L | 30.2081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.546 | 130632.3904 | 267740.5877 | 26.25 | 74
104225 | 2021-04-23 13:40 | 25.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.8787 | μmol/L | 30.2203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.567 | 130720.1129 | 267741.2446 | 26.25 | 74
104235 | 2021-04-23 13:40 | 26.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.0976 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.556 | 130667.9712 | 267730.1796 | 26.25 | 74