## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 13:41

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
103446 | 2021-04-23 13:14 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.0916 | μmol/L | 30.0665 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.512 | 124432.8637 | 270007.7589 | 32.55 | 27.7
103456 | 2021-04-23 13:15 | 0.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.247 | μmol/L | 29.9928 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.528 | 124598.855 | 269993.8803 | 32.55 | 27.7
103466 | 2021-04-23 13:15 | 0.66684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6549 | μmol/L | 30.0603 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.594 | 125083.4932 | 269962.618 | 32.55 | 27.7
103476 | 2021-04-23 13:15 | 0.99985 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5332 | μmol/L | 30.0542 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.659 | 125517.0312 | 269944.3154 | 32.55 | 27.7
103486 | 2021-04-23 13:16 | 1.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5322 | μmol/L | 30.1094 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.697 | 125776.0766 | 269948.8471 | 32.55 | 27.7
103496 | 2021-04-23 13:16 | 1.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7787 | μmol/L | 30.091 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.746 | 126094.1423 | 269919.0836 | 32.55 | 27.7
103506 | 2021-04-23 13:16 | 1.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7096 | μmol/L | 30.0849 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.752 | 126145.846 | 269908.6164 | 32.55 | 27.7
103516 | 2021-04-23 13:17 | 2.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2552 | μmol/L | 30.0787 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.78 | 126348.3939 | 269907.1894 | 32.55 | 27.7
103526 | 2021-04-23 13:17 | 2.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.754 | μmol/L | 30.0971 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.802 | 126539.6038 | 269886.1069 | 32.55 | 27.7
103536 | 2021-04-23 13:17 | 3.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6417 | μmol/L | 30.091 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.811 | 126626.5911 | 269878.0575 | 32.55 | 27.7
103546 | 2021-04-23 13:18 | 3.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3085 | μmol/L | 30.1033 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.826 | 126689.3081 | 269881.6191 | 32.55 | 27.7
103556 | 2021-04-23 13:18 | 3.6667 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2216 | μmol/L | 30.1033 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.831 | 126728.475 | 269863.5477 | 32.55 | 27.7
103566 | 2021-04-23 13:18 | 3.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1371 | μmol/L | 30.091 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.84 | 126768.2162 | 269857.4993 | 32.55 | 27.7
103576 | 2021-04-23 13:19 | 4.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8236 | μmol/L | 30.0971 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.856 | 126849.1868 | 269833.08 | 32.55 | 27.7
103586 | 2021-04-23 13:19 | 4.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3302 | μmol/L | 30.1401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.87 | 126973.5186 | 269828.5093 | 32.55 | 27.7
103596 | 2021-04-23 13:19 | 4.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4082 | μmol/L | 30.0971 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.88 | 127033.5216 | 269826.0211 | 32.55 | 27.7
103606 | 2021-04-23 13:20 | 5.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.107 | μmol/L | 30.1339 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.885 | 127098.2095 | 269815.8369 | 32.55 | 27.7
103616 | 2021-04-23 13:20 | 5.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5612 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.898 | 127192.0109 | 269799.1259 | 32.55 | 27.7
103626 | 2021-04-23 13:20 | 5.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5369 | μmol/L | 30.183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.901 | 127209.4817 | 269798.4755 | 32.55 | 27.7
103636 | 2021-04-23 13:21 | 6.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4461 | μmol/L | 30.1646 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.913 | 127311.4847 | 269805.0219 | 32.55 | 27.7
103646 | 2021-04-23 13:21 | 6.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3346 | μmol/L | 30.1646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.919 | 127344.3584 | 269778.3392 | 32.55 | 27.7
103656 | 2021-04-23 13:21 | 7 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.0975 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.925 | 127379.3559 | 269773.2957 | 32.55 | 27.7
103666 | 2021-04-23 13:22 | 7.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9287 | μmol/L | 30.1769 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.939 | 127438.7119 | 269765.561 | 32.55 | 27.7
103676 | 2021-04-23 13:22 | 7.6668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.8958 | μmol/L | 30.1708 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.943 | 127465.867 | 269749.1744 | 32.55 | 27.7
103686 | 2021-04-23 13:22 | 7.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9499 | μmol/L | 30.1585 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.944 | 127470.2526 | 269741.3097 | 32.55 | 27.7
103696 | 2021-04-23 13:23 | 8.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6851 | μmol/L | 30.1953 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.947 | 127506.1298 | 269741.9554 | 32.55 | 27.7
103706 | 2021-04-23 13:23 | 8.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4759 | μmol/L | 30.2137 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.953 | 127569.4874 | 269731.1994 | 32.55 | 27.7
103716 | 2021-04-23 13:23 | 8.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.183 | μmol/L | 30.226 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.966 | 127645.7423 | 269725.4206 | 32.55 | 27.7
103726 | 2021-04-23 13:24 | 9.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0126 | μmol/L | 30.226 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.976 | 127723.6002 | 269717.6882 | 32.55 | 27.7
103736 | 2021-04-23 13:24 | 9.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8354 | μmol/L | 30.2199 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.988 | 127797.6653 | 269718.2822 | 32.55 | 27.7
103746 | 2021-04-23 13:24 | 9.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6922 | μmol/L | 30.2137 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.999 | 127868.5854 | 269704.6973 | 32.55 | 27.7
103756 | 2021-04-23 13:25 | 10.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7148 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.006 | 127913.8873 | 269706.3673 | 32.55 | 27.7
103766 | 2021-04-23 13:25 | 10.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6752 | μmol/L | 30.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.012 | 127952.5034 | 269713.4124 | 32.55 | 27.7
103776 | 2021-04-23 13:25 | 11.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.4645 | μmol/L | 30.2076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.014 | 127969.715 | 269708.8052 | 32.55 | 27.7
103786 | 2021-04-23 13:26 | 11.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1819 | μmol/L | 30.2199 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.027 | 128056.4514 | 269713.1309 | 32.55 | 27.7
103796 | 2021-04-23 13:26 | 11.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1156 | μmol/L | 30.2137 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.033 | 128104.0184 | 269695.7121 | 32.55 | 27.7
103806 | 2021-04-23 13:26 | 12.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.5222 | μmol/L | 30.1401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.034 | 128119.6245 | 269694.2904 | 32.55 | 27.7
103816 | 2021-04-23 13:27 | 12.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.1961 | μmol/L | 30.1585 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.047 | 128176.873 | 269688.6965 | 32.55 | 27.7
103826 | 2021-04-23 13:27 | 12.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.7946 | μmol/L | 30.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.064 | 128270.0991 | 269683.1282 | 32.55 | 27.7
103836 | 2021-04-23 13:27 | 12.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3083 | μmol/L | 30.2014 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.085 | 128440.6666 | 269681.8016 | 32.55 | 27.7
103846 | 2021-04-23 13:28 | 13.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3617 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.086 | 128437.7021 | 269680.5561 | 32.55 | 27.7
103856 | 2021-04-23 13:28 | 13.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.4756 | μmol/L | 30.1708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.085 | 128433.3041 | 269666.9415 | 32.55 | 27.7
103866 | 2021-04-23 13:28 | 13.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5979 | μmol/L | 30.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.084 | 128431.1717 | 269682.5826 | 32.55 | 27.7
103876 | 2021-04-23 13:29 | 14.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.5542 | μmol/L | 30.1585 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.085 | 128417.1963 | 269661.0825 | 32.55 | 27.7
103886 | 2021-04-23 13:29 | 14.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3449 | μmol/L | 30.1892 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.087 | 128446.742 | 269671.3533 | 32.55 | 27.7
103896 | 2021-04-23 13:29 | 14.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2187 | μmol/L | 30.1892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.094 | 128475.4747 | 269664.2416 | 32.55 | 27.7
103906 | 2021-04-23 13:30 | 15.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.2665 | μmol/L | 30.1646 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.1 | 128510.3936 | 269652.4032 | 32.55 | 27.7
103916 | 2021-04-23 13:30 | 15.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9652 | μmol/L | 30.1953 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.107 | 128550.5578 | 269649.5528 | 32.55 | 27.7
103926 | 2021-04-23 13:30 | 15.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.7944 | μmol/L | 30.2076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.113 | 128583.1777 | 269635.6252 | 32.55 | 27.7
103936 | 2021-04-23 13:31 | 16.3333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.715 | μmol/L | 30.1892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.124 | 128668.7393 | 269643.924 | 32.55 | 27.7
103946 | 2021-04-23 13:31 | 16.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.6007 | μmol/L | 30.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.135 | 128729.2874 | 269637.5015 | 32.55 | 27.7
103956 | 2021-04-23 13:31 | 17.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.6119 | μmol/L | 30.1646 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.139 | 128757.1981 | 269614.2995 | 32.55 | 27.7
103966 | 2021-04-23 13:32 | 17.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.6066 | μmol/L | 30.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.143 | 128783.6319 | 269635.861 | 32.55 | 27.7
103976 | 2021-04-23 13:32 | 17.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4393 | μmol/L | 30.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.153 | 128851.9675 | 269632.2218 | 32.55 | 27.7
103986 | 2021-04-23 13:32 | 18.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.2721 | μmol/L | 30.1524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.163 | 128929.6102 | 269606.1496 | 32.55 | 27.7
103996 | 2021-04-23 13:33 | 18.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.1331 | μmol/L | 30.1401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.176 | 128998.5845 | 269606.6411 | 32.55 | 27.7
104006 | 2021-04-23 13:33 | 18.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.2674 | μmol/L | 30.1033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.18 | 129034.1218 | 269624.0286 | 32.55 | 27.7
104016 | 2021-04-23 13:33 | 18.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.9193 | μmol/L | 30.1278 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.193 | 129090.0488 | 269617.8009 | 32.55 | 27.7
104026 | 2021-04-23 13:34 | 19.3335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.886 | μmol/L | 30.1278 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.195 | 129116.3852 | 269619.8706 | 32.55 | 27.7
104036 | 2021-04-23 13:34 | 19.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8793 | μmol/L | 30.1217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.197 | 129118.8531 | 269591.3038 | 32.55 | 27.7
104046 | 2021-04-23 13:34 | 19.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.8141 | μmol/L | 30.1155 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.203 | 129159.1397 | 269597.6224 | 32.55 | 27.7
104056 | 2021-04-23 13:35 | 20.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.492 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.214 | 129228.0763 | 269591.7929 | 32.55 | 27.7
104066 | 2021-04-23 13:35 | 20.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1751 | μmol/L | 30.1462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.231 | 129313.4519 | 269602.3571 | 32.55 | 27.7
104076 | 2021-04-23 13:35 | 20.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.2098 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.231 | 129342.6207 | 269617.7986 | 32.55 | 27.7
104086 | 2021-04-23 13:36 | 21.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1185 | μmol/L | 30.1401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.237 | 129344.3886 | 269585.5733 | 32.55 | 27.7
104096 | 2021-04-23 13:36 | 21.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1103 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.237 | 129382.1537 | 269602.6421 | 32.55 | 27.7
104106 | 2021-04-23 13:36 | 22.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9116 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.249 | 129428.9596 | 269589.7875 | 32.55 | 27.7
104116 | 2021-04-23 13:37 | 22.3334 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9509 | μmol/L | 30.1155 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.255 | 129470.5383 | 269588.7136 | 32.55 | 27.7
104126 | 2021-04-23 13:37 | 22.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6981 | μmol/L | 30.1339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.264 | 129490.162 | 269589.0682 | 32.55 | 27.7
104136 | 2021-04-23 13:37 | 23.0002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.7296 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.26 | 129510.9149 | 269577.0731 | 32.55 | 27.7
104146 | 2021-04-23 13:38 | 23.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.6816 | μmol/L | 30.1339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.265 | 129528.6809 | 269567.8832 | 32.55 | 27.7
104156 | 2021-04-23 13:38 | 23.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.5479 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.271 | 129556.7624 | 269566.7051 | 32.55 | 27.7
104166 | 2021-04-23 13:38 | 23.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.4638 | μmol/L | 30.1462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.274 | 129594.9233 | 269553.9665 | 32.55 | 27.7
104176 | 2021-04-23 13:39 | 24.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.4882 | μmol/L | 30.1155 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.283 | 129634.1843 | 269566.8341 | 32.55 | 27.7
104186 | 2021-04-23 13:39 | 24.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.3004 | μmol/L | 30.1401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.286 | 129668.8148 | 269546.9684 | 32.55 | 27.7
104196 | 2021-04-23 13:39 | 25 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2592 | μmol/L | 30.1401 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.289 | 129682.4706 | 269552.5855 | 32.55 | 27.7
104206 | 2021-04-23 13:40 | 25.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2 | μmol/L | 30.1462 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.29 | 129676.6831 | 269551.3357 | 32.55 | 27.7
104216 | 2021-04-23 13:40 | 25.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2558 | μmol/L | 30.1217 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.295 | 129717.459 | 269541.547 | 32.55 | 27.7
104226 | 2021-04-23 13:40 | 26.0001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.899 | μmol/L | 30.1646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.302 | 129772.2518 | 269535.0007 | 32.55 | 27.7
104236 | 2021-04-23 13:41 | 26.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.6461 | μmol/L | 30.1892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.309 | 130535.4699 | 269532.6244 | 32.55 | 27.7