## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104237 | 2021-04-23 13:49 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5785 | μmol/L | 30.3183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.173 | 134795.8403 | 271877.2248 | 33.25 | 75.7
104247 | 2021-04-23 13:49 | 0.33173 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9141 | μmol/L | 30.3244 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.207 | 135061.6993 | 271871.1921 | 33.25 | 75.7
104257 | 2021-04-23 13:49 | 0.66461 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4382 | μmol/L | 30.3121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.237 | 135253.2427 | 271871.7939 | 33.25 | 75.7
104267 | 2021-04-23 13:50 | 0.99838 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.89 | μmol/L | 30.306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.269 | 135507.7199 | 271859.0958 | 33.25 | 75.7
104277 | 2021-04-23 13:50 | 1.3313 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4538 | μmol/L | 30.2937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.297 | 135699.3947 | 271852.0217 | 33.25 | 75.7
104287 | 2021-04-23 13:50 | 1.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4442 | μmol/L | 30.2321 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.318 | 135856.5843 | 271846.2289 | 33.25 | 75.7
104297 | 2021-04-23 13:51 | 1.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4518 | μmol/L | 30.1767 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.336 | 135987.226 | 271832.7575 | 33.25 | 75.7
104307 | 2021-04-23 13:51 | 2.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1799 | μmol/L | 30.1706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.353 | 136123.8284 | 271824.9421 | 33.25 | 75.7
104317 | 2021-04-23 13:51 | 2.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3385 | μmol/L | 30.226 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.381 | 136314.1464 | 271818.4004 | 33.25 | 75.7
104327 | 2021-04-23 13:52 | 2.9977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8855 | μmol/L | 30.2383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.402 | 136488.1549 | 271814.8211 | 33.25 | 75.7
104337 | 2021-04-23 13:52 | 3.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.5851 | μmol/L | 30.2013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.431 | 136679.3137 | 271808.5248 | 33.25 | 75.7
104347 | 2021-04-23 13:52 | 3.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3335 | μmol/L | 30.2013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.445 | 136770.1743 | 271787.6322 | 33.25 | 75.7
104357 | 2021-04-23 13:53 | 3.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4904 | μmol/L | 30.1152 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.465 | 136909.6266 | 271794.7647 | 33.25 | 75.7
104367 | 2021-04-23 13:53 | 4.3318 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1307 | μmol/L | 30.1214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.483 | 137041.3462 | 271771.5571 | 33.25 | 75.7
104377 | 2021-04-23 13:53 | 4.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7477 | μmol/L | 30.0537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.527 | 137313.4143 | 271778.8576 | 33.25 | 75.7
104387 | 2021-04-23 13:54 | 4.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8587 | μmol/L | 30.029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.529 | 137374.2126 | 271759.2409 | 33.25 | 75.7
104397 | 2021-04-23 13:54 | 5.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8965 | μmol/L | 30.1398 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.546 | 137493.4525 | 271777.8503 | 33.25 | 75.7
104407 | 2021-04-23 13:54 | 5.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5778 | μmol/L | 29.9983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.555 | 137555.1005 | 271751.3363 | 33.25 | 75.7
104417 | 2021-04-23 13:55 | 5.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.199 | μmol/L | 30.029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.566 | 137631.5979 | 271766.7597 | 33.25 | 75.7
104427 | 2021-04-23 13:55 | 6.3312 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5685 | μmol/L | 29.9429 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.574 | 137705.3688 | 271754.1517 | 33.25 | 75.7
104437 | 2021-04-23 13:55 | 6.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8613 | μmol/L | 30.029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.585 | 137784.6057 | 271755.2442 | 33.25 | 75.7
104447 | 2021-04-23 13:56 | 6.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5943 | μmol/L | 30.0352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.598 | 137854.2066 | 271748.5763 | 33.25 | 75.7
104457 | 2021-04-23 13:56 | 7.3311 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.8732 | μmol/L | 29.9552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.609 | 137947.3584 | 271747.5089 | 33.25 | 75.7
104467 | 2021-04-23 13:56 | 7.6643 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.83 | μmol/L | 30.0598 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.633 | 138100.0983 | 271724.442 | 33.25 | 75.7
104477 | 2021-04-23 13:57 | 7.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7034 | μmol/L | 30.0783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.634 | 138118.2503 | 271735.0634 | 33.25 | 75.7
104487 | 2021-04-23 13:57 | 8.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7481 | μmol/L | 30.0229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.65 | 138249.1184 | 271733.1125 | 33.25 | 75.7
104497 | 2021-04-23 13:57 | 8.6644 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5171 | μmol/L | 30.0352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.659 | 138280.7827 | 271722.0021 | 33.25 | 75.7
104507 | 2021-04-23 13:58 | 8.9977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6498 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.67 | 138368.0799 | 271719.6043 | 33.25 | 75.7
104517 | 2021-04-23 13:58 | 9.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.1316 | μmol/L | 30.029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.683 | 138464.0597 | 271710.6107 | 33.25 | 75.7
104527 | 2021-04-23 13:58 | 9.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.7679 | μmol/L | 30.0044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.712 | 138641.6605 | 271716.7228 | 33.25 | 75.7
104537 | 2021-04-23 13:59 | 9.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4007 | μmol/L | 29.8937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.713 | 138674.9 | 271709.3429 | 33.25 | 75.7
104547 | 2021-04-23 13:59 | 10.3311 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.314 | μmol/L | 29.8875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.72 | 138732.2505 | 271705.1321 | 33.25 | 75.7
104557 | 2021-04-23 13:59 | 10.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4617 | μmol/L | 29.8445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.726 | 138781.9953 | 271693.3086 | 33.25 | 75.7
104567 | 2021-04-23 14:00 | 10.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6902 | μmol/L | 29.9491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.735 | 138827.5319 | 271702.7534 | 33.25 | 75.7
104577 | 2021-04-23 14:00 | 11.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.3265 | μmol/L | 29.8137 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.744 | 138913.596 | 271695.4471 | 33.25 | 75.7
104587 | 2021-04-23 14:00 | 11.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4696 | μmol/L | 29.9121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.76 | 139001.9997 | 271680.6023 | 33.25 | 75.7
104597 | 2021-04-23 14:01 | 11.9984 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3464 | μmol/L | 29.9183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.765 | 139051.4474 | 271686.7121 | 33.25 | 75.7
104607 | 2021-04-23 14:01 | 12.3315 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0654 | μmol/L | 29.9306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.777 | 139121.6089 | 271679.705 | 33.25 | 75.7
104617 | 2021-04-23 14:01 | 12.6645 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.9239 | μmol/L | 29.9429 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.781 | 139182.0687 | 271684.9637 | 33.25 | 75.7
104627 | 2021-04-23 14:02 | 12.9977 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8751 | μmol/L | 29.9244 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.79 | 139217.5177 | 271681.2492 | 33.25 | 75.7
104637 | 2021-04-23 14:02 | 13.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1146 | μmol/L | 29.8506 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.801 | 139289.6913 | 271660.012 | 33.25 | 75.7
104647 | 2021-04-23 14:02 | 13.6646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6341 | μmol/L | 29.9121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.808 | 139364.7179 | 271645.5655 | 33.25 | 75.7
104657 | 2021-04-23 14:03 | 13.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.582 | μmol/L | 29.9121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 139363.3161 | 271646.2111 | 33.25 | 75.7
104667 | 2021-04-23 14:03 | 14.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.464 | μmol/L | 29.8937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.824 | 139431.9347 | 271651.7612 | 33.25 | 75.7
104677 | 2021-04-23 14:03 | 14.6646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6778 | μmol/L | 29.8629 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.822 | 139475.9275 | 271639.4674 | 33.25 | 75.7
104687 | 2021-04-23 14:04 | 14.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2573 | μmol/L | 29.8875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.838 | 139551.2292 | 271642.0849 | 33.25 | 75.7
104697 | 2021-04-23 14:04 | 15.331 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1373 | μmol/L | 29.8814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.847 | 139613.606 | 271635.3115 | 33.25 | 75.7
104707 | 2021-04-23 14:04 | 15.665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2088 | μmol/L | 29.8691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.847 | 139624.7687 | 271637.362 | 33.25 | 75.7
104717 | 2021-04-23 14:05 | 15.9981 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.7883 | μmol/L | 29.8998 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.861 | 139701.3422 | 271639.424 | 33.25 | 75.7
104727 | 2021-04-23 14:05 | 16.331 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6859 | μmol/L | 29.8937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.869 | 139774.6932 | 271626.2039 | 33.25 | 75.7
104737 | 2021-04-23 14:05 | 16.6649 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3859 | μmol/L | 29.9306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.874 | 139815.4148 | 271625.4082 | 33.25 | 75.7
104747 | 2021-04-23 14:06 | 16.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.532 | μmol/L | 29.8875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.88 | 139863.354 | 271615.7377 | 33.25 | 75.7
104757 | 2021-04-23 14:06 | 17.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5896 | μmol/L | 29.8568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.887 | 139912.8514 | 271616.2041 | 33.25 | 75.7
104767 | 2021-04-23 14:06 | 17.6647 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2934 | μmol/L | 29.8752 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.898 | 139980.7977 | 271611.2136 | 33.25 | 75.7
104777 | 2021-04-23 14:07 | 17.9978 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.485 | μmol/L | 29.8629 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.891 | 139946.2157 | 271611.1392 | 33.25 | 75.7
104787 | 2021-04-23 14:07 | 18.3316 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3474 | μmol/L | 29.8629 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.899 | 139979.4821 | 271592.1949 | 33.25 | 75.7
104797 | 2021-04-23 14:07 | 18.6646 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3325 | μmol/L | 29.8506 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.904 | 140033.6291 | 271590.5047 | 33.25 | 75.7
104807 | 2021-04-23 14:08 | 18.9979 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6939 | μmol/L | 29.8691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.935 | 140228.7972 | 271584.6088 | 33.25 | 75.7
104817 | 2021-04-23 14:08 | 19.3317 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.7257 | μmol/L | 29.8814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.929 | 140215.1533 | 271575.3865 | 33.25 | 75.7
104827 | 2021-04-23 14:08 | 19.6648 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0085 | μmol/L | 29.8383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.927 | 140208.6341 | 271578.4425 | 33.25 | 75.7
104837 | 2021-04-23 14:09 | 19.9982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2101 | μmol/L | 29.8937 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.955 | 140397.7805 | 271580.2455 | 33.25 | 75.7
104844 | 2021-04-23 14:09 | 20.3314 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.9724 | μmol/L | 29.8875 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.971 | 140499.0705 | 271575.5396 | 33.25 | 75.7