## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104238 | 2021-04-23 13:49 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9574 | μmol/L | 30.1943 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.741 | 121291.4081 | 295773.6827 | 59.9307 | 38.1
104248 | 2021-04-23 13:49 | 0.34031 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7804 | μmol/L | 30.1085 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.78 | 121484.1543 | 295777.7542 | 59.9307 | 38.1
104258 | 2021-04-23 13:50 | 0.67397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.891 | μmol/L | 30.1391 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.821 | 121709.6793 | 295747.0025 | 59.9307 | 38.1
104268 | 2021-04-23 13:50 | 1.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8427 | μmol/L | 30.2188 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.855 | 121936.842 | 295742.1509 | 59.9307 | 38.1
104278 | 2021-04-23 13:50 | 1.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0315 | μmol/L | 30.2494 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.892 | 122186.0983 | 295734.0501 | 59.9307 | 38.1
104288 | 2021-04-23 13:51 | 1.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4708 | μmol/L | 30.2372 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.929 | 122390.4175 | 295731.2227 | 59.9307 | 38.1
104298 | 2021-04-23 13:51 | 2.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7028 | μmol/L | 30.2556 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.968 | 122648.5703 | 295724.6809 | 59.9307 | 38.1
104308 | 2021-04-23 13:51 | 2.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6852 | μmol/L | 30.0043 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.995 | 122805.4453 | 295715.7909 | 59.9307 | 38.1
104318 | 2021-04-23 13:52 | 2.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8007 | μmol/L | 30.1024 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.014 | 122924.8293 | 295713.3137 | 59.9307 | 38.1
104328 | 2021-04-23 13:52 | 3.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1163 | μmol/L | 30.1453 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.04 | 123098.791 | 295690.9841 | 59.9307 | 38.1
104338 | 2021-04-23 13:52 | 3.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.126 | μmol/L | 30.0963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.056 | 123196.8732 | 295702.2134 | 59.9307 | 38.1
104348 | 2021-04-23 13:53 | 3.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1056 | μmol/L | 30.0289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.08 | 123349.4536 | 295678.355 | 59.9307 | 38.1
104358 | 2021-04-23 13:53 | 4.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7822 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.093 | 123438.9012 | 295684.2848 | 59.9307 | 38.1
104368 | 2021-04-23 13:53 | 4.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5613 | μmol/L | 30.0595 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.102 | 123505.6587 | 295678.8432 | 59.9307 | 38.1
104378 | 2021-04-23 13:54 | 4.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.463 | μmol/L | 30.0472 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.112 | 123566.3569 | 295666.4139 | 59.9307 | 38.1
104388 | 2021-04-23 13:54 | 5.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4597 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.135 | 123706.0956 | 295668.3761 | 59.9307 | 38.1
104398 | 2021-04-23 13:54 | 5.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1055 | μmol/L | 29.9921 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.152 | 123818.889 | 295667.3964 | 59.9307 | 38.1
104408 | 2021-04-23 13:55 | 5.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6135 | μmol/L | 30.0289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.169 | 123923.9838 | 295651.4276 | 59.9307 | 38.1
104418 | 2021-04-23 13:55 | 6.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.757 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.177 | 123995.3842 | 295661.2048 | 59.9307 | 38.1
104428 | 2021-04-23 13:55 | 6.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4198 | μmol/L | 29.9982 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.191 | 124085.5853 | 295653.6866 | 59.9307 | 38.1
104438 | 2021-04-23 13:56 | 6.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8211 | μmol/L | 30.0779 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.2 | 124148.6309 | 295647.2678 | 59.9307 | 38.1
104448 | 2021-04-23 13:56 | 7.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.1573 | μmol/L | 29.9798 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.213 | 124244.5381 | 295625.7396 | 59.9307 | 38.1
104458 | 2021-04-23 13:56 | 7.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.9567 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.223 | 124300.4517 | 295614.3592 | 59.9307 | 38.1
104468 | 2021-04-23 13:57 | 7.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.5561 | μmol/L | 29.9982 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.243 | 124404.4822 | 295625.5418 | 59.9307 | 38.1
104478 | 2021-04-23 13:57 | 8.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9545 | μmol/L | 30.0289 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.269 | 124575.5129 | 295615.3109 | 59.9307 | 38.1
104488 | 2021-04-23 13:57 | 8.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0185 | μmol/L | 29.9615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.288 | 124696.3779 | 295616.9994 | 59.9307 | 38.1
104498 | 2021-04-23 13:58 | 8.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7929 | μmol/L | 29.937 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.31 | 124844.8813 | 295618.5619 | 59.9307 | 38.1
104508 | 2021-04-23 13:58 | 9.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.3423 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.327 | 124948.9146 | 295617.953 | 59.9307 | 38.1
104518 | 2021-04-23 13:58 | 9.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0811 | μmol/L | 29.9615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.345 | 125021.2773 | 295608.8369 | 59.9307 | 38.1
104528 | 2021-04-23 13:59 | 9.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.1276 | μmol/L | 29.9737 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.338 | 125025.3586 | 295603.9651 | 59.9307 | 38.1
104538 | 2021-04-23 13:59 | 10.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.552 | μmol/L | 29.986 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.369 | 125181.0585 | 295597.1724 | 59.9307 | 38.1
104548 | 2021-04-23 13:59 | 10.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.8094 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.372 | 125221.3219 | 295603.68 | 59.9307 | 38.1
104558 | 2021-04-23 14:00 | 10.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.4418 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.382 | 125264.6907 | 295587.0717 | 59.9307 | 38.1
104568 | 2021-04-23 14:00 | 11.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.65 | μmol/L | 29.9124 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.388 | 125322.1146 | 295596.3886 | 59.9307 | 38.1
104578 | 2021-04-23 14:00 | 11.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6786 | μmol/L | 29.9308 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.38 | 125290.2528 | 295575.7802 | 59.9307 | 38.1
104588 | 2021-04-23 14:01 | 11.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8553 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.418 | 125495.6305 | 295574.6547 | 59.9307 | 38.1
104598 | 2021-04-23 14:01 | 12.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.3698 | μmol/L | 29.9247 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.401 | 125440.8717 | 295580.6253 | 59.9307 | 38.1
104608 | 2021-04-23 14:01 | 12.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.5574 | μmol/L | 29.8879 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.402 | 125439.8475 | 295578.6952 | 59.9307 | 38.1
104618 | 2021-04-23 14:02 | 12.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.3629 | μmol/L | 29.8818 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.416 | 125499.2151 | 295557.7657 | 59.9307 | 38.1
104628 | 2021-04-23 14:02 | 13.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.563 | μmol/L | 29.9676 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.436 | 125590.2039 | 295561.5318 | 59.9307 | 38.1
104638 | 2021-04-23 14:02 | 13.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8529 | μmol/L | 29.9063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.439 | 125628.4738 | 295560.0939 | 59.9307 | 38.1
104648 | 2021-04-23 14:03 | 13.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.784 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.462 | 125748.7389 | 295543.4364 | 59.9307 | 38.1
104658 | 2021-04-23 14:03 | 14.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.0883 | μmol/L | 29.9186 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.482 | 125848.2214 | 295548.4506 | 59.9307 | 38.1
104668 | 2021-04-23 14:03 | 14.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.8768 | μmol/L | 29.9247 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.493 | 125906.8885 | 295539.8169 | 59.9307 | 38.1
104678 | 2021-04-23 14:04 | 14.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.1655 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.496 | 125948.4396 | 295537.2221 | 59.9307 | 38.1
104688 | 2021-04-23 14:04 | 15.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9555 | μmol/L | 29.8634 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.509 | 125995.4941 | 295540.0515 | 59.9307 | 38.1
104698 | 2021-04-23 14:04 | 15.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.1036 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.504 | 125982.4282 | 295522.4896 | 59.9307 | 38.1
104708 | 2021-04-23 14:05 | 15.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.7828 | μmol/L | 29.9124 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.503 | 125984.8892 | 295520.3978 | 59.9307 | 38.1
104718 | 2021-04-23 14:05 | 16.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.2977 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.492 | 125921.4225 | 295510.8313 | 59.9307 | 38.1
104728 | 2021-04-23 14:05 | 16.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.0128 | μmol/L | 29.845 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.45 | 125710.4628 | 295504.9352 | 59.9307 | 38.1
104738 | 2021-04-23 14:06 | 16.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.5014 | μmol/L | 29.8818 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.469 | 125808.2204 | 295513.1943 | 59.9307 | 38.1
104748 | 2021-04-23 14:06 | 17.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.233 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.496 | 125931.3481 | 295493.8057 | 59.9307 | 38.1
104758 | 2021-04-23 14:06 | 17.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.0243 | μmol/L | 29.845 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.511 | 126005.2762 | 295489.8351 | 59.9307 | 38.1
104768 | 2021-04-23 14:07 | 17.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9652 | μmol/L | 29.8205 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.523 | 126098.9368 | 295501.8239 | 59.9307 | 38.1
104778 | 2021-04-23 14:07 | 18.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.4515 | μmol/L | 29.8818 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.534 | 126161.9893 | 295475.8541 | 59.9307 | 38.1
104788 | 2021-04-23 14:07 | 18.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.2557 | μmol/L | 29.8941 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.542 | 126203.0263 | 295481.8565 | 59.9307 | 38.1
104798 | 2021-04-23 14:08 | 18.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.3299 | μmol/L | 29.8512 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.552 | 126252.1479 | 295466.4408 | 59.9307 | 38.1
104808 | 2021-04-23 14:08 | 19.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.6461 | μmol/L | 29.9615 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.557 | 126275.8713 | 295474.601 | 59.9307 | 38.1
104818 | 2021-04-23 14:08 | 19.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.1239 | μmol/L | 29.8389 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.569 | 126335.6841 | 295479.1893 | 59.9307 | 38.1
104828 | 2021-04-23 14:09 | 19.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.9855 | μmol/L | 29.8818 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.563 | 126350.9232 | 295461.4642 | 59.9307 | 38.1
104838 | 2021-04-23 14:09 | 20.0068 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.8223 | μmol/L | 29.8941 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.569 | 126364.6341 | 295449.0148 | 59.9307 | 38.1