## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104239 | 2021-04-23 13:49 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.073 | μmol/L | 30.1045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.729 | 99880.737 | 213414.2752 | 27.3 | 43.4
104249 | 2021-04-23 13:49 | 0.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8505 | μmol/L | 30.1474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.775 | 100141.1725 | 213404.4492 | 27.3 | 43.4
104259 | 2021-04-23 13:50 | 0.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9631 | μmol/L | 30.1597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.815 | 100340.1308 | 213397.6588 | 27.3 | 43.4
104269 | 2021-04-23 13:50 | 1.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7072 | μmol/L | 30.2332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.853 | 100552.255 | 213399.9505 | 27.3 | 43.4
104279 | 2021-04-23 13:50 | 1.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.264 | μmol/L | 30.1719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.896 | 100742.2105 | 213391.9318 | 27.3 | 43.4
104289 | 2021-04-23 13:51 | 1.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7587 | μmol/L | 30.129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.936 | 100952.0322 | 213388.9095 | 27.3 | 43.4
104299 | 2021-04-23 13:51 | 2.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0221 | μmol/L | 30.1535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.965 | 101113.4845 | 213391.8225 | 27.3 | 43.4
104309 | 2021-04-23 13:51 | 2.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0438 | μmol/L | 30.2148 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.994 | 101276.4203 | 213388.9948 | 27.3 | 43.4
104319 | 2021-04-23 13:52 | 2.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6859 | μmol/L | 30.1597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.031 | 101454.0622 | 213371.5529 | 27.3 | 43.4
104329 | 2021-04-23 13:52 | 3.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8099 | μmol/L | 30.0554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.06 | 101612.7981 | 213364.7862 | 27.3 | 43.4
104339 | 2021-04-23 13:52 | 3.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8734 | μmol/L | 29.9574 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.09 | 101767.7467 | 213369.3832 | 27.3 | 43.4
104349 | 2021-04-23 13:53 | 3.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2551 | μmol/L | 30.1229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.117 | 101906.779 | 213370.1694 | 27.3 | 43.4
104359 | 2021-04-23 13:53 | 4.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.536 | μmol/L | 30.0125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.14 | 102031.5615 | 213366.4107 | 27.3 | 43.4
104369 | 2021-04-23 13:53 | 4.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3566 | μmol/L | 29.9574 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.168 | 102153.1365 | 213362.4051 | 27.3 | 43.4
104379 | 2021-04-23 13:54 | 4.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4808 | μmol/L | 30.0554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.18 | 102259.9479 | 213354.2131 | 27.3 | 43.4
104389 | 2021-04-23 13:54 | 5.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.3577 | μmol/L | 30.2455 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.226 | 102463.7469 | 213352.1466 | 27.3 | 43.4
104399 | 2021-04-23 13:54 | 5.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8143 | μmol/L | 30.1167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.246 | 102579.9106 | 213350.8339 | 27.3 | 43.4
104409 | 2021-04-23 13:55 | 5.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2528 | μmol/L | 30.1474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.265 | 102690.5104 | 213351.4494 | 27.3 | 43.4
104419 | 2021-04-23 13:55 | 6.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.7552 | μmol/L | 30.1597 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.287 | 102792.4414 | 213349.3682 | 27.3 | 43.4
104429 | 2021-04-23 13:55 | 6.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5076 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.306 | 102878.8677 | 213342.8295 | 27.3 | 43.4
104439 | 2021-04-23 13:56 | 6.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.0326 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.331 | 103006.9995 | 213350.6299 | 27.3 | 43.4
104449 | 2021-04-23 13:56 | 7.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4557 | μmol/L | 29.9022 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.338 | 103063.4387 | 213344.4277 | 27.3 | 43.4
104459 | 2021-04-23 13:56 | 7.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.9914 | μmol/L | 29.9328 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.352 | 103121.9734 | 213348.9146 | 27.3 | 43.4
104469 | 2021-04-23 13:57 | 7.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8829 | μmol/L | 29.9145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.364 | 103189.365 | 213343.6995 | 27.3 | 43.4
104479 | 2021-04-23 13:57 | 8.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1997 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.375 | 103247.5802 | 213331.1371 | 27.3 | 43.4
104489 | 2021-04-23 13:57 | 8.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0955 | μmol/L | 29.9574 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.391 | 103328.1288 | 213336.1797 | 27.3 | 43.4
104499 | 2021-04-23 13:58 | 8.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1908 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.365 | 103264.5127 | 213336.3168 | 27.3 | 43.4
104509 | 2021-04-23 13:58 | 9.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.9944 | μmol/L | 30.1167 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.395 | 103396.1573 | 213328.6446 | 27.3 | 43.4
104519 | 2021-04-23 13:58 | 9.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.9456 | μmol/L | 30.0922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.406 | 103479.2596 | 213320.9319 | 27.3 | 43.4
104529 | 2021-04-23 13:59 | 9.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.1973 | μmol/L | 30.0922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.446 | 103661.1685 | 213333.7645 | 27.3 | 43.4
104539 | 2021-04-23 13:59 | 10.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.0724 | μmol/L | 30.0738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.459 | 103729.0401 | 213332.674 | 27.3 | 43.4
104549 | 2021-04-23 13:59 | 10.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.9624 | μmol/L | 30.0677 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.467 | 103814.2613 | 213324.4609 | 27.3 | 43.4
104559 | 2021-04-23 14:00 | 10.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.594 | μmol/L | 30.0554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.491 | 103937.5089 | 213324.8696 | 27.3 | 43.4
104569 | 2021-04-23 14:00 | 11.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.6974 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.552 | 104276.2699 | 213321.6003 | 27.3 | 43.4
104579 | 2021-04-23 14:00 | 11.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.7675 | μmol/L | 30.0309 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.544 | 104270.4741 | 213317.8851 | 27.3 | 43.4
104589 | 2021-04-23 14:01 | 11.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.4943 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.563 | 104338.1481 | 213310.2659 | 27.3 | 43.4
104599 | 2021-04-23 14:01 | 12.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.3973 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.583 | 104458.1764 | 213311.4339 | 27.3 | 43.4
104609 | 2021-04-23 14:01 | 12.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.1209 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.598 | 104527.0471 | 213318.5787 | 27.3 | 43.4
104619 | 2021-04-23 14:02 | 12.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.0309 | μmol/L | 29.9696 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.605 | 104583.5081 | 213309.4356 | 27.3 | 43.4
104629 | 2021-04-23 14:02 | 13.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4863 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.622 | 104659.6259 | 213309.5469 | 27.3 | 43.4
104639 | 2021-04-23 14:02 | 13.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9676 | μmol/L | 30.0248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.644 | 104802.4913 | 213301.9995 | 27.3 | 43.4
104649 | 2021-04-23 14:03 | 13.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6591 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.663 | 104939.0075 | 213300.8815 | 27.3 | 43.4
104659 | 2021-04-23 14:03 | 14 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9371 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.652 | 104836.4986 | 213290.5328 | 27.3 | 43.4
104669 | 2021-04-23 14:03 | 14.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.4565 | μmol/L | 30.0248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.672 | 104950.9958 | 213292.2074 | 27.3 | 43.4
104679 | 2021-04-23 14:04 | 14.6674 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6044 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.666 | 104906.1025 | 213289.4741 | 27.3 | 43.4
104689 | 2021-04-23 14:04 | 15.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6165 | μmol/L | 30.0371 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.659 | 104864.4973 | 213295.4753 | 27.3 | 43.4
104699 | 2021-04-23 14:04 | 15.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6794 | μmol/L | 30.0125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.664 | 104880.983 | 213295.2391 | 27.3 | 43.4
104709 | 2021-04-23 14:05 | 15.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.8092 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.659 | 104858.2229 | 213279.9589 | 27.3 | 43.4
104719 | 2021-04-23 14:05 | 16.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.3977 | μmol/L | 30.0371 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.671 | 104881.859 | 213282.7246 | 27.3 | 43.4
104729 | 2021-04-23 14:05 | 16.334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.3107 | μmol/L | 30.0248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.68 | 104935.9519 | 213280.2643 | 27.3 | 43.4
104739 | 2021-04-23 14:06 | 16.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.2764 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.684 | 104964.5521 | 213275.5331 | 27.3 | 43.4
104749 | 2021-04-23 14:06 | 17.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5116 | μmol/L | 30.0248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.724 | 105164.9045 | 213272.4407 | 27.3 | 43.4
104759 | 2021-04-23 14:06 | 17.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.3326 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.736 | 105243.2506 | 213271.7805 | 27.3 | 43.4
104769 | 2021-04-23 14:07 | 17.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.9934 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.759 | 105340.7843 | 213285.175 | 27.3 | 43.4
104779 | 2021-04-23 14:07 | 18.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8851 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.765 | 105389.7625 | 213275.087 | 27.3 | 43.4
104789 | 2021-04-23 14:07 | 18.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.4008 | μmol/L | 30.0003 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.794 | 105531.5244 | 213264.9743 | 27.3 | 43.4
104799 | 2021-04-23 14:08 | 18.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.0193 | μmol/L | 30.0125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 105639.694 | 213263.843 | 27.3 | 43.4
104809 | 2021-04-23 14:08 | 19.0007 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8019 | μmol/L | 30.0187 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.821 | 105711.764 | 213252.8531 | 27.3 | 43.4
104819 | 2021-04-23 14:08 | 19.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.7683 | μmol/L | 30.0125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.825 | 105720.3849 | 213258.6901 | 27.3 | 43.4
104829 | 2021-04-23 14:09 | 19.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5556 | μmol/L | 30.0064 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.839 | 105796.3239 | 213250.9407 | 27.3 | 43.4
104839 | 2021-04-23 14:09 | 20.0008 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.236 | μmol/L | 30.0003 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.859 | 105920.7316 | 213238.5522 | 27.3 | 43.4