## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108920 | 2021-04-28 12:17 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.7297 | μmol/L | 29.6045 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.087 | 128193.9032 | 269241.191 | 33.25 | 75.7
108930 | 2021-04-28 12:18 | 0.33558 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.8099 | μmol/L | 29.5061 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.115 | 128354.7846 | 269235.1189 | 33.25 | 75.7
108940 | 2021-04-28 12:18 | 0.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.6575 | μmol/L | 29.5061 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.123 | 128450.7801 | 269234.2805 | 33.25 | 75.7
108950 | 2021-04-28 12:18 | 1.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.7932 | μmol/L | 29.4445 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.136 | 128538.9174 | 269221.8578 | 33.25 | 75.7
108960 | 2021-04-28 12:19 | 1.3356 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.0876 | μmol/L | 29.4938 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.157 | 128670.9803 | 269206.408 | 33.25 | 75.7
108970 | 2021-04-28 12:19 | 1.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.7647 | μmol/L | 29.5061 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.17 | 128762.6262 | 269180.3897 | 33.25 | 75.7
108980 | 2021-04-28 12:19 | 2.0022 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.4443 | μmol/L | 29.4814 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.195 | 128913.3587 | 269190.9153 | 33.25 | 75.7
108990 | 2021-04-28 12:20 | 2.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.3121 | μmol/L | 29.4814 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.202 | 128954.8566 | 269179.1806 | 33.25 | 75.7
109000 | 2021-04-28 12:20 | 2.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.1988 | μmol/L | 29.4814 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.208 | 129026.9716 | 269165.0948 | 33.25 | 75.7
109010 | 2021-04-28 12:20 | 3.0023 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.9924 | μmol/L | 29.463 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.225 | 129094.2151 | 269155.2571 | 33.25 | 75.7
109020 | 2021-04-28 12:21 | 3.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.9931 | μmol/L | 29.4507 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.229 | 129130.1037 | 269152.8758 | 33.25 | 75.7
109030 | 2021-04-28 12:21 | 3.669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.748 | μmol/L | 29.4568 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.24 | 129204.8841 | 269145.2528 | 33.25 | 75.7
109040 | 2021-04-28 12:21 | 4.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5788 | μmol/L | 29.4568 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.249 | 129260.9703 | 269134.5124 | 33.25 | 75.7
109050 | 2021-04-28 12:22 | 4.335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3917 | μmol/L | 29.4445 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.263 | 129347.0556 | 269116.9224 | 33.25 | 75.7
109060 | 2021-04-28 12:22 | 4.6686 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.7866 | μmol/L | 29.5307 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.267 | 129399.5446 | 269121.9943 | 33.25 | 75.7
109070 | 2021-04-28 12:22 | 5.0023 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8838 | μmol/L | 29.4753 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.28 | 129475.7391 | 269105.0273 | 33.25 | 75.7
109080 | 2021-04-28 12:23 | 5.3353 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.7544 | μmol/L | 29.4507 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.295 | 129559.0673 | 269100.9222 | 33.25 | 75.7
109090 | 2021-04-28 12:23 | 5.669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1144 | μmol/L | 29.5307 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.303 | 129623.8515 | 269091.0553 | 33.25 | 75.7
109100 | 2021-04-28 12:23 | 6.0018 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0962 | μmol/L | 29.5245 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.306 | 129645.5208 | 269111.1142 | 33.25 | 75.7
109110 | 2021-04-28 12:24 | 6.3357 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1352 | μmol/L | 29.4999 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.312 | 129685.6393 | 269099.0826 | 33.25 | 75.7
109120 | 2021-04-28 12:24 | 6.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1565 | μmol/L | 29.463 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.323 | 129744.1495 | 269084.5522 | 33.25 | 75.7
109130 | 2021-04-28 12:24 | 7.0017 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6121 | μmol/L | 29.5307 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.33 | 129799.9752 | 269072.8838 | 33.25 | 75.7
109140 | 2021-04-28 12:25 | 7.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3879 | μmol/L | 29.5491 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.336 | 129830.9282 | 269069.7387 | 33.25 | 75.7
109150 | 2021-04-28 12:25 | 7.6687 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8969 | μmol/L | 29.4507 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.341 | 129851.3333 | 269059.4217 | 33.25 | 75.7
109160 | 2021-04-28 12:25 | 8.0016 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5778 | μmol/L | 29.4938 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.344 | 129877.8417 | 269045.9323 | 33.25 | 75.7
109170 | 2021-04-28 12:26 | 8.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6335 | μmol/L | 29.4938 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.341 | 129860.873 | 269022.0822 | 33.25 | 75.7
109180 | 2021-04-28 12:26 | 8.6685 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4109 | μmol/L | 29.4938 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.353 | 129931.6007 | 269034.8042 | 33.25 | 75.7
109190 | 2021-04-28 12:26 | 9.0022 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5421 | μmol/L | 29.4753 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.352 | 129926.7213 | 269023.0877 | 33.25 | 75.7
109200 | 2021-04-28 12:27 | 9.3352 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2806 | μmol/L | 29.4999 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.358 | 129954.0713 | 269005.6809 | 33.25 | 75.7
109210 | 2021-04-28 12:27 | 9.6682 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0009 | μmol/L | 29.5245 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.365 | 130007.9142 | 268996.7282 | 33.25 | 75.7
109220 | 2021-04-28 12:27 | 10.002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6271 | μmol/L | 29.5737 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.369 | 130039.0019 | 268997.1386 | 33.25 | 75.7
109230 | 2021-04-28 12:28 | 10.3349 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3661 | μmol/L | 29.6045 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.373 | 130066.5917 | 268999.8521 | 33.25 | 75.7