## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108922 | 2021-04-28 12:17 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.7426 | μmol/L | 29.4486 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.972 | 98825.6476 | 211529.3927 | 27.3 | 43.4
108932 | 2021-04-28 12:18 | 0.32596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2223 | μmol/L | 29.4364 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.002 | 98961.751 | 211531.6735 | 27.3 | 43.4
108942 | 2021-04-28 12:18 | 0.65887 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1534 | μmol/L | 29.3751 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.026 | 99074.3457 | 211529.4577 | 27.3 | 43.4
108952 | 2021-04-28 12:18 | 0.99264 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2808 | μmol/L | 29.4425 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.047 | 99181.6144 | 211522.0202 | 27.3 | 43.4
108962 | 2021-04-28 12:19 | 1.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.5977 | μmol/L | 29.4731 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.071 | 99295.9489 | 211517.9015 | 27.3 | 43.4
108972 | 2021-04-28 12:19 | 1.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4622 | μmol/L | 29.4548 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.084 | 99365.8653 | 211516.2967 | 27.3 | 43.4
108982 | 2021-04-28 12:19 | 1.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.5526 | μmol/L | 29.3996 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.098 | 99416.791 | 211506.8176 | 27.3 | 43.4
108992 | 2021-04-28 12:20 | 2.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.0494 | μmol/L | 29.4364 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.111 | 99500.0573 | 211511.5829 | 27.3 | 43.4
109002 | 2021-04-28 12:20 | 2.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4066 | μmol/L | 29.4854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.127 | 99550.0884 | 211499.0392 | 27.3 | 43.4
109012 | 2021-04-28 12:20 | 2.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.9479 | μmol/L | 29.5099 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.142 | 99626.5328 | 211491.6591 | 27.3 | 43.4
109022 | 2021-04-28 12:21 | 3.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8744 | μmol/L | 29.4854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.154 | 99696.5567 | 211498.4649 | 27.3 | 43.4
109032 | 2021-04-28 12:21 | 3.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.1236 | μmol/L | 29.4241 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.162 | 99736.3015 | 211488.3467 | 27.3 | 43.4
109042 | 2021-04-28 12:21 | 3.9922 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7223 | μmol/L | 29.4609 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.17 | 99756.6535 | 211487.0684 | 27.3 | 43.4
109052 | 2021-04-28 12:22 | 4.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1215 | μmol/L | 29.516 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.182 | 99816.0576 | 211482.9953 | 27.3 | 43.4
109062 | 2021-04-28 12:22 | 4.6587 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.081 | μmol/L | 29.5222 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.182 | 99847.874 | 211488.537 | 27.3 | 43.4
109072 | 2021-04-28 12:22 | 4.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0222 | μmol/L | 29.5222 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.185 | 99867.8841 | 211481.7604 | 27.3 | 43.4
109082 | 2021-04-28 12:23 | 5.3254 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9662 | μmol/L | 29.5099 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.192 | 99897.4232 | 211476.5888 | 27.3 | 43.4
109092 | 2021-04-28 12:23 | 5.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8278 | μmol/L | 29.516 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.197 | 99937.6267 | 211463.5581 | 27.3 | 43.4
109102 | 2021-04-28 12:23 | 5.992 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5487 | μmol/L | 29.5406 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.203 | 99986.9138 | 211459.941 | 27.3 | 43.4
109112 | 2021-04-28 12:24 | 6.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2963 | μmol/L | 29.5344 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.218 | 100073.3069 | 211458.7491 | 27.3 | 43.4
109122 | 2021-04-28 12:24 | 6.6589 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8887 | μmol/L | 29.5283 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.241 | 100155.6209 | 211445.6979 | 27.3 | 43.4
109132 | 2021-04-28 12:24 | 6.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8582 | μmol/L | 29.4915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.255 | 100278.9337 | 211436.3202 | 27.3 | 43.4
109142 | 2021-04-28 12:25 | 7.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1481 | μmol/L | 29.5406 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.275 | 100358.5094 | 211439.08 | 27.3 | 43.4
109152 | 2021-04-28 12:25 | 7.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1331 | μmol/L | 29.5222 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.282 | 100414.4341 | 211431.4318 | 27.3 | 43.4
109162 | 2021-04-28 12:25 | 7.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3261 | μmol/L | 29.5835 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.303 | 100497.4449 | 211436.5022 | 27.3 | 43.4
109172 | 2021-04-28 12:26 | 8.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3573 | μmol/L | 29.5344 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.318 | 100570.3877 | 211420.1888 | 27.3 | 43.4
109182 | 2021-04-28 12:26 | 8.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1725 | μmol/L | 29.4364 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.309 | 100533.2694 | 211413.5715 | 27.3 | 43.4
109192 | 2021-04-28 12:26 | 8.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7163 | μmol/L | 29.4854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.316 | 100531.6296 | 211416.4485 | 27.3 | 43.4
109202 | 2021-04-28 12:27 | 9.3254 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6347 | μmol/L | 29.5038 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.314 | 100589.1663 | 211423.4493 | 27.3 | 43.4
109212 | 2021-04-28 12:27 | 9.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2787 | μmol/L | 29.5406 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.32 | 100568.0492 | 211414.4736 | 27.3 | 43.4
109222 | 2021-04-28 12:27 | 9.9922 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9201 | μmol/L | 29.5896 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.322 | 100572.8525 | 211406.6582 | 27.3 | 43.4
109232 | 2021-04-28 12:28 | 10.3253 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7041 | μmol/L | 29.608 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.327 | 100635.5908 | 211403.3161 | 27.3 | 43.4