## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108924 | 2021-04-28 12:17 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.3756 | μmol/L | 29.3075 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.371 | 127771.0489 | 266694.8155 | 36.4 | 83.1
108934 | 2021-04-28 12:18 | 0.33754 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.4737 | μmol/L | 29.3321 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.409 | 128023.7215 | 266697.9316 | 36.4 | 83.1
108944 | 2021-04-28 12:18 | 0.67125 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5919 | μmol/L | 29.369 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.442 | 128227.377 | 266694.3161 | 36.4 | 83.1
108954 | 2021-04-28 12:18 | 1.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8873 | μmol/L | 29.4058 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.466 | 128392.8562 | 266681.4689 | 36.4 | 83.1
108964 | 2021-04-28 12:19 | 1.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3019 | μmol/L | 29.4365 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.486 | 128485.0419 | 266682.1324 | 36.4 | 83.1
108974 | 2021-04-28 12:19 | 1.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7355 | μmol/L | 29.4734 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.503 | 128582.9548 | 266675.0601 | 36.4 | 83.1
108984 | 2021-04-28 12:19 | 2.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9243 | μmol/L | 29.4181 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.512 | 128657.5605 | 266652.5604 | 36.4 | 83.1
108994 | 2021-04-28 12:20 | 2.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2583 | μmol/L | 29.4734 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.528 | 128767.0765 | 266670.1212 | 36.4 | 83.1
109004 | 2021-04-28 12:20 | 2.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.0868 | μmol/L | 29.4734 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.537 | 128817.5704 | 266648.685 | 36.4 | 83.1
109014 | 2021-04-28 12:20 | 3.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.9706 | μmol/L | 29.4795 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.541 | 128842.3192 | 266646.761 | 36.4 | 83.1
109024 | 2021-04-28 12:21 | 3.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.56 | μmol/L | 29.5164 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.55 | 128896.5049 | 266636.8277 | 36.4 | 83.1
109034 | 2021-04-28 12:21 | 3.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.731 | μmol/L | 29.455 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.562 | 128983.9034 | 266644.0088 | 36.4 | 83.1
109044 | 2021-04-28 12:21 | 4.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.2622 | μmol/L | 29.498 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.572 | 129033.1159 | 266622.2167 | 36.4 | 83.1
109054 | 2021-04-28 12:22 | 4.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9456 | μmol/L | 29.541 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.574 | 129062.2141 | 266608.3844 | 36.4 | 83.1
109064 | 2021-04-28 12:22 | 4.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7525 | μmol/L | 29.5533 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.58 | 129082.639 | 266608.8349 | 36.4 | 83.1
109074 | 2021-04-28 12:22 | 5.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7942 | μmol/L | 29.541 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.582 | 129098.147 | 266589.13 | 36.4 | 83.1
109084 | 2021-04-28 12:23 | 5.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.66 | μmol/L | 29.5471 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.587 | 129090.0175 | 266588.1704 | 36.4 | 83.1
109094 | 2021-04-28 12:23 | 5.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7584 | μmol/L | 29.5348 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.586 | 129113.5338 | 266571.2863 | 36.4 | 83.1
109104 | 2021-04-28 12:23 | 6.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.5506 | μmol/L | 29.5348 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.597 | 129189.1228 | 266586.8046 | 36.4 | 83.1
109114 | 2021-04-28 12:24 | 6.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6379 | μmol/L | 29.498 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.605 | 129214.2581 | 266569.5867 | 36.4 | 83.1
109124 | 2021-04-28 12:24 | 6.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4562 | μmol/L | 29.5348 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.602 | 129217.8846 | 266547.7807 | 36.4 | 83.1
109134 | 2021-04-28 12:24 | 7.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9752 | μmol/L | 29.5656 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.617 | 129320.0362 | 266548.6246 | 36.4 | 83.1
109144 | 2021-04-28 12:25 | 7.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9376 | μmol/L | 29.5656 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.619 | 129323.1088 | 266534.3226 | 36.4 | 83.1
109154 | 2021-04-28 12:25 | 7.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4193 | μmol/L | 29.4734 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.625 | 129330.8338 | 266544.9776 | 36.4 | 83.1
109164 | 2021-04-28 12:25 | 8.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7496 | μmol/L | 29.5656 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.629 | 129362.9537 | 266538.4308 | 36.4 | 83.1
109174 | 2021-04-28 12:26 | 8.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4786 | μmol/L | 29.5901 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.635 | 129428.6609 | 266523.9804 | 36.4 | 83.1
109184 | 2021-04-28 12:26 | 8.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.5389 | μmol/L | 29.5779 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 129443.1484 | 266512.2205 | 36.4 | 83.1
109194 | 2021-04-28 12:26 | 9.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4203 | μmol/L | 29.5963 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 129439.1684 | 266506.3608 | 36.4 | 83.1
109204 | 2021-04-28 12:27 | 9.3383 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.2642 | μmol/L | 29.6147 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.638 | 129434.3831 | 266517.082 | 36.4 | 83.1
109214 | 2021-04-28 12:27 | 9.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.4994 | μmol/L | 29.584 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 129427.8526 | 266495.1343 | 36.4 | 83.1
109224 | 2021-04-28 12:27 | 10.0049 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6181 | μmol/L | 29.5656 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.636 | 129425.2465 | 266478.9069 | 36.4 | 83.1
109234 | 2021-04-28 12:28 | 10.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.289 | μmol/L | 29.5963 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.643 | 129440.0193 | 266470.301 | 36.4 | 83.1