## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108925 | 2021-04-28 12:18 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2805 | μmol/L | 29.3105 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.837 | 94957.0375 | 292021.2516 | 30.45 | 114.2
108935 | 2021-04-28 12:18 | 0.33411 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9933 | μmol/L | 29.3413 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.014 | 95877.2369 | 292020.6699 | 30.45 | 114.2
108945 | 2021-04-28 12:18 | 0.66717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3465 | μmol/L | 29.3721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.041 | 96010.0934 | 292011.2305 | 30.45 | 114.2
108955 | 2021-04-28 12:19 | 1.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3611 | μmol/L | 29.3844 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.094 | 96235.3796 | 292002.3627 | 30.45 | 114.2
108965 | 2021-04-28 12:19 | 1.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1859 | μmol/L | 29.4029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.098 | 96217.7732 | 291990.3722 | 30.45 | 114.2
108975 | 2021-04-28 12:19 | 1.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6849 | μmol/L | 29.4029 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.069 | 96164.7713 | 291984.7781 | 30.45 | 114.2
108985 | 2021-04-28 12:20 | 2.0006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1575 | μmol/L | 29.4091 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.156 | 96690.1214 | 291987.8617 | 30.45 | 114.2
108995 | 2021-04-28 12:20 | 2.3339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.542 | μmol/L | 29.4214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.188 | 96893.7849 | 291981.1781 | 30.45 | 114.2
109005 | 2021-04-28 12:20 | 2.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3563 | μmol/L | 29.4153 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.201 | 96919.3392 | 291959.6443 | 30.45 | 114.2
109015 | 2021-04-28 12:21 | 3.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5494 | μmol/L | 29.4707 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.23 | 97076.5051 | 291945.4141 | 30.45 | 114.2
109025 | 2021-04-28 12:21 | 3.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.6182 | μmol/L | 29.4646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.228 | 97052.5473 | 291946.7173 | 30.45 | 114.2
109035 | 2021-04-28 12:21 | 3.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5506 | μmol/L | 29.4646 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.232 | 97099.8008 | 291955.6094 | 30.45 | 114.2
109045 | 2021-04-28 12:22 | 4 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6036 | μmol/L | 29.483 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.282 | 97343.9284 | 291912.9979 | 30.45 | 114.2
109055 | 2021-04-28 12:22 | 4.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1818 | μmol/L | 29.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.303 | 97448.1855 | 291916.9308 | 30.45 | 114.2
109065 | 2021-04-28 12:22 | 4.6668 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6145 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.395 | 97951.1524 | 291910.0647 | 30.45 | 114.2
109075 | 2021-04-28 12:23 | 5.0005 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.902 | μmol/L | 29.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.501 | 98516.7195 | 291911.4703 | 30.45 | 114.2
109085 | 2021-04-28 12:23 | 5.3336 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8082 | μmol/L | 29.4954 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.568 | 98872.338 | 291897.8196 | 30.45 | 114.2
109095 | 2021-04-28 12:23 | 5.6673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8663 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.624 | 99154.7462 | 291892.1648 | 30.45 | 114.2
109105 | 2021-04-28 12:24 | 6.0003 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5748 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.574 | 98865.5382 | 291883.4274 | 30.45 | 114.2
109115 | 2021-04-28 12:24 | 6.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8158 | μmol/L | 29.5139 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.5 | 98466.2271 | 291874.1927 | 30.45 | 114.2
109125 | 2021-04-28 12:24 | 6.667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9947 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.487 | 98384.8051 | 291880.325 | 30.45 | 114.2
109135 | 2021-04-28 12:25 | 7.0001 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7329 | μmol/L | 29.5385 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.558 | 98777.3497 | 291861.6266 | 30.45 | 114.2
109145 | 2021-04-28 12:25 | 7.334 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.498 | μmol/L | 29.5015 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.585 | 98941.8649 | 291855.1027 | 30.45 | 114.2
109155 | 2021-04-28 12:25 | 7.6671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6664 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.56 | 98811.6792 | 291847.9993 | 30.45 | 114.2
109165 | 2021-04-28 12:26 | 8.0008 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0852 | μmol/L | 29.5632 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.528 | 98627.7532 | 291838.904 | 30.45 | 114.2
109175 | 2021-04-28 12:26 | 8.3338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7189 | μmol/L | 29.5508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.804 | 100059.1731 | 291827.8165 | 30.45 | 114.2
109185 | 2021-04-28 12:26 | 8.6667 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3537 | μmol/L | 29.557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.825 | 100192.4835 | 291808.7596 | 30.45 | 114.2
109195 | 2021-04-28 12:27 | 9.0007 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.855 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.787 | 99984.1996 | 291799.3049 | 30.45 | 114.2
109205 | 2021-04-28 12:27 | 9.3337 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6207 | μmol/L | 29.5632 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.743 | 99763.1354 | 291790.5226 | 30.45 | 114.2
109215 | 2021-04-28 12:27 | 9.6674 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.793 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.066 | 101472.7691 | 291783.2987 | 30.45 | 114.2
109225 | 2021-04-28 12:28 | 10.0002 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.894 | μmol/L | 29.5508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.379 | 103156.429 | 291775.8415 | 30.45 | 114.2
109235 | 2021-04-28 12:28 | 10.3333 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3988 | μmol/L | 29.5878 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 22.604 | 104372.721 | 291786.0038 | 30.45 | 114.2