## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108927 | 2021-04-28 12:18 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.4837 | μmol/L | 29.4755 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.54 | 130590.4709 | 300518.093 | 33.25 | 68.6
108937 | 2021-04-28 12:18 | 0.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1361 | μmol/L | 29.4877 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.556 | 130707.4007 | 300531.8202 | 33.25 | 68.6
108947 | 2021-04-28 12:18 | 0.67269 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7866 | μmol/L | 29.506 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.57 | 130764.664 | 300521.8154 | 33.25 | 68.6
108957 | 2021-04-28 12:19 | 1.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7816 | μmol/L | 29.5182 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.566 | 130754.6041 | 300519.0697 | 33.25 | 68.6
108967 | 2021-04-28 12:19 | 1.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6134 | μmol/L | 29.5121 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.578 | 130795.6089 | 300511.551 | 33.25 | 68.6
108977 | 2021-04-28 12:19 | 1.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6526 | μmol/L | 29.4999 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.58 | 130805.7599 | 300507.9599 | 33.25 | 68.6
108987 | 2021-04-28 12:20 | 2.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4404 | μmol/L | 29.5182 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.586 | 130827.1077 | 300501.8759 | 33.25 | 68.6
108997 | 2021-04-28 12:20 | 2.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1528 | μmol/L | 29.5549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.59 | 130832.1949 | 300489.9291 | 33.25 | 68.6
109007 | 2021-04-28 12:20 | 2.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.992 | μmol/L | 29.5732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.593 | 130832.0508 | 300483.5288 | 33.25 | 68.6
109017 | 2021-04-28 12:21 | 3.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0652 | μmol/L | 29.561 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.593 | 130825.571 | 300474.6099 | 33.25 | 68.6
109027 | 2021-04-28 12:21 | 3.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0873 | μmol/L | 29.5488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.596 | 130840.3531 | 300476.7617 | 33.25 | 68.6
109037 | 2021-04-28 12:21 | 3.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1136 | μmol/L | 29.5671 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.588 | 130802.188 | 300464.2844 | 33.25 | 68.6
109047 | 2021-04-28 12:22 | 4.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7049 | μmol/L | 29.6098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.597 | 130839.07 | 300446.8005 | 33.25 | 68.6
109057 | 2021-04-28 12:22 | 4.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4885 | μmol/L | 29.6403 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.599 | 130875.5072 | 300459.2129 | 33.25 | 68.6
109067 | 2021-04-28 12:22 | 4.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.564 | μmol/L | 29.622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.601 | 130884.91 | 300441.4495 | 33.25 | 68.6
109077 | 2021-04-28 12:23 | 5.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5106 | μmol/L | 29.6281 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.602 | 130894.3996 | 300419.1155 | 33.25 | 68.6
109087 | 2021-04-28 12:23 | 5.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2826 | μmol/L | 29.6464 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.609 | 130919.6824 | 300416.3686 | 33.25 | 68.6
109097 | 2021-04-28 12:23 | 5.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4284 | μmol/L | 29.622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.609 | 130923.1442 | 300400.8163 | 33.25 | 68.6
109107 | 2021-04-28 12:24 | 6.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1732 | μmol/L | 29.6647 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.609 | 130917.3987 | 300399.4945 | 33.25 | 68.6
109117 | 2021-04-28 12:24 | 6.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0327 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.613 | 130939.1193 | 300386.3104 | 33.25 | 68.6
109127 | 2021-04-28 12:24 | 6.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0834 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.61 | 130906.4928 | 300389.0651 | 33.25 | 68.6
109137 | 2021-04-28 12:25 | 7.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9846 | μmol/L | 29.6708 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.618 | 130942.9683 | 300364.2046 | 33.25 | 68.6
109147 | 2021-04-28 12:25 | 7.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8975 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.621 | 130958.6409 | 300355.9114 | 33.25 | 68.6
109157 | 2021-04-28 12:25 | 7.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9794 | μmol/L | 29.6831 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.614 | 130942.5761 | 300353.7227 | 33.25 | 68.6
109167 | 2021-04-28 12:26 | 8.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8052 | μmol/L | 29.6953 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.62 | 130964.0738 | 300340.8347 | 33.25 | 68.6
109177 | 2021-04-28 12:26 | 8.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.982 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.616 | 130929.8481 | 300331.2571 | 33.25 | 68.6
109187 | 2021-04-28 12:26 | 8.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8468 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.624 | 130955.7013 | 300326.8966 | 33.25 | 68.6
109197 | 2021-04-28 12:27 | 9.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6675 | μmol/L | 29.7014 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.626 | 130971.9286 | 300308.0006 | 33.25 | 68.6
109207 | 2021-04-28 12:27 | 9.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4299 | μmol/L | 29.7441 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.625 | 130957.1882 | 300297.4898 | 33.25 | 68.6
109217 | 2021-04-28 12:27 | 9.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6818 | μmol/L | 29.7075 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.623 | 130942.1345 | 300274.5446 | 33.25 | 68.6
109227 | 2021-04-28 12:28 | 10.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3909 | μmol/L | 29.7563 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.623 | 130936.6421 | 300275.6435 | 33.25 | 68.6
109237 | 2021-04-28 12:28 | 10.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1756 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.625 | 130963.7165 | 300272.8225 | 33.25 | 68.6