## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:29

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108929 | 2021-04-28 12:18 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.8564 | μmol/L | 29.3793 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.54 | 117708.4879 | 268390.1585 | 32.55 | 27.7
108939 | 2021-04-28 12:18 | 0.3253 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6751 | μmol/L | 29.3548 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.558 | 117910.6575 | 268363.4049 | 32.55 | 27.7
108949 | 2021-04-28 12:18 | 0.65919 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.5564 | μmol/L | 29.3854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.609 | 118249.5176 | 268354.3622 | 32.55 | 27.7
108959 | 2021-04-28 12:19 | 0.99215 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6937 | μmol/L | 29.459 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.632 | 118426.1118 | 268340.1064 | 32.55 | 27.7
108969 | 2021-04-28 12:19 | 1.3259 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.6588 | μmol/L | 29.4468 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.638 | 118511.7703 | 268335.6397 | 32.55 | 27.7
108979 | 2021-04-28 12:19 | 1.6591 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4581 | μmol/L | 29.459 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.645 | 118543.9603 | 268309.7453 | 32.55 | 27.7
108989 | 2021-04-28 12:20 | 1.992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.238 | μmol/L | 29.4836 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.649 | 118579.0339 | 268291.4625 | 32.55 | 27.7
108999 | 2021-04-28 12:20 | 2.3253 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.1295 | μmol/L | 29.4836 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.655 | 118628.6645 | 268279.6769 | 32.55 | 27.7
109009 | 2021-04-28 12:20 | 2.6591 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7856 | μmol/L | 29.4897 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.672 | 118747.8127 | 268270.938 | 32.55 | 27.7
109019 | 2021-04-28 12:21 | 2.992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2579 | μmol/L | 29.5327 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.687 | 118913.1428 | 268253.5642 | 32.55 | 27.7
109029 | 2021-04-28 12:21 | 3.3252 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8791 | μmol/L | 29.5449 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.704 | 119027.1712 | 268248.4951 | 32.55 | 27.7
109039 | 2021-04-28 12:21 | 3.659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7194 | μmol/L | 29.5327 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.717 | 119144.1736 | 268235.4788 | 32.55 | 27.7
109049 | 2021-04-28 12:22 | 3.992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6102 | μmol/L | 29.5449 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.719 | 119215.0074 | 268225.5151 | 32.55 | 27.7
109059 | 2021-04-28 12:22 | 4.3256 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5752 | μmol/L | 29.5388 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.723 | 119261.7656 | 268234.4517 | 32.55 | 27.7
109069 | 2021-04-28 12:22 | 4.6593 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.398 | μmol/L | 29.5265 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.737 | 119384.8839 | 268215.9274 | 32.55 | 27.7
109079 | 2021-04-28 12:23 | 4.9923 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0373 | μmol/L | 29.5511 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.749 | 119496.1761 | 268199.2219 | 32.55 | 27.7
109089 | 2021-04-28 12:23 | 5.326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6604 | μmol/L | 29.5695 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.764 | 119625.5615 | 268205.9074 | 32.55 | 27.7
109099 | 2021-04-28 12:23 | 5.6588 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4442 | μmol/L | 29.5879 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.77 | 119682.2862 | 268195.5898 | 32.55 | 27.7
109109 | 2021-04-28 12:24 | 5.9926 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3394 | μmol/L | 29.5756 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.78 | 119762.225 | 268187.9294 | 32.55 | 27.7
109119 | 2021-04-28 12:24 | 6.3256 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.893 | μmol/L | 29.594 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.799 | 119914.1092 | 268180.0221 | 32.55 | 27.7
109129 | 2021-04-28 12:24 | 6.6587 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3968 | μmol/L | 29.6001 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.825 | 120168.847 | 268159.9141 | 32.55 | 27.7
109139 | 2021-04-28 12:25 | 6.9925 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2769 | μmol/L | 29.5756 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.84 | 120294.0106 | 268159.8517 | 32.55 | 27.7
109149 | 2021-04-28 12:25 | 7.3256 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7573 | μmol/L | 29.6308 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.851 | 120378.4923 | 268158.8046 | 32.55 | 27.7
109159 | 2021-04-28 12:25 | 7.6586 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5785 | μmol/L | 29.6492 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.855 | 120419.5826 | 268143.3519 | 32.55 | 27.7
109169 | 2021-04-28 12:26 | 7.9923 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5268 | μmol/L | 29.6431 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.86 | 120457.4394 | 268138.1876 | 32.55 | 27.7
109179 | 2021-04-28 12:26 | 8.3252 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8188 | μmol/L | 29.5756 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.866 | 120517.6225 | 268119.5977 | 32.55 | 27.7
109189 | 2021-04-28 12:26 | 8.6591 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3356 | μmol/L | 29.6308 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.875 | 120600.9117 | 268126.4938 | 32.55 | 27.7
109199 | 2021-04-28 12:27 | 8.9921 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.911 | μmol/L | 29.6554 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.891 | 120817.2705 | 268116.9608 | 32.55 | 27.7
109209 | 2021-04-28 12:27 | 9.3259 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.734 | μmol/L | 29.6676 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.897 | 120893.3227 | 268127.9379 | 32.55 | 27.7
109219 | 2021-04-28 12:27 | 9.6588 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6312 | μmol/L | 29.6554 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.907 | 121008.8608 | 268117.3883 | 32.55 | 27.7
109229 | 2021-04-28 12:28 | 9.9918 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.277 | μmol/L | 29.686 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.917 | 121289.2867 | 268109.9378 | 32.55 | 27.7
109239 | 2021-04-28 12:28 | 10.3253 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2606 | μmol/L | 29.6799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.92 | 121323.1412 | 268077.2771 | 32.55 | 27.7