## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109240 | 2021-04-28 12:35 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.8484 | μmol/L | 29.7275 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.093 | 129408.9451 | 268936.8263 | 33.25 | 75.7
109248 | 2021-04-28 12:35 | 0.33303 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.4501 | μmol/L | 29.7275 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.114 | 129569.3083 | 268936.9682 | 33.25 | 75.7
109258 | 2021-04-28 12:36 | 0.66632 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.9674 | μmol/L | 29.746 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.133 | 129700.3715 | 268929.9506 | 33.25 | 75.7
109268 | 2021-04-28 12:36 | 1.0003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.788 | μmol/L | 29.7337 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.147 | 129806.2171 | 268924.9325 | 33.25 | 75.7
109277 | 2021-04-28 12:36 | 1.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.6298 | μmol/L | 29.7152 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.161 | 129906.2048 | 268913.6805 | 33.25 | 75.7
109287 | 2021-04-28 12:37 | 1.6662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3171 | μmol/L | 29.7337 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.172 | 129973.7445 | 268897.4727 | 33.25 | 75.7
109298 | 2021-04-28 12:37 | 2.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.0808 | μmol/L | 29.7645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.174 | 129988.6547 | 268896.4462 | 33.25 | 75.7
109308 | 2021-04-28 12:37 | 2.333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.1222 | μmol/L | 29.7091 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.19 | 130100.9315 | 268878.2502 | 33.25 | 75.7
109318 | 2021-04-28 12:38 | 2.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.7443 | μmol/L | 29.746 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.198 | 130150.6201 | 268868.6654 | 33.25 | 75.7
109327 | 2021-04-28 12:38 | 2.9997 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3484 | μmol/L | 29.7829 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.207 | 130228.4027 | 268866.2584 | 33.25 | 75.7
109337 | 2021-04-28 12:38 | 3.3331 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9339 | μmol/L | 29.826 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.215 | 130271.6835 | 268851.4035 | 33.25 | 75.7
109348 | 2021-04-28 12:39 | 3.6669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5585 | μmol/L | 29.8568 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.225 | 130316.132 | 268848.6213 | 33.25 | 75.7
109358 | 2021-04-28 12:39 | 3.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5404 | μmol/L | 29.8506 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.228 | 130364.6589 | 268832.7753 | 33.25 | 75.7
109367 | 2021-04-28 12:39 | 4.3329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4308 | μmol/L | 29.826 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.242 | 130452.3905 | 268844.9716 | 33.25 | 75.7
109378 | 2021-04-28 12:40 | 4.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6594 | μmol/L | 29.7645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.25 | 130486.4701 | 268833.4918 | 33.25 | 75.7
109387 | 2021-04-28 12:40 | 4.9998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5291 | μmol/L | 29.7645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.257 | 130536.8663 | 268830.8924 | 33.25 | 75.7
109398 | 2021-04-28 12:40 | 5.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0254 | μmol/L | 29.7891 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.276 | 130626.2358 | 268821.0571 | 33.25 | 75.7
109407 | 2021-04-28 12:41 | 5.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6825 | μmol/L | 29.7091 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.267 | 130598.2644 | 268800.5219 | 33.25 | 75.7
109418 | 2021-04-28 12:41 | 6.0001 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3246 | μmol/L | 29.7645 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.268 | 130621.8678 | 268805.3975 | 33.25 | 75.7
109427 | 2021-04-28 12:41 | 6.333 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9687 | μmol/L | 29.8014 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.275 | 130665.7853 | 268789.8293 | 33.25 | 75.7
109438 | 2021-04-28 12:42 | 6.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6139 | μmol/L | 29.8321 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.284 | 130710.817 | 268797.0372 | 33.25 | 75.7
109448 | 2021-04-28 12:42 | 6.9999 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7272 | μmol/L | 29.8075 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.286 | 130747.2133 | 268773.6127 | 33.25 | 75.7
109457 | 2021-04-28 12:42 | 7.3337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6728 | μmol/L | 29.7952 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.293 | 130790.566 | 268782.3434 | 33.25 | 75.7
109467 | 2021-04-28 12:43 | 7.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3365 | μmol/L | 29.8321 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.299 | 130812.8268 | 268775.122 | 33.25 | 75.7
109477 | 2021-04-28 12:43 | 7.9996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.2066 | μmol/L | 29.8383 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.304 | 130847.156 | 268765.4358 | 33.25 | 75.7
109487 | 2021-04-28 12:43 | 8.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1519 | μmol/L | 29.8321 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.309 | 130868.9772 | 268759.7158 | 33.25 | 75.7
109498 | 2021-04-28 12:44 | 8.6664 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9496 | μmol/L | 29.826 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.322 | 130957.4919 | 268759.0268 | 33.25 | 75.7
109508 | 2021-04-28 12:44 | 9.0002 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1721 | μmol/L | 29.8137 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.314 | 130918.6305 | 268753.9695 | 33.25 | 75.7
109518 | 2021-04-28 12:44 | 9.3331 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.437 | μmol/L | 29.746 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.322 | 130965.7637 | 268758.827 | 33.25 | 75.7
109528 | 2021-04-28 12:45 | 9.6668 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1745 | μmol/L | 29.7891 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.322 | 130970.7514 | 268748.2856 | 33.25 | 75.7
109537 | 2021-04-28 12:45 | 9.9997 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.0442 | μmol/L | 29.8014 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.325 | 131000.6241 | 268736.1952 | 33.25 | 75.7
109548 | 2021-04-28 12:45 | 10.3334 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6367 | μmol/L | 29.826 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.339 | 131072.3756 | 268718.3753 | 33.25 | 75.7
109558 | 2021-04-28 12:46 | 10.6665 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7299 | μmol/L | 29.8137 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.338 | 131069.1398 | 268718.5617 | 33.25 | 75.7
109568 | 2021-04-28 12:46 | 11.0004 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9937 | μmol/L | 29.7522 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.344 | 131104.4716 | 268716.2436 | 33.25 | 75.7
109577 | 2021-04-28 12:46 | 11.3329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7507 | μmol/L | 29.7891 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.345 | 131094.5914 | 268709.1694 | 33.25 | 75.7
109587 | 2021-04-28 12:47 | 11.6666 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5301 | μmol/L | 29.7891 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.357 | 131171.1015 | 268708.2568 | 33.25 | 75.7
109598 | 2021-04-28 12:47 | 11.9998 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4193 | μmol/L | 29.7952 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.361 | 131208.242 | 268715.1777 | 33.25 | 75.7
109608 | 2021-04-28 12:47 | 12.3335 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1978 | μmol/L | 29.8075 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.369 | 131443.6565 | 268708.8887 | 33.25 | 75.7