## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109241 | 2021-04-28 12:35 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3141 | μmol/L | 29.5387 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.663 | 123255.1593 | 292340.0681 | 59.9307 | 38.1
109250 | 2021-04-28 12:35 | 0.34136 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0545 | μmol/L | 29.6245 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.705 | 123447.4084 | 292334.1655 | 59.9307 | 38.1
109260 | 2021-04-28 12:36 | 0.67386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9712 | μmol/L | 29.5755 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.726 | 123579.9219 | 292317.3478 | 59.9307 | 38.1
109270 | 2021-04-28 12:36 | 1.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4883 | μmol/L | 29.6061 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.743 | 123681.5263 | 292310.5747 | 59.9307 | 38.1
109280 | 2021-04-28 12:36 | 1.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9882 | μmol/L | 29.6429 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.759 | 123775.6723 | 292311.8063 | 59.9307 | 38.1
109290 | 2021-04-28 12:37 | 1.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5621 | μmol/L | 29.6613 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.777 | 123896.8152 | 292298.4411 | 59.9307 | 38.1
109300 | 2021-04-28 12:37 | 2.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0652 | μmol/L | 29.6919 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.795 | 123994.2602 | 292296.1759 | 59.9307 | 38.1
109310 | 2021-04-28 12:37 | 2.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9087 | μmol/L | 29.6796 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.808 | 124068.5389 | 292286.7623 | 59.9307 | 38.1
109320 | 2021-04-28 12:38 | 2.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6622 | μmol/L | 29.6858 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.82 | 124128.2065 | 292267.0558 | 59.9307 | 38.1
109330 | 2021-04-28 12:38 | 3.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.663 | μmol/L | 29.6796 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.822 | 124184.2542 | 292258.4732 | 59.9307 | 38.1
109340 | 2021-04-28 12:38 | 3.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2736 | μmol/L | 29.7103 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.834 | 124240.1676 | 292255.2854 | 59.9307 | 38.1
109350 | 2021-04-28 12:39 | 3.6746 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2053 | μmol/L | 29.698 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.842 | 124298.0162 | 292238.7927 | 59.9307 | 38.1
109360 | 2021-04-28 12:39 | 4.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8709 | μmol/L | 29.7164 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.855 | 124355.5688 | 292227.2082 | 59.9307 | 38.1
109370 | 2021-04-28 12:39 | 4.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6965 | μmol/L | 29.7164 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.865 | 124422.6117 | 292224.6888 | 59.9307 | 38.1
109380 | 2021-04-28 12:40 | 4.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6094 | μmol/L | 29.7164 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.87 | 124479.2355 | 292224.4527 | 59.9307 | 38.1
109390 | 2021-04-28 12:40 | 5.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3117 | μmol/L | 29.7286 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.883 | 124540.5042 | 292224.7638 | 59.9307 | 38.1
109400 | 2021-04-28 12:40 | 5.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0667 | μmol/L | 29.7409 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.893 | 124608.2022 | 292213.5143 | 59.9307 | 38.1
109410 | 2021-04-28 12:41 | 5.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9105 | μmol/L | 29.7409 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.902 | 124645.6375 | 292203.3208 | 59.9307 | 38.1
109420 | 2021-04-28 12:41 | 6.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9123 | μmol/L | 29.7286 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.906 | 124665.3992 | 292186.1265 | 59.9307 | 38.1
109430 | 2021-04-28 12:41 | 6.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7545 | μmol/L | 29.7409 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.911 | 124704.4259 | 292183.185 | 59.9307 | 38.1
109440 | 2021-04-28 12:42 | 6.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6497 | μmol/L | 29.747 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.915 | 124760.6717 | 292187.282 | 59.9307 | 38.1
109450 | 2021-04-28 12:42 | 7.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4401 | μmol/L | 29.7593 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.923 | 124811.4203 | 292170.0133 | 59.9307 | 38.1
109460 | 2021-04-28 12:42 | 7.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2309 | μmol/L | 29.7715 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.931 | 124851.2124 | 292162.7922 | 59.9307 | 38.1
109470 | 2021-04-28 12:43 | 7.6746 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9873 | μmol/L | 29.7838 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.941 | 124896.509 | 292164.6796 | 59.9307 | 38.1
109480 | 2021-04-28 12:43 | 8.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9021 | μmol/L | 29.7777 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.948 | 124951.5557 | 292159.1637 | 59.9307 | 38.1
109490 | 2021-04-28 12:43 | 8.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7997 | μmol/L | 29.7715 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.956 | 124976.7574 | 292148.2653 | 59.9307 | 38.1
109500 | 2021-04-28 12:44 | 8.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.748 | μmol/L | 29.7715 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.959 | 125013.3216 | 292145.1612 | 59.9307 | 38.1
109510 | 2021-04-28 12:44 | 9.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5558 | μmol/L | 29.7899 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.964 | 125038.3161 | 292141.7777 | 59.9307 | 38.1
109520 | 2021-04-28 12:44 | 9.3411 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3819 | μmol/L | 29.8022 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.97 | 125077.2401 | 292144.8287 | 59.9307 | 38.1
109530 | 2021-04-28 12:45 | 9.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3829 | μmol/L | 29.796 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.972 | 125108.846 | 292130.8957 | 59.9307 | 38.1
109540 | 2021-04-28 12:45 | 10.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2294 | μmol/L | 29.7899 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.983 | 125171.4817 | 292120.6476 | 59.9307 | 38.1
109550 | 2021-04-28 12:45 | 10.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1607 | μmol/L | 29.7899 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.987 | 125202.4866 | 292112.8256 | 59.9307 | 38.1
109560 | 2021-04-28 12:46 | 10.6746 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9873 | μmol/L | 29.8022 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.993 | 125236.5936 | 292095.0208 | 59.9307 | 38.1
109570 | 2021-04-28 12:46 | 11.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9369 | μmol/L | 29.796 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.998 | 125286.398 | 292097.2636 | 59.9307 | 38.1
109580 | 2021-04-28 12:46 | 11.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7979 | μmol/L | 29.8083 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.002 | 125305.586 | 292097.0131 | 59.9307 | 38.1
109590 | 2021-04-28 12:47 | 11.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6268 | μmol/L | 29.8083 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.012 | 125376.838 | 292095.4276 | 59.9307 | 38.1
109600 | 2021-04-28 12:47 | 12.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5273 | μmol/L | 29.7899 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.024 | 125441.0114 | 292090.8977 | 59.9307 | 38.1
109610 | 2021-04-28 12:47 | 12.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.475 | μmol/L | 29.796 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.025 | 125438.0721 | 292072.3971 | 59.9307 | 38.1