## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109242 | 2021-04-28 12:35 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.436 | μmol/L | 28.7439 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.928 | 95122.7899 | 211360.4523 | 27.3 | 43.4
109252 | 2021-04-28 12:35 | 0.33063 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.6352 | μmol/L | 28.6336 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.955 | 97738.6732 | 211351.039 | 27.3 | 43.4
109262 | 2021-04-28 12:36 | 0.6645 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.5214 | μmol/L | 28.5478 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.989 | 97945.515 | 211352.355 | 27.3 | 43.4
109272 | 2021-04-28 12:36 | 0.99759 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.3616 | μmol/L | 28.4314 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.035 | 98155.6503 | 211339.9516 | 27.3 | 43.4
109281 | 2021-04-28 12:36 | 1.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.2785 | μmol/L | 28.3395 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.07 | 98328.8058 | 211343.7495 | 27.3 | 43.4
109292 | 2021-04-28 12:37 | 1.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.208 | μmol/L | 28.2476 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.055 | 98310.9399 | 211340.7638 | 27.3 | 43.4
109302 | 2021-04-28 12:37 | 1.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.7578 | μmol/L | 28.2905 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.063 | 98363.2915 | 211328.2056 | 27.3 | 43.4
109312 | 2021-04-28 12:37 | 2.3305 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.4637 | μmol/L | 28.266 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.085 | 98472.2517 | 211333.7469 | 27.3 | 43.4
109321 | 2021-04-28 12:38 | 2.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.6283 | μmol/L | 28.266 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.077 | 98449.0632 | 211333.2638 | 27.3 | 43.4
109332 | 2021-04-28 12:38 | 2.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 229.5308 | μmol/L | 28.1312 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.078 | 98471.6164 | 211323.9066 | 27.3 | 43.4
109341 | 2021-04-28 12:38 | 3.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.6697 | μmol/L | 28.1618 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.11 | 98599.4122 | 211319.4112 | 27.3 | 43.4
109351 | 2021-04-28 12:39 | 3.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.537 | μmol/L | 28.1679 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.114 | 98647.103 | 211311.6096 | 27.3 | 43.4
109361 | 2021-04-28 12:39 | 3.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 228.1642 | μmol/L | 28.1924 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.124 | 98689.0879 | 211303.185 | 27.3 | 43.4
109372 | 2021-04-28 12:39 | 4.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.9356 | μmol/L | 28.2169 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.127 | 98688.9383 | 211310.2542 | 27.3 | 43.4
109382 | 2021-04-28 12:40 | 4.6639 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.733 | μmol/L | 28.1986 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.143 | 98794.253 | 211300.8396 | 27.3 | 43.4
109392 | 2021-04-28 12:40 | 4.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5851 | μmol/L | 28.2353 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.138 | 98777.2684 | 211295.7992 | 27.3 | 43.4
109402 | 2021-04-28 12:40 | 5.3307 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.3342 | μmol/L | 28.2782 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.136 | 98785.5027 | 211298.2461 | 27.3 | 43.4
109411 | 2021-04-28 12:41 | 5.6637 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 227.5638 | μmol/L | 28.2415 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.137 | 98810.4039 | 211298.3838 | 27.3 | 43.4
109422 | 2021-04-28 12:41 | 5.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.5906 | μmol/L | 28.3456 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.15 | 98848.9857 | 211290.7243 | 27.3 | 43.4
109431 | 2021-04-28 12:41 | 6.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.2489 | μmol/L | 28.315 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.177 | 98979.2445 | 211290.6125 | 27.3 | 43.4
109442 | 2021-04-28 12:42 | 6.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.4264 | μmol/L | 28.4191 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.134 | 98812.0034 | 211296.7287 | 27.3 | 43.4
109451 | 2021-04-28 12:42 | 6.9977 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.0939 | μmol/L | 28.4069 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.154 | 98914.3608 | 211274.5526 | 27.3 | 43.4
109461 | 2021-04-28 12:42 | 7.3306 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.0965 | μmol/L | 28.3885 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.16 | 98923.6527 | 211272.1727 | 27.3 | 43.4
109471 | 2021-04-28 12:43 | 7.6642 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.7592 | μmol/L | 28.3946 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.175 | 99004.5689 | 211260.1204 | 27.3 | 43.4
109482 | 2021-04-28 12:43 | 7.9972 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.6421 | μmol/L | 28.4436 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.164 | 99033.2545 | 211259.7386 | 27.3 | 43.4
109492 | 2021-04-28 12:43 | 8.3311 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2528 | μmol/L | 28.4743 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.173 | 99107.8671 | 211256.6939 | 27.3 | 43.4
109501 | 2021-04-28 12:44 | 8.6641 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.4615 | μmol/L | 28.4314 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.177 | 99117.7043 | 211263.8264 | 27.3 | 43.4
109512 | 2021-04-28 12:44 | 8.9978 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.8274 | μmol/L | 28.4804 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.192 | 99171.671 | 211255.9674 | 27.3 | 43.4
109521 | 2021-04-28 12:44 | 9.3308 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.3505 | μmol/L | 28.4988 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.16 | 99042.3463 | 211246.6065 | 27.3 | 43.4
109532 | 2021-04-28 12:45 | 9.6644 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2078 | μmol/L | 28.5049 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.165 | 99096.9005 | 211257.2241 | 27.3 | 43.4
109541 | 2021-04-28 12:45 | 9.9975 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0065 | μmol/L | 28.4988 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.177 | 99216.3805 | 211249.3152 | 27.3 | 43.4
109551 | 2021-04-28 12:45 | 10.3304 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.2204 | μmol/L | 28.4191 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.193 | 99257.0331 | 211244.4352 | 27.3 | 43.4
109561 | 2021-04-28 12:46 | 10.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.5293 | μmol/L | 28.3824 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.19 | 99260.0875 | 211247.1526 | 27.3 | 43.4
109572 | 2021-04-28 12:46 | 10.9973 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.678 | μmol/L | 28.4007 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.226 | 99420.2092 | 211239.6408 | 27.3 | 43.4
109581 | 2021-04-28 12:46 | 11.3309 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.9632 | μmol/L | 28.3824 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.218 | 99391.7941 | 211242.5324 | 27.3 | 43.4
109592 | 2021-04-28 12:47 | 11.6643 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.9788 | μmol/L | 28.413 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.207 | 99369.5443 | 211248.9744 | 27.3 | 43.4
109601 | 2021-04-28 12:47 | 11.9974 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.6967 | μmol/L | 28.3456 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.194 | 99339.7886 | 211239.038 | 27.3 | 43.4
109611 | 2021-04-28 12:47 | 12.331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0422 | μmol/L | 28.3946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.21 | 100372.4273 | 211251.8451 | 27.3 | 43.4