## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109243 | 2021-04-28 12:35 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.226 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.503 | 89762.3592 | 288825.3391 | 28.7 | 67.6
109253 | 2021-04-28 12:35 | 0.32668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.1891 | μmol/L | 29.6488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.56 | 90018.6328 | 288822.8769 | 28.7 | 67.6
109263 | 2021-04-28 12:36 | 0.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.5577 | μmol/L | 29.6244 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.603 | 90229.1545 | 288814.0967 | 28.7 | 67.6
109273 | 2021-04-28 12:36 | 0.99326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2145 | μmol/L | 29.6305 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.62 | 90348.5373 | 288809.2566 | 28.7 | 67.6
109283 | 2021-04-28 12:36 | 1.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3481 | μmol/L | 29.6732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.654 | 90489.9651 | 288806.9064 | 28.7 | 67.6
109293 | 2021-04-28 12:37 | 1.6594 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2867 | μmol/L | 29.6671 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.659 | 90566.1774 | 288791.9749 | 28.7 | 67.6
109303 | 2021-04-28 12:37 | 1.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.6648 | μmol/L | 29.7098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.68 | 90660.5145 | 288788.7639 | 28.7 | 67.6
109313 | 2021-04-28 12:37 | 2.3261 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1982 | μmol/L | 29.7403 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.696 | 90740.7091 | 288778.491 | 28.7 | 67.6
109323 | 2021-04-28 12:38 | 2.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1289 | μmol/L | 29.722 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.706 | 90789.3752 | 288778.2043 | 28.7 | 67.6
109333 | 2021-04-28 12:38 | 2.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.8952 | μmol/L | 29.7464 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.711 | 90834.9693 | 288780.0395 | 28.7 | 67.6
109343 | 2021-04-28 12:38 | 3.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6637 | μmol/L | 29.7525 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.722 | 90883.4487 | 288762.2344 | 28.7 | 67.6
109353 | 2021-04-28 12:39 | 3.6601 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3582 | μmol/L | 29.7891 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.727 | 90941.6245 | 288748.7545 | 28.7 | 67.6
109363 | 2021-04-28 12:39 | 3.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1383 | μmol/L | 29.783 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.741 | 90986.1686 | 288745.839 | 28.7 | 67.6
109373 | 2021-04-28 12:39 | 4.326 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8114 | μmol/L | 29.7769 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.762 | 91053.6447 | 288737.0675 | 28.7 | 67.6
109383 | 2021-04-28 12:40 | 4.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6335 | μmol/L | 29.7891 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.768 | 91100.6925 | 288721.7175 | 28.7 | 67.6
109393 | 2021-04-28 12:40 | 4.9927 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.81 | μmol/L | 29.7891 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.758 | 91068.1535 | 288713.466 | 28.7 | 67.6
109403 | 2021-04-28 12:40 | 5.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.9506 | μmol/L | 29.7952 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.748 | 91036.9884 | 288688.2971 | 28.7 | 67.6
109413 | 2021-04-28 12:41 | 5.6597 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8439 | μmol/L | 29.8013 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.752 | 91056.7306 | 288693.9087 | 28.7 | 67.6
109423 | 2021-04-28 12:41 | 5.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7305 | μmol/L | 29.7952 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.76 | 91083.843 | 288697.4489 | 28.7 | 67.6
109433 | 2021-04-28 12:41 | 6.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6041 | μmol/L | 29.8197 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.759 | 91079.6416 | 288687.8101 | 28.7 | 67.6
109443 | 2021-04-28 12:42 | 6.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2409 | μmol/L | 29.8319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.776 | 91166.2245 | 288694.141 | 28.7 | 67.6
109453 | 2021-04-28 12:42 | 6.9931 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2585 | μmol/L | 29.8319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.775 | 91147.1275 | 288674.583 | 28.7 | 67.6
109463 | 2021-04-28 12:42 | 7.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2226 | μmol/L | 29.838 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.775 | 91162.2751 | 288685.0187 | 28.7 | 67.6
109473 | 2021-04-28 12:43 | 7.66 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1235 | μmol/L | 29.8624 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.772 | 91157.145 | 288674.4106 | 28.7 | 67.6
109483 | 2021-04-28 12:43 | 7.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8681 | μmol/L | 29.8624 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.787 | 91210.9402 | 288662.6902 | 28.7 | 67.6
109493 | 2021-04-28 12:43 | 8.3261 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6049 | μmol/L | 29.8624 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.802 | 91261.7865 | 288667.4998 | 28.7 | 67.6
109503 | 2021-04-28 12:44 | 8.6598 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8087 | μmol/L | 29.8502 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.794 | 91236.0361 | 288667.4247 | 28.7 | 67.6
109513 | 2021-04-28 12:44 | 8.9928 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9421 | μmol/L | 29.8319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.793 | 91250.7614 | 288653.2037 | 28.7 | 67.6
109523 | 2021-04-28 12:44 | 9.3266 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2672 | μmol/L | 29.838 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.829 | 91386.8216 | 288639.4886 | 28.7 | 67.6
109533 | 2021-04-28 12:45 | 9.6595 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.095 | μmol/L | 29.8807 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.825 | 91361.8786 | 288641.2794 | 28.7 | 67.6
109543 | 2021-04-28 12:45 | 9.9932 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5617 | μmol/L | 29.8624 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.804 | 91299.9974 | 288629.4136 | 28.7 | 67.6
109553 | 2021-04-28 12:45 | 10.3262 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.515 | μmol/L | 29.8807 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.801 | 91303.2901 | 288625.597 | 28.7 | 67.6
109563 | 2021-04-28 12:46 | 10.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.455 | μmol/L | 29.8746 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.806 | 91326.718 | 288621.8482 | 28.7 | 67.6
109573 | 2021-04-28 12:46 | 10.993 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1043 | μmol/L | 29.8807 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.824 | 91389.5954 | 288623.9932 | 28.7 | 67.6
109583 | 2021-04-28 12:46 | 11.3265 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8915 | μmol/L | 29.9051 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.828 | 91386.2104 | 288605.1912 | 28.7 | 67.6
109593 | 2021-04-28 12:47 | 11.6593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9289 | μmol/L | 29.8868 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.832 | 91410.8893 | 288618.174 | 28.7 | 67.6
109603 | 2021-04-28 12:47 | 11.9934 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6847 | μmol/L | 29.8868 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.846 | 91465.9385 | 288603.2463 | 28.7 | 67.6
109613 | 2021-04-28 12:47 | 12.3264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8931 | μmol/L | 29.8929 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.832 | 91516.8626 | 288591.558 | 28.7 | 67.6