## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109247 | 2021-04-28 12:35 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.3793 | μmol/L | 29.6464 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.486 | 131449.5849 | 300201.6945 | 33.25 | 68.6
109257 | 2021-04-28 12:36 | 0.33743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8038 | μmol/L | 29.6708 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.511 | 131677.1407 | 300204.5071 | 33.25 | 68.6
109267 | 2021-04-28 12:36 | 0.67035 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4766 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.528 | 131710.3889 | 300198.9003 | 33.25 | 68.6
109278 | 2021-04-28 12:36 | 1.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2736 | μmol/L | 29.7136 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.527 | 131707.8836 | 300191.8307 | 33.25 | 68.6
109288 | 2021-04-28 12:37 | 1.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9815 | μmol/L | 29.7197 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.542 | 131776.2963 | 300172.9525 | 33.25 | 68.6
109297 | 2021-04-28 12:37 | 1.6702 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8062 | μmol/L | 29.7319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.548 | 131800.7782 | 300176.8819 | 33.25 | 68.6
109307 | 2021-04-28 12:37 | 2.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6011 | μmol/L | 29.7746 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.545 | 131809.9148 | 300156.4142 | 33.25 | 68.6
109317 | 2021-04-28 12:38 | 2.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6625 | μmol/L | 29.7502 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131820.8616 | 300167.8581 | 33.25 | 68.6
109328 | 2021-04-28 12:38 | 2.6709 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5749 | μmol/L | 29.7563 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.553 | 131816.6641 | 300154.9827 | 33.25 | 68.6
109338 | 2021-04-28 12:38 | 3.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6351 | μmol/L | 29.7746 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.543 | 131781.2996 | 300141.1628 | 33.25 | 68.6
109347 | 2021-04-28 12:39 | 3.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.37 | μmol/L | 29.799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131798.5661 | 300121.5637 | 33.25 | 68.6
109357 | 2021-04-28 12:39 | 3.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2852 | μmol/L | 29.799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.555 | 131809.6496 | 300111.4295 | 33.25 | 68.6
109368 | 2021-04-28 12:39 | 4.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4235 | μmol/L | 29.7929 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.549 | 131796.5171 | 300112.3629 | 33.25 | 68.6
109377 | 2021-04-28 12:40 | 4.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3165 | μmol/L | 29.8052 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.551 | 131784.9233 | 300089.6263 | 33.25 | 68.6
109388 | 2021-04-28 12:40 | 4.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1874 | μmol/L | 29.8296 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131768.5954 | 300087.2737 | 33.25 | 68.6
109397 | 2021-04-28 12:40 | 5.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1143 | μmol/L | 29.8418 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131754.5758 | 300087.0269 | 33.25 | 68.6
109408 | 2021-04-28 12:41 | 5.3374 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1847 | μmol/L | 29.8357 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.548 | 131740.7859 | 300064.9972 | 33.25 | 68.6
109417 | 2021-04-28 12:41 | 5.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0413 | μmol/L | 29.854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.55 | 131736.6042 | 300068.6865 | 33.25 | 68.6
109428 | 2021-04-28 12:41 | 6.0038 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8419 | μmol/L | 29.8845 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.551 | 131737.7926 | 300071.9983 | 33.25 | 68.6
109437 | 2021-04-28 12:42 | 6.3369 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.825 | μmol/L | 29.8845 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 131724.6176 | 300060.7691 | 33.25 | 68.6
109447 | 2021-04-28 12:42 | 6.6706 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0244 | μmol/L | 29.854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.551 | 131729.8041 | 300055.825 | 33.25 | 68.6
109458 | 2021-04-28 12:42 | 7.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9344 | μmol/L | 29.8662 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 131732.9428 | 300043.2244 | 33.25 | 68.6
109468 | 2021-04-28 12:43 | 7.3373 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5555 | μmol/L | 29.9211 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.555 | 131731.9855 | 300053.2635 | 33.25 | 68.6
109478 | 2021-04-28 12:43 | 7.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8054 | μmol/L | 29.8906 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.551 | 131720.0671 | 300036.4845 | 33.25 | 68.6
109488 | 2021-04-28 12:43 | 8.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7378 | μmol/L | 29.8906 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.555 | 131720.9834 | 300019.7136 | 33.25 | 68.6
109497 | 2021-04-28 12:44 | 8.337 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5333 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 131716.6673 | 300023.213 | 33.25 | 68.6
109507 | 2021-04-28 12:44 | 8.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6426 | μmol/L | 29.915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 131717.4112 | 300013.5804 | 33.25 | 68.6
109517 | 2021-04-28 12:44 | 9.0037 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3733 | μmol/L | 29.9517 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.555 | 131722.5378 | 300002.3809 | 33.25 | 68.6
109527 | 2021-04-28 12:45 | 9.3375 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4657 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.556 | 131732.8787 | 300007.6056 | 33.25 | 68.6
109538 | 2021-04-28 12:45 | 9.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3591 | μmol/L | 29.9456 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.558 | 131707.2538 | 299992.6716 | 33.25 | 68.6
109547 | 2021-04-28 12:45 | 10.004 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2863 | μmol/L | 29.9578 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.558 | 131697.3114 | 299997.4084 | 33.25 | 68.6
109557 | 2021-04-28 12:46 | 10.3371 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3618 | μmol/L | 29.9395 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.56 | 131719.5453 | 299983.3025 | 33.25 | 68.6
109567 | 2021-04-28 12:46 | 10.6708 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2357 | μmol/L | 29.9578 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.561 | 131708.7018 | 299963.5668 | 33.25 | 68.6
109578 | 2021-04-28 12:46 | 11.0036 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2384 | μmol/L | 29.9517 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.563 | 131693.6117 | 299973.3192 | 33.25 | 68.6
109588 | 2021-04-28 12:47 | 11.3372 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1265 | μmol/L | 29.9761 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.561 | 131698.6306 | 299961.7035 | 33.25 | 68.6
109597 | 2021-04-28 12:47 | 11.6703 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9163 | μmol/L | 29.9944 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.567 | 131704.4091 | 299963.3048 | 33.25 | 68.6
109607 | 2021-04-28 12:47 | 12.0041 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6868 | μmol/L | 30.0188 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.572 | 131841.2023 | 299967.6264 | 33.25 | 68.6