## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 12:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109251 | 2021-04-28 12:35 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.5365 | μmol/L | 29.4774 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.363 | 118388.6919 | 268143.803 | 32.55 | 27.7
109261 | 2021-04-28 12:36 | 0.33687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.3587 | μmol/L | 29.5204 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.412 | 118835.6008 | 268114.2646 | 32.55 | 27.7
109271 | 2021-04-28 12:36 | 0.66961 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.4667 | μmol/L | 29.5511 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.45 | 119099.5991 | 268118.9556 | 32.55 | 27.7
109282 | 2021-04-28 12:36 | 1.0033 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.6461 | μmol/L | 29.5633 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.49 | 119330.1377 | 268075.5065 | 32.55 | 27.7
109291 | 2021-04-28 12:37 | 1.3364 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2966 | μmol/L | 29.5695 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.507 | 119502.9277 | 268068.4683 | 32.55 | 27.7
109301 | 2021-04-28 12:37 | 1.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.7988 | μmol/L | 29.6001 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.524 | 119607.3197 | 268069.9265 | 32.55 | 27.7
109311 | 2021-04-28 12:37 | 2.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3415 | μmol/L | 29.6063 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.547 | 119723.0697 | 268060.3996 | 32.55 | 27.7
109322 | 2021-04-28 12:38 | 2.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.176 | μmol/L | 29.6186 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.552 | 119790.8698 | 268039.2002 | 32.55 | 27.7
109331 | 2021-04-28 12:38 | 2.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8484 | μmol/L | 29.6186 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.57 | 119880.7313 | 268027.5741 | 32.55 | 27.7
109342 | 2021-04-28 12:38 | 3.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7379 | μmol/L | 29.6308 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.572 | 119918.9837 | 268017.3336 | 32.55 | 27.7
109352 | 2021-04-28 12:39 | 3.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.3552 | μmol/L | 29.6431 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.589 | 120013.6358 | 268016.4821 | 32.55 | 27.7
109362 | 2021-04-28 12:39 | 3.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8972 | μmol/L | 29.686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.6 | 120057.6504 | 268002.829 | 32.55 | 27.7
109371 | 2021-04-28 12:39 | 4.0036 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8791 | μmol/L | 29.686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.601 | 120093.1189 | 267999.3558 | 32.55 | 27.7
109381 | 2021-04-28 12:40 | 4.3365 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9442 | μmol/L | 29.6676 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.659 | 120458.0562 | 267986.69 | 32.55 | 27.7
109391 | 2021-04-28 12:40 | 4.6702 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5614 | μmol/L | 29.7044 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.724 | 120942.5236 | 267981.754 | 32.55 | 27.7
109401 | 2021-04-28 12:40 | 5.0031 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6665 | μmol/L | 29.7167 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.714 | 120882.8673 | 267969.0312 | 32.55 | 27.7
109412 | 2021-04-28 12:41 | 5.3368 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3244 | μmol/L | 29.7413 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.725 | 120899.9472 | 267966.6018 | 32.55 | 27.7
109421 | 2021-04-28 12:41 | 5.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7022 | μmol/L | 29.7167 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.712 | 120825.3343 | 267956.8784 | 32.55 | 27.7
109432 | 2021-04-28 12:41 | 6.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9582 | μmol/L | 29.6738 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.712 | 120830.4069 | 267953.1976 | 32.55 | 27.7
109441 | 2021-04-28 12:42 | 6.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8924 | μmol/L | 29.6922 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20.71 | 120836.3995 | 267936.3659 | 32.55 | 27.7
109452 | 2021-04-28 12:42 | 6.6704 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2476 | μmol/L | 29.6492 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.704 | 120795.3752 | 267952.3847 | 32.55 | 27.7
109462 | 2021-04-28 12:42 | 7.0032 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2825 | μmol/L | 29.6554 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.7 | 120775.0659 | 267933.6174 | 32.55 | 27.7
109472 | 2021-04-28 12:43 | 7.3369 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0083 | μmol/L | 29.6983 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.701 | 120797.8858 | 267924.9802 | 32.55 | 27.7
109481 | 2021-04-28 12:43 | 7.6698 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7173 | μmol/L | 29.7351 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.705 | 120802.4997 | 267921.9066 | 32.55 | 27.7
109491 | 2021-04-28 12:43 | 8.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9377 | μmol/L | 29.6922 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.707 | 120817.2815 | 267912.8337 | 32.55 | 27.7
109502 | 2021-04-28 12:44 | 8.3366 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2493 | μmol/L | 29.637 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.708 | 120834.9251 | 267907.0972 | 32.55 | 27.7
109511 | 2021-04-28 12:44 | 8.6697 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6665 | μmol/L | 29.7167 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.714 | 120861.4797 | 267913.0066 | 32.55 | 27.7
109522 | 2021-04-28 12:44 | 9.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2315 | μmol/L | 29.637 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.709 | 120877.8394 | 267904.0729 | 32.55 | 27.7
109531 | 2021-04-28 12:45 | 9.3362 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5568 | μmol/L | 29.7351 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.714 | 120919.8654 | 267902.2617 | 32.55 | 27.7
109542 | 2021-04-28 12:45 | 9.6701 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9608 | μmol/L | 29.6554 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.718 | 120954.5341 | 267888.0108 | 32.55 | 27.7
109552 | 2021-04-28 12:45 | 10.0037 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2738 | μmol/L | 29.7229 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.734 | 121075.4854 | 267882.7551 | 32.55 | 27.7
109562 | 2021-04-28 12:46 | 10.3367 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6972 | μmol/L | 29.7781 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.748 | 121148.6799 | 267867.693 | 32.55 | 27.7
109571 | 2021-04-28 12:46 | 10.6696 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1727 | μmol/L | 29.686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.752 | 121181.6491 | 267881.8231 | 32.55 | 27.7
109582 | 2021-04-28 12:46 | 11.0034 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.7552 | μmol/L | 29.7474 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.755 | 121195.1732 | 267868.3335 | 32.55 | 27.7
109591 | 2021-04-28 12:47 | 11.337 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5741 | μmol/L | 29.7719 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.757 | 121202.662 | 267870.4753 | 32.55 | 27.7
109602 | 2021-04-28 12:47 | 11.6699 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4827 | μmol/L | 29.7903 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.756 | 121202.7918 | 267869.0875 | 32.55 | 27.7
109612 | 2021-04-28 12:47 | 12.0035 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2881 | μmol/L | 29.7903 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.767 | 121873.8718 | 267861.104 | 32.55 | 27.7