## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 14:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
110498 | 2021-04-28 13:45 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.6472 | μmol/L | 29.906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 19.94 | 125041.046 | 268372.8473 | 33.25 | 75.7
110508 | 2021-04-28 13:46 | 0.33596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.809 | μmol/L | 29.9368 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.026 | 125667.1815 | 268369.2621 | 33.25 | 75.7
110518 | 2021-04-28 13:46 | 0.66876 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.5339 | μmol/L | 30.0414 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.112 | 126275.0496 | 268367.7844 | 33.25 | 75.7
110528 | 2021-04-28 13:46 | 1.0024 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.507 | μmol/L | 30.1644 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.18 | 126790.0854 | 268359.2599 | 33.25 | 75.7
110538 | 2021-04-28 13:47 | 1.3362 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.2851 | μmol/L | 30.1829 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.24 | 127227.507 | 268357.9639 | 33.25 | 75.7
110548 | 2021-04-28 13:47 | 1.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8569 | μmol/L | 30.0721 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.3 | 127635.9697 | 268346.405 | 33.25 | 75.7
110558 | 2021-04-28 13:47 | 2.0028 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4852 | μmol/L | 29.9614 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.357 | 128012.2646 | 268341.8229 | 33.25 | 75.7
110568 | 2021-04-28 13:48 | 2.3358 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7118 | μmol/L | 30.0229 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.379 | 128199.7268 | 268338.7647 | 33.25 | 75.7
110578 | 2021-04-28 13:48 | 2.6689 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2422 | μmol/L | 30.0414 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.454 | 128717.0414 | 268330.4879 | 33.25 | 75.7
110588 | 2021-04-28 13:48 | 3.0025 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0972 | μmol/L | 30.0106 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.528 | 129253.752 | 268326.0189 | 33.25 | 75.7
110598 | 2021-04-28 13:49 | 3.3358 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4283 | μmol/L | 30.066 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.547 | 129385.6211 | 268308.2742 | 33.25 | 75.7
110608 | 2021-04-28 13:49 | 3.6694 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2737 | μmol/L | 30.029 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.568 | 129531.6314 | 268316.5228 | 33.25 | 75.7
110618 | 2021-04-28 13:49 | 4.0025 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2613 | μmol/L | 30.146 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.586 | 129652.6208 | 268303.8301 | 33.25 | 75.7
110628 | 2021-04-28 13:50 | 4.3362 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7218 | μmol/L | 30.2013 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.598 | 129733.0471 | 268299.8462 | 33.25 | 75.7
110638 | 2021-04-28 13:50 | 4.6695 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5529 | μmol/L | 30.1583 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.622 | 129878.3361 | 268305.3956 | 33.25 | 75.7
110648 | 2021-04-28 13:50 | 5.0027 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6296 | μmol/L | 30.1214 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.63 | 129954.0062 | 268291.5442 | 33.25 | 75.7
110658 | 2021-04-28 13:51 | 5.336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5229 | μmol/L | 30.1275 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.634 | 129993.9309 | 268294.3783 | 33.25 | 75.7
110668 | 2021-04-28 13:51 | 5.669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9644 | μmol/L | 30.0167 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.646 | 130081.1812 | 268290.9651 | 33.25 | 75.7
110678 | 2021-04-28 13:51 | 6.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4847 | μmol/L | 30.0414 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.665 | 130203.3626 | 268295.32 | 33.25 | 75.7
110688 | 2021-04-28 13:52 | 6.336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2137 | μmol/L | 30.0844 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.666 | 130209.6483 | 268277.3269 | 33.25 | 75.7
110698 | 2021-04-28 13:52 | 6.6693 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6357 | μmol/L | 29.9798 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.677 | 130282.9295 | 268278.1603 | 33.25 | 75.7
110708 | 2021-04-28 13:52 | 7.0024 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5673 | μmol/L | 29.9675 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.685 | 130353.265 | 268270.8647 | 33.25 | 75.7
110718 | 2021-04-28 13:53 | 7.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9064 | μmol/L | 30.0352 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.7 | 130430.9208 | 268275.1821 | 33.25 | 75.7
110728 | 2021-04-28 13:53 | 7.6693 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3499 | μmol/L | 30.1152 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.705 | 130462.804 | 268281.9404 | 33.25 | 75.7
110738 | 2021-04-28 13:53 | 8.0023 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8839 | μmol/L | 30.1829 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.709 | 130517.9451 | 268269.8766 | 33.25 | 75.7
110748 | 2021-04-28 13:54 | 8.3358 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7794 | μmol/L | 30.1829 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.715 | 130560.8104 | 268261.3447 | 33.25 | 75.7
110758 | 2021-04-28 13:54 | 8.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3063 | μmol/L | 30.066 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.724 | 130636.0388 | 268258.6147 | 33.25 | 75.7
110768 | 2021-04-28 13:54 | 9.0025 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1799 | μmol/L | 29.9921 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.756 | 130831.1839 | 268264.8952 | 33.25 | 75.7
110778 | 2021-04-28 13:55 | 9.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7773 | μmol/L | 30.0044 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.775 | 130958.295 | 268262.3415 | 33.25 | 75.7
110788 | 2021-04-28 13:55 | 9.6694 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0122 | μmol/L | 29.9552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.778 | 130992.9205 | 268252.6999 | 33.25 | 75.7
110798 | 2021-04-28 13:55 | 10.0025 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6209 | μmol/L | 30.0044 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.784 | 131003.0702 | 268264.093 | 33.25 | 75.7
110808 | 2021-04-28 13:56 | 10.3362 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7905 | μmol/L | 29.9306 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.799 | 131125.5129 | 268258.3693 | 33.25 | 75.7
110818 | 2021-04-28 13:56 | 10.6694 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1399 | μmol/L | 29.9798 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.82 | 131260.0066 | 268256.5035 | 33.25 | 75.7
110828 | 2021-04-28 13:56 | 11.0024 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.0267 | μmol/L | 29.9368 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.841 | 131400.5419 | 268255.0133 | 33.25 | 75.7
110838 | 2021-04-28 13:57 | 11.3362 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5686 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.851 | 131472.8078 | 268249.3675 | 33.25 | 75.7
110848 | 2021-04-28 13:57 | 11.6694 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5306 | μmol/L | 30.0044 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.847 | 131469.7391 | 268234.5668 | 33.25 | 75.7
110858 | 2021-04-28 13:57 | 12.0022 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3868 | μmol/L | 30.0352 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.845 | 131463.6262 | 268228.1386 | 33.25 | 75.7
110868 | 2021-04-28 13:58 | 12.336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5329 | μmol/L | 29.9921 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.851 | 131475.3882 | 268227.7954 | 33.25 | 75.7
110878 | 2021-04-28 13:58 | 12.6689 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4905 | μmol/L | 29.9429 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.87 | 131600.2403 | 268219.2429 | 33.25 | 75.7
110888 | 2021-04-28 13:58 | 13.0027 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.5342 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.884 | 131686.3609 | 268198.3418 | 33.25 | 75.7
110898 | 2021-04-28 13:59 | 13.3357 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6365 | μmol/L | 29.8998 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.876 | 131673.8431 | 268204.8476 | 33.25 | 75.7
110908 | 2021-04-28 13:59 | 13.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.3449 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.895 | 131800.351 | 268201.2173 | 33.25 | 75.7
110918 | 2021-04-28 13:59 | 14.0027 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0355 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.913 | 131913.2427 | 268212.788 | 33.25 | 75.7
110928 | 2021-04-28 14:00 | 14.3354 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.5607 | μmol/L | 29.9552 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.92 | 131932.3273 | 268185.9031 | 33.25 | 75.7
110938 | 2021-04-28 14:00 | 14.6692 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6352 | μmol/L | 29.9244 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.926 | 131965.4002 | 268200.3316 | 33.25 | 75.7
110948 | 2021-04-28 14:00 | 15.0023 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6754 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.934 | 132031.5208 | 268192.8882 | 33.25 | 75.7
110958 | 2021-04-28 14:01 | 15.3355 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.4919 | μmol/L | 29.8691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.953 | 132156.1886 | 268192.8935 | 33.25 | 75.7
110968 | 2021-04-28 14:01 | 15.6693 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.7472 | μmol/L | 29.9244 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.978 | 132324.7898 | 268191.9363 | 33.25 | 75.7
110978 | 2021-04-28 14:01 | 16.0023 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.6256 | μmol/L | 29.9368 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.981 | 132373.5749 | 268188.8118 | 33.25 | 75.7
110988 | 2021-04-28 14:02 | 16.336 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.8044 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.985 | 132378.1457 | 268167.7316 | 33.25 | 75.7
110998 | 2021-04-28 14:02 | 16.6691 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5953 | μmol/L | 29.9183 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.989 | 132439.7396 | 268185.2785 | 33.25 | 75.7
111008 | 2021-04-28 14:02 | 17.0021 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.3379 | μmol/L | 29.9306 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21 | 132481.26 | 268168.8401 | 33.25 | 75.7
111018 | 2021-04-28 14:03 | 17.3361 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1512 | μmol/L | 29.9306 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.011 | 132555.8654 | 268171.2077 | 33.25 | 75.7
111028 | 2021-04-28 14:03 | 17.669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9779 | μmol/L | 29.9491 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.015 | 132585.0963 | 268175.8422 | 33.25 | 75.7
111038 | 2021-04-28 14:03 | 18.0026 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2945 | μmol/L | 29.8937 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.015 | 132572.3555 | 268160.0036 | 33.25 | 75.7
111048 | 2021-04-28 14:04 | 18.3356 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0702 | μmol/L | 29.9121 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.022 | 132627.9948 | 268154.9881 | 33.25 | 75.7
111058 | 2021-04-28 14:04 | 18.6693 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.581 | μmol/L | 29.8198 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.023 | 132638.396 | 268162.5419 | 33.25 | 75.7
111068 | 2021-04-28 14:04 | 19.0024 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1261 | μmol/L | 29.8875 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.027 | 132651.5707 | 268170.4508 | 33.25 | 75.7
111078 | 2021-04-28 14:05 | 19.3361 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1563 | μmol/L | 29.906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.019 | 132605.2502 | 268161.1007 | 33.25 | 75.7
111088 | 2021-04-28 14:05 | 19.6691 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7552 | μmol/L | 29.9614 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.024 | 132633.1277 | 268159.4981 | 33.25 | 75.7
111098 | 2021-04-28 14:05 | 20.0028 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.5485 | μmol/L | 29.9798 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.03 | 132681.5435 | 268156.1323 | 33.25 | 75.7
111108 | 2021-04-28 14:06 | 20.3359 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8488 | μmol/L | 29.9183 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.033 | 132697.5416 | 268140.3872 | 33.25 | 75.7
111118 | 2021-04-28 14:06 | 20.6688 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.889 | μmol/L | 29.8875 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.041 | 132747.4343 | 268152.7542 | 33.25 | 75.7
111128 | 2021-04-28 14:06 | 21.0027 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8759 | μmol/L | 29.8691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.048 | 132804.9997 | 268143.8499 | 33.25 | 75.7
111138 | 2021-04-28 14:07 | 21.3357 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0684 | μmol/L | 29.8383 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.047 | 132795.3819 | 268133.2947 | 33.25 | 75.7
111148 | 2021-04-28 14:07 | 21.669 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8252 | μmol/L | 29.8691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.051 | 132815.8356 | 268131.4112 | 33.25 | 75.7
111158 | 2021-04-28 14:07 | 22.0028 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8277 | μmol/L | 29.8568 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.055 | 132869.7366 | 268130.0804 | 33.25 | 75.7
111168 | 2021-04-28 14:08 | 22.3359 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7639 | μmol/L | 29.8383 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.065 | 132920.7179 | 268130.9847 | 33.25 | 75.7
111178 | 2021-04-28 14:08 | 22.6692 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.6119 | μmol/L | 29.8383 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.074 | 132991.2387 | 268136.5072 | 33.25 | 75.7
111188 | 2021-04-28 14:08 | 23.0022 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.9405 | μmol/L | 29.906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.091 | 133068.0318 | 268130.4862 | 33.25 | 75.7
111198 | 2021-04-28 14:09 | 23.3362 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.1166 | μmol/L | 29.8691 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.093 | 133115.1663 | 268129.3176 | 33.25 | 75.7