## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 14:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
110499 | 2021-04-28 13:45 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1948 | μmol/L | 29.8389 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.027 | 123133.5848 | 291739.3012 | 59.9307 | 38.1
110509 | 2021-04-28 13:46 | 0.34002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2936 | μmol/L | 29.8389 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.08 | 123445.2411 | 291716.5608 | 59.9307 | 38.1
110519 | 2021-04-28 13:46 | 0.67287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.545 | μmol/L | 29.8634 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.116 | 123691.6132 | 291728.3173 | 59.9307 | 38.1
110529 | 2021-04-28 13:46 | 1.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3448 | μmol/L | 29.9002 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.175 | 124043.9907 | 291707.5494 | 59.9307 | 38.1
110539 | 2021-04-28 13:47 | 1.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7134 | μmol/L | 29.8818 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.219 | 124306.8462 | 291700.5535 | 59.9307 | 38.1
110549 | 2021-04-28 13:47 | 1.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.9129 | μmol/L | 29.8941 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.263 | 124612.7778 | 291686.7387 | 59.9307 | 38.1
110559 | 2021-04-28 13:47 | 2.0066 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3893 | μmol/L | 29.8634 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.305 | 124885.7847 | 291696.9962 | 59.9307 | 38.1
110569 | 2021-04-28 13:48 | 2.3397 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.4605 | μmol/L | 29.8941 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.351 | 125191.4156 | 291670.5255 | 59.9307 | 38.1
110579 | 2021-04-28 13:48 | 2.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.601 | μmol/L | 29.9308 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.391 | 125433.2899 | 291683.0688 | 59.9307 | 38.1
110589 | 2021-04-28 13:48 | 3.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.3681 | μmol/L | 29.8757 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.424 | 125653.3984 | 291666.9569 | 59.9307 | 38.1
110599 | 2021-04-28 13:49 | 3.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8732 | μmol/L | 29.9063 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.444 | 125782.8724 | 291676.319 | 59.9307 | 38.1
110609 | 2021-04-28 13:49 | 3.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.4985 | μmol/L | 29.9124 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.465 | 125928.9146 | 291670.2481 | 59.9307 | 38.1
110619 | 2021-04-28 13:49 | 4.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.4108 | μmol/L | 29.8696 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.485 | 126077.8375 | 291665.8651 | 59.9307 | 38.1
110629 | 2021-04-28 13:50 | 4.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.8769 | μmol/L | 29.9431 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.493 | 126070.3061 | 291660.4824 | 59.9307 | 38.1
110639 | 2021-04-28 13:50 | 4.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.5193 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.511 | 126233.4091 | 291666.7394 | 59.9307 | 38.1
110649 | 2021-04-28 13:50 | 5.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.0954 | μmol/L | 29.9798 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.529 | 126354.8268 | 291666.1875 | 59.9307 | 38.1
110659 | 2021-04-28 13:51 | 5.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.2528 | μmol/L | 29.9247 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.538 | 126406.8109 | 291649.6083 | 59.9307 | 38.1
110669 | 2021-04-28 13:51 | 5.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.8311 | μmol/L | 29.9431 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.558 | 126526.3227 | 291643.7944 | 59.9307 | 38.1
110679 | 2021-04-28 13:51 | 6.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.3612 | μmol/L | 29.9676 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.579 | 126659.7523 | 291652.1574 | 59.9307 | 38.1
110689 | 2021-04-28 13:52 | 6.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.1013 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.589 | 126754.172 | 291632.6602 | 59.9307 | 38.1
110699 | 2021-04-28 13:52 | 6.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.0448 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.603 | 126832.2493 | 291635.3579 | 59.9307 | 38.1
110709 | 2021-04-28 13:52 | 7.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.9578 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.598 | 126821.8728 | 291631.4608 | 59.9307 | 38.1
110719 | 2021-04-28 13:53 | 7.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.6785 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.626 | 126966.6545 | 291634.5028 | 59.9307 | 38.1
110729 | 2021-04-28 13:53 | 7.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3925 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.644 | 127095.2643 | 291619.3837 | 59.9307 | 38.1
110739 | 2021-04-28 13:53 | 8.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.1719 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.66 | 127188.3191 | 291616.4331 | 59.9307 | 38.1
110749 | 2021-04-28 13:54 | 8.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.6851 | μmol/L | 29.9982 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.674 | 127265.477 | 291619.6197 | 59.9307 | 38.1
110759 | 2021-04-28 13:54 | 8.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.11 | μmol/L | 29.9431 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.666 | 127223.3592 | 291610.8594 | 59.9307 | 38.1
110769 | 2021-04-28 13:54 | 9.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.9916 | μmol/L | 29.9737 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.663 | 127198.8328 | 291610.9931 | 59.9307 | 38.1
110779 | 2021-04-28 13:55 | 9.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.558 | μmol/L | 29.937 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.703 | 127437.4711 | 291609.136 | 59.9307 | 38.1
110789 | 2021-04-28 13:55 | 9.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.7061 | μmol/L | 29.9124 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.702 | 127445.6209 | 291616.6718 | 59.9307 | 38.1
110799 | 2021-04-28 13:55 | 10.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.1549 | μmol/L | 29.9737 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.716 | 127517.9683 | 291608.7843 | 59.9307 | 38.1
110809 | 2021-04-28 13:56 | 10.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9661 | μmol/L | 29.9737 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.728 | 127600.2729 | 291594.6567 | 59.9307 | 38.1
110819 | 2021-04-28 13:56 | 10.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.8373 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.732 | 127660.8126 | 291581.987 | 59.9307 | 38.1
110829 | 2021-04-28 13:56 | 11.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.3229 | μmol/L | 29.9737 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.769 | 127876.5487 | 291581.0495 | 59.9307 | 38.1
110839 | 2021-04-28 13:57 | 11.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.0852 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.78 | 127966.3818 | 291607.5059 | 59.9307 | 38.1
110849 | 2021-04-28 13:57 | 11.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.1727 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.787 | 127996.1077 | 291590.5323 | 59.9307 | 38.1
110859 | 2021-04-28 13:57 | 12.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.904 | μmol/L | 29.9615 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.8 | 128095.1819 | 291593.5672 | 59.9307 | 38.1
110869 | 2021-04-28 13:58 | 12.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.7777 | μmol/L | 29.9676 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.806 | 128124.7772 | 291589.6885 | 59.9307 | 38.1
110879 | 2021-04-28 13:58 | 12.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.4801 | μmol/L | 29.9737 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.823 | 128236.284 | 291585.445 | 59.9307 | 38.1
110889 | 2021-04-28 13:58 | 13.0067 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.9162 | μmol/L | 29.9921 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.853 | 128453.3095 | 291574.2982 | 59.9307 | 38.1
110899 | 2021-04-28 13:59 | 13.3399 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.3684 | μmol/L | 29.9247 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.847 | 128410.4624 | 291569.9507 | 59.9307 | 38.1
110909 | 2021-04-28 13:59 | 13.6728 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.1028 | μmol/L | 29.9308 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.862 | 128506.0287 | 291558.4085 | 59.9307 | 38.1
110919 | 2021-04-28 13:59 | 14.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5218 | μmol/L | 29.9615 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.889 | 128662.2729 | 291562.0396 | 59.9307 | 38.1
110929 | 2021-04-28 14:00 | 14.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.556 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.891 | 128682.1755 | 291565.171 | 59.9307 | 38.1
110939 | 2021-04-28 14:00 | 14.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.2065 | μmol/L | 29.986 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.901 | 128745.7968 | 291562.5812 | 59.9307 | 38.1
110949 | 2021-04-28 14:00 | 15.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.3584 | μmol/L | 29.937 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.908 | 128784.3163 | 291548.615 | 59.9307 | 38.1
110959 | 2021-04-28 14:01 | 15.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.9082 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.933 | 128937.4108 | 291541.7542 | 59.9307 | 38.1
110969 | 2021-04-28 14:01 | 15.6733 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.8159 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.939 | 128986.0404 | 291531.105 | 59.9307 | 38.1
110979 | 2021-04-28 14:01 | 16.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6008 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.953 | 129069.5363 | 291556.0249 | 59.9307 | 38.1
110989 | 2021-04-28 14:02 | 16.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6145 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.95 | 129061.9244 | 291547.0408 | 59.9307 | 38.1
110999 | 2021-04-28 14:02 | 16.6734 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.323 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.969 | 129181.4444 | 291533.3701 | 59.9307 | 38.1
111009 | 2021-04-28 14:02 | 17.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0949 | μmol/L | 29.9492 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.986 | 129303.7865 | 291535.05 | 59.9307 | 38.1
111019 | 2021-04-28 14:03 | 17.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.8062 | μmol/L | 29.9431 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.007 | 129422.2249 | 291513.9671 | 59.9307 | 38.1
111029 | 2021-04-28 14:03 | 17.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.5571 | μmol/L | 29.9615 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.017 | 129494.3453 | 291528.1163 | 59.9307 | 38.1
111039 | 2021-04-28 14:03 | 18.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.5892 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.017 | 129491.1478 | 291531.5048 | 59.9307 | 38.1
111049 | 2021-04-28 14:04 | 18.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3303 | μmol/L | 29.9553 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.034 | 129561.3883 | 291513.8443 | 59.9307 | 38.1
111059 | 2021-04-28 14:04 | 18.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3049 | μmol/L | 29.937 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.042 | 129624.7249 | 291519.9721 | 59.9307 | 38.1
111069 | 2021-04-28 14:04 | 19.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9891 | μmol/L | 29.9247 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.067 | 129792.9297 | 291516.4653 | 59.9307 | 38.1
111079 | 2021-04-28 14:05 | 19.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.038 | μmol/L | 29.8573 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.087 | 129907.704 | 291498.8345 | 59.9307 | 38.1
111089 | 2021-04-28 14:05 | 19.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.9841 | μmol/L | 29.8879 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.08 | 129880.2739 | 291507.9778 | 59.9307 | 38.1
111099 | 2021-04-28 14:05 | 20.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.6119 | μmol/L | 29.9186 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.094 | 129983.0179 | 291509.8894 | 59.9307 | 38.1
111109 | 2021-04-28 14:06 | 20.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.4925 | μmol/L | 29.9124 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.104 | 130058.5656 | 291516.4894 | 59.9307 | 38.1
111119 | 2021-04-28 14:06 | 20.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.2641 | μmol/L | 29.9186 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.117 | 130127.0429 | 291490.3283 | 59.9307 | 38.1
111129 | 2021-04-28 14:06 | 21.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.328 | μmol/L | 29.9063 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.117 | 130135.7202 | 291487.8197 | 59.9307 | 38.1
111139 | 2021-04-28 14:07 | 21.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.2089 | μmol/L | 29.9002 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.127 | 130177.8971 | 291495.0485 | 59.9307 | 38.1
111149 | 2021-04-28 14:07 | 21.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.0361 | μmol/L | 29.9247 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.13 | 130227.256 | 291497.7173 | 59.9307 | 38.1
111159 | 2021-04-28 14:07 | 22.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1454 | μmol/L | 29.8573 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.146 | 130308.056 | 291482.908 | 59.9307 | 38.1
111169 | 2021-04-28 14:08 | 22.34 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.132 | μmol/L | 29.8512 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.149 | 130322.0847 | 291478.9097 | 59.9307 | 38.1
111179 | 2021-04-28 14:08 | 22.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.9039 | μmol/L | 29.9124 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.143 | 130297.9981 | 291457.1931 | 59.9307 | 38.1
111189 | 2021-04-28 14:08 | 23.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.7869 | μmol/L | 29.9002 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.155 | 130354.0029 | 291455.4191 | 59.9307 | 38.1
111199 | 2021-04-28 14:09 | 23.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.5267 | μmol/L | 29.8634 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 22.185 | 130527.4599 | 291450.2633 | 59.9307 | 38.1