## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 14:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
110503 | 2021-04-28 13:45 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 201.8687 | μmol/L | 29.1503 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.69 | 93252.1861 | 291072.1217 | 30.45 | 114.2
110513 | 2021-04-28 13:46 | 0.33918 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.5093 | μmol/L | 29.4461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.779 | 93874.6771 | 291078.2071 | 30.45 | 114.2
110523 | 2021-04-28 13:46 | 0.67214 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2634 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.863 | 94337.1119 | 291070.0692 | 30.45 | 114.2
110533 | 2021-04-28 13:46 | 1.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8225 | μmol/L | 29.6248 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.929 | 94672.4373 | 291081.0557 | 30.45 | 114.2
110543 | 2021-04-28 13:47 | 1.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0257 | μmol/L | 29.6186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.977 | 94910.937 | 291079.7506 | 30.45 | 114.2
110553 | 2021-04-28 13:47 | 1.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.163 | μmol/L | 29.6186 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.027 | 95183.3099 | 291083.6688 | 30.45 | 114.2
110563 | 2021-04-28 13:47 | 2.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1782 | μmol/L | 29.6556 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.072 | 95427.4132 | 291060.1991 | 30.45 | 114.2
110573 | 2021-04-28 13:48 | 2.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5614 | μmol/L | 29.6679 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.104 | 95595.3433 | 291063.6763 | 30.45 | 114.2
110583 | 2021-04-28 13:48 | 2.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0695 | μmol/L | 29.6618 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.135 | 95763.5495 | 291065.2183 | 30.45 | 114.2
110593 | 2021-04-28 13:48 | 3.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5754 | μmol/L | 29.6741 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.16 | 95930.4498 | 291053.943 | 30.45 | 114.2
110603 | 2021-04-28 13:49 | 3.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0828 | μmol/L | 29.6864 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.185 | 96043.9983 | 291040.2687 | 30.45 | 114.2
110613 | 2021-04-28 13:49 | 3.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6292 | μmol/L | 29.6803 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.214 | 96214.5567 | 291044.9807 | 30.45 | 114.2
110623 | 2021-04-28 13:49 | 4.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1718 | μmol/L | 29.6988 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.235 | 96318.0777 | 291045.5823 | 30.45 | 114.2
110633 | 2021-04-28 13:50 | 4.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7644 | μmol/L | 29.7234 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.251 | 96394.8798 | 291033.003 | 30.45 | 114.2
110643 | 2021-04-28 13:50 | 4.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3732 | μmol/L | 29.7542 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.264 | 96509.8185 | 291042.0841 | 30.45 | 114.2
110653 | 2021-04-28 13:50 | 5.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9731 | μmol/L | 29.7542 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.288 | 96617.4961 | 291042.7077 | 30.45 | 114.2
110663 | 2021-04-28 13:51 | 5.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5187 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.307 | 96723.1016 | 291024.2865 | 30.45 | 114.2
110673 | 2021-04-28 13:51 | 5.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3016 | μmol/L | 29.785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.318 | 96792.903 | 291021.6558 | 30.45 | 114.2
110683 | 2021-04-28 13:51 | 6.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0187 | μmol/L | 29.7912 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.333 | 96902.8014 | 291017.7995 | 30.45 | 114.2
110693 | 2021-04-28 13:52 | 6.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6507 | μmol/L | 29.8097 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.349 | 96982.5293 | 291026.3484 | 30.45 | 114.2
110703 | 2021-04-28 13:52 | 6.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5202 | μmol/L | 29.8035 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.359 | 97051.4412 | 291024.3366 | 30.45 | 114.2
110713 | 2021-04-28 13:52 | 7.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3942 | μmol/L | 29.7789 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.375 | 97127.8708 | 291017.7243 | 30.45 | 114.2
110723 | 2021-04-28 13:53 | 7.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.095 | μmol/L | 29.7912 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.389 | 97205.8815 | 291019.1453 | 30.45 | 114.2
110733 | 2021-04-28 13:53 | 7.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6606 | μmol/L | 29.822 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.405 | 97295.0485 | 291004.7206 | 30.45 | 114.2
110743 | 2021-04-28 13:53 | 8.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.467 | μmol/L | 29.8097 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.421 | 97398.9757 | 290996.2501 | 30.45 | 114.2
110753 | 2021-04-28 13:54 | 8.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3227 | μmol/L | 29.7974 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.434 | 97480.8927 | 290998.6867 | 30.45 | 114.2
110763 | 2021-04-28 13:54 | 8.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1785 | μmol/L | 29.785 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.447 | 97543.0213 | 290995.5034 | 30.45 | 114.2
110773 | 2021-04-28 13:54 | 9.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6931 | μmol/L | 29.8344 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.46 | 97630.896 | 290982.8498 | 30.45 | 114.2
110783 | 2021-04-28 13:55 | 9.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4148 | μmol/L | 29.8405 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.475 | 97699.1587 | 290981.3631 | 30.45 | 114.2
110793 | 2021-04-28 13:55 | 9.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2832 | μmol/L | 29.8467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.481 | 97734.854 | 290990.6 | 30.45 | 114.2
110803 | 2021-04-28 13:55 | 10.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2344 | μmol/L | 29.8467 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.484 | 97749.211 | 290989.3119 | 30.45 | 114.2
110813 | 2021-04-28 13:56 | 10.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.7886 | μmol/L | 29.8775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.501 | 97863.7597 | 290983.5774 | 30.45 | 114.2
110823 | 2021-04-28 13:56 | 10.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.6622 | μmol/L | 29.8652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.513 | 97910.0657 | 290986.0289 | 30.45 | 114.2
110833 | 2021-04-28 13:56 | 11.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.5651 | μmol/L | 29.8652 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.519 | 97971.3334 | 291005.8443 | 30.45 | 114.2
110843 | 2021-04-28 13:57 | 11.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4066 | μmol/L | 29.8528 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.533 | 98023.6406 | 290987.398 | 30.45 | 114.2
110853 | 2021-04-28 13:57 | 11.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.192 | μmol/L | 29.8713 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.54 | 98076.4788 | 290964.5304 | 30.45 | 114.2
110863 | 2021-04-28 13:57 | 12.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9163 | μmol/L | 29.8775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.555 | 98134.9709 | 290976.521 | 30.45 | 114.2
110873 | 2021-04-28 13:58 | 12.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.7875 | μmol/L | 29.8775 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.563 | 98196.7954 | 290962.7147 | 30.45 | 114.2
110883 | 2021-04-28 13:58 | 12.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5752 | μmol/L | 29.8898 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.572 | 98221.5593 | 290971.8525 | 30.45 | 114.2
110893 | 2021-04-28 13:58 | 13.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.304 | μmol/L | 29.8837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.591 | 98330.3818 | 290971.5061 | 30.45 | 114.2
110903 | 2021-04-28 13:59 | 13.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.8936 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.604 | 98419.0864 | 290959.7937 | 30.45 | 114.2
110913 | 2021-04-28 13:59 | 13.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.574 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.624 | 98489.4663 | 290939.982 | 30.45 | 114.2
110923 | 2021-04-28 13:59 | 14.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6429 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.626 | 98512.1467 | 290957.3133 | 30.45 | 114.2
110933 | 2021-04-28 14:00 | 14.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.6924 | μmol/L | 29.896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.625 | 98505.3665 | 290936.4198 | 30.45 | 114.2
110943 | 2021-04-28 14:00 | 14.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.2299 | μmol/L | 29.896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.654 | 98639.8678 | 290948.3689 | 30.45 | 114.2
110953 | 2021-04-28 14:00 | 15.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.018 | μmol/L | 29.9145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.661 | 98672.8573 | 290935.3334 | 30.45 | 114.2
110963 | 2021-04-28 14:01 | 15.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7922 | μmol/L | 29.9268 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.671 | 98743.2476 | 290942.4627 | 30.45 | 114.2
110973 | 2021-04-28 14:01 | 15.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6051 | μmol/L | 29.9145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.687 | 98800.5295 | 290940.2315 | 30.45 | 114.2
110983 | 2021-04-28 14:01 | 16.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.4257 | μmol/L | 29.933 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.692 | 98834.896 | 290940.0767 | 30.45 | 114.2
110993 | 2021-04-28 14:02 | 16.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2409 | μmol/L | 29.9145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.71 | 98910.7893 | 290932.2799 | 30.45 | 114.2
111003 | 2021-04-28 14:02 | 16.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.0127 | μmol/L | 29.9391 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.716 | 98963.6963 | 290939.8904 | 30.45 | 114.2
111013 | 2021-04-28 14:02 | 17.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.825 | μmol/L | 29.933 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.73 | 99027.5911 | 290928.2704 | 30.45 | 114.2
111023 | 2021-04-28 14:03 | 17.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.8127 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.735 | 99064.0053 | 290918.5319 | 30.45 | 114.2
111033 | 2021-04-28 14:03 | 17.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.4889 | μmol/L | 29.9515 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.745 | 99106.6157 | 290905.5411 | 30.45 | 114.2
111043 | 2021-04-28 14:03 | 18.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.4801 | μmol/L | 29.9268 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.754 | 99162.3163 | 290909.159 | 30.45 | 114.2
111053 | 2021-04-28 14:04 | 18.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.4224 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.764 | 99221.1232 | 290913.2991 | 30.45 | 114.2
111063 | 2021-04-28 14:04 | 18.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.2146 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.773 | 99278.9543 | 290920.0944 | 30.45 | 114.2
111073 | 2021-04-28 14:04 | 19.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.0594 | μmol/L | 29.9145 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.785 | 99326.3409 | 290918.0681 | 30.45 | 114.2
111083 | 2021-04-28 14:05 | 19.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.9531 | μmol/L | 29.9022 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.796 | 99372.7584 | 290916.9005 | 30.45 | 114.2
111093 | 2021-04-28 14:05 | 19.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7442 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.803 | 99416.6794 | 290912.4737 | 30.45 | 114.2
111103 | 2021-04-28 14:05 | 20.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.6503 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.809 | 99448.4972 | 290914.6241 | 30.45 | 114.2
111113 | 2021-04-28 14:06 | 20.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7704 | μmol/L | 29.8837 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.814 | 99484.669 | 290900.8078 | 30.45 | 114.2
111123 | 2021-04-28 14:06 | 20.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.4349 | μmol/L | 29.9083 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.827 | 99535.9865 | 290909.8337 | 30.45 | 114.2
111133 | 2021-04-28 14:06 | 21.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1331 | μmol/L | 29.9268 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.84 | 99599.899 | 290902.2511 | 30.45 | 114.2
111143 | 2021-04-28 14:07 | 21.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.2909 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.832 | 99601.0252 | 290895.4599 | 30.45 | 114.2
111153 | 2021-04-28 14:07 | 21.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8856 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.858 | 99690.1467 | 290888.026 | 30.45 | 114.2
111163 | 2021-04-28 14:07 | 22.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7301 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.868 | 99748.92 | 290896.1502 | 30.45 | 114.2
111173 | 2021-04-28 14:08 | 22.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6368 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.874 | 99788.036 | 290889.8278 | 30.45 | 114.2
111183 | 2021-04-28 14:08 | 22.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.373 | μmol/L | 29.9206 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.891 | 99868.7799 | 290893.4694 | 30.45 | 114.2
111193 | 2021-04-28 14:08 | 23.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.0349 | μmol/L | 29.9638 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.898 | 99913.4503 | 290885.4835 | 30.45 | 114.2
111203 | 2021-04-28 14:09 | 23.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2717 | μmol/L | 29.896 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 21.906 | 99946.1363 | 290871.8278 | 30.45 | 114.2