## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 14:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
110504 | 2021-04-28 13:45 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0732 | μmol/L | 29.294 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.506 | 121698.7678 | 289062.467 | 59.9307 | 49.4
110514 | 2021-04-28 13:46 | 0.33155 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3425 | μmol/L | 29.3187 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.592 | 121865.4174 | 289074.7052 | 59.9307 | 49.4
110524 | 2021-04-28 13:46 | 0.66526 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5744 | μmol/L | 29.3497 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.679 | 122441.1446 | 289057.1958 | 59.9307 | 49.4
110534 | 2021-04-28 13:46 | 0.99826 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.0748 | μmol/L | 29.3125 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.719 | 123070.9342 | 289052.7813 | 59.9307 | 49.4
110544 | 2021-04-28 13:47 | 1.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.248 | μmol/L | 29.3125 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.765 | 123775.5841 | 289046.3214 | 59.9307 | 49.4
110554 | 2021-04-28 13:47 | 1.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0438 | μmol/L | 29.3559 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.818 | 124151.6376 | 289042.4626 | 59.9307 | 49.4
110564 | 2021-04-28 13:47 | 1.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7994 | μmol/L | 29.3744 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.882 | 124805.7216 | 289041.4557 | 59.9307 | 49.4
110574 | 2021-04-28 13:48 | 2.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3821 | μmol/L | 29.4301 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.944 | 125274.9014 | 289033.7816 | 59.9307 | 49.4
110584 | 2021-04-28 13:48 | 2.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7019 | μmol/L | 29.424 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.985 | 125601.1678 | 289034.463 | 59.9307 | 49.4
110594 | 2021-04-28 13:48 | 2.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7371 | μmol/L | 29.4673 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.026 | 125872.0373 | 289035.9773 | 59.9307 | 49.4
110604 | 2021-04-28 13:49 | 3.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0998 | μmol/L | 29.4549 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.067 | 126120.7039 | 289034.7424 | 59.9307 | 49.4
110614 | 2021-04-28 13:49 | 3.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5776 | μmol/L | 29.4797 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.089 | 126294.7403 | 289025.377 | 59.9307 | 49.4
110624 | 2021-04-28 13:49 | 3.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9397 | μmol/L | 29.4921 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.122 | 126499.1561 | 289023.3195 | 59.9307 | 49.4
110634 | 2021-04-28 13:50 | 4.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5633 | μmol/L | 29.4921 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.144 | 126664.8342 | 289024.4931 | 59.9307 | 49.4
110644 | 2021-04-28 13:50 | 4.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1181 | μmol/L | 29.4982 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.168 | 126827.5843 | 289021.191 | 59.9307 | 49.4
110654 | 2021-04-28 13:50 | 4.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8527 | μmol/L | 29.4673 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.194 | 126962.6673 | 289019.2477 | 59.9307 | 49.4
110664 | 2021-04-28 13:51 | 5.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9182 | μmol/L | 29.5478 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.222 | 127190.9826 | 289011.1805 | 59.9307 | 49.4
110674 | 2021-04-28 13:51 | 5.6646 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5604 | μmol/L | 29.5601 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.239 | 127302.5934 | 289017.8346 | 59.9307 | 49.4
110684 | 2021-04-28 13:51 | 5.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3822 | μmol/L | 29.5292 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.26 | 127435.618 | 289003.1461 | 59.9307 | 49.4
110694 | 2021-04-28 13:52 | 6.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.7356 | μmol/L | 29.5601 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.288 | 127590.2433 | 289006.8227 | 59.9307 | 49.4
110704 | 2021-04-28 13:52 | 6.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.3531 | μmol/L | 29.6159 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.292 | 127760.04 | 289006.2518 | 59.9307 | 49.4
110714 | 2021-04-28 13:52 | 6.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.4535 | μmol/L | 29.5478 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.309 | 127852.4546 | 289005.9311 | 59.9307 | 49.4
110724 | 2021-04-28 13:53 | 7.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.9608 | μmol/L | 29.5787 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.328 | 127941.3053 | 288992.9465 | 59.9307 | 49.4
110734 | 2021-04-28 13:53 | 7.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.0664 | μmol/L | 29.6902 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.344 | 128057.6885 | 288996.3887 | 59.9307 | 49.4
110744 | 2021-04-28 13:53 | 7.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.0063 | μmol/L | 29.5292 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.342 | 128409.4189 | 288990.1099 | 59.9307 | 49.4
110754 | 2021-04-28 13:54 | 8.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.2317 | μmol/L | 29.6282 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.355 | 128633.7414 | 288992.095 | 59.9307 | 49.4
110764 | 2021-04-28 13:54 | 8.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.9611 | μmol/L | 29.6468 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.365 | 128649.9221 | 288987.7719 | 59.9307 | 49.4
110774 | 2021-04-28 13:54 | 8.9982 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.2409 | μmol/L | 29.6778 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.398 | 128570.3189 | 288974.5951 | 59.9307 | 49.4
110784 | 2021-04-28 13:55 | 9.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1466 | μmol/L | 29.6592 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.41 | 128601.716 | 288986.0152 | 59.9307 | 49.4
110794 | 2021-04-28 13:55 | 9.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9751 | μmol/L | 29.684 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.412 | 128896.5427 | 288996.7565 | 59.9307 | 49.4
110804 | 2021-04-28 13:55 | 9.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.6916 | μmol/L | 29.6963 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.425 | 129002.7831 | 288995.2687 | 59.9307 | 49.4
110814 | 2021-04-28 13:56 | 10.3314 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.5237 | μmol/L | 29.7087 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.431 | 129165.4662 | 289001.1848 | 59.9307 | 49.4
110824 | 2021-04-28 13:56 | 10.6645 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3642 | μmol/L | 29.6902 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.447 | 129226.3641 | 288992.3345 | 59.9307 | 49.4
110834 | 2021-04-28 13:56 | 10.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8654 | μmol/L | 29.7149 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.469 | 129137.1038 | 288973.6385 | 59.9307 | 49.4
110844 | 2021-04-28 13:57 | 11.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.7852 | μmol/L | 29.7087 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.476 | 129483.8252 | 288987.3882 | 59.9307 | 49.4
110854 | 2021-04-28 13:57 | 11.6648 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4153 | μmol/L | 29.7459 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.486 | 129584.1948 | 288967.8165 | 59.9307 | 49.4
110864 | 2021-04-28 13:57 | 11.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.0075 | μmol/L | 29.7459 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.511 | 129646.2632 | 288970.1884 | 59.9307 | 49.4
110874 | 2021-04-28 13:58 | 12.3318 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.682 | μmol/L | 29.7459 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.531 | 129792.2837 | 288954.9911 | 59.9307 | 49.4
110884 | 2021-04-28 13:58 | 12.6649 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.2241 | μmol/L | 29.7583 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.555 | 129833.4489 | 288967.9554 | 59.9307 | 49.4
110894 | 2021-04-28 13:58 | 12.9981 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.1055 | μmol/L | 29.7768 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.556 | 130084.227 | 288984.5924 | 59.9307 | 49.4
110904 | 2021-04-28 13:59 | 13.3312 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.9327 | μmol/L | 29.7583 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.573 | 130121.5901 | 288948.7397 | 59.9307 | 49.4
110914 | 2021-04-28 13:59 | 13.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.7854 | μmol/L | 29.7644 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.58 | 130233.6613 | 288926.4037 | 59.9307 | 49.4
110924 | 2021-04-28 13:59 | 13.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.2853 | μmol/L | 29.7644 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.611 | 130147.2793 | 288924.6924 | 59.9307 | 49.4
110934 | 2021-04-28 14:00 | 14.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.3749 | μmol/L | 29.7892 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.597 | 130362.2048 | 288951.2915 | 59.9307 | 49.4
110944 | 2021-04-28 14:00 | 14.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.0368 | μmol/L | 29.7892 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.618 | 130486.2885 | 288959.5163 | 59.9307 | 49.4
110954 | 2021-04-28 14:00 | 14.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.8743 | μmol/L | 29.7954 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.626 | 130543.1847 | 288952.133 | 59.9307 | 49.4
110964 | 2021-04-28 14:01 | 15.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.7762 | μmol/L | 29.8016 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.63 | 130505.0985 | 288932.0476 | 59.9307 | 49.4
110974 | 2021-04-28 14:01 | 15.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.4573 | μmol/L | 29.7954 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.652 | 130678.4824 | 288956.9027 | 59.9307 | 49.4
110984 | 2021-04-28 14:01 | 15.9984 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.2154 | μmol/L | 29.8016 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.665 | 130721.2832 | 288937.5389 | 59.9307 | 49.4
110994 | 2021-04-28 14:02 | 16.3313 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9615 | μmol/L | 29.7954 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.683 | 130893.795 | 288925.8743 | 59.9307 | 49.4
111004 | 2021-04-28 14:02 | 16.6651 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.9492 | μmol/L | 29.783 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.688 | 130913.121 | 288928.4209 | 59.9307 | 49.4
111014 | 2021-04-28 14:02 | 16.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.5293 | μmol/L | 29.8016 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.708 | 131062.7701 | 288934.5945 | 59.9307 | 49.4
111024 | 2021-04-28 14:03 | 17.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6162 | μmol/L | 29.7768 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.711 | 131068.9312 | 288931.4533 | 59.9307 | 49.4
111034 | 2021-04-28 14:03 | 17.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.5862 | μmol/L | 29.7706 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.715 | 131143.797 | 288903.7911 | 59.9307 | 49.4
111044 | 2021-04-28 14:03 | 17.998 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2626 | μmol/L | 29.7892 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.729 | 131119.6282 | 288912.2116 | 59.9307 | 49.4
111054 | 2021-04-28 14:04 | 18.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.201 | μmol/L | 29.783 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.735 | 131277.8797 | 288911.9441 | 59.9307 | 49.4
111064 | 2021-04-28 14:04 | 18.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2065 | μmol/L | 29.7644 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.741 | 131270.6949 | 288900.3372 | 59.9307 | 49.4
111074 | 2021-04-28 14:04 | 18.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.0282 | μmol/L | 29.7768 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.748 | 131294.4155 | 288901.801 | 59.9307 | 49.4
111084 | 2021-04-28 14:05 | 19.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.8148 | μmol/L | 29.8016 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.753 | 131340.016 | 288895.0905 | 59.9307 | 49.4
111094 | 2021-04-28 14:05 | 19.665 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2298 | μmol/L | 29.8016 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.79 | 131240.2142 | 288899.3038 | 59.9307 | 49.4
111104 | 2021-04-28 14:05 | 19.9978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.622 | μmol/L | 29.7583 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.78 | 131550.9159 | 288895.5845 | 59.9307 | 49.4
111114 | 2021-04-28 14:06 | 20.3316 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2809 | μmol/L | 29.7892 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.791 | 131601.5515 | 288899.1974 | 59.9307 | 49.4
111124 | 2021-04-28 14:06 | 20.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.0072 | μmol/L | 29.8078 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.802 | 131635.6147 | 288882.8552 | 59.9307 | 49.4
111134 | 2021-04-28 14:06 | 20.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1547 | μmol/L | 29.7892 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.799 | 131270.2157 | 288901.6197 | 59.9307 | 49.4
111144 | 2021-04-28 14:07 | 21.3315 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.7252 | μmol/L | 29.7768 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.831 | 131872.6065 | 288888.7856 | 59.9307 | 49.4
111154 | 2021-04-28 14:07 | 21.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.4896 | μmol/L | 29.7768 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.846 | 131956.8455 | 288884.4125 | 59.9307 | 49.4
111164 | 2021-04-28 14:07 | 21.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.4525 | μmol/L | 29.7954 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.842 | 131801.3179 | 288882.0122 | 59.9307 | 49.4
111174 | 2021-04-28 14:08 | 22.3317 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.1841 | μmol/L | 29.8016 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.857 | 131997.3044 | 288891.9851 | 59.9307 | 49.4
111184 | 2021-04-28 14:08 | 22.6647 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.1277 | μmol/L | 29.8078 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 21.858 | 131763.7119 | 288866.8702 | 59.9307 | 49.4
111194 | 2021-04-28 14:08 | 22.9979 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.9905 | μmol/L | 29.8202 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.863 | 131602.3988 | 288866.3603 | 59.9307 | 49.4
111204 | 2021-04-28 14:09 | 23.3311 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.7442 | μmol/L | 29.8078 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 21.883 | 131960.576 | 288861.5356 | 59.9307 | 49.4