## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 14:09

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
110506 | 2021-04-28 13:45 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.8773 | μmol/L | 29.2118 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.691 | 120949.7192 | 263877.3207 | 26.25 | 74
110516 | 2021-04-28 13:46 | 0.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6433 | μmol/L | 29.2851 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.845 | 122039.2366 | 263862.3625 | 26.25 | 74
110526 | 2021-04-28 13:46 | 0.66093 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1144 | μmol/L | 29.2974 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.983 | 123015.6331 | 263865.1901 | 26.25 | 74
110536 | 2021-04-28 13:46 | 0.99472 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0064 | μmol/L | 29.3218 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.095 | 123745.413 | 263868.5667 | 26.25 | 74
110546 | 2021-04-28 13:47 | 1.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5449 | μmol/L | 29.3524 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.169 | 124273.5294 | 263870.929 | 26.25 | 74
110556 | 2021-04-28 13:47 | 1.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3909 | μmol/L | 29.3646 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.232 | 124709.5433 | 263865.8828 | 26.25 | 74
110566 | 2021-04-28 13:47 | 1.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4155 | μmol/L | 29.3768 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.285 | 125075.2663 | 263875.9987 | 26.25 | 74
110576 | 2021-04-28 13:48 | 2.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7508 | μmol/L | 29.389 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.32 | 125337.5313 | 263870.553 | 26.25 | 74
110586 | 2021-04-28 13:48 | 2.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1227 | μmol/L | 29.4013 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.353 | 125551.9831 | 263865.1559 | 26.25 | 74
110596 | 2021-04-28 13:48 | 2.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9022 | μmol/L | 29.4074 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.364 | 125680.9217 | 263869.4736 | 26.25 | 74
110606 | 2021-04-28 13:49 | 3.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.28 | μmol/L | 29.4074 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.401 | 125898.3801 | 263865.8892 | 26.25 | 74
110616 | 2021-04-28 13:49 | 3.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.557 | μmol/L | 29.499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.413 | 125990.845 | 263874.0937 | 26.25 | 74
110626 | 2021-04-28 13:49 | 3.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2497 | μmol/L | 29.5296 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.421 | 126071.204 | 263862.3099 | 26.25 | 74
110636 | 2021-04-28 13:50 | 4.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.9691 | μmol/L | 29.5174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.442 | 126184.7768 | 263867.2672 | 26.25 | 74
110646 | 2021-04-28 13:50 | 4.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2311 | μmol/L | 29.4624 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.445 | 126236.186 | 263861.0655 | 26.25 | 74
110656 | 2021-04-28 13:50 | 4.9947 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6988 | μmol/L | 29.5357 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.452 | 126295.1378 | 263859.6334 | 26.25 | 74
110666 | 2021-04-28 13:51 | 5.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.57 | μmol/L | 29.5174 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.466 | 126373.7264 | 263845.5724 | 26.25 | 74
110676 | 2021-04-28 13:51 | 5.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3833 | μmol/L | 29.5357 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.471 | 126411.965 | 263849.137 | 26.25 | 74
110686 | 2021-04-28 13:51 | 5.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7467 | μmol/L | 29.6396 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.474 | 126461.9956 | 263846.541 | 26.25 | 74
110696 | 2021-04-28 13:52 | 6.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9857 | μmol/L | 29.5357 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.495 | 126589.6458 | 263845.5934 | 26.25 | 74
110706 | 2021-04-28 13:52 | 6.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0645 | μmol/L | 29.4807 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.509 | 126665.8851 | 263851.3943 | 26.25 | 74
110716 | 2021-04-28 13:52 | 6.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0438 | μmol/L | 29.499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.504 | 126684.7892 | 263856.994 | 26.25 | 74
110726 | 2021-04-28 13:53 | 7.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3513 | μmol/L | 29.5663 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.523 | 126752.3881 | 263837.9351 | 26.25 | 74
110736 | 2021-04-28 13:53 | 7.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.4738 | μmol/L | 29.5357 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.526 | 126791.0777 | 263830.5074 | 26.25 | 74
110746 | 2021-04-28 13:53 | 7.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2718 | μmol/L | 29.554 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.532 | 126859.9659 | 263824.9119 | 26.25 | 74
110756 | 2021-04-28 13:54 | 8.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1266 | μmol/L | 29.5418 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.545 | 126928.6935 | 263824.224 | 26.25 | 74
110766 | 2021-04-28 13:54 | 8.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7787 | μmol/L | 29.554 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.562 | 127070.4469 | 263826.7538 | 26.25 | 74
110776 | 2021-04-28 13:54 | 8.9945 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.1415 | μmol/L | 29.6152 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.58 | 127180.8483 | 263826.3433 | 26.25 | 74
110786 | 2021-04-28 13:55 | 9.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4814 | μmol/L | 29.6457 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.61 | 127397.7542 | 263825.4268 | 26.25 | 74
110796 | 2021-04-28 13:55 | 9.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5882 | μmol/L | 29.609 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.616 | 127445.2957 | 263816.756 | 26.25 | 74
110806 | 2021-04-28 13:55 | 9.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3543 | μmol/L | 29.6335 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.622 | 127498.0161 | 263807.8379 | 26.25 | 74
110816 | 2021-04-28 13:56 | 10.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1113 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.616 | 127481.742 | 263815.8341 | 26.25 | 74
110826 | 2021-04-28 13:56 | 10.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8679 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.631 | 127582.1292 | 263808.4199 | 26.25 | 74
110836 | 2021-04-28 13:56 | 10.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5506 | μmol/L | 29.7313 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.638 | 127613.6303 | 263798.312 | 26.25 | 74
110846 | 2021-04-28 13:57 | 11.3281 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6284 | μmol/L | 29.7435 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.629 | 127575.8614 | 263803.9051 | 26.25 | 74
110856 | 2021-04-28 13:57 | 11.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.803 | μmol/L | 29.8107 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.657 | 127731.6631 | 263806.7984 | 26.25 | 74
110866 | 2021-04-28 13:57 | 11.9949 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5969 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.674 | 127850.4606 | 263795.4499 | 26.25 | 74
110876 | 2021-04-28 13:58 | 12.328 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3479 | μmol/L | 29.768 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.7 | 128041.0508 | 263789.9417 | 26.25 | 74
110886 | 2021-04-28 13:58 | 12.6609 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1808 | μmol/L | 29.7924 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.702 | 128071.4069 | 263786.8504 | 26.25 | 74
110896 | 2021-04-28 13:58 | 12.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.8576 | μmol/L | 29.7435 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.739 | 128277.0749 | 263783.1208 | 26.25 | 74
110906 | 2021-04-28 13:59 | 13.3278 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2437 | μmol/L | 29.7374 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.717 | 128175.1081 | 263779.4988 | 26.25 | 74
110916 | 2021-04-28 13:59 | 13.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9199 | μmol/L | 29.7496 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.733 | 128286.2351 | 263781.4149 | 26.25 | 74
110926 | 2021-04-28 13:59 | 13.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3633 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.751 | 128381.5151 | 263792.7363 | 26.25 | 74
110936 | 2021-04-28 14:00 | 14.3276 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.637 | μmol/L | 29.7313 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.757 | 128427.854 | 263774.8216 | 26.25 | 74
110946 | 2021-04-28 14:00 | 14.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3238 | μmol/L | 29.768 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.764 | 128451.2848 | 263779.9967 | 26.25 | 74
110956 | 2021-04-28 14:00 | 14.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2391 | μmol/L | 29.7863 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.763 | 128453.4642 | 263773.6919 | 26.25 | 74
110966 | 2021-04-28 14:01 | 15.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.965 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.776 | 128535.5001 | 263772.0944 | 26.25 | 74
110976 | 2021-04-28 14:01 | 15.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.8445 | μmol/L | 29.7741 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.792 | 128627.6323 | 263762.6945 | 26.25 | 74
110986 | 2021-04-28 14:01 | 15.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.5536 | μmol/L | 29.7924 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.804 | 128720.5485 | 263748.3226 | 26.25 | 74
110996 | 2021-04-28 14:02 | 16.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2511 | μmol/L | 29.8535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.802 | 128727.1579 | 263756.7432 | 26.25 | 74
111006 | 2021-04-28 14:02 | 16.6611 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.8645 | μmol/L | 29.878 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.818 | 128816.9683 | 263743.6314 | 26.25 | 74
111016 | 2021-04-28 14:02 | 16.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.2491 | μmol/L | 29.8046 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.819 | 128843.9409 | 263736.7496 | 26.25 | 74
111026 | 2021-04-28 14:03 | 17.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.6926 | μmol/L | 29.8719 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.831 | 128929.2958 | 263735.604 | 26.25 | 74
111036 | 2021-04-28 14:03 | 17.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9346 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.841 | 128993.0074 | 263720.6739 | 26.25 | 74
111046 | 2021-04-28 14:03 | 17.9948 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.619 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.861 | 129087.6175 | 263729.2072 | 26.25 | 74
111056 | 2021-04-28 14:04 | 18.3279 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.486 | μmol/L | 29.823 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.861 | 129127.2353 | 263728.7096 | 26.25 | 74
111066 | 2021-04-28 14:04 | 18.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.7608 | μmol/L | 29.7435 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.871 | 129167.4681 | 263715.2206 | 26.25 | 74
111076 | 2021-04-28 14:04 | 18.9946 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.5314 | μmol/L | 29.7191 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.894 | 129303.6149 | 263723.4261 | 26.25 | 74
111086 | 2021-04-28 14:05 | 19.3277 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0423 | μmol/L | 29.7802 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.904 | 129403.792 | 263716.5031 | 26.25 | 74
111096 | 2021-04-28 14:05 | 19.661 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.431 | μmol/L | 29.8352 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.924 | 129502.3165 | 263717.3153 | 26.25 | 74
111106 | 2021-04-28 14:05 | 19.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.2285 | μmol/L | 29.7802 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.956 | 129691.317 | 263719.4899 | 26.25 | 74
111116 | 2021-04-28 14:06 | 20.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.8802 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.972 | 129824.0795 | 263725.1286 | 26.25 | 74
111126 | 2021-04-28 14:06 | 20.6612 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.3079 | μmol/L | 29.8413 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.994 | 129958.0023 | 263715.1448 | 26.25 | 74
111136 | 2021-04-28 14:06 | 20.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.1293 | μmol/L | 29.8169 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.014 | 130107.597 | 263713.404 | 26.25 | 74
111146 | 2021-04-28 14:07 | 21.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.7163 | μmol/L | 29.7741 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.991 | 130010.8811 | 263704.5815 | 26.25 | 74
111156 | 2021-04-28 14:07 | 21.6614 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.1813 | μmol/L | 29.7985 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.017 | 130174.7889 | 263700.0332 | 26.25 | 74
111166 | 2021-04-28 14:07 | 21.9944 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.5389 | μmol/L | 29.9269 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.014 | 130161.352 | 263701.875 | 26.25 | 74
111176 | 2021-04-28 14:08 | 22.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.4516 | μmol/L | 29.8596 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.043 | 130367.2056 | 263695.1184 | 26.25 | 74
111186 | 2021-04-28 14:08 | 22.6613 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2127 | μmol/L | 29.8352 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.067 | 130490.6016 | 263700.7069 | 26.25 | 74
111196 | 2021-04-28 14:08 | 22.9943 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.9148 | μmol/L | 29.8535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.08 | 130575.2685 | 263697.88 | 26.25 | 74
111206 | 2021-04-28 14:09 | 23.3282 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.7287 | μmol/L | 29.8596 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 22.09 | 130636.6393 | 263685.1665 | 26.25 | 74