## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109995 | 2021-04-28 13:19 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.4304 | μmol/L | 29.4206 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.389 | 129275.4476 | 299712.812 | 33.25 | 68.6
110005 | 2021-04-28 13:19 | 0.34119 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.731 | μmol/L | 29.5427 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.444 | 129606.6516 | 299719.9286 | 33.25 | 68.6
110015 | 2021-04-28 13:19 | 0.67408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.989 | μmol/L | 29.5427 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.487 | 129884.1419 | 299725.4616 | 33.25 | 68.6
110025 | 2021-04-28 13:20 | 1.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6525 | μmol/L | 29.5243 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.513 | 130067.0047 | 299717.6123 | 33.25 | 68.6
110035 | 2021-04-28 13:20 | 1.341 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0768 | μmol/L | 29.5488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.538 | 130235.5964 | 299701.983 | 33.25 | 68.6
110045 | 2021-04-28 13:20 | 1.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6539 | μmol/L | 29.5793 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 130339.8773 | 299694.9765 | 33.25 | 68.6
110055 | 2021-04-28 13:21 | 2.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.203 | μmol/L | 29.5976 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.572 | 130480.7482 | 299706.7913 | 33.25 | 68.6
110065 | 2021-04-28 13:21 | 2.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3001 | μmol/L | 29.6098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.562 | 130478.98 | 299687.7086 | 33.25 | 68.6
110075 | 2021-04-28 13:21 | 2.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0226 | μmol/L | 29.622 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.574 | 130585.271 | 299683.7818 | 33.25 | 68.6
110085 | 2021-04-28 13:22 | 3.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5707 | μmol/L | 29.6464 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.592 | 130709.7256 | 299692.3369 | 33.25 | 68.6
110095 | 2021-04-28 13:22 | 3.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4468 | μmol/L | 29.6586 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.595 | 130750.3545 | 299680.0302 | 33.25 | 68.6
110105 | 2021-04-28 13:22 | 3.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5577 | μmol/L | 29.677 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.582 | 130721.7403 | 299680.5869 | 33.25 | 68.6
110115 | 2021-04-28 13:23 | 4.008 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1433 | μmol/L | 29.6953 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.6 | 130825.4183 | 299671.1868 | 33.25 | 68.6
110125 | 2021-04-28 13:23 | 4.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0535 | μmol/L | 29.7075 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.601 | 130848.5327 | 299688.1276 | 33.25 | 68.6
110135 | 2021-04-28 13:23 | 4.6745 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0404 | μmol/L | 29.738 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.591 | 130794.8122 | 299655.7985 | 33.25 | 68.6
110145 | 2021-04-28 13:24 | 5.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5179 | μmol/L | 29.7746 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.609 | 130913.7587 | 299667.2371 | 33.25 | 68.6
110155 | 2021-04-28 13:24 | 5.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6581 | μmol/L | 29.7624 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.605 | 130905.4322 | 299660.5127 | 33.25 | 68.6
110165 | 2021-04-28 13:24 | 5.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2545 | μmol/L | 29.799 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.616 | 130958.882 | 299655.4409 | 33.25 | 68.6
110175 | 2021-04-28 13:25 | 6.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4984 | μmol/L | 29.7807 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.608 | 130930.166 | 299654.7761 | 33.25 | 68.6
110185 | 2021-04-28 13:25 | 6.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1809 | μmol/L | 29.7746 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.629 | 131028.5277 | 299640.5101 | 33.25 | 68.6
110195 | 2021-04-28 13:25 | 6.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.4984 | μmol/L | 29.7807 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.608 | 130939.0974 | 299640.0297 | 33.25 | 68.6
110205 | 2021-04-28 13:26 | 7.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8765 | μmol/L | 29.8174 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.632 | 131043.4919 | 299649.659 | 33.25 | 68.6
110215 | 2021-04-28 13:26 | 7.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7092 | μmol/L | 29.8357 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.635 | 131079.8313 | 299626.7868 | 33.25 | 68.6
110225 | 2021-04-28 13:26 | 7.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6112 | μmol/L | 29.8479 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.637 | 131111.6013 | 299636.419 | 33.25 | 68.6
110235 | 2021-04-28 13:27 | 8.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6669 | μmol/L | 29.8357 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.638 | 131131.0437 | 299636.7189 | 33.25 | 68.6
110245 | 2021-04-28 13:27 | 8.3415 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0732 | μmol/L | 29.8723 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.66 | 131307.242 | 299631.2684 | 33.25 | 68.6
110255 | 2021-04-28 13:27 | 8.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0089 | μmol/L | 29.8845 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.66 | 131290.6396 | 299638.2664 | 33.25 | 68.6
110265 | 2021-04-28 13:28 | 9.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.948 | μmol/L | 29.8906 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.661 | 131268.406 | 299635.7609 | 33.25 | 68.6
110275 | 2021-04-28 13:28 | 9.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7169 | μmol/L | 29.9028 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.671 | 131315.1925 | 299638.9262 | 33.25 | 68.6
110285 | 2021-04-28 13:28 | 9.6746 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6839 | μmol/L | 29.9211 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.666 | 131269.8837 | 299631.6533 | 33.25 | 68.6
110295 | 2021-04-28 13:29 | 10.0077 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3202 | μmol/L | 29.9517 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.677 | 131352.4756 | 299623.5884 | 33.25 | 68.6
110305 | 2021-04-28 13:29 | 10.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3396 | μmol/L | 29.9456 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.678 | 131380.8025 | 299604.9581 | 33.25 | 68.6
110315 | 2021-04-28 13:29 | 10.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1205 | μmol/L | 29.9517 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.689 | 131475.4601 | 299614.4764 | 33.25 | 68.6
110325 | 2021-04-28 13:30 | 11.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.91 | μmol/L | 29.9395 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.706 | 131576.0749 | 299613.079 | 33.25 | 68.6
110335 | 2021-04-28 13:30 | 11.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7715 | μmol/L | 29.9334 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.717 | 131694.053 | 299615.7863 | 33.25 | 68.6
110345 | 2021-04-28 13:30 | 11.6744 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1948 | μmol/L | 29.9822 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.734 | 131808.4667 | 299626.2027 | 33.25 | 68.6
110355 | 2021-04-28 13:31 | 12.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1976 | μmol/L | 29.9761 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.736 | 131844.2359 | 299611.202 | 33.25 | 68.6
110365 | 2021-04-28 13:31 | 12.3413 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1314 | μmol/L | 29.9761 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.74 | 131874.3141 | 299608.6589 | 33.25 | 68.6
110375 | 2021-04-28 13:31 | 12.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0404 | μmol/L | 29.9761 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.746 | 131897.1243 | 299603.0722 | 33.25 | 68.6
110385 | 2021-04-28 13:32 | 13.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9305 | μmol/L | 29.9822 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.75 | 131948.4391 | 299605.385 | 33.25 | 68.6
110395 | 2021-04-28 13:32 | 13.3412 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9663 | μmol/L | 29.9761 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.75 | 131933.031 | 299607.0949 | 33.25 | 68.6
110405 | 2021-04-28 13:32 | 13.6743 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0682 | μmol/L | 29.97 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.746 | 131931.2281 | 299608.8347 | 33.25 | 68.6
110415 | 2021-04-28 13:33 | 14.0081 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6667 | μmol/L | 29.9822 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.766 | 132049.6126 | 299592.2726 | 33.25 | 68.6
110425 | 2021-04-28 13:33 | 14.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.51 | μmol/L | 30.0005 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.769 | 132048.948 | 299581.5031 | 33.25 | 68.6
110435 | 2021-04-28 13:33 | 14.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3371 | μmol/L | 30.0188 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.773 | 132050.4601 | 299598.6492 | 33.25 | 68.6
110445 | 2021-04-28 13:34 | 15.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1727 | μmol/L | 30.0188 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.783 | 132089.4698 | 299603.195 | 33.25 | 68.6
110455 | 2021-04-28 13:34 | 15.3411 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0221 | μmol/L | 30.0249 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.79 | 132132.5277 | 299576.3599 | 33.25 | 68.6
110465 | 2021-04-28 13:34 | 15.6747 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7842 | μmol/L | 30.0249 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.805 | 132252.2496 | 299584.0688 | 33.25 | 68.6
110475 | 2021-04-28 13:35 | 16.0078 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5933 | μmol/L | 30.031 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.814 | 132332.4248 | 299585.3498 | 33.25 | 68.6
110485 | 2021-04-28 13:35 | 16.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5904 | μmol/L | 30.0371 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.812 | 132382.8147 | 299588.6397 | 33.25 | 68.6
110495 | 2021-04-28 13:35 | 16.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4268 | μmol/L | 30.0371 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 21.822 | 132456.8818 | 299591.5428 | 33.25 | 68.6