## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109997 | 2021-04-28 13:19 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.7398 | μmol/L | 29.2995 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.682 | 118363.4127 | 267807.2188 | 32.55 | 27.7
110007 | 2021-04-28 13:19 | 0.33884 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.3208 | μmol/L | 29.3241 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.697 | 118422.9563 | 267775.6247 | 32.55 | 27.7
110017 | 2021-04-28 13:19 | 0.67184 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.7707 | μmol/L | 29.3977 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.703 | 118458.2361 | 267764.6335 | 32.55 | 27.7
110027 | 2021-04-28 13:20 | 1.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3326 | μmol/L | 29.4468 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.711 | 118531.9368 | 267751.8083 | 32.55 | 27.7
110037 | 2021-04-28 13:20 | 1.3389 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.2623 | μmol/L | 29.4345 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.719 | 118591.5793 | 267714.6257 | 32.55 | 27.7
110047 | 2021-04-28 13:20 | 1.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.064 | μmol/L | 29.4406 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.728 | 118622.0745 | 267706.9503 | 32.55 | 27.7
110057 | 2021-04-28 13:21 | 2.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9711 | μmol/L | 29.4652 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.725 | 118658.2389 | 267702.4767 | 32.55 | 27.7
110067 | 2021-04-28 13:21 | 2.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.0943 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.712 | 118571.9624 | 267691.6435 | 32.55 | 27.7
110077 | 2021-04-28 13:21 | 2.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.0193 | μmol/L | 29.5081 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.708 | 118553.2309 | 267682.8176 | 32.55 | 27.7
110087 | 2021-04-28 13:22 | 3.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9247 | μmol/L | 29.5449 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.701 | 118543.4291 | 267684.3321 | 32.55 | 27.7
110097 | 2021-04-28 13:22 | 3.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7991 | μmol/L | 29.5449 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.708 | 118603.3642 | 267671.9673 | 32.55 | 27.7
110107 | 2021-04-28 13:22 | 3.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6387 | μmol/L | 29.5388 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.719 | 118704.2004 | 267665.5696 | 32.55 | 27.7
110117 | 2021-04-28 13:23 | 4.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3839 | μmol/L | 29.5695 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.723 | 118696.1598 | 267664.8467 | 32.55 | 27.7
110127 | 2021-04-28 13:23 | 4.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.257 | μmol/L | 29.5817 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.726 | 118754.2024 | 267661.6135 | 32.55 | 27.7
110137 | 2021-04-28 13:23 | 4.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1668 | μmol/L | 29.5879 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.729 | 118753.6233 | 267659.3428 | 32.55 | 27.7
110147 | 2021-04-28 13:24 | 5.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0715 | μmol/L | 29.6308 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.72 | 118728.1763 | 267651.5244 | 32.55 | 27.7
110157 | 2021-04-28 13:24 | 5.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1055 | μmol/L | 29.6431 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.714 | 118692.1236 | 267639.8421 | 32.55 | 27.7
110167 | 2021-04-28 13:24 | 5.6722 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.8912 | μmol/L | 29.6431 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.726 | 118806.248 | 267645.902 | 32.55 | 27.7
110177 | 2021-04-28 13:25 | 6.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5846 | μmol/L | 29.6676 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.735 | 118848.7208 | 267647.1673 | 32.55 | 27.7
110187 | 2021-04-28 13:25 | 6.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4572 | μmol/L | 29.686 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.736 | 118880.366 | 267616.4122 | 32.55 | 27.7
110197 | 2021-04-28 13:25 | 6.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.418 | μmol/L | 29.7106 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.73 | 118866.3142 | 267621.2265 | 32.55 | 27.7
110207 | 2021-04-28 13:26 | 7.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3272 | μmol/L | 29.7229 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.731 | 118881.1523 | 267624.9619 | 32.55 | 27.7
110217 | 2021-04-28 13:26 | 7.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9307 | μmol/L | 29.7597 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.741 | 118930.4765 | 267625.9688 | 32.55 | 27.7
110227 | 2021-04-28 13:26 | 7.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3619 | μmol/L | 29.729 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.727 | 118876.3729 | 267606.5283 | 32.55 | 27.7
110237 | 2021-04-28 13:27 | 8.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1999 | μmol/L | 29.7413 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.732 | 118887.2048 | 267596.4602 | 32.55 | 27.7
110247 | 2021-04-28 13:27 | 8.3384 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9316 | μmol/L | 29.7535 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.743 | 118999.3146 | 267593.8215 | 32.55 | 27.7
110257 | 2021-04-28 13:27 | 8.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5741 | μmol/L | 29.7719 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.757 | 119119.1576 | 267600.474 | 32.55 | 27.7
110267 | 2021-04-28 13:28 | 9.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3264 | μmol/L | 29.7719 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.771 | 119179.261 | 267587.3493 | 32.55 | 27.7
110277 | 2021-04-28 13:28 | 9.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2517 | μmol/L | 29.7965 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.767 | 119178.0863 | 267605.6438 | 32.55 | 27.7
110287 | 2021-04-28 13:28 | 9.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2458 | μmol/L | 29.8333 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.755 | 119072.7159 | 267582.9148 | 32.55 | 27.7
110297 | 2021-04-28 13:29 | 10.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3352 | μmol/L | 29.8272 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.752 | 119073.9666 | 267592.3687 | 32.55 | 27.7
110307 | 2021-04-28 13:29 | 10.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9954 | μmol/L | 29.8517 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.763 | 119183.3955 | 267604.3397 | 32.55 | 27.7
110317 | 2021-04-28 13:29 | 10.6722 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1397 | μmol/L | 29.8333 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.761 | 119171.4197 | 267596.9067 | 32.55 | 27.7
110327 | 2021-04-28 13:30 | 11.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8885 | μmol/L | 29.8578 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.767 | 119204.1409 | 267587.378 | 32.55 | 27.7
110337 | 2021-04-28 13:30 | 11.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7817 | μmol/L | 29.864 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.771 | 119207.8173 | 267581.7519 | 32.55 | 27.7
110347 | 2021-04-28 13:30 | 11.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.447 | μmol/L | 29.864 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.79 | 119333.4071 | 267587.1986 | 32.55 | 27.7
110357 | 2021-04-28 13:31 | 12.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5868 | μmol/L | 29.8701 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.78 | 119309.7153 | 267581.0303 | 32.55 | 27.7
110367 | 2021-04-28 13:31 | 12.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4097 | μmol/L | 29.8762 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.788 | 119321.5977 | 267586.042 | 32.55 | 27.7
110377 | 2021-04-28 13:31 | 12.6722 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4252 | μmol/L | 29.8885 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.783 | 119289.6106 | 267583.8149 | 32.55 | 27.7
110387 | 2021-04-28 13:32 | 13.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3879 | μmol/L | 29.9008 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.781 | 119302.2748 | 267573.8862 | 32.55 | 27.7
110397 | 2021-04-28 13:32 | 13.3391 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.2648 | μmol/L | 29.9008 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.788 | 119340.1929 | 267555.9512 | 32.55 | 27.7
110407 | 2021-04-28 13:32 | 13.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4749 | μmol/L | 29.9069 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.774 | 119279.7213 | 267572.5785 | 32.55 | 27.7
110417 | 2021-04-28 13:33 | 14.0059 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.769 | μmol/L | 29.9253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.808 | 119510.221 | 267562.272 | 32.55 | 27.7
110427 | 2021-04-28 13:33 | 14.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5184 | μmol/L | 29.956 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.812 | 119541.7111 | 267580.896 | 32.55 | 27.7
110437 | 2021-04-28 13:33 | 14.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3948 | μmol/L | 29.9621 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.817 | 119560.0748 | 267572.8322 | 32.55 | 27.7
110447 | 2021-04-28 13:34 | 15.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2386 | μmol/L | 29.956 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.828 | 119627.8431 | 267568.9907 | 32.55 | 27.7
110457 | 2021-04-28 13:34 | 15.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9942 | μmol/L | 29.956 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.842 | 119716.9072 | 267559.3647 | 32.55 | 27.7
110467 | 2021-04-28 13:34 | 15.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8547 | μmol/L | 29.956 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.85 | 119771.5781 | 267555.4087 | 32.55 | 27.7
110477 | 2021-04-28 13:35 | 16.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9627 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.85 | 119773.783 | 267552.7742 | 32.55 | 27.7
110487 | 2021-04-28 13:35 | 16.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3118 | μmol/L | 29.9376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.83 | 119665.5824 | 267552.0329 | 32.55 | 27.7
110497 | 2021-04-28 13:35 | 16.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3096 | μmol/L | 29.9499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.826 | 119630.8189 | 267562.358 | 32.55 | 27.7