## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 13:36

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
109992 | 2021-04-28 13:19 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.5967 | μmol/L | 29.4673 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.305 | 127731.005 | 266016.8455 | 36.4 | 83.1
110002 | 2021-04-28 13:19 | 0.33461 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5288 | μmol/L | 29.3812 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.389 | 128339.5463 | 266012.677 | 36.4 | 83.1
110012 | 2021-04-28 13:19 | 0.66757 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0445 | μmol/L | 29.4304 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.449 | 128781.7362 | 266017.0432 | 36.4 | 83.1
110022 | 2021-04-28 13:20 | 1.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8644 | μmol/L | 29.4611 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.5 | 129168.5971 | 265997.4042 | 36.4 | 83.1
110032 | 2021-04-28 13:20 | 1.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7831 | μmol/L | 29.5041 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.542 | 129472.9954 | 265992.9378 | 36.4 | 83.1
110042 | 2021-04-28 13:20 | 1.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0679 | μmol/L | 29.4857 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.586 | 129762.9321 | 265979.3413 | 36.4 | 83.1
110052 | 2021-04-28 13:21 | 2.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2103 | μmol/L | 29.5103 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.623 | 130015.1351 | 265981.5188 | 36.4 | 83.1
110062 | 2021-04-28 13:21 | 2.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7113 | μmol/L | 29.541 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.639 | 130117.9976 | 265983.635 | 36.4 | 83.1
110072 | 2021-04-28 13:21 | 2.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.2864 | μmol/L | 29.5779 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.649 | 130162.931 | 265991.8907 | 36.4 | 83.1
110082 | 2021-04-28 13:22 | 3.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5759 | μmol/L | 29.6332 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.668 | 130307.0856 | 265983.6379 | 36.4 | 83.1
110092 | 2021-04-28 13:22 | 3.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.2567 | μmol/L | 29.6393 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.683 | 130407.8301 | 265973.0175 | 36.4 | 83.1
110102 | 2021-04-28 13:22 | 3.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4059 | μmol/L | 29.584 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.694 | 130483.8497 | 265968.8902 | 36.4 | 83.1
110112 | 2021-04-28 13:23 | 4.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.5687 | μmol/L | 29.6393 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.72 | 130629.7553 | 265966.6885 | 36.4 | 83.1
110122 | 2021-04-28 13:23 | 4.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.6885 | μmol/L | 29.6147 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.722 | 130684.7155 | 265963.9775 | 36.4 | 83.1
110132 | 2021-04-28 13:23 | 4.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2123 | μmol/L | 29.6516 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.735 | 130756.6183 | 265949.7903 | 36.4 | 83.1
110142 | 2021-04-28 13:24 | 5.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.0599 | μmol/L | 29.6639 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.739 | 130798.1556 | 265941.6018 | 36.4 | 83.1
110152 | 2021-04-28 13:24 | 5.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.8686 | μmol/L | 29.6823 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.743 | 130823.9025 | 265938.1244 | 36.4 | 83.1
110162 | 2021-04-28 13:24 | 5.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.5971 | μmol/L | 29.7192 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.745 | 130834.9043 | 265932.6449 | 36.4 | 83.1
110172 | 2021-04-28 13:25 | 6.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4657 | μmol/L | 29.7253 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.75 | 130863.8052 | 265932.856 | 36.4 | 83.1
110182 | 2021-04-28 13:25 | 6.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.3139 | μmol/L | 29.7376 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.754 | 130912.8988 | 265928.5419 | 36.4 | 83.1
110192 | 2021-04-28 13:25 | 6.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4581 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.761 | 130906.9445 | 265922.5442 | 36.4 | 83.1
110202 | 2021-04-28 13:26 | 7.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4408 | μmol/L | 29.7438 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.745 | 130805.2565 | 265926.5227 | 36.4 | 83.1
110212 | 2021-04-28 13:26 | 7.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.166 | μmol/L | 29.7315 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.71 | 130580.3109 | 265925.6313 | 36.4 | 83.1
110222 | 2021-04-28 13:26 | 7.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.5177 | μmol/L | 29.7868 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.672 | 130301.7354 | 265932.7861 | 36.4 | 83.1
110232 | 2021-04-28 13:27 | 8.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1261 | μmol/L | 29.6946 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.671 | 130317.7103 | 265917.9879 | 36.4 | 83.1
110242 | 2021-04-28 13:27 | 8.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4741 | μmol/L | 29.8052 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.668 | 130304.0039 | 265911.1016 | 36.4 | 83.1
110252 | 2021-04-28 13:27 | 8.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3727 | μmol/L | 29.8298 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.665 | 130276.5426 | 265919.2142 | 36.4 | 83.1
110262 | 2021-04-28 13:28 | 9.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.0562 | μmol/L | 29.7806 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.699 | 130463.4165 | 265914.3145 | 36.4 | 83.1
110272 | 2021-04-28 13:28 | 9.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.042 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.704 | 130537.6372 | 265920.6912 | 36.4 | 83.1
110282 | 2021-04-28 13:28 | 9.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.452 | μmol/L | 29.7622 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.684 | 130403.4709 | 265917.3006 | 36.4 | 83.1
110292 | 2021-04-28 13:29 | 10.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8253 | μmol/L | 29.8114 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.647 | 130184.714 | 265905.534 | 36.4 | 83.1
110302 | 2021-04-28 13:29 | 10.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.7471 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.666 | 130274.5394 | 265910.0048 | 36.4 | 83.1
110312 | 2021-04-28 13:29 | 10.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.0997 | μmol/L | 29.7622 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.703 | 130555.5983 | 265908.4083 | 36.4 | 83.1
110322 | 2021-04-28 13:30 | 11.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.3767 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.74 | 130792.8121 | 265894.8562 | 36.4 | 83.1
110332 | 2021-04-28 13:30 | 11.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3455 | μmol/L | 29.8236 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.777 | 131090.0016 | 265897.4184 | 36.4 | 83.1
110342 | 2021-04-28 13:30 | 11.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3106 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.798 | 131239.4545 | 265905.0636 | 36.4 | 83.1
110352 | 2021-04-28 13:31 | 12.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2441 | μmol/L | 29.7499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.808 | 131304.2581 | 265895.3743 | 36.4 | 83.1
110362 | 2021-04-28 13:31 | 12.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.0062 | μmol/L | 29.7499 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.821 | 131413.0661 | 265898.5656 | 36.4 | 83.1
110372 | 2021-04-28 13:31 | 12.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.4634 | μmol/L | 29.8359 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.821 | 131436.8205 | 265895.9232 | 36.4 | 83.1
110382 | 2021-04-28 13:32 | 13.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.4533 | μmol/L | 29.8298 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.769 | 131048.0386 | 265882.9713 | 36.4 | 83.1
110392 | 2021-04-28 13:32 | 13.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2789 | μmol/L | 29.8052 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.787 | 131142.3775 | 265892.8057 | 36.4 | 83.1
110402 | 2021-04-28 13:32 | 13.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2191 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.803 | 131269.9838 | 265889.635 | 36.4 | 83.1
110412 | 2021-04-28 13:33 | 14.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9838 | μmol/L | 29.8114 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.801 | 131228.6731 | 265888.1655 | 36.4 | 83.1
110422 | 2021-04-28 13:33 | 14.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.5317 | μmol/L | 29.8667 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.752 | 130917.7926 | 265877.9683 | 36.4 | 83.1
110432 | 2021-04-28 13:33 | 14.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7293 | μmol/L | 29.8789 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.737 | 130784.5987 | 265868.1643 | 36.4 | 83.1
110442 | 2021-04-28 13:34 | 15.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.4005 | μmol/L | 29.8052 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.726 | 130732.7585 | 265875.9731 | 36.4 | 83.1
110452 | 2021-04-28 13:34 | 15.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.4694 | μmol/L | 29.8359 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.766 | 130976.6964 | 265874.073 | 36.4 | 83.1
110462 | 2021-04-28 13:34 | 15.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3106 | μmol/L | 29.7683 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.798 | 131224.8903 | 265872.3248 | 36.4 | 83.1
110472 | 2021-04-28 13:35 | 16.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.6959 | μmol/L | 29.7991 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.821 | 131389.7452 | 265857.2822 | 36.4 | 83.1
110482 | 2021-04-28 13:35 | 16.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.9946 | μmol/L | 29.8236 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.851 | 131581.9322 | 265856.6375 | 36.4 | 83.1
110492 | 2021-04-28 13:35 | 16.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2054 | μmol/L | 29.8482 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.886 | 131819.1941 | 265858.6619 | 36.4 | 83.1