## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108051 | 2021-04-28 11:32 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5488 | μmol/L | 29.3856 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.813 | 116752.5408 | 292498.2521 | 59.9307 | 38.1
108061 | 2021-04-28 11:32 | 0.33906 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3167 | μmol/L | 29.404 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.82 | 116807.2141 | 292524.2293 | 59.9307 | 38.1
108071 | 2021-04-28 11:33 | 0.67212 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1643 | μmol/L | 29.4162 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.825 | 116853.7168 | 292525.8381 | 59.9307 | 38.1
108081 | 2021-04-28 11:33 | 1.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9261 | μmol/L | 29.4223 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.836 | 116909.614 | 292544.351 | 59.9307 | 38.1
108091 | 2021-04-28 11:33 | 1.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9452 | μmol/L | 29.4101 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.839 | 116958.3232 | 292570.6433 | 59.9307 | 38.1
108101 | 2021-04-28 11:34 | 1.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8027 | μmol/L | 29.4223 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.843 | 116995.0387 | 292586.9823 | 59.9307 | 38.1
108111 | 2021-04-28 11:34 | 2.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6243 | μmol/L | 29.4407 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.847 | 117034.6297 | 292602.4353 | 59.9307 | 38.1
108121 | 2021-04-28 11:34 | 2.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6243 | μmol/L | 29.4407 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.847 | 117069.071 | 292614.4005 | 59.9307 | 38.1
108131 | 2021-04-28 11:35 | 2.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6258 | μmol/L | 29.4285 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.851 | 117105.4288 | 292633.8939 | 59.9307 | 38.1
108141 | 2021-04-28 11:35 | 3.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.4476 | μmol/L | 29.4468 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.855 | 117140.7237 | 292654.0654 | 59.9307 | 38.1
108151 | 2021-04-28 11:35 | 3.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2761 | μmol/L | 29.4775 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.855 | 117165.117 | 292667.332 | 59.9307 | 38.1
108161 | 2021-04-28 11:36 | 3.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3216 | μmol/L | 29.4713 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.854 | 117174.8102 | 292666.8344 | 59.9307 | 38.1
108171 | 2021-04-28 11:36 | 4.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2505 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.856 | 117179.098 | 292693.84 | 59.9307 | 38.1
108181 | 2021-04-28 11:36 | 4.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2154 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.858 | 117193.3838 | 292715.2934 | 59.9307 | 38.1
108191 | 2021-04-28 11:37 | 4.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3055 | μmol/L | 29.4591 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.859 | 117213.8503 | 292708.7249 | 59.9307 | 38.1
108201 | 2021-04-28 11:37 | 5.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1619 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.859 | 117247.5311 | 292738.7301 | 59.9307 | 38.1
108211 | 2021-04-28 11:37 | 5.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1817 | μmol/L | 29.4652 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.864 | 117278.0522 | 292745.2003 | 59.9307 | 38.1
108221 | 2021-04-28 11:38 | 5.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3619 | μmol/L | 29.4285 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.866 | 117317.6208 | 292756.9055 | 59.9307 | 38.1
108231 | 2021-04-28 11:38 | 6.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1276 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.863 | 117295.9015 | 292756.5169 | 59.9307 | 38.1
108241 | 2021-04-28 11:38 | 6.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1451 | μmol/L | 29.4775 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.862 | 117302.2434 | 292756.8495 | 59.9307 | 38.1
108251 | 2021-04-28 11:39 | 6.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1123 | μmol/L | 29.4591 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.87 | 117332.197 | 292765.1175 | 59.9307 | 38.1
108261 | 2021-04-28 11:39 | 7.005 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.933 | μmol/L | 29.4897 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.87 | 117355.6236 | 292775.5747 | 59.9307 | 38.1
108271 | 2021-04-28 11:39 | 7.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1092 | μmol/L | 29.4836 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.862 | 117349.0172 | 292788.9287 | 59.9307 | 38.1
108281 | 2021-04-28 11:40 | 7.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9139 | μmol/L | 29.502 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.867 | 117367.8452 | 292797.0562 | 59.9307 | 38.1
108291 | 2021-04-28 11:40 | 8.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9681 | μmol/L | 29.4897 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.868 | 117383.8061 | 292806.1461 | 59.9307 | 38.1
108301 | 2021-04-28 11:40 | 8.3384 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8686 | μmol/L | 29.5081 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.868 | 117376.0684 | 292826.089 | 59.9307 | 38.1
108311 | 2021-04-28 11:41 | 8.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.02 | μmol/L | 29.4958 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.863 | 117392.7221 | 292840.3722 | 59.9307 | 38.1
108321 | 2021-04-28 11:41 | 9.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0169 | μmol/L | 29.5203 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.855 | 117380.4257 | 292830.3252 | 59.9307 | 38.1
108331 | 2021-04-28 11:41 | 9.3383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8224 | μmol/L | 29.5326 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.862 | 117421.3254 | 292852.4194 | 59.9307 | 38.1
108341 | 2021-04-28 11:42 | 9.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5804 | μmol/L | 29.5694 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.864 | 117438.1207 | 292861.4185 | 59.9307 | 38.1
108351 | 2021-04-28 11:42 | 10.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.848 | μmol/L | 29.5326 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.861 | 117438.4994 | 292872.257 | 59.9307 | 38.1
108361 | 2021-04-28 11:42 | 10.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7507 | μmol/L | 29.5449 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.862 | 117449.0724 | 292875.7516 | 59.9307 | 38.1
108371 | 2021-04-28 11:43 | 10.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5748 | μmol/L | 29.551 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.87 | 117481.5304 | 292877.1091 | 59.9307 | 38.1
108381 | 2021-04-28 11:43 | 11.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4149 | μmol/L | 29.5694 | °C | 1026 | hPa | Humid | 28 | 1 | 0 | 20.873 | 117502.4773 | 292886.0663 | 59.9307 | 38.1
108391 | 2021-04-28 11:43 | 11.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5828 | μmol/L | 29.551 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.87 | 117505.3696 | 292887.5299 | 59.9307 | 38.1
108401 | 2021-04-28 11:44 | 11.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.742 | μmol/L | 29.5387 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.865 | 117519.9002 | 292895.2879 | 59.9307 | 38.1