## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108052 | 2021-04-28 11:32 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.8721 | μmol/L | 29.3996 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.982 | 99339.7874 | 211234.6835 | 27.3 | 43.4
108062 | 2021-04-28 11:32 | 0.33724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.7704 | μmol/L | 29.4057 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.985 | 99363.562 | 211269.0102 | 27.3 | 43.4
108072 | 2021-04-28 11:33 | 0.67019 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.6486 | μmol/L | 29.4119 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.989 | 99383.8841 | 211278.743 | 27.3 | 43.4
108082 | 2021-04-28 11:33 | 1.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4041 | μmol/L | 29.4302 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.995 | 99397.0245 | 211296.2117 | 27.3 | 43.4
108092 | 2021-04-28 11:33 | 1.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.8161 | μmol/L | 29.3751 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.993 | 99390.3039 | 211304.8334 | 27.3 | 43.4
108102 | 2021-04-28 11:34 | 1.6706 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.7301 | μmol/L | 29.4057 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.987 | 99386.353 | 211323.9298 | 27.3 | 43.4
108112 | 2021-04-28 11:34 | 2.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.3003 | μmol/L | 29.4486 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.994 | 99399.3748 | 211342.5895 | 27.3 | 43.4
108122 | 2021-04-28 11:34 | 2.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2992 | μmol/L | 29.4548 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.992 | 99399.5291 | 211350.8118 | 27.3 | 43.4
108132 | 2021-04-28 11:35 | 2.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5023 | μmol/L | 29.4425 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.986 | 99392.6715 | 211361.1115 | 27.3 | 43.4
108142 | 2021-04-28 11:35 | 3.0034 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5637 | μmol/L | 29.4364 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.985 | 99392.8609 | 211363.2254 | 27.3 | 43.4
108152 | 2021-04-28 11:35 | 3.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.5235 | μmol/L | 29.4364 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.987 | 99413.23 | 211389.8168 | 27.3 | 43.4
108162 | 2021-04-28 11:36 | 3.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.3595 | μmol/L | 29.4548 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.989 | 99434.5914 | 211396.194 | 27.3 | 43.4
108172 | 2021-04-28 11:36 | 4.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2155 | μmol/L | 29.4731 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.99 | 99437.1613 | 211401.2205 | 27.3 | 43.4
108182 | 2021-04-28 11:36 | 4.3368 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1141 | μmol/L | 29.4793 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.993 | 99459.3869 | 211418.7408 | 27.3 | 43.4
108192 | 2021-04-28 11:37 | 4.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2178 | μmol/L | 29.4609 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.994 | 99467.1039 | 211438.0398 | 27.3 | 43.4
108202 | 2021-04-28 11:37 | 5.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0929 | μmol/L | 29.4854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.992 | 99483.6814 | 211445.7456 | 27.3 | 43.4
108212 | 2021-04-28 11:37 | 5.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1107 | μmol/L | 29.4977 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.987 | 99494.2991 | 211454.5276 | 27.3 | 43.4
108222 | 2021-04-28 11:38 | 5.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9279 | μmol/L | 29.5099 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.992 | 99519.4604 | 211469.0548 | 27.3 | 43.4
108232 | 2021-04-28 11:38 | 6.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0471 | μmol/L | 29.516 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.984 | 99504.1013 | 211467.1807 | 27.3 | 43.4
108242 | 2021-04-28 11:38 | 6.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8243 | μmol/L | 29.5283 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.991 | 99535.9647 | 211477.2264 | 27.3 | 43.4
108252 | 2021-04-28 11:39 | 6.6702 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.723 | μmol/L | 29.5344 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.994 | 99557.0756 | 211479.4201 | 27.3 | 43.4
108262 | 2021-04-28 11:39 | 7.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6852 | μmol/L | 29.5222 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20 | 99572.9109 | 211484.0254 | 27.3 | 43.4
108272 | 2021-04-28 11:39 | 7.3367 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8666 | μmol/L | 29.516 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.993 | 99577.6403 | 211492.3862 | 27.3 | 43.4
108282 | 2021-04-28 11:40 | 7.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.7453 | μmol/L | 29.5222 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.997 | 99589.0581 | 211497.7749 | 27.3 | 43.4
108292 | 2021-04-28 11:40 | 8.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6229 | μmol/L | 29.5344 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.999 | 99604.0834 | 211510.551 | 27.3 | 43.4
108302 | 2021-04-28 11:40 | 8.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6029 | μmol/L | 29.5344 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 20 | 99625.8383 | 211505.8966 | 27.3 | 43.4
108312 | 2021-04-28 11:41 | 8.6701 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4358 | μmol/L | 29.5712 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.996 | 99615.8603 | 211526.1899 | 27.3 | 43.4
108322 | 2021-04-28 11:41 | 9.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4958 | μmol/L | 29.5712 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.993 | 99617.3354 | 211543.0129 | 27.3 | 43.4
108332 | 2021-04-28 11:41 | 9.337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4746 | μmol/L | 29.5773 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.992 | 99612.8198 | 211543.5283 | 27.3 | 43.4
108342 | 2021-04-28 11:42 | 9.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4346 | μmol/L | 29.5773 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.994 | 99623.1922 | 211559.0423 | 27.3 | 43.4
108352 | 2021-04-28 11:42 | 10.0035 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3946 | μmol/L | 29.5773 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.996 | 99641.8919 | 211552.7018 | 27.3 | 43.4
108362 | 2021-04-28 11:42 | 10.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4146 | μmol/L | 29.5773 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.995 | 99662.4633 | 211565.4722 | 27.3 | 43.4
108372 | 2021-04-28 11:43 | 10.6703 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1676 | μmol/L | 29.6141 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.995 | 99672.337 | 211578.5386 | 27.3 | 43.4
108382 | 2021-04-28 11:43 | 11.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.0877 | μmol/L | 29.6141 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.999 | 99689.6344 | 211573.7382 | 27.3 | 43.4
108392 | 2021-04-28 11:43 | 11.3369 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.19 | μmol/L | 29.6019 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.998 | 99695.0618 | 211578.1392 | 27.3 | 43.4
108402 | 2021-04-28 11:44 | 11.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.2487 | μmol/L | 29.608 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 19.993 | 99697.0424 | 211584.1178 | 27.3 | 43.4