## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108055 | 2021-04-28 11:32 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0324 | μmol/L | 29.4892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.905 | 93556.8611 | 291644.5 | 30.45 | 114.2
108065 | 2021-04-28 11:32 | 0.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1024 | μmol/L | 29.4892 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.901 | 93577.7402 | 291663.2957 | 30.45 | 114.2
108075 | 2021-04-28 11:33 | 0.67182 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3393 | μmol/L | 29.4337 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.906 | 93602.2296 | 291691.539 | 30.45 | 114.2
108085 | 2021-04-28 11:33 | 1.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9284 | μmol/L | 29.483 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.913 | 93689.7499 | 291716.6318 | 30.45 | 114.2
108095 | 2021-04-28 11:33 | 1.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.8759 | μmol/L | 29.483 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.916 | 93697.0305 | 291738.1448 | 30.45 | 114.2
108105 | 2021-04-28 11:34 | 1.6715 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7463 | μmol/L | 29.5262 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.909 | 93731.8007 | 291761.553 | 30.45 | 114.2
108115 | 2021-04-28 11:34 | 2.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6578 | μmol/L | 29.5324 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.912 | 93737.7146 | 291776.3429 | 30.45 | 114.2
108125 | 2021-04-28 11:34 | 2.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4092 | μmol/L | 29.557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 93750.6378 | 291803.4004 | 30.45 | 114.2
108135 | 2021-04-28 11:35 | 2.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4896 | μmol/L | 29.3721 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.918 | 93779.7107 | 291815.5222 | 30.45 | 114.2
108145 | 2021-04-28 11:35 | 3.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2537 | μmol/L | 29.4214 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.915 | 93791.47 | 291838.6051 | 30.45 | 114.2
108155 | 2021-04-28 11:35 | 3.3383 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.1631 | μmol/L | 29.4399 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.914 | 93874.4274 | 291869.4082 | 30.45 | 114.2
108165 | 2021-04-28 11:36 | 3.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2533 | μmol/L | 29.5508 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.929 | 93920.5143 | 291869.2187 | 30.45 | 114.2
108175 | 2021-04-28 11:36 | 4.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1477 | μmol/L | 29.557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.933 | 93952.5997 | 291896.2986 | 30.45 | 114.2
108185 | 2021-04-28 11:36 | 4.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2042 | μmol/L | 29.5324 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.938 | 93997.7965 | 291912.4811 | 30.45 | 114.2
108195 | 2021-04-28 11:37 | 4.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2771 | μmol/L | 29.5139 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.94 | 94017.6165 | 291925.2663 | 30.45 | 114.2
108205 | 2021-04-28 11:37 | 5.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7772 | μmol/L | 29.4461 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.934 | 94043.5871 | 291932.7171 | 30.45 | 114.2
108215 | 2021-04-28 11:37 | 5.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2586 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.939 | 94071.5688 | 291943.2986 | 30.45 | 114.2
108225 | 2021-04-28 11:38 | 5.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.0063 | μmol/L | 29.5693 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.937 | 94087.4735 | 291966.8263 | 30.45 | 114.2
108235 | 2021-04-28 11:38 | 6.0048 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.69 | μmol/L | 29.5878 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.949 | 94159.3848 | 291985.9026 | 30.45 | 114.2
108245 | 2021-04-28 11:38 | 6.3379 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5707 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.96 | 94248.5091 | 291995.343 | 30.45 | 114.2
108255 | 2021-04-28 11:39 | 6.6717 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.715 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.962 | 94369.6841 | 292004.6557 | 30.45 | 114.2
108265 | 2021-04-28 11:39 | 7.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1019 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.948 | 94338.902 | 292023.9209 | 30.45 | 114.2
108275 | 2021-04-28 11:39 | 7.3384 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9975 | μmol/L | 29.52 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 94323.7511 | 292026.6237 | 30.45 | 114.2
108285 | 2021-04-28 11:40 | 7.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8377 | μmol/L | 29.5385 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.957 | 94348.8316 | 292036.4158 | 30.45 | 114.2
108295 | 2021-04-28 11:40 | 8.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7845 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.958 | 94359.0791 | 292050.6883 | 30.45 | 114.2
108305 | 2021-04-28 11:40 | 8.3381 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6401 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.956 | 94394.7512 | 292049.0399 | 30.45 | 114.2
108315 | 2021-04-28 11:41 | 8.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7845 | μmol/L | 29.5447 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.958 | 94762.7765 | 292064.1915 | 30.45 | 114.2
108325 | 2021-04-28 11:41 | 9.0049 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.626 | μmol/L | 29.557 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.963 | 94773.3312 | 292072.7823 | 30.45 | 114.2
108335 | 2021-04-28 11:41 | 9.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6748 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.954 | 94767.6708 | 292081.5447 | 30.45 | 114.2
108345 | 2021-04-28 11:42 | 9.6716 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4666 | μmol/L | 29.5755 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.966 | 94813.3049 | 292103.6099 | 30.45 | 114.2
108355 | 2021-04-28 11:42 | 10.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1999 | μmol/L | 29.6125 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.969 | 94831.173 | 292103.6428 | 30.45 | 114.2
108365 | 2021-04-28 11:42 | 10.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5114 | μmol/L | 29.5632 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.968 | 94837.3845 | 292097.1488 | 30.45 | 114.2
108375 | 2021-04-28 11:43 | 10.6714 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2541 | μmol/L | 29.6001 | °C | 1025 | hPa | Humid | 28 | 0 | 0 | 20.97 | 94871.4054 | 292120.2192 | 30.45 | 114.2
108385 | 2021-04-28 11:43 | 11.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1721 | μmol/L | 29.6186 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.969 | 94878.6367 | 292123.2108 | 30.45 | 114.2
108395 | 2021-04-28 11:43 | 11.3382 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0096 | μmol/L | 29.6556 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.966 | 94893.4384 | 292139.0805 | 30.45 | 114.2
108405 | 2021-04-28 11:44 | 11.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0811 | μmol/L | 29.6433 | °C | 1026 | hPa | Humid | 28 | 0 | 0 | 20.966 | 94928.4893 | 292132.0057 | 30.45 | 114.2