## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108056 | 2021-04-28 11:32 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2842 | μmol/L | 29.263 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.669 | 121687.6575 | 289596.4473 | 59.9307 | 49.4
108066 | 2021-04-28 11:32 | 0.33236 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.6093 | μmol/L | 29.294 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.696 | 121869.3362 | 289598.2198 | 59.9307 | 49.4
108076 | 2021-04-28 11:33 | 0.66546 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5389 | μmol/L | 29.2816 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.704 | 121782.4158 | 289610.1102 | 59.9307 | 49.4
108086 | 2021-04-28 11:33 | 0.99928 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.251 | μmol/L | 29.2754 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.722 | 121663.9285 | 289614.4124 | 59.9307 | 49.4
108096 | 2021-04-28 11:33 | 1.3323 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5902 | μmol/L | 29.3001 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.695 | 121907.6447 | 289653.8486 | 59.9307 | 49.4
108106 | 2021-04-28 11:34 | 1.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6709 | μmol/L | 29.3001 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.746 | 121840.1179 | 289666.1628 | 59.9307 | 49.4
108116 | 2021-04-28 11:34 | 1.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6819 | μmol/L | 29.3435 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.731 | 122196.1846 | 289679.0805 | 59.9307 | 49.4
108126 | 2021-04-28 11:34 | 2.332 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.512 | μmol/L | 29.393 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.724 | 121331.8579 | 289695.1011 | 59.9307 | 49.4
108136 | 2021-04-28 11:35 | 2.6659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6429 | μmol/L | 29.3621 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.727 | 121346.4801 | 289682.303 | 59.9307 | 49.4
108146 | 2021-04-28 11:35 | 2.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3232 | μmol/L | 29.2754 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.718 | 120008.5535 | 289698.1526 | 59.9307 | 49.4
108156 | 2021-04-28 11:35 | 3.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.4263 | μmol/L | 29.3682 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.737 | 121043.0381 | 289729.7698 | 59.9307 | 49.4
108166 | 2021-04-28 11:36 | 3.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9358 | μmol/L | 29.3311 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.721 | 120148.4858 | 289725.8292 | 59.9307 | 49.4
108176 | 2021-04-28 11:36 | 3.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0686 | μmol/L | 29.3621 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.759 | 121901.6009 | 289746.5775 | 59.9307 | 49.4
108186 | 2021-04-28 11:36 | 4.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6456 | μmol/L | 29.3249 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.795 | 122702.8486 | 289766.7228 | 59.9307 | 49.4
108196 | 2021-04-28 11:37 | 4.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6308 | μmol/L | 29.3063 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.802 | 122745.1614 | 289776.3432 | 59.9307 | 49.4
108206 | 2021-04-28 11:37 | 4.9985 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3326 | μmol/L | 29.3806 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.794 | 122757.5278 | 289780.6322 | 59.9307 | 49.4
108216 | 2021-04-28 11:37 | 5.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8551 | μmol/L | 29.3621 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.827 | 122950.6835 | 289792.6949 | 59.9307 | 49.4
108226 | 2021-04-28 11:38 | 5.6654 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1715 | μmol/L | 29.2816 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.836 | 122900.4482 | 289799.3054 | 59.9307 | 49.4
108236 | 2021-04-28 11:38 | 5.9986 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9861 | μmol/L | 29.3249 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.832 | 122806.1827 | 289813.9842 | 59.9307 | 49.4
108246 | 2021-04-28 11:38 | 6.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2624 | μmol/L | 29.3744 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.8 | 122296.9436 | 289817.3311 | 59.9307 | 49.4
108256 | 2021-04-28 11:39 | 6.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6918 | μmol/L | 29.3682 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.778 | 121047.132 | 289824.1398 | 59.9307 | 49.4
108266 | 2021-04-28 11:39 | 6.9992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6393 | μmol/L | 29.3621 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.783 | 121488.262 | 289833.3731 | 59.9307 | 49.4
108276 | 2021-04-28 11:39 | 7.3321 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0519 | μmol/L | 29.3559 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.818 | 122533.8719 | 289845.5459 | 59.9307 | 49.4
108286 | 2021-04-28 11:40 | 7.666 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4434 | μmol/L | 29.3806 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.844 | 122608.0128 | 289864.5131 | 59.9307 | 49.4
108296 | 2021-04-28 11:40 | 7.9989 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.285 | μmol/L | 29.3744 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.855 | 122553.5905 | 289864.2779 | 59.9307 | 49.4
108306 | 2021-04-28 11:40 | 8.3327 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.869 | μmol/L | 29.424 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.862 | 122672.367 | 289865.4414 | 59.9307 | 49.4
108316 | 2021-04-28 11:41 | 8.6657 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3293 | μmol/L | 29.3249 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.869 | 122482.0441 | 289887.8156 | 59.9307 | 49.4
108326 | 2021-04-28 11:41 | 8.9988 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7453 | μmol/L | 29.424 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.869 | 122499.0705 | 289881.7571 | 59.9307 | 49.4
108336 | 2021-04-28 11:41 | 9.3319 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3083 | μmol/L | 29.3435 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.864 | 122571.258 | 289904.2172 | 59.9307 | 49.4
108346 | 2021-04-28 11:42 | 9.6656 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8652 | μmol/L | 29.4054 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.812 | 121002.8083 | 289888.9197 | 59.9307 | 49.4
108356 | 2021-04-28 11:42 | 9.9993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2052 | μmol/L | 29.424 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.843 | 121492.6172 | 289921.4308 | 59.9307 | 49.4
108366 | 2021-04-28 11:42 | 10.3322 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2319 | μmol/L | 29.3744 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.858 | 121649.9921 | 289927.7899 | 59.9307 | 49.4
108376 | 2021-04-28 11:43 | 10.6653 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0891 | μmol/L | 29.3806 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.864 | 121394.9769 | 289931.739 | 59.9307 | 49.4
108386 | 2021-04-28 11:43 | 10.999 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8302 | μmol/L | 29.4425 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.858 | 121737.8719 | 289930.3328 | 59.9307 | 49.4
108396 | 2021-04-28 11:43 | 11.3324 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1821 | μmol/L | 29.3559 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.867 | 121230.1394 | 289923.2772 | 59.9307 | 49.4
108406 | 2021-04-28 11:44 | 11.6655 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7254 | μmol/L | 29.4363 | °C | 1027 | hPa | Humid | 28 | 1 | 0 | 20.866 | 121041.0376 | 289943.8828 | 59.9307 | 49.4