## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-28 11:45

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
108057 | 2021-04-28 11:32 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.9769 | μmol/L | 29.3595 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.552 | 129395.4425 | 299913.3108 | 33.25 | 68.6
108067 | 2021-04-28 11:32 | 0.34226 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6776 | μmol/L | 29.3778 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.563 | 129708.0551 | 299978.7967 | 33.25 | 68.6
108077 | 2021-04-28 11:33 | 0.67533 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5134 | μmol/L | 29.4023 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.564 | 129958.3722 | 300016.0262 | 33.25 | 68.6
108087 | 2021-04-28 11:33 | 1.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1118 | μmol/L | 29.4633 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.566 | 130172.1911 | 300062.8055 | 33.25 | 68.6
108097 | 2021-04-28 11:33 | 1.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9333 | μmol/L | 29.4816 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.57 | 130359.1838 | 300071.0478 | 33.25 | 68.6
108107 | 2021-04-28 11:34 | 1.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8967 | μmol/L | 29.4877 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.57 | 130518.7759 | 300100.8644 | 33.25 | 68.6
108117 | 2021-04-28 11:34 | 2.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7917 | μmol/L | 29.4938 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.574 | 130643.6663 | 300109.8933 | 33.25 | 68.6
108127 | 2021-04-28 11:34 | 2.3419 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8479 | μmol/L | 29.4816 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.575 | 130755.062 | 300148.6336 | 33.25 | 68.6
108137 | 2021-04-28 11:35 | 2.6756 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6109 | μmol/L | 29.5182 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.576 | 130837.2926 | 300190.7662 | 33.25 | 68.6
108147 | 2021-04-28 11:35 | 3.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3911 | μmol/L | 29.5549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.576 | 130867.6001 | 300202.0779 | 33.25 | 68.6
108157 | 2021-04-28 11:35 | 3.3423 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1791 | μmol/L | 29.5732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.582 | 130957.4254 | 300220.9931 | 33.25 | 68.6
108167 | 2021-04-28 11:36 | 3.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2643 | μmol/L | 29.5732 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.577 | 131021.3428 | 300243.331 | 33.25 | 68.6
108177 | 2021-04-28 11:36 | 4.009 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2498 | μmol/L | 29.5671 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.58 | 131111.4175 | 300261.8031 | 33.25 | 68.6
108187 | 2021-04-28 11:36 | 4.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3766 | μmol/L | 29.5488 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.579 | 131178.1127 | 300284.368 | 33.25 | 68.6
108197 | 2021-04-28 11:37 | 4.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9427 | μmol/L | 29.6098 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.583 | 131217.1649 | 300300.6786 | 33.25 | 68.6
108207 | 2021-04-28 11:37 | 5.0086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4745 | μmol/L | 29.5182 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.584 | 131303.9436 | 300334.637 | 33.25 | 68.6
108217 | 2021-04-28 11:37 | 5.3416 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4745 | μmol/L | 29.5182 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.584 | 131346.3629 | 300333.8977 | 33.25 | 68.6
108227 | 2021-04-28 11:38 | 5.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.306 | μmol/L | 29.5549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.581 | 131382.8821 | 300352.1404 | 33.25 | 68.6
108237 | 2021-04-28 11:38 | 6.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2523 | μmol/L | 29.561 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.582 | 131442.7126 | 300377.0808 | 33.25 | 68.6
108247 | 2021-04-28 11:38 | 6.3422 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0966 | μmol/L | 29.5671 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.589 | 131511.6931 | 300384.0821 | 33.25 | 68.6
108257 | 2021-04-28 11:39 | 6.6751 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0039 | μmol/L | 29.5854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.588 | 131593.6278 | 300406.7343 | 33.25 | 68.6
108267 | 2021-04-28 11:39 | 7.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1357 | μmol/L | 29.5549 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.591 | 131658.1956 | 300425.0244 | 33.25 | 68.6
108277 | 2021-04-28 11:39 | 7.3418 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8994 | μmol/L | 29.5915 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.592 | 131706.0806 | 300433.8162 | 33.25 | 68.6
108287 | 2021-04-28 11:40 | 7.6754 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.9359 | μmol/L | 29.5854 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.592 | 131732.0093 | 300441.1364 | 33.25 | 68.6
108297 | 2021-04-28 11:40 | 8.0085 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4781 | μmol/L | 29.6647 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.591 | 131756.7754 | 300442.9102 | 33.25 | 68.6
108307 | 2021-04-28 11:40 | 8.3422 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6241 | μmol/L | 29.6403 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.591 | 131775.5077 | 300464.0368 | 33.25 | 68.6
108317 | 2021-04-28 11:41 | 8.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6632 | μmol/L | 29.6281 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.593 | 131993.725 | 300475.0251 | 33.25 | 68.6
108327 | 2021-04-28 11:41 | 9.0083 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0704 | μmol/L | 29.7075 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.6 | 132047.3021 | 300504.0216 | 33.25 | 68.6
108337 | 2021-04-28 11:41 | 9.342 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1615 | μmol/L | 29.7319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.586 | 132035.8706 | 300503.0073 | 33.25 | 68.6
108347 | 2021-04-28 11:42 | 9.675 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0938 | μmol/L | 29.7319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.59 | 132067.1421 | 300508.5375 | 33.25 | 68.6
108357 | 2021-04-28 11:42 | 10.0088 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0261 | μmol/L | 29.7319 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132109.1991 | 300528.9412 | 33.25 | 68.6
108367 | 2021-04-28 11:42 | 10.3417 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9701 | μmol/L | 29.7441 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.593 | 132153.3093 | 300539.4044 | 33.25 | 68.6
108377 | 2021-04-28 11:43 | 10.6753 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9728 | μmol/L | 29.738 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.595 | 132195.7004 | 300547.0921 | 33.25 | 68.6
108387 | 2021-04-28 11:43 | 11.0082 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9168 | μmol/L | 29.7502 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132212.8113 | 300558.5971 | 33.25 | 68.6
108397 | 2021-04-28 11:43 | 11.3422 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7151 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.593 | 132249.1649 | 300563.2718 | 33.25 | 68.6
108407 | 2021-04-28 11:44 | 11.6757 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.732 | μmol/L | 29.7868 | °C | 1027 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132281.4012 | 300568.6123 | 33.25 | 68.6